#### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

##### OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT, SAMBALPUR

##### BID DOCUMENT

##### (TECHNICAL)

TENDER FOR EARTHING WORKS OF EXCHANGES/BTS

IN SAMBALPUR SSA

TENDER NO. W-89/EARTHING/2010-2011/03, Dated 20.04.2010

| TENDER FORM NO. | : |  |
| --- | --- | --- |
| COST OF TENDER PAPER | : |  |
| ISSUED TO | : |  |

TABLE OF CONTENTS

| SECTION | CONTENT | PAGE NO. |
| --- | --- | --- |
| TECHNICAL BID DOCUMENT |
| I | Notice Inviting Tender | 3 |
| II | Bid Form | 4 |
| III | Tenderer’s Profile | 5 |
| IV | Instruction to Bidders | 6-16 |
| V | General (Commercial) conditions of the contract | 17-26 |
| VI | Special conditions of the contract | 27-33 |
| VII | Scope of Work and jurisdiction of Contract | 34-36 |
| VIII | Construction Specifications | 37-38 |
| IX | Proforma for Agreement | 39 |
| X | Letter of authorization for attending bid opening | 40 |
| XI | List of the documents to be submitted along with bid | 41 |
| XII | Check List | 42 |
| XIII | Declaration Regarding Blacklisting | 43 |
| XIV | Proforma for No near relatives certificate in BSNL | 44 |
| XV | Undertaking & Declaration | 45 |
| FINANCIAL BID DOCUMENT |
| XVI | Financial Bid | 46-47 |

# BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

##### OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT, SAMBALPUR

NO. W-89/EARTHING/2010-2011/03                                                                            DATED : 20.04.2010

### SECTION-I

###### NOTICE INVITING TENDER

Sealed tenders (Packing PVC Tape/Sealing Wax) are invited for and on behalf of BHARAT SANCHAR NIGAM LIMITED by the General Manager, Telecom District, Sambalpur for Earthing Works of Exchanges/BTS in Sambalpur SSA from the bonafide, experienced contractors.

| 01 | Name of work | Earthing Works of Exchanges/BTS in Sambalpur SSA. |
| --- | --- | --- |
| 02 | Tentative Cost of work | Rs.2891670.00 |
| 03 | Cost of E.M.D. | Rs.72292.00 |
| 04 | Cost of Tender Paper | Rs.1126.00 |
| 05 | Tender papers can be had from | The SDE (PLG), BSNL, O/O G.M.T.D., Sambalpur or can be downloaded from our website: www.orissa.bsnl.co.in |
| 06 | Mode of payment | In shape of Cash/DD/BC/PO for cost of tender document and in shape of DD/BC/PO issued by a scheduled bank, drawn in favour of Accounts Officer (Cash), BSNL, O/O GMTD SAMBALPUR payable at SAMBALPUR for Bid security (EMD). (issued after publication of NIT) |
| 07 | Eligibility of Bidders | Valid contractor license |
|  |  | Valid VATCC with VAT registration certificate |
|  |  | PAN card |
|  |  | Valid Labour License |
|  |  | Original Bank Solvency Certificate of Rs10.00 Lakhs should be issued after date of publication of NIT |
|  |  | Valid EPF registration Certificate with proof of up to date payment |
|  |  | Valid Workman’s compensation insurance or ESI certificate |
|  |  | Valid Service tax registration certificate with proof of up to date payment & return |
|  |  | Experience Certificate of successfully completed the Earthing Works of Telephone Exchanges/BTS in BSNL in last two financial years worth Rs.8.67 Lakh or more, issued by an officer not below the equivalent rank of TDM/DGM of BSNL |
|  |  | Cost of Tender paper & EMD |
| 08 | Sale of tender documents | All working day, between 1100 hrs. to 1600Hrs up to 10.05.2010 |
| 09 | Last date & time for submission of Bid. | Up to 13.00 Hours of 11.05.2010 |
| 10 | Date & time for opening of Bid. | At 16.00 Hours of 11.05.2010 |

The G.M.T.D., Sambalpur reserves the right to accept or reject any or all the tenders without assigning any reason what so ever and is not bound to accept the lowest tender. For details, please visit www.orissa.bsnl.co.in .

Divisional Engineer (Plg)

O/o GMTD, Sambalpur

SECTION-II

BID FORM

Tender No. NO. W-89/EARTHING/2010-2011/03                                                       DATED 20.04.2010

To,

The General Manager, BSNL,

Telecom District, SAMBALPUR

Dear Sir,

Having examined the conditions of contract and specifications including addenda No……………………………………………………………………………the receipt of which is hereby duly acknowledged. We undersigned, offer to execute the Earthing  Work of Exchanges/BTS in Sambalpur SSA in conformity with said drawings, conditions of contract and specifications attached herewith and made part of the bid.

We undertake if our bid is accepted, we will execute the work in accordance with specifications, time limits and terms and conditions stipulated in the tender document.

If our bid is accepted, we shall submit the securities as per the conditions mentioned in the contract.

We agree to abide by this bid for a period of 180 days from the date fixed for bid opening (qualifying bid) and it shall be remain binding upon us and may be accepted at any time before the expiry of that period.

Until a formal agreement is prepared and executed, the bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

Dated this …………day of ………………………2010

Signature of Authorized Signatory…………………………………………….

In capacity of …………………………………………………………………….

Duly authorized to sign the bid for

and on behalf of …………………………………………………………………

Witness ……………………………….

Address ………………………………

Signature …………………………….

SECTION -III

TENDERER’ S PROFILE

General

1. Name of the tenderer /firm ………………………………………………………………………………………..

2. Name of the person submitting the tender whose photograph is affixed

Shri / Smt ………………………………………………………………………………………………………………….

(In case of proprietary /Partnership firms, the tender has to be signed by proprietor/partner only, as the case may be)

3. Address of the tenderer / firm ……………………………………………………………………………………..

………………………………………………………………………………………………………………………………

4. Telephonic address …………………………………………………………………………………………………

5. Tel. Nos. with STD code (O) ……………………………….(Fax)………………………..(R) …………………...

6. Registration & incorporation particulars of the firm:

i) 	Proprietorship

ii)	Partnership

iii)	Private Limited

iv) 	Public Limited

(Please attach attested copies of documents of registration/incorporation of your firm with the competent authority as required by business law)

7. Name of Proprietor/ Partner / Directors …………………………………………………………………………

………………………………………………………………………………………………………………………………

8. Contractor’s Registration Certificate details:

a) Category ………………………………………………………

b) Number ………………………………………………………..

c) Issuing Authority ………………………………………

d) Issued on ………………………………………………………

e) Valid up to …………………………………………………….

9.  Tenderer’s bank, its address and his current account number ……………………………………………

………………………………………………………………………………………………………………………………

10. PAN &  Income tax circle ………………………………………………………..............................................

(Please attach a copy of last income tax return)

11.	Details of Technical & Supervisory staff:

I / We hereby declare that the information furnished above is true and correct.

Place:

Date:

Signature of tenderer/Authorised signatory ……………………………………………………

Name of the tenderer ……………………………………………………………………………...

Seal of the tenderer

SECTION – IV

INSTRUCTION TO BIDDERS

A.	INTRODUCTION

1. 	DEFINITIONS   :

a)	BSNL	           : 	BSNL means Bharat Sanchar Nigam Limited

(A Government of India Enterprise)

b)         Department: The department means the Department of Telecommunications /

Department of Telecom Services or any other Department under the Ministry of Communications, which invites the tenders on behalf of the President of India. All references of:

Department

Chief General Manager

Principal General Manager

General Manager

Deputy General Manager / Area Manager / Director / TDM

Divisional Engineer

Sub Divisional Engineer

Junior Telecom Officer

Chief Accounts Officer

Accounts Officer

Assistant Accounts Officer

Junior Telecom Officer

Including other officers in the department, whatever designation assigned to them from time to time, who may be the In-charge of direction, supervision, testing, acceptance and maintenance including their successor(s) in the office appearing in various clauses shall be taken to mean the Department of Telecommunications under the Ministry of Communications, Government of India.

c)	The SSA Head: Means the General Manager Telecom SAMBALPUR and his successors.

d)	The jurisdiction of the SSA Head: 	The jurisdiction of the General Manager Telecom means the SAMBALPUR Telecom District which Coincides geographically with Sambalpur, Bargarh, Deogarh and Jharsuguda District.

e)	Representative of the SSA Head: Representative of General Manager Telecom means 	Officer and staff for the time being deputed by the General Manager Telecom for 	inspecting or supervising the work or testing etc.

f)	Engineer-In-Charge: The Engineer - In-Charge means the Engineering Officer nominated by the BSNL to supervise the work, under the contract. (Minimum Divisional Engineer level Officer).

g)	Site Engineer: Site Engineer shall mean an SDE/SDO of the BSNL who may be placed by the G.M.T.D., SAMBALPUR, as in-charge of the work at site at any particular period of time.

h)	A/T Unit: A/T unit shall be mean Acceptance and testing unit of the BSNL.

i)	A/T Officer: An Officer authorized by the G.M.T.D., SAMBALPUR to conduct A/T.

j)	Contract : The term contract means the document forming the tender and acceptance thereof and the formal agreement executed between the competent authority on behalf of the BSNL and the contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions issued from time to time, by the engineer in-charge and all these documents taken together shall be deemed to form one contract and shall be complementary to one another. In the contract, the following expressions shall, unless the context otherwise requires, have the meanings, hereby respectively assigned to them. The expression works or work shall unless there be something either in the subject or context repugnant to such construction, be construed and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original, altered, substituted or additional.

k)	Contractor: The contractor shall mean, the individual, firm or company, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or company, or the successors of such firm or company and the permitted assignees of such individual, firm or company.

l)	Work : The expression “Works” shall unless there be something either in the subject or context repugnant to such construction be construct and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original altered, substituted or additional.

m)	Schedule(s): Schedule(s) referred to in these conditions shall mean the relevant schedule(s) or the standard schedule of rates mentioned in the document.

n)	Site: The site shall mean the land / or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which, the work is to be executed under the contract or any adjacent land, path, or street which may be allotted or used for the purpose of carrying our the contract.

o)	Normal time or stipulated time: Normal time or stipulated time means time specified in the work order to complete the work.

P)	Extension of time: Extension of time means the time granted by the BSNL to complete the work beyond the normal time or stipulated time.

q)	Date of commencement of work: Date of commencement of work means the date of actual commencement of work or 7th day from the date of issue of work order, whichever is earlier.

r)	Due date of completion: Due date of completion shall be the date by which the work shall be completed at site including clearance of site.

s)	Duration of work completion of work: The duration of completion of work or completion time shall be time specified in the work order plus extension of time granted, if any.

t)	Excepted risk : Excepted risk are risks due to war (whether declared or not), invasion, act of foreign enemies, hostilities, civil war, rebellion, revolution, insurrection, military or usurped power, any act of BSNL damages from aircraft, other causes over which, the contractor has no control and the same having been accepted as such by the Accepting Authority or causes solely due to use or occupation by the BSNL of the part of the work, in respect of which a certificate of completion has been issued.

u)     “Earthing works of Exchanges/BTS” means Earthing works of telephone exchanges/WLL BTS/GSM BTS etc.

2. 	ELIGIBILITY OF BIDDERS

The invitation of bid is open to all contractors as per their eligibility mentioned in the NIT of this tender document.

3. 	BID DOCUMENTS

3.1 	The construction work to be carried out, goods required, bidding procedures and contract terms are prescribed in the Bid documents. The bid documents include

3.1.1 	Qualifying Bid:

3.1.1.1 	Notice Inviting Tender

3.1.1.2 	Bid Form

3.1.1.3 	Tenderer’s profile

3.1.1.4 	Instructions to Bidders

3.1.1.5 	General (commercial) conditions of the contract

3.1.1.6 	Special conditions of contract

3.1.1.7 	Scope of work and jurisdiction of the contract

3.1.1.8 	Construction specifications

3.1.1.9   Agreement (Sample)

3.1.1.10 Letter of Authorization for attending bid opening

3.1.1.11 List of documents to be submitted along with the qualifying bid

3.1.2 	Financial Bid:

      - Price Schedule

3.2 	The bidder is expected to examine all instructions, forms, terms and   specification in the bid document. Failure to furnish all information required as per the bid documents or submission of bids not substantially responsive to the bid documents in every respect will be at the bidder’s risk and shall result in rejection of bid.

4.	QUERIES ON BID DOCUMENTS

A prospective bidder, requiring any clarification of the Bid Documents shall notify the Department in writing or by fax or cable at the department’s mailing address indicated in the invitation for Bids. The Department shall respond in writing to any request for clarification of the Bid Documents, which it receives not later than 7 days prior to the date for the opening of the bids. Copies of the query (without identifying the source) and the clarifications by the department shall be sent to all the prospective bidders who have purchased the bid documents and all such clarifications issued by the Department will form part of the bid document.

5.	AMENDMENT OF BID DOCUMENTS

  - At any time, prior to the date for submission of bids, the department may, for any reason whether of motto or in response to the clarification requested by a prospective Bidder, modify the bid documents by amendments.

  - The amendments shall be notified in writing or by telex or FAX to all prospective bidders on the address intimated at the time or purchase of bid document from the department and these amendments will be binding on them.

  - In order to afford prospective bidders reasonable time to take the amendments into account in preparing their bids, the department may, at its discretion, extend the deadline for the submission/opening of bids suitably.

B.	PREPARATION OF BIDS

6.	COST OF BIDDING

The bidder shall bear all costs associated with the preparation and submission of the bid. 	The 	department, will in no case, be responsible or liable for these costs, regardless of the 	conduct or outcome of the bidding process.

7. 	DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATIONS

The bidder shall furnish as part of its bid documents establishing the bidder’s eligibility, the following documents:

i) 	Bid Security in accordance to clause no. 8.

ii) 	Tender document(s) in original duly filled in and signed by tenderer or its authorized representative along with seal on each page. All corrections and over-writing must be initialed with date by the tenderer or the authorized representative.

iii) 	The copy of certificates issued by the competent authority duly attested by a Gazetted officer/Notary Public.

- The registration of firm, authenticated copy of partnership deed in cases of partnership firm.

v)	Bid form, duly filled in, as per Section-II

- Tenderer’s profile duly filled in as per section III of the tender document.

- Original “power of attorney” in case person other than the tenderer has signed the tender   	documents.

- (1) Attested copy of valid Contractor License, (2) attested copy of valid VATCC with  VAT Registration Certificate, (3) attested copy of valid PAN Card, (4) attested copy of valid Labour License, (5) original Bank Solvency Certificate worth Rs.10.00 lakh (issued after the date of publication of NIT), (6) attested copy of valid EPF Registration Certificate with proof of up to date payment, (7) attested copy of valid Service Tax Registration Certificate with proof of up to date payment & return, (8) attested copy of valid Workmen Compensation insurance or ESI certificate, (9) attested copy of valid Experience Certificate of successfully completed the Earthing works of Telephone Exchanges/BTS in BSNL in last two financial years as per NIT, issued by an officer not below the equivalent rank of T.D.M./D.G.M. of BSNL, (10) Complete Tender document duly filled and signed by the bidder with date on each and every page with his seal, (11) Near Relative Certificate as per  Section- XIV .

- Issue and submission of tender documents do not automatically mean that the tenderer is qualified for award of contract.

- The tenderer should certify and affix his dated signature with personal seal (rubber stamp) on each and every pages of tender document and return it with technical bid, as a token of the acceptance of each condition specified on each page of the tender document. The complete set of tender document duly filled in and signed putting date on each page with his seal and also at every correction /overwriting by the tenderer.

- Tender document should be super scribed with the name of work in details at the top of each (packing PVC tape/sealing wax) envelope. Unsealed and / or incomplete Tenders are liable to be rejected. All documents excluding the Bank Draft are to be signed by the tenderer.

- Tender document should be signed by the bidder on all pages with date and personal seal. One Gazetted Officer/Notary Public must attest the photocopies only. The name and designation of attesting Officer must clearly be mentioned in all the copies of attested documents. Also the tenderer must put his signature on all the copies of attested documents indicating “Submitted by me”.

- The envelope should indicate the name and address of the bidder, in case any bid received by the authorities after the due date and time for submission of bids prescribed by the department shall be rejected and returned unopened to the bidder.

- Modification and withdrawal of bids are not permissible in any circumstances. In case of withdrawal after opening of bid, action may be taken as per rule.

- Conditional tender/tender with wanting documents will not be entertained and will be out rightly rejected.

- The envelope should indicate the name and address of the bidder, in case any bid received by the authorities after the due date and time for submission of bids prescribed by the department shall be rejected and returned unopened to the bidder.

- Modification and withdrawal of bids are not permissible in any circumstances. In case of withdrawal after opening of bid, action may be taken as per rule.

- REJECTION OF TENDER

1.	The Authority inviting tender shall reserve the right to refuse consideration of any     tender on 	the     following ground.

2.	If the tender is not duly supported by the requisite document as per NIT & EMD in the manner provided therein.

3.	If the tender is not signed with his personal seal, deficient or incomplete in any of the requisite matters, particulars, formalities or for any reason which shall not be disclosed to the tenderer.

4.	If the tender is received later than schedule date and time will be returned without opening.

5.	If the tender paper envelope is not properly sealed with Packing PVC tape/sealing wax. Closing the cover by gums/paste/staplers pin will not be treated as sealed cover. The cover should bear the Personal seal of the Tenderer with sealing wax/PVC tape properly fixed on the cover.

6.	The authority is not bound to accept the lowest tender.

7.	The GMTD, Sambalpur reserves the right to cancel/reject any tender if the same is found to be containing any false /fabricated document/statement. Original of all documents must be produce, if required for verification, at any stage of tender period.

8.	The conditional and incomplete tenders are liable for rejections.

9.          While all the conditions specified in the Bid Documents are critical and are to be 	complied. 	Special attention of bidder is invited to the following clauses of the bid document, non-  	compliance of any one of which shall result in out right rejection of the bid.

10.         The bids will be recorded/ returned unopened, if covers are not properly sealed 	(Packing    	PVC Tape/Sealing Wax) with Personal seal (rubber stamp) of the 	bidder. The bids will be 	rejected at opening stage if bid security is not submitted as per NIT & bid validity 	is less than 	the period prescribed in tender document.

11.         If the eligibility condition as per NIT is not met and/or documents prescribed to establish 	the 	eligibility as per Clause 7 of section II are not enclosed, the bids will be rejected without 	further evaluation.

12.        Price schedule- Prices are not filled in as prescribed in price schedule.

8.	BID SECURITY

8.1	The bidder shall furnish as part of its bid, a bid security (EMD) for an amount as per NIT in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Sambalpur in shape of B.C. /B.D. /P.O. payable at Sambalpur. No interest shall be paid by the BSNL on the bid security for any period what so ever.

8.2	 The bid security is required to protect the BSNL against the risk of bidders conduct, which would warrant the security’s forfeiture, pursuant to Para 8.7.

8.3 	Bid security shall be paid in the form of Crossed demand draft issued by a schedule bank, drawn in favour of Accounts Officer (Cash), BSNL, O/o GMTD SAMBALPUR payable at SAMBALPUR.

8.4 	A bid not secured in accordance with Para 8.1 & 8.3 shall be rejected by the BSNL as non-responsive.

8.5 	The bid security of the unsuccessful bidder will be refunded as promptly as possible as but not later than 30 days after the expiry of the period of bid validity prescribed by the BSNL.

8.6 	The Performance Security will be refunded to the successful tenderer on expiry of the agreement period and/or after completion of all works awarded during the contract period satisfactory.

8.7	The bid security shall be forfeited

8.7.1	If a bidder withdraws his bid during the period of bid validity specified in the bid document or

8.7.2	If the bidder make any modifications in the terms and conditions of the tender before acceptance of the tender, which are not acceptable to the BSNL or

8.7.3	In case of successful bidder, if the bidder fails

(i)  To sign the agreement in accordance with clause 25, or

(ii) To furnish Performance Security in accordance with clause 24

9.	BID PRICES

  - The bidder shall give the total composite price inclusive of all levies and taxes, packing, 	forwarding, freight and insurance in case of materials to be supplied and inclusive of all taxes 	and levies in case of works to be executed. The contractor shall be responsible for 	transporting the materials, to be supplied by BSNL at the sub-divisional store deport or 	otherwise to execute the work under the contract, to site at his/their own cost.

  - Prices shall be quoted by the bidder as per financial bid. Prices quoted at any other place shall not be considered.

  - The price quoted by the bidder shall remain fixed during the entire period of contract and 	shall not subject to variation on any account. A bid submitted with an adjustable price 	quotation will be treated as non-responsive and rejected.

  - Discount, if any, offered by the bidders shall not be considered unless they are specifically indicated in the schedule of rates (financial Bid). Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply, etc. into account.

  - In case of any discrepancies of quoting rate in figures and words, the rate quoted in words, the rate quoted in words will be considered.    Any erasures/corrections of price bid should be initialed by the bidder with date.    In case of totaling mistakes due to multiplication or addition, correction of total amount shall be made without changing the unit price and quantity. The bidder has to accept it.

10.	PERIOD OF VALIDITY OF BIDS

  - Bid shall remain valid for 180 days from date of opening of the bid (Qualifying Bid). A BID 	VALID FOR A SHORTER PERIOD SHALL BE REJECTED BY BSNL AS NON-RESPONSIVE.

  - The department reserves the right to request the lowest 3 bidders as per read out  the   list 	on the opening day to extend the bid validity for a period of further 120 days and the 	bidder has no necessarily extend the bid validity. Refusal to extend the bid validity will 	result in forfeiture of the bid security. A bidder accepting the request and 	extending the bid 	validity will not be permitted to modify his bid.

11.	SIGNING OF BID

  - The bidder shall submit, as a part of his bid, the bid documents (in original) duly signed on each and every page, establishing the conformity of his bid to the bid documents of all the works to be executed by the bidder under the contract. (Note : The tenderer is advised to keep a photocopy (at his own cost )  the bid documents for his own reference)

  - The bid shall contain no inter-lineation, erasures or overwriting necessary to correct errors made by the bidder in which case such correction shall be signed with date by the person or persons signing the bid.

C.	SUBMISSION OF BIDS

12.	METHOD OF PREPARATION OF BID

12.1 	Bid for each tender should be submitted in three envelopes placed inside a main cover. These envelopes should contain the following –

| ENVELOPE | MARKED ON THE COVER | CONTENTS OF ENVELOPE |
| --- | --- | --- |
| A | Bid Security /Cost of tender paper (in case of downloaded from website) | Containing Bid security as per clause 8 and /or cost of tender paper as the case may be. |
| B | Qualifying Bid | Containing documents as per clause 7 except bid security. |
| C | Financial Bid | Rates duly quoted by the tenderer in the prescribed format as per Section-XVI. |

On all these envelopes the name of the firm and whether “Bid Security” OR “Qualifying” OR “Financial” bid must be clearly mentioned and should be properly sealed (with sealing wax/packing PVC tape). These envelopes are to be placed inside an outer envelope and properly sealed (with sealing wax/packing PVC tape). The tenders, which are not submitted in above, mentioned manner should be summarily rejected.

  - All envelopes (3 inner & one outer) must bear the following :

“TENDER FOR EARTHING WORKS OF EXCHANGES/BTS IN SAMBALPUR SSA”

“NOT TO OPEN BEFORE (DUE DATE OF TENDER)”

(Tender No. W-89/EARTHING/2010-2011/03, Sambalpur Dated 20.04.2010)

AND should be addressed to    : 	DIVISIONAL ENGINEER (PLANNING),

5TH FLOOR, O/O. GENERAL MANAGER,

TELECOM DISTRICT, KATCHERI ROAD,

SAMBALPUR-768001

AND

  - Shall indicate the name and address of the bidder to enable the bid to be returned unopened in case it is declared ‘late’/rejected

  - Above three covers are to be sealed (Packing PVC Tape/Sealing Wax) and marked with Personal Seal (rubber stamp). All the three covers (A, B & C) shall be kept in one outer cover which will also be sealed (Packing PVC Tape/Sealing Wax) and marked with personal seal.

  - If the envelopes are not sealed (Packing PVC Tape/Sealing Wax) and marked as required above, the bid is subjected for rejection in tender opening stage itself.

  - Envelope-A should contain (i) Bid Security as per NIT & (ii) DD towards the Cost of Bid Document (if the tender document is downloaded from website)

  - Envelope-B should contain the entire Technical bid along with related document establishing bidder’s eligibility as per clause-7.

  - Envelope-C should contain Financial Bid i.e. the rates duly quoted by the bidder in the prescribed format (Section-XVI “Financial Bid”).

  - If any of the document required to be submitted in envelope A is found wanting, the concerned bid shall be rejected at the opening stage itself and the remaining envelopes B & C will not be opened.

  - Bids shall either be sent by registered post or delivered in person. The responsibility for ensuring that Bids are delivered in time would vest with the bidder.

  - Bids delivered in person shall be delivered to above indicated address on or before the time hours of due date. The Tendering authority shall not be responsible if the bids are delivered elsewhere and after the due date and time.

  - 12.12	The tenderer will be bound by all terms, conditions and specifications as detailed in the tender document.

  - 12.13	Any tender with conditions other than those specified in the tender document is liable to be summarily rejected. No modification by the contractor in any of the conditions will be permitted after the tender is opened.

13. 	SUBMISSION OF BIDS

13.1 	Tenders should be dropped in person in the tender box placed in the office of Divisional Engineer (Planning), 5th Floor, O/o G.M.T.D., Sambalpur before the closing (date & time) of tender, as mentioned in NIT. The tenderer is to insure the delivery of the bids at the correct address. The BSNL shall not be held responsible for delivery of bid to the wrong address. The slit of tender box will be sealed immediately after the specified time for receipt of tender. Any tender presented in person after the sealing of box will not be received by G.M.T.D., Sambalpur or by any of the subordinates or will not be allowed to be deposited in the tender box.

13.2 	Postponement of Tender opening: Whenever it is considered necessary to postpone the opening of tenders, quick decision must be taken and communicated to the tenderers who have purchased the tender documents and shall be at least one day before the original date of opening. The reason for postponing the tender shall be recorded in writing. Such notice of extension of date of opening shall also be put-up on the notice board and also published in the newspapers in which original NIT’s have been published. If the date of opening of bid is declared as holiday, the bids will be opened on the next working date at the same time and venue.

13.3	The BSNL if subsequently declares date fixed for opening of bids as holiday, the revised schedule will be notified. However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

14.	LATE BIDS

  - Tenders will not be received after the specified time of closing of the tender and the same shall be rejected and returned unopened to the bidder. It is the sole responsibility of the tenderer that he should ensure timely submission of tender.

15.	MODIFICATIONS AND WITHDRAWAL OF BID

  - The bidder may modify or withdraw his bid after submission and before opening, provided that the intimation is deposited by the bidder in a properly sealed envelope (with Wax/Packing PVC tape) in the tender box, before the scheduled time & date for closing of tender.

  - No bid shall be modified subsequent to the deadline for submission of bids.

D.	BID OPENING AND EVALUATION

16.	OPENING OF BIDS BY THE DEPARTMENT

  - The BSNL shall open the bids in the presence of bidders or his authorized representatives who choose to attend at 1600 Hrs on due date. The bidder’s representatives, who are present, shall sign an attendance register. The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening (A format is given in Section – X).

  - A maximum of two (2) representatives for any bidder shall be authorized and permitted to attend the bid opening.

  - The Bids shall be opened in the following manner :

    - The bid opening committee shall count the number of bids and numbers to the bids. For example, if 10 tenders have been received the bid shall be numbered as 1 of 10, 2 of 10 etc. All the members shall initial on the outer envelopes of all the bids with date.

    - The envelopes containing the tender offer and not properly sealed, as required vide Clause-12 shall not be opened and shall be rejected outright. Closing the cover by gum will not be treated as sealed cover. The reasons for not opening such tender offers shall be recorded on the face of the envelope and all the members of bid opening committee shall initial with date.

    - First the outer envelope containing the three envelopes is opened. The committee shall initial on all three envelops with date.

    - Among these three envelopes, the envelope marked “BID SECURITIES” opened first and examined.

    - The bidders who have submitted proper bid security as per tender documents “QUALIFYING BID” shall be opened and papers/documents submitted by bidder shall be examined and recorded by the TOC. After opening the bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

    - After recording of the “Qualifying Bid” the TOC will place all the financial bids submitted by the bidder in an envelope and will properly sealed by wax/packaging PVC tape for keeping in safe custody.

  - The Financial Bid shall be opened in the following manner :

    - The envelope marked “Financial Bid”, will be opened only for qualified tenders in “Qualifying bid”.

    - The date and time of opening of “Financial bid “ shall be conveyed to the bidders who have qualified in qualifying bid and their representative shall be attend the financial bid opening.

    - After opening the “financial bid” the bidder’s name, bid prices, modifications, bid withdrawals and such other details as the Department, at its discretion may consider appropriate, will be announced at the opening.

    - In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in works shall prevail.

- CLARIFICATION OF BIDS BY THE DEPARTMENT

To assist in examination, evaluation and comparison of bids, the department its discretion asks the bidder for clarification of its bid. The request for its clarification and its response shall be in writing. However, no post bid clarification at the initiative of the bidder shall be entertained.

18.	PRELIMINARY EVALUATION

  - Department shall evaluate the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

  - If there is discrepancy between words and figures, the amount in words shall prevail. If the Contractor does not accept the correction of the errors, his bid shall be rejected.

  - Prior to the detailed evaluation, pursuant to clause 21, the Department will determine the substantial responsiveness of each bid to the bid document. For purpose of these clauses a substantially responsive bid is one, which conforms to all the terms and conditions of the bid documents without deviations. The Department’s determination of bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

  - A bid, determined as substantially non-responsive will be rejected by the Department and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

  - The department may waive any minor infirmity or non-conformity or irregularity in a bid which does not constitute a material deviation, provided such waiver does not prejudice or affect the relative ranking of the bidder.

19.        EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS

  - The department shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause 18.

  - The evaluation and comparison of responsive bids shall be done on the basis of following criteria based on rates quoted in financial bid as per quantities mentioned for each items as below :

A)= Item  1 x  120 ,    B)= Item  2 x  1200 ,  C	= Item  3 x 1200 , D)= Item  4 x 15000,

E)= Item  5  x  9000 , F)= Item  6  x 360   ,  G)= Item  7  x 360  , H)= Item  8  x 30     ,

I) = Item 9 x 30     , J) = Item 10 x 30

‘K’ factor = (A) + (B) + (C) + (D) + (E) + (F) + (G) + (H) + (I) + (J)

Lowest bidder will be decided on the basis of ‘K’ factor.

20.	CONTACTING THE DEPARTMENT

  - Subject to clause 17 no bidder shall try to influence the department on any matter relating to its bid, from the time of bid opening till the time the contract is awarded.

  - Any effort by the bidder to modify his bid or influence the department in the department’s bid evaluation, bid comparison or the contract award decisions shall result in the rejection of the bid.

21.	AWARD OF CONTRACT

  - The department shall consider award of contract only to those eligible bidders whose offers have been found technically, commercially and financially acceptable.

  - The work against the tender is for two year’s requirement and the terms and conditions of this tender shall be operative for a period of two year from the date of signing of agreement between the BSNL and the Contractor   with an option of extension for a further period of six months subject to a maximum of twelve months with same rate, terms and conditions.

22.	DEPARTMENT’S RIGHT TO VARY QUANTUM OF WORK

22.1	BSNL at the time of award of work under the contract, reserves the right to decrease or increase the work by up to 50% of the total quantum of work specified in the schedule of requirements without any change in the rates or other terms and conditions.

22.2	The estimated cost of work is as mentioned in the Notice Inviting Tender which has been worked out based on standard schedule rates mentioned in this tender document. The actual value of work may vary based on the actual requirement but generally being limited to +/- 50% of the indicated value.

22.3	In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the G.M.T.D., Sambalpur reserves the right to increase up to 100% of the quantum of works specified in the schedule of requirement contained in the running tender /contract period of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender.

23.	DEPARTMENT’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

The department reserves the right to accept or reject any bid and to annual the bidding 	process and reject all bids, at any time prior to award of contract without assigning any 	reason what-so-ever and without thereby incurring any liability to the affected bidder or 	bidders on the grounds for the department’s action.

24.	ISSUE OF LETTER OF INTENT

  - The issue of letter of intent shall constitute the intention of the department to enter in to the contract with the bidder. Letter of intent will be the issued as offered to the successful bidder.

  - The bidder shall within 10days of issue of letter of intent, give his acceptance with performance security in conformity with clause 5 of Section –V, provided with the bid documents.

25.	SIGNING OF AGREEMENT

  - The signing of agreement shall constitute the award of contract on the bidder. The agreement with the successful bidder shall be signed by the department within a period of ten days after submission of performance security as per clause 24.2 above.

  - As soon as the tender is approved by the competent authority, the bid security deposited by the successful bidder shall be compulsorily converted in to the performance security deposit, which will be held by the department till the completion of warranty period.

26.	VALIDITY OF CONTRACT

The contract shall normally be valid for two year from the date of signing of the agreement 	with an option of extension for a further period of six months subject to a maximum of 	twelve months with same rate, terms and conditions.

27.	ANNULMENT OF AWARD

Failure of the successful bidder to comply with the requirement of Clause-24 & 25 shall 	constitute sufficient ground for the annulment of the award for forfeiture of bid security, in 	which event; the department may make the award to any other bidders at the discretion 	of the department or call for new bids.

# SECTION – V

GENERAL (COMMERCIAL) CONDITIONS OF THE CONTRACT

1.	APPLICATION

The General conditions shall apply in contracts made by the BSNL for the execution of earthing works of Exchanges/BTS in Sambalpur SSA. It has been decided to take up the Earthing work at different places under the jurisdiction of General Manager, Telecom District, Sambalpur for different types of switching equipments.

2.	STANDARDS

The works to be executed under the contract shall conform to the standards prescribed in 	the construction specification.

3.	PRICES

  - Prices charged by the Contractor for the works performed under the Contract shall not be higher from the prices quoted by the Contractor in his Bid.

  - Price once fixed will remain valid for the period of contract. Increase and decrease of taxes/duties will not affect the price during this period.

4.	SUB-CONTRACTS

The contractor shall not assign, sub contract or subject the whole or any part of the works 	covered by the contract, under any circumstances.

5.	PERFORMANCE SECURITY

The successful tenderers are required to deposit 10% of tentative cost as performance security in shape of Bank Draft/Bank Guarantee/Banker’s Cheque /FDR in favour of Accounts Officer (Cash) BSNL, O/o. G.M.T.D., Sambalpur, payable at Sambalpur within ten days from the date of acceptance of tender before signing the agreement. The Bank Guarantee should be valid for 36 months & 10 days from the date of acceptance letter.

Bank Guarantee towards Performance Security

Before a Bank guarantee is accepted, an affidavit duly sworn in before a first class magistrate/Notary Public, may also be taken from the contractor that he would keep the validity of the bank guarantee intact by getting it suitably extended from time to time, at his own initiative, up to a period of six months (or any other maintenance period prescribed in the agreement) after the recorded date of completion of the work or as directed by the Engineer-in-charge and indemnifies the BSNL against any losses arising out of non-encashment of bank guarantee. Such an undertaking may be taken on a non-judicial stamp paper, as required.

The E.M.D. shall be forfeited in case of tenderer withdrawing their offer before final acceptance or fails to furnish the performance security within ten days of being called upon to do so or fails to enter to do so or fails to enter in to the prescribed agreement with the G.M.T.D., Sambalpur for execution of works after the tender is accepted.

The EMD for successful tenderer will be refunded after the work has been awarded /agreement and that of the unsuccessful bidders will be refunded after finalization of the tender process.

The performance security will be refunded on expiry of the agreement period & after completion of all works awarded during the contract period satisfactory subject to A/T Clearance. No interest will be paid to the contractor on the security deposit.

6.	ISSUE OF WORK ORDERS AND TIME LIMIT

6.1 	The work orders shall be issued by the concerned SDOs/SDEs for earthing works of Exchanges/BTS in Sambalpur SSA after examining the technical and planning details of the works to be executed.

6.2 	If due to any reason partial work order is to be issued then the same shall be issued with the approval of G.M.T.D., Sambalpur.

6.3 	The G.M.T.D., Sambalpur or his authorized officer shall mention the time limit to execute the work order after seeing the quantum of work.

6.4 	The G.M.T.D., Sambalpur reserves the right to cancel or modify the scope of work stipulated to be carried out against the work order in the event of change of plan necessitated on account of technical reasons or in the opinion of work order issuing authority, the contractor is not executing the work at the required place.

7.	EXTENSION OF THE TIME LIMIT

7.1	General

    - In each work order, the work order issuing authority shall specify the time allowed for completion of work consistent with the magnitude and urgency of work. The time allowed for carrying out the work is to be strictly observed by the contractor and shall be reckoned from seventh day from the date of issue of work order.

    - In as much as “the time being deemed to be the essence of contract”, throughout the stipulated period of contract, the work is to be proceeded with all due diligence on the part of the contractor.

7.2	Application for Extension of the Time and Sanction of Extension of Time (EOT):

    - There may be some hindrances, other than covered under force majeure, while execution of work and in such cases the contractor shall apply in writing in the prescribed Form to the engineer-in-charge for extension of time (EOT), on account of which he desires such extension within three days of occurrence of hindrance. The Engineer-in-charge shall forward the request to the competent authority with his detailed report and photocopy of the hindrance register, in the prescribed Form within three days of receipt of request from the contractor. The competent authority is empowered to grant extension of time for completion of work on certain conditions. He shall exercise such powers, if the following conditions are satisfied.

      - The application contains the ground(s), which hindered the contractor in execution of work.

      - The Engineer-in-charge is of the opinion that the grounds shown for extension of time are reasonable.

    - The competent authority shall consider the request keeping all the facts and circumstances in view and shall grant extension of time, if in his opinion, there are reasonable and sufficient grounds for granting such extension and the reasons for delay are not ascribable to the contractor.

    - The competent authority may also grant extension of time for completion of work in cases where reasons for delay are ascribable to the contractor, but such extension of time shall be with LD charges as per clause dealing with penalty for delays in execution of works. The extension of time with LD charges shall be issued under the signature of JAG level Telecom. Officer competent to grant the extension of time.

    - The competent authority shall grant EOT with time period for completion of work expressly mentioned. The sanction of the competent Authority of EOT shall be issued under the signature of the Engineer in-charge.

    - If the competent authority is of the opinion that the grounds shown by the contractors are not reasonable and sufficient and declines to grant the extension of time, the contractor cannot challenge the soundness of the opinion by reference to arbitration. The decision of the competent authority on period of extension of time or refusal for extension of time shall be final and binding on the contractor.

7.3	Grant of Extension of Time without Applications

    - There are, at times, practical difficulties like non-availability of materials, delay in providing permissions/right of way etc. reasons of which are ascribable to the department. In such cases, the Engineer-in-charge with the approval of competent authority to sanction EOT may issue extension of time suo-moto without waiting for contractor to make an application for EOT. Entry of hindrances shall be made in the Hindrance Register. The Government will, however, not be liable to the contractor for any losses of damages, costs, charges, or expenses that the contractor may in any way sustain/suffer due to delay in making the above available.

8.	MEASUREMENT, INSPECTION, TESTING AND ACCEPTANCE TESTING

  - MEASUREMENT

    - The measurement books are to be maintained by the officer-in-charge of the work or his immediate engineering subordinate not below the rank of Sub-Divisional Officer. The entry shall be made in ink. No entry shall be erased. If a mistake is made, it should be corrected by crossing out the incorrect words or figures and inserting the corrections, the corrections thus made shall be initialed & dated by the officer concerned.

    - Responsibility of taking and recording measurements: The measurement of various items of work shall be taken and recorded in the measurement book issued with each work order. The measurement shall be taken and recorded by an officer not below the rank of SDOT, supervising the work. The Sub Divisional Engineer, directly responsible for supervision of work, shall be responsible for accuracy of 100% of measurements. The Sub Divisional Engineer, is supervising officer shall be responsible for conducting test check of 100% of measurements. The Divisional Engineer shall be responsible for conducting test check of 10% of measurements.

    - Method of recording of nomenclature of items :	Complete nomenclature of items, as given in the agreement need not be reproduced in the measurement book for recording the measurements but corresponding Item Code as provided, shall be used.

    - Method of Measurements 	: The measurements of the work shall be done for activity wise as and when the item of work is ready for measurement.

    - The contractor shall sign all the measurement recorded in the measurement book. This will be considered as an acceptance by the contractor, of measurements recorded in the MB. In case contractor fails to attend at the measurements or fails to countersign or to record the difference within a week, than in any such events the measurements taken by Engineer-in-charge or by the subordinate as the case may be shall be final and binding on the contractor and the contractor shall have no right to dispute the same.

    - The Divisional Engineer before passing the bill for each work of measurement may carry out test check by re-verifying at the locations as necessary as specified in Earthing work specification and bills will be passed only when he is personally satisfied of the correctness of entries in the measurement book and also when he is satisfied of other aspects of the work as per the terms and conditions of the contract. The contractor shall provide the necessary assistance of labour for re-verifying for test check by Divisional Engineer. Separate payment shall not be made to the contractor for such test checks; however such tests shall not be more than 10% of the total work.

  - INSPECTION AND QUALITY CONTROL

8.2.1	The quality of work – The importance of quality of Earthing works cannot be over-emphasized. The quality of telecom services largely depends on the quality of work.

8.2.2 	It is imperative that the contractors are fully conversant with the construction practices and shall be fully equipped to carry out the work in accordance with the specifications. The contractors are expected and bound to ensure quality in earthing works in accordance with specifications laid down. The contractor shall engage adequate and experienced supervisors to ensure that works are carried out as per specifications and with due diligence and in a professional manner. The contractors shall satisfy himself/themselves that the work conforms to the quality specifications before offering the same to A.T. wing for Acceptance Testing. An assessment of extent of interest shown by the contractors in executing the works with requisite quality shall be recorded and used in evaluating the Contractors’ Performance Rating (CPR).

    - In addition to Acceptance testing being carried out by A.T. wing and supervision by Concerned Officers, all works at all times shall be open to inspection of the BSNL. 	The contractors shall be bound, if called upon to do so, to offer the works for inspection without any extra payment.

    - Site Order Book: The site order book is one of the primary records to be maintained by the SDO supervising the work during the course of execution of works. The noting made by officers as well as contractors, will form as basis for operation of many contractual clauses. The contractor shall remove all the defects pointed out by the department in the site order book. The site order book is to be maintained in the 	prescribed format. The contractor of their authorized representatives shall also be at liberty to note their difficulties etc. In these books. The site order books shall invariably be consulted at the time of making final payments to the contractor.

  - TESTING AND ACCEPTANCE TESTING

    - The work shall be deemed to have been completed only after the same has been accepted by the A.T. Officer. The contractor shall make test pits at the locations desired by A.T. Officer for conducting test checks without any extra payment. The contractor shall restore the pits after test measurements to its original shape. The contractor shall be responsible to provide test/measurement tools and testers for conducting various tests.

    - Scope of Acceptance and Testing:	The purpose of acceptance and testing is to verify integrity of measurement and quality of work done. The A.T. Officer shall not be responsible for recording of measurement for the purpose of billing and contractual obligations. However, if the Measurements taking by A.T. Officer are found to be lesser than the measurements recorded by the officer responsible for recording the measurements, the measurement taken by A.T. Office shall prevail without prejudice to any punitive action against the contractor as per provisions of the contract and the officer recording the measurements. The Contractor shall be obligated to remove defects/deficiencies pointed out by the A/T Officer without any additional cost to the department.

    - Offering the work for acceptance and testing: The Sub Divisional Engineer responsible for construction, after having satisfied himself of completion of work ready for A.T., shall offer the work to A.T. Officer for conducting Acceptance and Testing. The work shall be offered for A.T. as soon as part of work is complete in all respects. The work against any work order can be offered for A.T. in a number of stages.

    - The contractor shall provide labour, if demanded by the A/T officer for digging of test pits and other necessary infrastructure for carrying out the A/T work. No extra payment will be made for the digging of test pit.

- WARRANTY

  - The contractor shall warrant that the material supplied for the work shall be new and free from all defects and faults in material, workmanship and manufacture and shall be of the highest grade and consistent with the established and generally accepted standards for materials of the type ordered and shall perform in full conformity with the specifications and drawings. The contractor shall be responsible for any defects that may develop under the conditions provided by the contract and under proper use, arising from faulty materials, design or workmanship such as corrosion of the equipment, inadequate quantity of materials etc. and shall remedy such defects at his own cost when called upon to do so by the Department who shall state in writing in what respect the stores are faulty. This warranty shall survive inspection or payment for, and acceptance of goods, but shall expire except in respect of complaints notified prior to such date, twelve months after the acceptance testing.

  - If it becomes necessary for the contractor to replace or renew any defective portion/portions of the material under this clause, the provisions of the clause shall apply to the portion/portions material so replaced or renewed or until the end of the above mentioned period of twelve months, whichever may be later. If any defect is not remedied within a reasonable time, as prescribed by the department, the Department may proceed to do the work at the contractor’s risk and costs, but without prejudice to any other rights which the Department may have against the contractor in respect of such defects.

  - The work shall be guaranteed for a period of six months from the date of completion.

  - Replacement under warranty clause shall be made by the contractor free of all charges at site including freight, insurance, cost of works and other incidental charges.

  - AUDIT AND TECHNICAL EXAMINATION

  - Government shall have the right to cause an audit and technical examination of the work and the final bills of the contractor including all supporting vouchers, abstract etc. to be made after payment of the final bill and if as a result of such audit and technical examination any sum is found to have been overpaid in respect of any work done by the contractor under the contract or any work claimed by him to have been done by him under the contract and found not to have been executed, the contractor shall be liable the refund the amount if over payment and it shall be lawful for Government to recover the same from him in the manner prescribed in clause with the heading payment of bills (same chapter), or in any other manner legally permissible and if it is found that the contractor was paid less than what was due to him under the contract in respect of any work executed by him under it, the amount of such under payment shall be duly paid by Government to the contractor.

  - Provided that Government shall be entitled to recover any sum overpaid, nor the contractor shall be entitled to payment of any sum paid short where such payment have been agreed upon between the Divisional engineer or his subordinate officer on one hand and the contractor on the other under any term of the contract permitting payment for work after assessment by the G.M.T.D., Sambalpur or his sub-ordinate officer.

  - Any sum of money due and payable to the contractor (including security deposit returnable to him) under this contract may be appropriate by the Government for the payment of a sum of money arising out or under any other contract made by the contractor with the Government.

  - PAYMENT TERMS

  - PROCEDURE FOR PREPARATION AND SETTLEMENT OF BILLS

    - All items of work involved in the work order shall be completed in all respects before preferring the bills for the work. The provision of running bill has been made to make it easy for the contractor to manage his cash flow and to complete the work systematically and meaningfully in a shortest possible time. The procedure for preparation of running and final bills is enumerated as under :

        - PROCEDURE FOR PREPARATION, PROCESSING AND PAYMENT OF RUNNING BILLS

The contractor shall prepare the running bills in triplicate ensuring execution of part work in its completeness as envisaged above, correctness of rates and quantum of work and submit the bills to S.D.E. in-charge of work. The bills shall be prepared accurately and as per measurement recorded in the measurement book. The S.D.E. in-charge shall record the certificate on the running bill that the site order books have been consulted before signing the running bills. This would enable the S.D.E. to ensure whether the defects pointed during execution have been rectified or not. The S.D.E. in-charge of work shall scrutinize the bills and accord necessary certificates and submit the running bills with the documents as mentioned below to the Divisional Engineer, in-charge of work.

- First copy of bill with first copies of measurement sheets (Payable Copy)

- Second copy of bill with second copies of measurement sheets of. (Not for payment)

- Third copy of the bill with photocopies of measurement sheets (Not for payment)

      - The Divisional Engineer shall exercise the prescribed checks on the bills and accord necessary certificates on the bills. The Divisional Engineer shall retain the third copy in record and record it in the estimate file maintained in his office and send first and second copies with all documents to relevant higher office for processing of bills and release of payment.

      - The work section of planning cell shall process the bills in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provisions in the estimate etc. The bill shall be passed after necessary scrutiny by works section, by the officer competent to pass the bill. Against any bill, payment to the extent of only 90% shall be made which shall be treated as on advance to the contractor. 10% of the bill amount towards security deposit and statutory taxes as applicable to contract shall be deducted at the time of payment. The security deposit will be refunded after six months of completion of work. Account payee Cheque for the amount passed in the bill will be issued only after the contractor gives stamped receipt for the amount, if the bills are not pre-receipted. Details of payment of all the bills shall be entered into contractor’s ledger by Works section of the Planning cell.

  - PROCEDURE FOR PAYMENT FOR SUB STANDARD WORKS

The contractors are required to execute all works satisfactorily and in accordance with the specifications. If certain items of work are executed with unsound, imperfect or unskilled workmanship or with materials of any inferior description or that any materials or articles provided by him for execution of work are unsound or of a quality inferior to that contracted for or otherwise not in accordance with the contract (referred to a substandard work hereinafter), the Divisional Engineer In-charge of shall make a demand in writing specifying the work, materials or articles about which there is a complaint.

12.2 	Timely action by Construction Officers: Timely reporting and action to a great extent can prevent recurrence of sub standard work, which will be difficult or impossible to rectify later on. It is incumbent on the part of Construction Officers to point out the defects in work in time during progress of the work. The Sub Divisional Engineer responsible for execution and supervision of work shall without any loss of time submit a report of occurrence of any sub standard work to the Divisional Engineer IN-charge besides making an entry in the site order book. A notice in respect of defective work shall be given the contractor to rectify/replace /remove the sub standard item of work and also definite time period within which such rectification/removal/replacement has to be done. After expiry of the notice period, of the contractor fails to rectify/replace/remove the sub standard items, the defects shall be got rectified/replaced/removed departmentally or through some other agency at the risk and cost of the contractor.

12.3	Non-reporting of sub standard work in time on the part of Construction Officer(s) shall not in 	any way entitle the contractor to claim that the defects were not pointed out during 	execution and as such the contractor cannot be absolved of the responsibility for sub 	standard work and associated liabilities.

12.4 	Authority and procedure to accept sub standard work and payment thereof: There may be certain items of work pointed out as sub standard which may be difficult to rectify and in the opinion of the Head of SSA, the items in question will not materially deteriorate the quality of service provided by the construction, the head of SSA shall appoint committee to work out the reduced rates payable to the contractor for such sub standard work. The committee shall constitute one Divisional Engineer other than one who is directly in-charge of the work involving sub standard item of work, as Chairman and one SDE and an Accounts Officer as members. The committee shall also take into account the approximate cost of material/work pointed out as sub standard and recommend the rates payable for sub standard work, which shall not exceed 60% of the approved rates of the item in question.

12.5 	Record of sub standard work: The item adjudged as sub standard shall be entered into the measurement book with red ink.

13.	PENALTY CLAUSE

  - Delays in the contractor’s performance

    - The time allowed for completion of the work as entered in the tender shall be strictly adhered by the contractor and shall be deemed to be the most important aspect of the contract on the part of the contractor and shall be reckoned from Seventh day from issue of work order by the Department. The work shall, throughout the stipulated period of contract, be proceeded with all due diligence to achieve the desired progress uniformly, and the contractor shall pay as penalty an amount equal to 0.25 percent of the estimated amount per day of delay in completion of work, subject to a maximum of 10(ten) percent of the cost of the work awarded.

    - On any date the penalty payable as above, reaches 10 (ten) percent of the estimated cost of the work, the contractor should proceed with the work further only on getting a written instruction from the Divisional Engineer that, he is allowed to proceed further with the work. It will be in the discretion of the Divisional Engineer to allow the contactor to continue with the work on the basis of any written agreement reached between the contractor and the Divisional Engineer one of the conditions of such agreement may be a stipulation for the contractor to agree for realization of penalty for delay at a higher rate as may be agreed between the Divisional Engineer and contractor.

    - Penalty for delay in completion of the work shall be recoverable from the bills of the contractor and/or by adjustment from the security deposit or from the bills of any other contract. However, adjustment from security deposit will be made only when the contract has been terminated or at the time of final settlement of bills on completion of work.

    - In case of slow progress of the work in a section which have been awarded to a particular contractor, and the public interest does not permit extension of time limit for completion of the work, the G.M.T.D., Sambalpur will have the full right to order that the scope of the contractor may be restricted to such fraction of the whole of the work and get the balance executed at the risk and cost of the contractor. The details are given in Rescission of the contract clause of the bid document. All such payments shall be recovered from the contractor’s pending bills or security deposit/Performance BG.

    - The G.M.T.D., Sambalpur reserves the right of cancel the contract and forfeits the security deposit if the contractor fails to commence the work within 7 days after issue of the work order.

  - PENALTY FOR CAUSING INCONVENIENCE TO THE PUBLIC

    - To ensure progress during the execution of work and to cause minimum inconvenience to the public.

    - The contractor shall not be allowed to dump the waste materials in Govt. /Public place, which may cause inconvenience to Govt/Public. If the contractor does not dispose off the waste materials within 3 days of becoming empty, the department is at liberty to dispose off the materials in any manner deemed fit and also recover the amount fixed in this contract for waste materials from the bill/security deposit/along with the costs incurred by the department in disposing off such materials. The Department may also levy a penalty up to Rs. One thousand for each such default.

    - If any such penalty is levied on a contractor for more than 2 occasions, then his her contract could be terminated. In this regard the decision of G.M.T.D., Sambalpur shall be final and bind

14.	RESCISSION/TERMINATION OF CONTRACT

  - Circumstances for rescission of contract :  Under the following conditions the competent authority may rescind the contract :

a)	If the contractor commits breach of any item of terms and conditions of the contract.

b)	If the contractor suspends or abandons the execution of work and the engineer in-charge of the work comes to conclusion that work could not be completed by due date for completion or the contractor had already failed to complete the work by that date.

c)	If the contractor had been given by the officer-in-charge of work a notice in writing to rectify/replace any defective work and he/she fails to comply with the requirement within the specified period.

  - Upon rescission of the contract, the security deposit of the contractor shall be liable to be forfeited and shall be absolutely at the disposal of the Government as under :

    - Measurement of Works executed since the date of last measurement and up to the date of rescission of contract shall be taken in the presence of the contractor or his authorized representative who shall sign the same in the MB. If the contractor or his authorized representative do not turn up for joint measurement, the measurement shall be taken by the officer authorized for this purpose after expiry of due date given for joint measurement. The measurement taken by the officer so authorized shall be final and no further request for joint measurement shall be entertained.

    - The unused material (supplied by the Department) available at site shall be transported back by the department to the Telecom Store at the risk and cost of the contractor. If any such material is found damaged/lost then the penalty shall also be recovered from the contractor as per conditions in tender documents, ibid.

    - The un-executed work shall be got executed through the qualified bidder from amongst the bidders, who participated in the bidding process, by giving them offers in their order of ranking (L2, L3---) at their quoted rates. If the work was awarded on single tender basis then the department shall get the unexecuted work completed through any other contractor approved in the SSA at the approved rates of that particular section or to execute the work departmentally, as is convenient or expedient to the Department at the risk and cost of the contractor. In such a event no compensation shall be payable by the Government to the contractor towards any inconvenience/loss that he may be subjected to as a result or such an action by the Government. In this regard the decision of G.M.T.D., Sambalpur shall be final and binding. In all these cases, expenses which may be incurred in excess of the sum which would have been paid to the original contractor if the whole work had been executed by him shall be borne and paid by the original contractor and shall be deducted from any money due to him by the Government under the contract or any other account whatsoever any where in the department or from a security deposit.

    - The certificate of the Divisional Engineer in-charge of work as to the value of work done shall be final and conclusive against the contractor, provided always that action shall only be taken after giving notice in writing to the contractor.

  - TERMINATION FOR INSOLVENCY

    - The Department may at any time terminate the Contract by giving written notice to the Contractor, without compensation to the Contractor, if the Contractor becomes bankrupt or otherwise insolvent as declared by the competent court provided that such termination will not prejudice or affect any right or action or remedy which has accrued or will accrue thereafter to the Department.

  - OPTIONAL TERMINATION BY GOVERNMENT (OTHER THAN DUE DEFAULT OF THE CONTRACTOR)

    - The Government may, at any time, at its option cancel and terminate this contract by written notice to the contractor, in which even the contractor shall be entitled to payment for the work done up to the time of such cancellation and a reasonable compensation in accordance with the contract prices for any additional expenses already incurred for balance work exclusive of purchases and/or while of material, machinery and other equipment for use in or in respect of the work.

    - In the event of the termination of the contract, the contractor shall forthwith clear the site of all the contractor’s materials, machinery and equipment’s and hand over possession of the work/operations concerned to the Government or as the Government may direct.

    - The Government may, at its option, cancel or omit the execution of one or more items of work under this contract and may part of such items without any compensation whatsoever to the contractor.

  - ISSUANCE OF NOTICE

    - The Divisional Engineer in-charge of work shall issue show cause notice giving details of lapses, violation of terms and conditions of the contract, wrongful delays or suspension of work or slow progress to the contractor directing the contractor to take corrective action. A definite time schedule for corrective action shall be mentioned in the show cause notice. If the contractor fails to take corrective action within the stipulated time frame, the Divisional Engineer in-charge shall submit a draft of final notice along with a detailed report to the competent authority who had accepted the contract.

    - The final notice for rescission of contract to the contractor shall expressly state the precise date and time from which the rescission would become effective. The following safe guards shall be taken while issuing the final notice :

a)	During the period of service of notice and its effectiveness, the contractor should not be allowed to remove from the site any material/equipment belonging to the department.

b)	The contractor shall give in writing the tools and plants he would like to take away/remove from the site. Such of the materials as belong to him and which may not be required for future execution of balance work may be allowed by the Divisional Engineer in-charge of work to be removed with proper records.

c)	No new construction beneficial to the contractor shall be allowed.

- Adequate departmental security arrangement in replacement of the contractor watch and ward shall be made forthwith. Expenses on this account are recoverable from the security deposit or any amount due to the contractor.

- INDEMNITIES

  - The contractor shall at all times hold the Government harmless and indemnify from against all action, suits, proceedings, works, cost, damages, charges claims and demands of every nature and descriptions, brought or procured against the Government, its officers and employees and forthwith upon demand and without protect or demur to pay to the Government any and all losses and damages and cost (inclusive between attorney and client) and all costs incurred in endorsing this or any other indemnity or security which the Government may now or at any time have relative to the work or the contractors obligation or in protecting or endorsing its right in any suit on other legal proceeding, charges and expense and liabilities resulting from or incidental or in connection with injury, damages of the contractor or damage to property resulting from or arising out of or in any way connected with or incidental to the operations caused by the contract documents. In addition the contractor shall reimburse the Government or pay to the Government forthwith on demand without protect or demur all cost, charges and expenses and losses and damages otherwise incurred by it in consequences of any claim, damages and actions which may be brought against the Government arising out of or incidental to or in connection with the operation covered by the contractor.

  - The contractor shall at his own cost at the Government’s request defend any suit or other proceeding asserting a claim covered by this indemnity, but shall not settle, compound or compromise any suit or other finding without first consulting the Government.

- FORCE MAJEURE

  - If any time, during the continuance of this contract, the performance in whole or in part by either party or any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Herein after referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance and work under the contract shall be resumed as soon as practicable after such event may come to an end or cease to exist, and the decision of the Department as to whether the work have been so resumed or not shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such even for a period exceeding 60 days either party may, at his option terminate the contract.

  - Provided also that if the contract is terminated under this clause, the Department shall be at liberty to take over from the contractor at a price to be fixed by the Department, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in the course of execution of the contract, in possession of the contractor at the time of such termination of such portions thereof as the Department may deem fit excepting such materials bought out components and stores as the contracts may with the concurrence of the Department elect to retain.

- ARBITRATION

  - In the event of any question, dispute or difference arising under this agreement or in connection there-with except as to matter the decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration of the Chief General Manager, Orissa Telecom Circle, Bhubaneswar or in case his designation is changed or his office is abolished them in such case to the sole arbitration of the officer for the time bring entrusted whether in addition to the functions of the Chief General Manager, Orissa Telecom Circle, Bhubaneswar) or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the Chief General Manager, Orissa Telecom Circle, Bhubaneswar or the said officer is unable or unwilling to act as such to the sole arbitration or some other person appointed by the Chief General Manager, Orissa Telecom Circle, Bhubaneswar or the said officer. The agreement to appoint arbitration will be in accordance with the Arbitration and Conciliation Act, 1996. There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Government Servant he has expressed views on all or any other matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such Chief General Manager, Orissa Telecom Circle, Bhubaneswar or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

  - The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award, Subject to aforesaid Indian Arbitration and Conciliation Act 1996 and the Rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

  - The venue of the arbitration proceeding shall be the office of the Chief General Manager, Orissa Telecom Circle, Bhubaneswar or such other places as the arbitrator may decide. The following procedure shall be followed :

    - In case parties are unable to reach a settlement by themselves, the dispute should be submitted or arbitration in accordance with contract agreement.

    - There should not be a joint submission with the contractor to the sole Arbitrator.

    - Each party should submit its own claim severally and may oppose the claim put forward by the other party.

    - The onus of establishing his claims will be left to the contractor.

    - Once a claim has been included in the submission by the contractor, a reiteration or modification thereof will be opposed.

    - The ‘points of defence’ will be based on actual conditions of the contract.

    - Claims in the nature of ex-gratia payments shall not be entertained by the Arbitrator as these are not contractual.

    - The question whether these conditions are equitable shall not receive any consideration in the preparation of ‘points of defence’.

    - If the contractor includes such claims in his submission, the fact that they are not contractual will be prominently placed before the Arbitrator.

The award of the sole Arbitrator shall be final and binding on all the parties to the dispute.

- SET OFF

  - Any sum of money due and payable to the contractor (including security deposit refundable to him) under this contract may be appropriated by the Department or the Govt. or any other person or persons contracting through the Govt. or such other person or persons for payment of a sum of money arising out of this contract made by the contractor with Department or Govt. or such person or persons contracting through Govt. of India.

SECTION-VI

SPECIAL CONDITIONS OF CONTRACT

1.	GENERAL

  - The work shall be accepted only after Acceptance Testing carried out by BSNL team, designated by the Department, as per prescribed schedule and work/material passing the test successfully.

  - The G.M.T.D., Sambalpur reserves the right to disqualify such bidders who have a record of not meeting contractual obligations against earlier contracts entered into with the Department.

  - The G.M.T.D., Sambalpur reserves the right to black list a bidder for a suitable period in case he fails to honor his bid without sufficient grounds.

  - The G.M.T.D., Sambalpur reserves the right to counter offers price(s) against price(s) quoted by any bidder.

  - Any clarification issued by G.M.T.D., Sambalpur, in response to query raised by prospective bidders shall form an integral part of bid documents and it may amount to amendment of relevant clauses of the bid documents.

  - Tender will be evaluated as a single package of all the items given in the price schedule.

  - All work to be executed under the contract shall be executed under the direction and subject to the approval in all respects of by the Divisional Engineer or Site Engineer in-charge of work site who shall be entitled to direct at what point or points and what manner they are to be commenced, and from the time to time carried on.

  - The work may be split up between two or more contractors or accept any tender in part and not entirely if considered expedient by the G.M.T.D., Sambalpur.

  - If the contractor shall desire an extension of time for completion of the work on the grounds of unavoidable hindrance in execution of work or on any other ground he shall apply in writing to the Divisional Engineer within 3 days of the date of hindrance on account of which he desires such extension as aforesaid. In this regard the decision of G.M.T.D., Sambalpur shall be final.

  - If any time after the commencement of the work, the G.M.T.D., Sambalpur may feel that execution of whole or part of work, as specified in the tender is not required to be carried out, then the G.M.T.D., Sambalpur shall give notice in writing of the fact to the contractor who shall have no claim to any payment of compensation whatsoever on account of any profit or advantage which he might have derived in consequence of the full amount of the work not having been carried out neither shall he had any claim for compensation by reason of any alternations having been made in the original specifications, drawings, designs and instructions which shall involve any curtailment of the work as originally contemplated.

  - Whenever any claims against the contractor for the payment of a sum of money arises out of or under the contract, the G.M.T.D., Sambalpur shall be entitled to recover such sum by appropriating in part or whole the security deposit of the contractor, and to sell any G.M.T.D., Sambalpur promissory notes etc., forming the whole or part of such security or running/final bill pending against any contract with the G.M.T.D., Sambalpur. In the event of the security being insufficient or if no security has been taken from the contractor, then the balance or the total sum recoverable as the case may be shall be deducted from any sum then due or which at any time there after may become due to the contractor under this or any other contract with G.M.T.D., Sambalpur. Should this sum be not sufficient to cover the full amount recoverable the contract or shall pay to G.M.T.D., Sambalpur on demand the balance remaining due.

  - No official of Gazetted rank or other Gazetted officer employed in Engineering or administrative duties in an Engineering Department or any other Department of the Government of India is allowed to work as a contractor for a period of two years after his retirement from Government service without the previous permission of Government of India. This contract is liable to be cancelled if either the contractor or any of his employees is found at any time to be such a person who had not obtained the permission of Government of India as aforesaid before submission of the engagement in the contractor’s service as the case may be.

  - In the event of the contractor being, adjusted insolvent or going voluntarily into liquidation of having received order or other order under insolvency act made against him or in the case of company, of the passing of any resolution, or making of any order for winding up whether voluntarily or otherwise, or in the event of the contractor failing to comply with any of the conditions herein specified the G.M.T.D., Sambalpur shall have the power to terminate the contract without any notice.

  - Without prejudice to any of the rights or remedies under this contract, if the contractor dies, the G.M.T.D., Sambalpur on behalf of the President can terminate the contract without compensation to the contractor. However, G.M.T.D., Sambalpur, at his discretion may permit contractor’s heirs to perform the duties or engagements of the contractor under the contract, in case of his death. In this regard the decision of G.M.T.D., Sambalpur shall be the final.

  - In the event of the contractor, winding up his company on account of transfer or merger of his company with any other, the contractor shall make it one of the terms and stipulations of the contract for the transfer of his properties and business, that such other person or company, shall continue to perform the duties or engagement of the contractor under this contract and be subject to his liabilities there under.

  - Interpretation of the contract document :

    - The representative of G.M.T.D., Sambalpur and the contractor shall in so far as possible by mutual consultation, try to decide upon the meaning and intent of the contract document. In-case of disagreement the matter shall be referred to G.M.T.D., Sambalpur whose decision shall be final. Any change in the contract documents shall be set forth in writing by the representative of the parties hereto. It shall be the contractor’s responsibility to thoroughly familiarize all of these supervisory personnel with the contents of all the contract documents.

  - NOTIFICATION

1.17.1	The contractor shall give in writing to the proper person or authority with a copy to the Divisional Engineer such notification as may be mandatory or necessary in connection with the commencement, suspension, resumption, performance and/or completion of the contracted work. All notice shall be given sufficiently in advance of the proposed operation to permit proper co-relation of activities and the contractor shall keep all proper persons or authorities involved and advised of the progress of operations through out the performance of the work and/or with such other information and/or supporting figure and data as may from time to time as director or required.

  - SHUT DOWN ON ACCOUNT OF WEATHER CONDITIONS

    - The contractor shall not be entitled to any compensation whatsoever by reason of suspension of the whole or any part of the work made necessary by the Government or deemed advisable on account of bad weather conditions or other Force majeure conditions.

2.	STORES SUPPLIED BY THE DEPARTMENT

  - At no point of time the contractor shall be issued stores of value more than the contractor’s material security as per clause number 5 of section-V. If at all the work required more amount of materials to issue to the contractor, then the security shall suitably be revised before the issue of the store and the contractor will not have any objection to it.

  - The contractor shall transport (including loading and unloading) all stores issued to him from sub-divisional store depot, to the site of work at his own cost. The Department shall not pay any transportation charges to the contractor.

  - The contractor shall ensure that only the required materials are issued to him. Upon completion of work, the contractor shall return to the G.M.T.D., Sambalpur at the later designated store in good condition, free of charges, any unused materials that were supplied by the Department.

3.	EASEMENTS, PERMITS, LICENCES AND OTHER FACILITIES

  - The department shall obtain at his own cost all easements, permits and license necessary to do its work.

  - The department shall be fully responsible for angling and obtaining all necessary easement, permits and licenses, for moving all construction equipment, tools, supplied materials and men across Railways and Highways, across public or private road as well as premises of any public utility within the right of user and for bearing all costs that may be incurred in respect of the same.

  - The contractor is to confine his operation to the provided construction “Right of User” unless it has made other arrangement with the particular property owners and /or tenants such other arrangements shall be entirely at the responsibility of the contractor as to cost and arrangement as also breach and claim and shall be entitled with a copy to the Divisional Engineer.

4.	QUALITY OF WORK

The Department shall be the final judge of the quality of the work and the satisfaction of the department in respect thereof set forth in the contract documents. Laxity or failure to enforce compliance with the contract documents by the Department and / or its representative shall not manifest a change or intent of waiver, the intention being that, not withstanding the same, the contractor shall be and remain responsible for complete and proper compliance with the contract documents and the specification there in. The representative of G.M.T.D., Sambalpur has the right to prohibit the use of men and any tools, materials and equipment which in his opinion do not produce work or performance meet the requirement of the contract documents.

5.	TAXES AND DUTIES

Contractor shall pay all rates, levies, fees royalties, taxes and duties payable or arising from out of, by virtue of or in connection with and/or incidental to the contract or any of the obligations of the parties in terms of the contractor documents and/or in respect of the works or operations or any part thereof to be performed by the contractor and the contractor shall indemnify and keep indemnified the Department from and against the same or any default by the contractor in the payment thereof. Service tax will be paid by BSNL as extra, as applicable.

6.	PROTECTION OF LIFE AND PROPERTY AND EXISTING FACILITIES

  - The contractor is fully responsible for taking all possible safety precaution during preparation for and actual performance of the works and for keeping the construction site in a reasonable safe condition. The contractor shall protect all life and property from damage or losses resulting from his construction operations and shall minimize the disturbance and inconvenience to the public.

  - The contractor shall be solely responsible for location through approved non-destructive means and ensuring the safety of all existing underground pipeline, electrical cables, and or other structures.

  - The contractor shall be solely liable for all expense for and in respect of repairs and/or damage occasioned by injury of or damage to such underground and above structures or other properties and under take to indemnify the Department from and against all actions, cause of actions, damages, claims and demands what-so-ever, either in law or in equity and all losses and damages and costs (inclusive between attorney and client), charges and expenses in connection therewith and/or incidental thereto. The contractor shall take all responsibilities and risk in crossing other pipelines and cables and shall be responsible for protecting all such existing pipelines, poles, electric lines, sewers, cables or other facilities from damage by the contractor’s operation in connection with the work. The contractor without cost of the Department shall promptly repair any damage incurred.

  - The current market value of any commodities lost as a result of any damage to the aforesaid existing facilities shall be paid by the contractor together with such additional sums necessary to liquidate the personal of property damages, resulting there from.

7.	LABOUR WELFARE MEASURES AND WORKMAN COMPENSATION

  - OBTAINING LICENCE BEFORE COMMENCEMENT OF WORK

The contractor shall obtain a valid labour licence under the Contract Labour (R&A) Act 1970 and the Contract Labour (Regulation and Abolition) Central Rules 1971, before commencement of the work, and continue to have a valid licence until the completion of work. The contractor shall also abide by the provisions of the Child Labour (Prohibition and Regulation) Act 1986. Any failure to fulfill this requirement shall attract the penal provisions of this contact arising out of the resultant non-execution of work.

7.2	CONTRACTORS LABOUR REGULATIONS

    - WORKING HOURS

      - Normally working hours of an employee should not exceed 8 hours a day. The working day shall be so arranged that inclusive of interval for rest, if any, it shall not spread over more than 12 hours on any day.

      - When a worker is made to work for more than 8 hours on any day or for more than 48 hours in any week he shall be paid over time for the extra hours put in by him.

      - Every worker shall be given a weekly holiday normally on a Sunday, in accordance with the provisions of Minimum Wages (Central) Rules 1960, as amended from time to time, irrespective of whether such worker is governed by the Minimum Wages Act or not.

      - Where the minimum wages prescribed by the Government, under the Minimum Wages Act, are not inclusive of the wages for the weekly day of rest, the worker shall be entitled to rest day wages, at the rate applicable to the next preceding day, provided he has worked under the same contractor for a continuous period of not less than 6 days.

      - Where a contractor is permitted by the Engineer-in-charge to allow a worker to work on a normal weekly holiday, he shall grant a substituted holiday to him for the whole day, on one of the five days, immediately before or after the normal weekly holiday, and pay wages to such worker for the work performed on the normal weekly holiday at the overtime rate.

    - DISPLAY OF NOTICE REGARDING WAGES ETC.

The contractor shall, before he commences his work on contract, display and correctly maintain and continue to display and correctly maintain, in a clear and legible condition in conspicuous places on the work, notices in English and in local Indian languages spoken by the majority of the workers, giving the minimum rates of the wages fixed under Minimum Wages Act the actual wages being paid, the hours of work which such wage are earned, wages periods, dates of payments of wages and other relevant information.

7.2.3	PAYMENT OF WAGES

      - The contractor shall fix wage periods in respect of which wages shall be payable.

      - No wage period shall exceed one month.

      - The wages of every person employed as contract labour in an establishment or by a 	contractor, where less than one thousand such persons are employed, shall be paid before 	the expiry of seventh day and in other cases before the expiry of tenth day after the last 	day of the wage period in respect of which the wages are payable.

      - Where the employment of any worker is terminated by or on behalf of the contractor, the 	wages earned by him shall be paid before the expiry of the second working day from the 	date on which his employment is terminated.

      - All payment of wages shall be made on a working day at the work premises and during the 	working time and on a date notified in advance and in case the work is completed before 	the expiry of the wage period, final payment shall be made within 48 hours of the last 	working day.

      - Wages due to every worker shall be paid to him direct or to other person authorized by him 	in this behalf.

      - All wages shall be paid in current coin or currency or in both.

      - Wages shall be paid without any deductions of any kind except those specified by the 	Central Government by general or special order in this behalf or permissible under the 	Payment of Wages Act 1956.

      - A notice showing the wages period and the place and time of disbursement of wages shall 	be displayed at the place of work and a copy sent by the contractor to the Engineer-in-	charge under acknowledgement.

      - It shall be the duty of the contractor to ensure the disbursement of wages in 	presence of the site Engineer or any other authorized representative of the Engineer-in-	Charge who will be required to be present at the place and time of the disbursement of 	wages by the contractor to workmen.

      - The contractor shall obtain from the site Engineer or any other authorized 	representative of the Engineer-in-charge, as the case may be, a certificate under this 	signature at the end of the entries in the “Register of Wages” or the “Wage-cum-Muster 	Roll”, as the case may be, in the following form :-

      - “Certified that the amount shown in the column No…….. has been paid to the 	workman concerned in my presence on ………………………..at……………...”

7.2.4	FINES AND DEDUCTIONS WHICH MAY BE MADE FROM WAGES

      - The wages of a worker shall be paid to him without any deduction of any kind 			except the following :

      - (a)  Fines.

      - (b)  Deductions for absence from duty i.e. from the place or the places where by 	the 		terms of his employment he is required to work. The amount of deduction shall be in 		proportion to the period for which he was absent.

      - (c) Deductions for damage to or loss of goods expressly entrusted to the employed 		person for custody, or for loss of money or any other deductions which he is required 		to 	account, where such damage or loss is directly attributable to his neglect or 		default.

      - Deduction for recovery of advances or for adjustment of overpayment of wages, 			advances granted shall be entered in a register.

      - Any other deductions, which the Central Government may from time to time, allow.

      - No fines should be imposed on any worker save in respect of such acts and 			omissions on his part as have been approved of by the Labour Commissioner.

      - No fine shall be imposed on a worker and no deduction for damage or loss shall be 		made from his wages until the worker has been given an opportunity of showing 			cause 	against such fines or deductions.

      - Every fine shall be deemed to have been imposed on the day of the act or omission 		in respect of which it was imposed.

      - LABOUR RECORDS

      - The contractor shall maintain a Register of Persons employed on work on contract in 		Form XIII of the Contract Labour (R&A) Central Rules 1971.

      - The contractor shall maintain a Muster Roll register in respect of all workmen 			employed by him on the work under contract in Form XVI of the CL (R&A) Rules 1971.

      - The contractor shall maintain a Wage Register in respect of all workmen employed 		by him on the work under contract in form XVII of the CL (R&A) Rules 1971.

      - Register of accidents - The contractor shall maintain a register of accidents in such 		form as may be convenient at the work place but the same shall include the 			following 	particulars :

      - (a)  Full particulars of the laborers who met with accident.

      - (b)  Rate of Wages.

      - (c)  Sex

      - Age

      - Nature of accident and cause of accident

      - Time and date of accident

      - Date and time when admitted in hospital

      - Date of discharge from the hospital

      - Period of treatment and result of treatment

      - Percentage of loss of earning capacity and disability as assessed by Medical 			Officer.

      - Claim required to be paid under Workmen’s Compensation Act.

      - Date of payment of compensation.

      - Amount paid with details of the person to whom the same was paid.

      - Authority by whom the compensation was assessed

      - Remarks.

      - The contractor shall maintain a Register of Fines in the Form XII of the CL (R&A) Rules 		1971 the contractor shall display in a good condition and in a conspicuous place of 		work the approved list of acts and omission for which fines can be imposed.

      - The contractor shall maintain a Register of deductions for damage or loss in Form XX 		of the CL (R&A) Rules 1971.

      - The contractor shall maintain a Register of Advances in Form XXIII of the CL (R&A) 			Rules 1971.

      - The contractor shall maintain a Register of Overtime in Form XXIII of the CL (R&A) Rules 		1971.

      - 7.2.6	ATTENDANCE CARD-CUM WAGE SLIP

      - The contractor shall issue an Attendance card cum wage slip to each workman 			employed by him.

      - The card shall be valid for each wage period.

      - The contractor shall mark the attendance of each workman on the card twice each 		day, once at the commencement of the day and again after the rest interval, before 		he actually starts work.

      - The card shall remain in possession of the worker during the wage period under 			reference.

      - The contractor shall complete the wage slip portion on the reverse of the card at 			least a day prior to the disbursement of wages in respect of the wage period under 		reference.

      - The contractor shall obtain the signature or thumb impression of the worker on the 		wage slip at the time of disbursement of wages and retain the card with him.

7.2.7.	EMPLOYMENT CARD

The contractor shall issue an employment Card in the Form XIV of CL (R&A) Central Rules   	1971 to each worker within three days of the employment of the worker.

    - SERVICE CERTIFICATE

On termination of employment for any reason whatsoever the contractor shall issue to the workman whose services have been terminated, a Service Certificate in the Form XV of the CL (R&A) Central Rules 1971.

    - PRESERVATION OF LABOUR RECORDS

The labour records and records of Fines and deductions shall be preserved in original for a period of three years from the date of last entries made in them and shall be made available for inspection by the Engineer-in-charge or Labour Officer or any other officers authorized by the Ministry of Communication in this behalf.

  - POWER OF LABOUR OFFICER TO MAKE INVESTIGATIONS OR ENQUIRY

The labour officer or any person authorized by the Central Government on their behalf shall have power to make enquiries with a view to ascertaining and enforcing due and proper observance of Fair Wage Clauses and provisions of these Regulations. He shall investigate into any complaint regarding the default made by the contractor in regard to such provision.

  - REPORT OF INVESTIGATING OFFICER AND ACTION THEREON

The Labour Officer or other persons authorized as aforesaid shall submit a report of result of his investigation or enquiry to the Engineer in-charge indicating the extent, if any, to which the default has been committed with a note that necessary deductions from the contractor’s bill be made and the wages and other dues be paid to the labourers concerned. The Engineer in-charge shall arrange payments to the labour concerned within 45 days from the receipt of the report from the Labour Officer or the authorized officer as the case may be.

  - INSPECTION OF BOOKS & SLIPS

The contractor shall allow inspection of all the prescribed labour records to any of his workers or to his agent at a convenient time and place after due notice is received or to the Labour Officer or any other person, authorized by the Central Government on his behalf.

  - SUBMISSION OF RETURNS

The contractor shall submit periodical returns as may be specified from time to time.

  - AMENDMENTS

The Central Government may from time to time add to or amend the regulations and on any question as to the application/interpretation or effect of those regulations.

  - INSURANCE :

  - Without limiting any of his other obligations or liabilities, the contractor shall, at his won expense, take and keep comprehensive insurance including third party risk for the plant, machinery, men, materials etc. brought  to the site and for all the work during the execution. The contractor shall also take out workmen’s compensations insurance as required by law and undertake to indemnify and keep indemnified the Government from and against all manner of claims and demands and losses and damages and cost (including between attorney and client) charges and expenses that may arise in regard the same or that the Government may suffer or incur with respect to end/or incidental to the same. The contractor shall have to furnish originals and/or attested copies as required by the department of the policies of insurance taken within 15 (fifteen) days of being called upon to do so together with all premium receipts and other papers related thereto which the department may require.

- COMPLIANCE WITH LAWS AND REGULATIONS

  - During the performance of the works the contractor shall at his own cost and initiative fully comply with all applicable laws of the land and with any and all applicable by-laws rules, regulations and orders and any other provisions having the force of law made or promulgated or deemed to be made or promulgated by the Government, Governmental agency or department, municipal board, government or other regulator or authorized body or persons and shall provide all certificates of compliance therewith as may be required by such applicable law. By-laws, Rules, Regulations, orders and / or provisions. The contractor shall assume full responsibility for the payment of all contributions and pay roll taxes, as to its employees, servants or agents engaged in the performance of the work specified in the contractor documents. If the contractor shall require any assignee or sub-contractor to sham any portion of the work to be performed hereunder may be assigned, sub-leased or sub-contracted to comply with the provisions of the clause and in this connection the contractor agrees as to undertake to save and hold the Government harmless and indemnified from and against any/all penalties, actions, suits, losses and damages, claims and demands and costs (inclusive between attorney and client) charges and expenses whatsoever arising out or occasioned, indirectly or directly, by failure of the contractor or any assignee or sub-contractor to make full and proper compliance with the said by-laws, Rules, Regulations, Laws and Order and provisions as aforesaid.

10.	TOOLS AND PLANTS

The contractor shall provide at his own cost all tools, plants appliances, implements, measuring instruments etc. required for proper execution of works. The contractor shall also supply without charge the requisite number of persons with the means and materials necessary for the purpose of setting out works, counting, weighing and assisting the measurements for examination at any time and from time to time. The contractor shall be responsible to make all arrangements, at his own cost for de-watering or trenches. Failing his so doing the same may be provided by the Engineer-in-charge at the expense of the contractor and the expenses shall be deducted from any money due to the contractor under this contract or otherwise.

SECTION-VII

## SCOPE OF WORK AND JURISDICTION OF CONTRACT

- The work against this tender will be executed under the overall control of the General Manager, Telecom District, Sambalpur. The G.M.T.D., Sambalpur reserves the right to distribute the works among more than one bidder keeping in view of the vast areas of Sambalpur SSA.

- The successful Tenders will be required to sign an agreement as specified agreement form with the G.M.T.D., Sambalpur for carrying out the aforesaid works for Sambalpur SSA or as distributed by discretion of G.M.T.D., Sambalpur. After a tenderer has been declared successful by the G.M.T.D., Sambalpur, the successful tenderer and the G.M.T.D., Sambalpur will be the two contracting parties for all purposes.

A)	GUIDELINES

1.	The tenderer must carefully read all the Terms, Conditions and specification before filling up the tender schedule and the rate sheet.

2.	The tenderer should fill up the tender document in simple and straightforward manner. No pre-condition is allowed. Tenderer imposing any extra condition is liable to be rejected.

3.	Canvassing in any connection with the tender is strictly prohibited and the tender submitted by the contractors who resort to canvassing will be liable for rejection.

4.	The tenderer should give his/her/the firm full present and permanent address (proprietor’s name in case of the Firm) for all future correspondence. The Department is not responsible for any kind of postal delay.

B)	QUANTUM OF WORK

- As a whole the quantum of earthing work to be carried out are approximately 30nos. during the period of agreement.

- The above figures are approximate and the actual work to be carried out may vary as per requirement.

  - The G.M.T.D., Sambalpur will have right to increase or decrease up to 50% of the quantum of work specified in the schedule of requirements without any change in the unit price or other terms and conditions at the time of award of contract.

  - In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the G.M.T.D., Sambalpur reserves the right to increase up to 100% of the quantum of works specified in the schedule of requirement contained in the running tender /contract period of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender. This will be also applicable for extended period (if required).

###### C) VALIDITY OF CONTRACT

The contract shall normally be valid for two year from the date of signing of the agreement 	with an option of extension for a further period of one year in the same rate, terms and 	condition.

D)	PERIOD OF VALIDITY OF BIDS

Bid shall remain valid for 180days from the date of opening of the Financial Bid.

E)	TENDER SCHEDULE AND RATES TO BE QUOTED

1.	The tender schedule should be read in conjunction with construction specifications, terms 	and conditions of the tender and conditions of the contract and the tenderer shall be 	deemed to have carefully examined all these documents. It is further understood and 	agreed that the contractor by careful examination satisfied himself to the nature and 	location of works, the site condition, the character of the equipment and facilities needed 	preliminary to and during the execution of work, the general and local conditions, the 	labour conditions prevailing thereof, the detailed description of work to be done and the 	way in which they are to be carried out within the time schedule and all other matter which 	can, in any way, affect the work under the contract before giving his tender rates. The 	specifications for entire work are to be read together and not in isolation.

2.	The tenderer shall quote the rate both in words and figures.

3.	The rates should be quoted both in figure and words and the word “Rs.” Should be written 	before the figures of Rupees and word “P” after decimal figure e.g. Rs.5.25P and in case of 	words, the word Rupees should precede and the word paisa should be written at the end 	e.g. Rupees five and twenty five paisa only.

4.	In case of illiterate tenderer, the rate tendered should be attested by the witness. The rates 	quoted in words will have precedence over the rates quoted in figures. If the rates are not 	quoted in words, that tenders are liable to be rejected.

5.	All corrections, addition and alterations in the entries and tender papers will be signed in full 	by the tenderer with date. No error or overwriting shall be permissible unless attested under 	the signature of the tenderer with date.

6.	Rates should be quoted in the form enclosed as per section –XVI of tender schedule.

F)	NEAR RELATIVE CERTIFICATE

The tenderer who have any near relative posted in BSNL / DOT/DTS/MTNL must submit full 	particulars of such relatives; otherwise such tenders are likely to be rejected by G.M.T.D., 	Sambalpur. Certificate to be given by the contractor in respect of no near relative (s) in 	BSNL of the contractor is available at section-XIV, failing which the tender will be rejected.

G)	G E N E R A L

01.	The tenders shall be evaluated by a committee to be appointed by the G.M.T.D., 	Sambalpur.

i)	BSNL shall evaluate the bids to determine whether they are complete, whether any-	computational errors have been made, whether required sureties have been furnished, 	whether the documents have been properly signed and whether the bids are generally in 	order.

ii)	If there is discrepancy between words and figures, the amount in words shall prevail. If the 	contractor does not accept the correction of errors, his bid shall be rejected.

iii)	A bid, determined as substantially non-responsive will be rejected by the BSNL and shall not 	subsequent to the bid opening be made responsive by the bidder by correction of the non-	conformity.

iv)	The G.M.T.D., Sambalpur may waive any minor infirmity or non-conformity or irregularity in a 	bid, which does not constitute a material deviation, provided such waiver, does not 	prejudice or affect the relative ranking of the bidder.

v)	The tender shall be evaluated based on the rates quoted in financial bid on the basis of 	overall lowest bidder for total work (based on approximate quantities mentioned in the 	financial bid). In case of more than one tenderer at the same lowest rates, the tenderer 	who has got more experience shall be preferred over others.

vi)	The G.M.T.D., Sambalpur shall not be responsible for any escalation in prices of labour or 	materials, machinery, equipment, etc. whatsoever or any increase in any duties, levies, or 	taxes in respect thereof whatsoever and the contractor rates and contractor’s obligation 	shall remain unaffected by such escalation and/or increase.

02.	The G.M.T.D., Sambalpur reserves the right to reject one or all the tenders without assigning 	any reason thereof.

03.	The G.M.T.D., Sambalpur reserves the right to cancel/reject any tender if the same is found 	to be containing any false/fabricated document/statement. Original of all documents shall 	be produced, if required, at the time of scrutiny.

04.	The G.M.T.D., Sambalpur reserves the right to apportion the total work amongst a number of 	contractors at the approved rates and on uniform terms and conditions.

05.	The G.M.T.D., Sambalpur reserves the right to carry out a part or whole of the work through 	any other contractor on job basis at the approved rates.

06.	Transportation of labour from the site to another site from one area to other areas will be 	the   	responsibility of the contractor.

07.	All tools and tackles for the work shall be provided by the contractor.

08.	The G.M.T.D., Sambalpur will not be responsible to provide residential accommodation to 	the labourers employed by the contractor. All arrangement in this regard will be the 	responsibility of the contractor.

09.	The G.M.T.D., Sambalpur reserves the right to increase or decrease or delete the scope of 	the work without assigning any reasons.

10.	The surplus stores are to be handed over to the Telecom Authority at the exchange and the 	expenditure in this connection shall be borne by the contractor.

11.	Conditional and incomplete tenders are liable for rejection.

12.	Tender without requisite documents & EMD will summarily reject.

13.	Tender without requisite experience certificate will be summarily rejected.

14.	The G.M.T.D., Sambalpur will not be responsible for any misprinting by the newspaper 	concerned. Tenderers are to contact the tendering authority and verify the facts in case of 	confusion.

15.	Issue of tender document does not automatically mean that the tenderer is qualified for 	the 	ward of the contract. These will be reviewed and examined during the evaluation of the bid.

16.	The G.M.T.D. is not bound to accept the lowest tender.

17.	The Department is not responsible for non-receipt/late receipt and loss of tender 	documents.

18.	In case of any dispute arising out of the contract between the two contracting parties, the 	decision of the G.M.T.D., Sambalpur shall be final and binding.

Divisional Engineer (Plg)

O/o. G.M.T.D., Sambalpur

SECTION - VIII

CONSTRUCTION SPECIFICATION & JOB DESCRIPTION

1.	Digging earthing pit of size 3mtr x 3mtr x 4mtr (depth) in any kind of soil. Removing of excavated soil to distance places from exchange by means of transportation and the transportation charges will bear by the Contractor.  Dewatering of earthing pit if required.

2.	Re-instatement of the base of earthing pit with finely sieved good quality soil brought from outside up to 600mm height.

3.	Positioning four number of copper plate electrodes of size 600mm x 600mm x 6mm (thickness).

4.	Inter connection of copper plates by BTC wire of size 19/1.6mm dia as required and instructions of the site engineer of required length and making the joints by copper welding and using copper electrodes.

5.	Drawing of BTC wire of size 19/1.6mm dia from earthing pit copper plate to the switch room at earth distribution point as required and instruction of the Site Engineer of required length. The earth distribution plate should be of copper plate of size 400mm x 100mm x 10mm (thickness). The cables should be terminated by using copper lugs and brass nuts and bolts. Two nos. of Insulator will be fitted on the wall of the switch room and the earth distribution plate will be fixed properly on it.

6.	Filling the earthing pit with finely sieved good quality soil brought from outside, charcoal, salt and good quality sand in alternate layers of size 600mm depth. Each layer is to be watered and rammed so that it is compact and cohesive.

7.	G. I. Pipe of 2” dia size with funnel at the top for watering the earth pit of length 3.5 mtrs. is to be placed inside the earthing pit.

8.	All inter connections are to be made by Copper cable of different sizes as per instructions of the Site In charge by using Brass Nuts and bolts of size 18mm x 35mm length and using copper lugs. The joints are to be properly wrapped and sealed by waterproof tape to avoid any ingress of moisture at the joint.

9.	Copper plate earthing for switching equipment of one exchange, 4nos. of Copper Plate of size 600mm x 600mm x 6mm (thickness) required. 12 Cum of finely sieved good quality soil required, 12 cum of fine quality sand required and 500 kgs. of Charcoal  & 300 Kgs. Of Salt required. One earth distribution copper plate of size 400mm x 100mm x 10mm (thickness) required. One number of G. I Pipe of 2” dia size of length 3.5 mtr fitted with a funnel at the top is required. BTC wire and copper cable of different sizes and different length will be required as per instruction of Site In-charge. All materials will be supplied by the Contractor.

10.	Earth resistance should be less than 0.5 Ohms.

11.	Constructional details as per diagram enclosed.

EXCHANGE EARTHING (LAYOUT & INTERCONNECTION)

| EARTHING PIT SPECIFICATION |
| --- |
| 40 CM |  | SOIL |
| 60 CM |  | SAND |
| 60 CM |  | CHARCOAL |
| 60 CM |  | SOIL |
| 60 CM |  | SAND |
| 60 CM |  | CHARCOAL |
| 60 CM |  | SOIL |

SECTION - IX

PROFORMA FOR AGREEMENT

This agreement made on the………the day of (month)………. (Year)………… Between …………………………………Dy.General Manager O/o GMTD, Sambalpur for and on behalf of General Manager ,Telecom District,BSNL,Sambalpur and Sri …………………………………......................

Son of ……………………R/o……………P.S………….…...Dist. ……………….for Earthing Works for Exchanges/BTS in Sambalpur SSA under the jurisdiction of GMTD, Sambalpur. .

Where as in response to Tender Notice No…………………………………… issued by GMTD, Sambalpur, Shri …………………… has been declared as successful Tenderer   vide Letter No………………Dated ………………of GMTD, Sambalpur for Earthing Works for Exchanges/BTS in Sambalpur SSA .

Shri …………………………….hereby undertake to carryout the work of  Earthing Works for Exchanges/BTS in Sambalpur SSA for a period of two year starting from the date of execution of the agreement at the rate as per the tender finalized in his favour and according to the terms and conditions laid down in the approved tender.

Shri ………………………………..also undertake to carryout the work through out the year at the same approved rate as per Annexure-I and according to the Departmental Standards and up to the satisfaction of the GMTD, Sambalpur.

Shri …………………………………further undertake to fully abide by the terms and conditions as stipulated in the Tender Notice No………………………..Dated ………………referred to above and shall make good any loss caused to the Telecom District any other Government Department or Private Body or to the public.

Shri ………………………………has deposited Rs……… (Rupees……………………….….only) as E.M.D. in shape of B.C./B.D./P.O No………………………., Dated…………………

Shri …………………………….further has deposited Rs…………………..(Rupees …………………only) as Performance Security Money (10% of Tentative Cost of Tender i.e. Rs………………) in shape of BC/BD/PO/BG/FDR vide No…………, Dated ………………..

Signature of Contractor				                                Dy.General Manager, BSNL

Telecom District, Sambalpur

Name…………………………………….	                                           Name………………………………………

Address………………………………….	                                          Address…………………………………….

…………………………………...		                                          ……………………………………..

Witness…………………………………..	                                          Witness…………………………………….

Name……………………………………	                                          Name………………..……………………..

Address………………………………….	                                         Address...…………………………………...

SECTION- X

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number ………………………………………………………………………………………….

Subject:	Authorization for attending bid opening on …………………………….. (date) in the tender of ………………………………………………………………….…………………………..

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of …………………………………………………………………………. (bidder) in order of preference given below.

Order of Preference 					Name			Specimen Signatures

I.

II.

Alternate

Representative

Signatures of Bidder

Or

Officer authorized to sign the bid

documents on behalf of the bidder.

No.	1.	Maximum of two representatives will be permitted to attend bid opening. In cases where it is restricted to one, first preference will be allowed. Alternate representative will be permitted when regular representatives are not able to attend.

2.	Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not recovered.

SECTION-XI

LIST OF THE DOCUMENTS TO BE SUBMITTED ALONG WITH QUALIFYING BID

The tenderer will have to submit the following documents/deposits with the Technical Bid. Any bid not accompanying the below mentioned documents/deposits will be liable to be rejected:  All the pages of the tender document must be signed by the bidder with date and seal.

01.	Bid Security is as per NIT for each Section.

02.	Tender document(s) in original duly filled in and signed by tenderer or its authorized representative along with seal on each page. All corrections and over-writing must be initialed with date by the tenderer or the authorized representative.

03.	The copy of valid contractor’s licence.

04.	The copy of PAN card.

05.	The copy of valid VATCC with VAT registration certificate.

06.	The copy of valid labour licence.

07.	The copy of valid EPF registration certificate with proof of up to date payment.

08.	The copy of valid Workmen’s Compensation Insurance or ESI certificate.

09.	The original Bank Solvency Certificate of Rs.10.00 Lakh should be issued after date of publication of NIT.

10.	The copy of valid Service tax registration certificate with proof of up to date payment& return.

11.	The copy of experience certificate as per NIT, issued by an officer not below the rank of TDM/DGM of BSNL.

12.	All documents should be attested by a Gazetted officer/Notary Public and should also be singed by the bidder with date and seal.

13.	The copy of registration of firm, authenticated copy of partnership deed in cases of partnership firm.

14.	Bid form, duly filled in, as per Section II

15.	Tenderer’s profile duly filled in as per section III of the tender document.

16.	Original “power of attorney” incase person other than the tenderer has signed the tender documents.

SECTION-XII

CHECK LIST

| 01 | Attested Xerox copy of valid contractor license |  |
| --- | --- | --- |
| 02 | Attested Xerox copy of valid VATCC with VAT registration certificate |  |
| 03 | Attested Xerox copy of PAN Card. In case of proprietor ship PAN should be in the Individual’s name and in case of firm/partnership the PAN in firm’s name |  |
| 04 | Attested Xerox copy of Valid Labour License |  |
| 05 | Original Bank Solvency Certificate worth Rs.10.00 Lakhs should be issued after the date of publication of NIT |  |
| 06 | Attested Xerox copy of Valid EPF registration Certificate with proof of up to date payment |  |
| 07 | Attested Xerox copy of Valid Workman’s compensation insurance or ESI certificate |  |
| 08 | Attested Xerox copy of Valid Service tax registration certificate with proof of up to date payment & returns. |  |
| 09 | Attested Xerox copy Experience Certificate of successfully completed the Earthing works of Telephone Exchanges/BTS in BSNL in last two financial years as per NIT, issued by an officer not below the equivalent rank of TDM/DGM of BSNL (along with concerned copy of work order ). |  |
| 10 | The Cost of Tender Paper & EMD as per NIT in favor of Accounts Officer (CASH), BSNL O/o.G.M.T.D.Sambalpur in shape of DD / BC/PO. |  |
| 11 | The bidder should submit an undertaking to the effect that none of their relatives are working in BSNL as per the format in Section-XIV. |  |
| 12 | Attested Xerox copy of authenticated partnership deed, in case of partnership firm and power of attorney to the representative of the firm to operate the tender |  |
| 13 | Original “Power of Attorney” in case of person other than the tenderer has signed the tender document. |  |
| 14 | Tender document should be signed by the bidder on all pages with date and seal. |  |
| 15 | Tenderers Profile (Section-III). |  |
| 16 | Financial Bid (Section-XVI). |  |
| 17 | No. of employee such as supervising and technical list is to be attached. |  |
| 18 | Bid Form (Section-II) |  |
| 19 | Undertaking & Declaration (Section-XV) |  |
| 20 | Declaration Regarding Blacklisting (Section-XIII) |  |

Signature of bidder with seal

SECTION-XIII

DECLARATION     REGARDING BLACKLISTING / DEBARRING FROM TAKING PART IN GOVERNMENT TENDER BY DOT /BSNL/ MTNL / GOVT. DEPT. / PSU

(To be executed on non-judicial stamp paper Of Rs. 20/- by the tenderer)

I/We:-

Proprietor/Partner/ Director(s) of M/s ………………………………………………………………………………

Hereby declare that the firm/ company namely M/s ……………………………………………… Has not been blacklisted or debarred in the past by DOT/BSNL/MTNL or any other Government / Semi government organization from taking part in the Govt. tenders.

In case the above information is found false I/we are fully aware that the tender / contract will be rejected / cancelled by the G.M.T.D. BSNL ,SAMBALPUR & EMD /SD shall stand forfeited along with any suitable action as deemed fit.

Place							Signature

Seal of the firm

Capacity in which is signed

Date							Name Address of the firm:

SECTION - XIV

PROFORMA FOR NO NEAR RELATIVES CERTIFICATE IN BSNL

DECLARATION-I

Certificate to be given by the contractor in respect of no near

Relative (s) in BSNL of the contractor.

I, …………………………………………………………………………………………………………..

S/o………………………………………………………………………………………………….....resident of

………………………………………………………………………………………………...…..hereby certify that none of my near relative(s) as defined below is/are employed any where in BSNL as defined below. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit, without any prior intimation to me.

Signature of the tenderer with seal

Note:	In case of proprietorship firm, certificate will be given by the proprietor, for partnership firm, certificate will be given by all the partners and in case of Private Ltd. Company, by all the directors of the company.

Definition of Near Relative:  The near relatives for this purpose are defined as

(a)	Members of a Hindu Undivided Family,

(b)	They are husband and wife,

(c)	The one is related to the other in the manner as father, mother son(s), and son’s

Wife (daughter-in-law), Daughter(s) & daughter’s husband (son-in-law),

Brother & brother’s wife, sister (s) & sister’s husband (brother-in-law).

DECLARATION-II

I ……………………………………………………………………………………...Son/Daughter of Sri..…………………………………………………………………………here by declare that in no case I shall allow engagement of the BSNL employees or their relatives. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me.

Date:			     			                   Signature of the tenderer with seal

SECTION - XV

UNDERTAKING & DECLARATION

The tenderer hereby declares that all the information, Documents, Xerox copies of the Documents/ Certificates enclosed along with the Tender document are correct and if any thing found false and/or incorrect and/or any suppression of fact is detected at any time, tender will be terminated and EMD/SD/Bills pending with Department will stand forfeited to BSNL and the contractor will be debarred from participation of any tender of this Department in future.

Certify the I/We read and agree with all the terms and conditions, specifications included in the tender documents & offer to execute the work at the rates quoted in the schedule. If I/We fails to enter into the agreement & commence the work in time the EMD/SD as deposited will stand forfeited to the BSNL.

Signature of Tenderer

along with date & Seal

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER TELECOM DISTRICT

### SAMBALPUR - 768001

##### BID DOCUMENT

##### (FINANCIAL)

##### TENDER FOR

EARTHING WORKS OF EXCHANGES/BTS

IN SAMBALPUR SSA

No. W-89/EARTHING/2010-2011/03, Dated 20.04.2010

| TENDER FORM NO. | : |  |
| --- | --- | --- |
| ISSUED TO | : |  |

SECTION-XVI

PRICE SCHEDULE

| S/N | Description of items | Unit | Rates in figure & word |
| --- | --- | --- | --- |
| 01 | Copper Plate (600mm x 600mm x 6mm) | Each |  |
| 02 | Supply of BTC Wire (19/1.6mm dia) | Mtr. |  |
| 03 | Fixing of BTC Wire (19/1.6mm dia) | Mtr. |  |
| 04 | Charcoal | Kg. |  |
| 05 | Salt | Kg. |  |
| 06 | Finely sieved good quality soil | Cum |  |
| 07 | Fine quality sand | Cum |  |
| 08 | Copper distribution plate (400mm x 100mm x 10mm) with 8nos. brass nuts and bolts (size 18mm x 35mm) and 2nos. insulators for fitting on wall. | Set |  |
| 09 | Digging, fixing plates, refilling of pit and all related works including fitting of G.I. Pipe with funnel. | Each |  |
| 10 | 3.5mm length (ISI mark) G.I. Pipe (2” dia fitted with funnel) | Each |  |

N.B. : Service tax will be paid extra by BSNL where ever applicable as per rate in force.

Signature of the Tenderer

# Text boxes

Passport size

Photograph of the

Tender / authorized Signatory holding

Power of autonomy

Pipe for watering the earth

2

3 M

4 M

To Switch Room

BTC Wire 19/1.6mm dia

3 M

Cu plates 4nos 600X600X6 mm

1

BTC Wire 19/1.6mm dia

3

4