PART –A

BHARAT SANCHAR NIGAM LIMITED

(A Govt. of India Enterprise)

Office of the

General Manager Telecom District

Bhubaneswar-751022

BID DOCUMENT

(With revised dates)

NIT No.BBSTD/Comp-13/2009

TENDER FOR PURCHASE OF

UPS BATTERIES

IN THE

OFFICE OF THE

GENERAL MANAGER TELECOM DISTRICT,

BHUBANESWAR

Price Rs.520/-

BHARAT SANCHAR NIGAM LIMITED

(A Govt. of India Enterprise)

Office of the

General Manager Telecom District

Bhubaneswar-751022

BID DOCUMENT

TENDER FOR PURCHASE OF

UPS batteries

In the office of

General Manager Telecom District

Bhubaneswar.

NIT No. BBSTD/Comp-13/2009/3, dated 19/04/2010

PART-A      QUALIFYING BID

| Particulars of Issue of Tender Document. |
| --- |
| Cost of tender document Rs.500/- +Rs 20/-(4%Vat)=Rs.520/- | Details of Payment towards cost of tender document |
|  | Receipt. /D.D. No. |
|  | Date of payment ___/_____/2010 |
| Name of the Tenderer: | D.D. drawn on: (Name of Bank & Branch) |
| SDE (Computer & DOSTFOT) O/o GMTD, Bhubaneswar. |
| EMD Particulars: Amount of Deposit Rs 16,000/- Receipt/D.D. No…………………………………….. Dated………………….. Demand Draft drawn on……………………………… …………………. (Name of Bank & Branch) Signature of the Tenderer |

| Office of the General Manager Telecom District. Bhubaneswar, ……………………………. Bhubaneswar-751022 |  |
| --- | --- |

SECTION -1

NOTICE INVITING TENDER

FOR

PURCHASE OF UPS BATTERIES

TENDER NO. & DATE-                         (NIT No.BBSTD/Comp-13/2009/3, dated 19/04/2010)

DUE DATE &TIME OF  SUBMISSION:--  Upto 15:30 Hrs of 21/05/2010.

DATE & TIME OF OPENING: O f QUALIFYING BID:-21/05/2010.  at 1600Hrs

The General Manager Telecom district, Bhubaneswar, for and on behalf of BSNL, invites sealed tenders in the prescribed tender form for purchase of UPS Batteries for the office of GMTD, Bhubaneswar. The details of tender as required are appended below:

A.

| Name of the Office | Items required | Estimated cost | EMD |
| --- | --- | --- | --- |
| Office of the General Manager Telecom District, Bhubaneswar | UPS Batteries (except paper) | Rs 8 lakhs | Rs 16,000/- |

- Eligibility of the tenderer:

(1)	The manufacturers/dealers who undertake to supply the UPS Batteries to the appropriate authority are eligible to participate in the tender.

(2)	The bidder shall furnish annual turnover certificate of more than 25(twenty-five) lakh rupees

along with the tender papers for the financial year 2009-10 with respect to UPS Batteries duly certified by a chartered accountant.

- Near relatives of BSNL employees either directly recruited, absorbed or on deputation /deemed deputation are prohibited from participating in the tender. A certificate is to be given with the tender by the tenderer, to the effect that no near relative(s) of the tenderer         is (are) working anywhere in whole of the BSNL

The near relative means:

  - Members of a Hindu Undivided family;

  - The one is related to the other, in manner, as husband, wife, father, mother, son(s) & son’s wife (daughter-in-law), Daughter(s) & daughter’s husband (son-in-law) brother(s) and brother’s wife, sister(s) sister’s husband (brother-in-law), father-in-law, mother-in-law, grandfather, grandmother, grandsons, granddaughters, uncles, aunts, first cousins, nephews, nieces, relationship established by legal adoptions.

In case of proprietorship firm, aforesaid certificate will be given by the proprietor; for partnership firm, by all the partners and for Limited Companies by all the Board of Directors of the Company.

C.	Details of Tender:

1.    Period of Contract:	  One year from the date of agreement.

2.     Sale of tender documents:

Between 10.00 hrs to 13.00 hrs. from 23/04/2010 to 21/05/2010 all working days  obtainable from SDE (Computer & DOSTFOT) O/o the GMTD, Bhubaneswar (Room No: 202, 2nd floor, Doorsanchar Bhawan, Unit –IX, Bhubaneswar -22) in person on production of either Cash receipt, issued against the deposit of Rs.520/- from the cash counter of  AO (Cash), O/o-  GMTD, Bhubaneswar or D.D. for the above amount drawn in favour of AO (Cash), BSNL, O/o GMTD, Bhubaneswar payable on any scheduled bank at Bhubaneswar. Tender papers can also be downloaded from our website www.orissa.bsnl.co.in and can be submitted with requisite cost of the tender paper.

3.	Price of tender document:

Rs.500/- + Rs. 20/-   (i.e. 4%VAT) =Rs. 520/-

4.          Period for Submission of Tender:

During working days from 10.00 hours to 15.30 hours  upto 21/05/2010.

5.	Time of opening of Bids:

Qualifying Bids:	At 16.00 Hrs. of 21/05/2010.

Financial Bids:	To be intimated later.

If the date of opening of the bids happens to be a holiday, the tenders will be opened on the next working day at the same time/venue.

The General Manager Telecom District, Bhubaneswar reserves the right to reject the tender at any point of time without assigning any reason thereof.

General Manager Telecom District

BSNL, Bhubaneswar.

Date: ________________

End of Section-I

SECTION –II (A)

TENDERER’S PROFILE & OTHER DETAILS

- Name of the tenderer………………………………………………….

02.	Name of the person submitting the tender

Shri/ Smt………………………………………………………………

03.	Address of the tenderer:

(Present)					            (Permanent)

04.	Tel.No.(With STD code): Off………………………… Fax………………………………………………

Res…………………………………………………..…Mobile…………………….…………………….

05.	Category of the Tenderer : (Please tick the appropriate)

(i) Individual( (ii) Proprietorship Firm ( (iii) Partnership Firm ( (iv) Private Ltd. Co. (

(v) Public Ltd. Co.( (vi)Others (

06.	Name(s) of  Individual/ Proprietor/ Partners / Directors:

…………………………………………………………………………….………………………………

07.	Tenderer’s bank details:

i)        Name of Bank ……………………………………………………….……………………………

- Branch name with its Code  No.…………………………………MICR Code……………………

- Account No ………………………………………………………………………………………

- Types of Account (Savings/Current /Cash current) etc………………………………..…………

- Commercial license particulars (Photocopies duly attested)

- Particulars of cash receipt or Bank Draft in support of the Purchase of blank tender form @ Rs.520/-

08.	EMD particulars ………………………………………………………………………………………..

- Certificate for annual turn over of more than 25(twenty-five) lakhs  for the financial year 2009-10 with respect to UPS Batteries duly certified by a chartered accountant.

SECTION –II (B)

1. Eligible Bidders

  - The bidder shall submit a clear declaration that it will be able to supply   the UPS Batteries.

  - The bidder shall submit VAT Registration of the firm along with TIN number & PAN number.

  - The bidder should have annual turnover certificate of more than 25(twenty-five) lakh rupees for the financial year 2009-10 with respect to UPS Batteries duly certified by competent authority.

2   Expenditure of Bidding

The bidder shall bear all expenditures associated with the submission of the Bids etc. BSNL in no case will be responsible for any expenditure incurred in compliance of Para (1) above or whatsoever regardless of the outcome of the bidding process.

3   Bid Document

3.1  Bid document includes:

a. Notice Inviting Tender- Section-I

b. Instructions/guidelines to bidders – Sections IIA, IIB

c. General/commercial conditions of the contract – Section – III.

d. Special conditions of the contract – Section- IV

e. Supply of computer consumables and period- Section V

f. Bid form – Section- VI

g. Performance Security Bond Form – Section- VII

h. Letter of authorization to attend bid opening. – Section- VIII

i. Proforma for no relative in BSNL declaration – Section – IX

j. Price schedule.

  - The bidder is requested to peruse and examine all instructions, terms and specification in the Bid document. Failure to furnish all the information required, as per Bid Document, or submission of the bids not substantially pursuant to the Bid Documents in every respect will be at the bidder’s risk and shall result in rejection of the bid.

  - A prospective bidder, requiring any clarification on the Bid document, shall request the BSNL in writing or by Fax. The BSNL shall respond in writing to any request for the clarification on bid document received 7 days prior to the date of opening of tender.

4  Amendment to bid document

i)     At any time prior to the date of submission of bid, BSNL may, for any reason whether  at its

own initiative or in response to a clarification required by a prospective bidder ,modify the

bid documents by amendments.

ii)    The amendments shall be notified in writing to all prospective bidders and

these amendments will be binding on them.

5  Bid Security

(a)	The bidder must deposit Bid security /EMD amounting to Rs 16,000/- The Bid Security/EMD shall be in the form of Cash/Demand Draft drawn in favour of the AO (Cash), BSNL, O/o GMTD, Bhubaneswar, payable at any scheduled bank located at Bhubaneswar.

(b)	The bid security of unsuccessful bidder will be discharged / returned without any     interest as early as possible as but not later than 30 days after the expiry of the period of bid validity.

(c)	Original receipt of payment of EMD at the cash counter/the Demand Draft drawn in favour of the AO (Cash), BSNL, O/o GMTD, Bhubaneswar, payable at any scheduled bank located at Bhubaneswar, should be attached with qualifying bid. The qualifying bid without EMD will be straightway rejected and no correspondence with such bidder will be made.

6. The Bid Security may be forfeited:

  - If bidder withdraws its bid during the period of bid validity specified by it in the bid form.

  - If the successful bidder fails:

    - To furnish performance security in accordance with clause 2 of Section-III

    - To sign contract within prescribed period as mentioned in the clause 11 of section II B.

    - In addition to the forfeiture of the bid security in the above cases the bidder will not be  eligible to participate in future bids for a period of 2 years.

    - The bidder shall not approach any judicial Forum against the decision of the BSNL in this regard.

    - The bidder shall have to quote price(s) against all the items, for tender; where number of items is more than one.

7.	Format and Signing of Bid:

The bidder shall prepare one complete set of original bid.

  - The original bid shall be signed by the bidder or a person duly authorized to bind into the bidder the contract.

  - Any over writing(s)/erasure(s) in the bid, made by the bidder, shall be signed by the person  signing the bid.

8.	Submission of Bid

8.1  The bidders are specifically required to submit their offer in three parts, each in   different sealed envelopes duly marked as-

(a)	’Envelope-A(i)Bid security& Cost of Bid document’.

(b)	’Envelope-B:-Qualifying Bid.

(c) ‘Envelope-C:-Financial Bid. (Part-B)

All these offers should be submitted in a large cover with personal seal and super-scribed as “Tender for supply of UPS Batteries in the office of the GMTD, BSNL, Bhubaneswar, NIT No.BBSTD/Comp-13/2009/3” addressed to the Dy.General Manager (City.) 2nd Floor, Office of the General Manager Telecom District, Bhubaneswar-751022. The envelopes should also bear the name and address of the tenderer on the left lower corner.

8.2  Envelope A should contain Bid security /EMD of Rs 16,000/-  and cost of the BID

document  of Rs 520/-.

8.3 Envelope B should contain all the techno –commercial bid along with related document(s)  establishing bidder’s eligibility as per clause 1 of section II-B.

8.3  Envelope C  should contain Financial/ Price Bid duly quoted by the bidder in the prescribed

Format (Part-B).

8.4  if any of the document required to be submitted in envelope A is found to be wanting, the

concerned Bid shall be rejected at the opening stage itself and the remaining envelopes (B&C) will

not be opened.

The tender should be dropped personally in the tender box kept in the office of the DE (Admin), O/o the General Manager Telecom District, Bhubaneswar, Room No.214, 2nd Floor, Doorsanchar Bhawan, Unit-9, Bhubaneswar-22 on or before due date and time, as mentioned in the Notice Inviting Tender. The tender can also be sent by the registered post, in advance so that it reaches the addressee, mentioned above, in time. The responsibility for ensuring the delivery of the bid, in time to the appropriate addressee, will rest with the bidder. The BSNL shall not be liable in case of delay in post at transit and the tender received late shall not be entertained. If the document sent by post is received in tampered condition, the same shall not be opened and rejected outright.

The three envelopes should contain the following documents:-

Envelope-A:-

a. Original receipt of payment of EMD at the cash counter/the Demand Draft drawn in

favour of the AO (Cash), BSNL, O/o GMTD, Bhubaneswar payable at any scheduled bank located at Bhubaneswar and cost of the bid document original receipt of payment at the cash counter of GMTD, Bhubaneswar Office or DD as per C(2) of Section-I.

Envelope –B:-Qualifying Bid:-

b. The tender document in original duly filled in and signed on each page by the tenderer or its authorized representative along with seal.

c .Copy of Partnership deed or proprietorship deed and Power of attorney signing the bid on behalf of the firm/Company (if applicable).

d. Performa duly signed as per Section-IX.

e. Latest ITCC/VAT/ST registration

f.  Proof of turnover more than 25(twenty-five) lakh rupees for the financial year 2009-10 with respect to sale of UPS batteries, AMC etc duly certified by a chartered account.

g. One copy of the brochure of the product (if applicable).

If any one of the above documents required to be submitted along with the  technical bid is found wanting, the offer is liable to be rejected at that stage. However , BSNL may  at its discretion call for any clarification regarding the document. BSNL may also ask for submission of  any additional/missing document within a stipulated time period. In such case(s), the bidder shall have to comply the purchaser’s requirement within the specified time. In case of non-compliance to such queries, the bid will be out rightly rejected without entertaining further correspondence in this regard.

Envelope –C:-Financial Bid:

The rates for UPS Batteries should be quoted in the “schedule for rates” incorporated in part-B i.e. the Financial Bid of the tender document. The bidder shall have to quote price(s) against all the items, for tender; where number of items is more than one.

9.	Bid opening

The Tenders shall be opened in two stages. First the Envelope-A & Envelope -B i.e. Part-A shall be opened to ascertain the eligibility of bidders as per eligibility criteria stipulated in this tender document. The financial bid i.e. Part-B of only eligible bidders shall be opened. The schedule for opening the bid shall be as under:

i. Part-A:	The qualifying bid shall be opened as per schedule mentioned in the Notice Inviting Tender.

ii. Part-B:	The financial bids of only those bidders, who will be found eligible as per eligibility criteria, shall be opened subsequently. The date of opening shall be intimated to such bidders at the appropriate time.

The tenders will be opened by the TOC in the presence of bidders if available. Only the bidder or its only one authorized representative shall be allowed to be present at the time of opening. The bidders/ authorized representatives present therein shall sign the requisite document.

10.	Evaluation

  - BSNL shall evaluate the bids to determine whether they are complete in all respects and computational error free, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are in order.

  - If there is a discrepancy between words and figures in the rate quoted, the amount expressed in words only shall be taken into consideration.

  - If there is a discrepancy between the unit price and the total price (that is obtained by multiplying the unit price and quantity), the unit price shall prevail and the total price shall be corrected by the purchaser. If the bidder does not accept the correction of the errors, his bid shall be rejected.

  - In case, more than one bidder quotes the L1 rate, the tendered quantity would be divided in equal proportion with respect to quantity/ value of the tender.

  - Conditional bids shall be rejected.

  - Prior to the detailed valuation, the purchaser will determine the substantial responsiveness of each bid of the bid document. A substantially responsive bid is one which conforms all the terms and conditions of the bid documents without material deviations. The purchaser’s determination of bids responsiveness is to be based on the contents of the bid itself without recourse of extrinsic evidence. In case of non responsive bid it will be rejected and the purchaser shall not be bound to show the reasons of rejection of the bid.

  - The purchaser  may waive any minor infirmity or irregularity in a bid which does not constitute a material deviation , provided such waiver does not prejudice or affect the relative ranking of the bidder.

  - The decision of BSNL, in regard to evaluation, shall be final and binding on all the Tenderers.

11.	Award of Contract

The BSNL shall consider award of contract only to the bidder whose offers will be found technically, and financially acceptable. The tenderer, whose bid is selected by the GMTD Bhubaneswar, shall be communicated of such award through a letter of intent/acceptance and its Earnest Money Deposit shall be converted into Performance Security Deposit simultaneously. The supplier will have to deposit the balance of requisite security as per clause 2.1 of section III within 10 days of date of issue of letter of intent to BSNL. The supplier will have to sign an agreement within 7 days of date of issue of letter of intent with BSNL.

The BSNL reserves the right to award the work to one or more than one supplier in the approved rates.

12          Right to vary quantities

BSNL reserves the right to increase or decrease by up to 25% of the required quantity, specified in the schedule of requirements without any change in rate charges of the offered quantity and other terms and conditions.

13.	Annulment of Award

Failure of the successful bidder to comply with the requirement of clause 11 shall constitute sufficient ground for the annulment of the award and forfeiture of its bid security and in that event BSNL may make the award to any other bidder at its discretion or call for new Tender.

14.	Period of validity of bids

  - The bid should remain valid for 90 days after the date of opening of bids. A bid valid for a shorter period shall be rejected by BSNL as non-responsive.

  - A bidder accepting the request of BSNL for an extension to the period of bid validity, in exceptional circumstances, will not be permitted to modify its bid.

SECTION –III

GENERAL /COMMERCIAL CONDITIONS OF CONTRACT

1.	Application

Submission of bid against this offer shall bind the bidder for the acceptance of all the terms & conditions specified herein or in NIT unless otherwise agreed to by BSNL.

2.         Performance Security/Guarantee Bond.

2.1:-	The successful bidder has to submit a Bank Guarantee of Rs 16,000/- (Rupees sixteen thousand only) as performance security deposit.

2.2:-	In case of successful bidder(s), the EMD/Bid security of Rs 16,000/- (Rupees sixteen thousand only) shall be returned to the bidder after submission of Bank Guarantee as per Clause-2.1 above OR the EMD shall be converted into performance security deposit & the balance amount, if any, shall be required to be deposited in cash or in the shape of Cash/Bank Guarantee, within 10 days of date of issue of letter of intent. If the bidder fails to deposit the requisite security deposit within the stipulated time, the EMD converted into security deposit shall be forfeited. However, the period of 10 days may be extended by competent authority on genuine grounds, if requested for by the bidder

2.3:-	Performance Security to be submitted in the form of Bank Guarantee should be issued by any    scheduled Bank, as provided in Section VII of the bid document.

2.4:-	Performance Security will be discharged after completion of contractor’s performatory obligations under the contract.

2.5:-	In case of any failure or negligence in the contractual obligations agreed upon by the contract, the BSNL reserves the right to forfeit, either whole or in part of performance security, furnished by the bidder, as compensation.

3.         Execution of Time Limit

The adherence to time period, as stipulated in the contract or letter of intent, shall be deemed to be essence of the contract.

4.	Payment Terms

Payment will be made on ordered basis, bills for which shall be submitted by the Supplier in duplicate to the authority specified in contract along with challan slips duly signed by the receiver.

Billing amount will be paid through  State Bank of India, Bhubaneswar after full supply of UPS Batteries ordered. The bidder is to indicate the name of the bank and account number on which the bill amount is to be paid.

5.	Termination of Contract

BSNL may, without prejudice to any other action to be taken for breach of contract, may terminate the contract in whole or part and the security deposit shall be forfeited in the following circumstances:-

- If the supplier fails to supply the requisite item/items within 30 days of date of agreement unless the time is extended by the GMTD, Bhubaneswar on reasonable grounds.

- If the supplier fails to perform any obligation(s) under the contract. BSNL may without prejudice, to other rights under law or the contract provided, get the items arranged from other source at the risk and cost of the supplier, in above circumstances.

6.	Termination for insolvency

BSNL may also, by giving written notice of one month and without compensation to the supplier terminate the contract if the supplier becomes unwilling, bankrupt or otherwise insolvent without affecting its right of action or remedy as purchaser.

7.	Force Majeure

If any time, during the course of this contract, the performance, in whole or in part, by either party of any obligation under this contract, is prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Hereinafter referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall, by reason of such events, be entitled to terminate this contract nor shall either party have any claim for damages against the other in respect of such  performance or delay in performance.

The contract shall be resumed as soon as practicable after such an event comes to an end or ceases to exist, and the decision of BSNL, as to whether the supplies can be so resumed or not, shall be final and conclusive, provided further that if the performance in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days, either party may, at its option terminate the contract.

8.     Arbitration

8.1	In the event of any question, dispute or difference arising under this agreement or in connection there with except as to matter the decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration Office of the General Manager Telecom District, Bhubaneswar or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the Officer for the time being entrusted whether in addition to the functions of General Manager Telecom District, Bhubaneswar or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the General Manager Telecom District, Bhubaneswar or the said officer is unable or unwilling to act as such the sole arbitration or some other person appointed by the General Manager Telecom District, Bhubaneswar or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act, 1996. There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Government Servant he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such General Manager Telecom District, Bhubaneswar or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his processors.

  - The arbitrator may from time to time with the consent of both the parties enlarge the time frame for making and publishing the award. Subject to aforesaid arbitration and conciliation Act, 1996 and the rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

  - The venue of the arbitration proceeding shall be office of the GMTD, Bhubaneswar or such other place as the arbitrator may decide.

  - In case of legal dispute, the legal jurisdiction will be Bhubaneswar city only.

  - Set Off

Any sum of money due and payable to the supplier (including security deposit refundable to him) under this contract may be appropriated by BSNL and set off the same against any claim of BSNL for payment of a sum of money to be paid by the contract or arising out of this contract or under any other contract made by the contractor with BSNL.

SECTION –IV

SPECIAL CONDITIONS OF CONTRACT

  - The special conditions of contract shall supplement the instruction to the Bidders as contained in section II and general/ commercial conditions of the contract as contained in section III and wherever there is a conflict, the provisions herein shall prevail upon over those in section II and section III.

  - In case the date fixed for opening of bids, is subsequently declared as holiday by the Government of India, the revised schedule will be notified. However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

  - BSNL reserves the right to disqualify such bidders who have a record of not meeting contractual obligations against contract entered into with BSNL earlier.

  - BSNL reserves the right to blacklist a bidder/contractor for a suitable period in case he fails to honour his bid without sufficient ground.

  - The purchasing authority i.e. BSNL will have no liability and will not owe any responsibility whatsoever for causing  to any one or any loss/damage of any property due to the faulty article for reason, whatsoever, and shall not entertain any such claim under any provision of law.

- No sub-contracting is permissible by BSNL. The near relatives of all BSNL employees (Non-executive employees working in BSNL. & executive employees (also called Group-A & Group-B officers) working in BSNL either directly recruited or on deputation are prohibited from participating in this tender. The near relatives for this purpose are defined as:

  - Members of a Hindu Undivided family;

  - The one is related to the other, in manner, as husband, wife, father, mother, son(s) & son’s wife (daughter-in-law), Daughter(s) & daughter’s husband (son-in-law) brother(s) and brother’s wife, sister(s) sister’s husband (brother-in-law), father-in-law, mother-in-law, grandfather, grandmother, grandsons, granddaughters, uncles, aunts, first cousins, nephews, nieces, relationship established by legal adoptions.

The tenderer(s) should give a certificate to the effect that none of his/her such relative is working anywhere in the BSNL.  In case of proprietorship firm the certificate will be given by the proprietor, in case of partnership firm, by all the partners and in case of Limited company by all the Directors of the Company. Any breach of these conditions by any person, firm or company, the tender awarded/work order issued will be cancelled and earnest money/security deposit will be forfeited at any stage it is noticed.  BSNL will not pay any damages to the concerned person, firm or company. Such person, firm or the Company will also be debarred from further participation in the tender of concerned unit.

7	 BSNL reserves right to negotiate against the price quoted by the bidder.

- No advance payment in any case shall be made to the supplier.

SECTION –V

SUPPLY OF UPS BATTERIES & PERIOD

Supply:-              Supply of UPS Batteries /equipments  for office of the General Manager Telecom

District, Bhubaneswar.

Period                  Under normal circumstances the contract shall be valid for a period of one year from date of agreement. However, contract may be extended for further period up to one year if agreed to by the contractor and BSNL on the same rate, terms and conditions.

Quantity    	Approximate Estimated costs are as mentioned at page 03.However it should be clearly noted that BSNL shall place the order only as per the actual requirement from time to time.

Penalties     	If the supplier fails to deliver the UPS Batteries, quantity as well as quality, with in the period prescribed for delivery, BSNL shall be entitled to recover 0.5% of the value of the delayed supply for each week of delivery or part thereof for a period of 2 weeks, and then 0.7% for another 2 weeks.If the supplies are not completed in the extended delivery period, the P.O. shall be short-closed and the performance securities shall be forfeited.

WARRANTY: -  The successful tenderer will indicate the Guarantee/ Warranty period of the UPS Batteries. During this period the supplier should see that the faulty/date expired UPS Batteries replaced within 2 weeks, free from all charges at site.

Special Requirements

1	Intending bidder must have a telephone and a fax where requisition of articles can be conveyed all the days in working hrs.  Both telephone no and fax no. must be specified in the bid.

- Payment of any Govt. tax or duty for the articles will be liability of contractor.

- Transportation & Packing charges paid by the bidder, if any, should not be claimed by the bidder, for reimbursement.

S E C T I O N   - VI

# BID FORM

Tender No. GMTD/BBSTD/Comp-13/2009/3                                                        Dated.18/04/2010

A:   (Name & Address of the bidder)

To

The GMTD,

Bharat Sanchar Nigam Ltd.

Bhubaneswar

Dear Sir,

  - Having read and understood the conditions of contract and services to be provided, I/we, undersigned, offer to supply UPS batteries in conformity with the conditions of contract and specifications for the sum, shown in the schedule of prices attached herewith and made part of this Bid.

  - I/We undertake to enter into agreement within 10 days of being called upon to do so and to bear all expenses including charges for stamps etc. and that the agreement will be binding on me/us.

  - If my/our Bid is accepted, I/we will obtain a guarantee from a Scheduled Bank for a sum of Rs 16,000/- (Rupees sixteen thousand only) for the due performance of the contract.

  - I/We agree to abide by this Bid for a period of 90 days from the date fixed for Bid opening and it shall remain binding upon me/us and may be accepted at any time before the expiry of that period.

  - Until an agreement is signed and executed, this Bid together with your written acceptance thereof in your offer of award shall constitute a binding contract between us.

  - Bid submitted by me/us is properly prepared and sealed so as to prevent any tampering therein.

  - I/We understand that you are not bound to accept the lowest or any bid received by you.

Dated this….day of……2010

Signature of

in capacity of

Duly authorized to sign the bid for and on behalf of……………

Witness……………………………………………

Address………………………………….

# S E C T I O N  -   VII

PERFORMANCE SECURITY BOND FORM

In Consideration of Bharat Sanchar Nigam Ltd., New Delhi (here in after called the BSNL, New Delhi) having agreed to exempt_________________________________

_________________________________ (here in after called the said contractor(s) from the demand of security deposit of Rs._________________ on production of Bank Guarantee for Rs.__________________

or the due fulfilment by the said contractors of the terms & conditions to be contained in Agreement in connection with the contract for supply of _____________________________________________ , we (name of the bank)__________________here in after referred to as “the Bank”) at the request of ________________________ Contractors do hereby undertake to pay to the BSNL, ________________________ an amount of not exceeding_______________________ , against any loss or damage caused to or suffered or would be caused to or suffered by the BSNL, ___________ by reason of any breach by the said contractor’s of any of the terms & conditions contained in the said agreement.

We (name of the Bank)_________________________________________________ do hereby undertake to pay the amounts due and payable under this guarantee without any demur, purely on a demand from the BSNL, ______________________ stating that the amount claimed is due by way of loss or damage caused to or would be caused to or suffered by BSNL, ______________________ reason of breach by the said contractor of any of the terms and conditions contained in the said agreement or by reason of the contractors failure to perform the said Agreement. Any such demand made on the bank shall be conclusive regards the amount due and payable by the Bank under this guarantee where the decision of the BSNL, ________________ in these counts shall be final and binding on the bank. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs._____________________________________.

We undertake to pay to the BSNL, _________________________ any money so demanded not outstanding any disputes raised by the contractor(s)/supplier(s) in any suit or proceeding binding before any court or tribunal relating there to our liability under the present being absolute and equivocal. The payment so made by us under this bond shall be valid charge of our liability for payment there under and the contractor(s)/supplier(s) shall have no claim against us for making such payment.

We (name of the bank)_____________________________________________further see that the guarantee herein contained shall remain in full force and effect immediately a period of eighteen months from date here and further agrees to extend the same from time to time so that it shall continue to be enforceable till all the dues of the BSNL, ________________________ under or by virtue of the said agreement have been fully and its claims satisfied or discharged or till BSNL, ______________________certifies the terms and conditions of the said agreement have been fully and properly carried out the said contractor(s) and accordingly discharges this guarantee.

We (name of the bank) further agree with the BSNL, ________________ that the BSNL, _____________ shall have the fullest liberty without our consent and without affecting in any manner our obligations here under to vary and of the terms & conditions of the said agreement or to extend time of performance by the said contractor(s) from time to time or to ________________ against the said contractor(s) and to forbear or enforce any of the terms & conditions relating to the said agreement and we shall not be relieved from our liberty by reason of any such variation, or extension being granted to the said contractor(s) or any indulgence by the BSNL, _____________________ to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision have effect of so relieving us. This guarantee will not be discharged due to the change in the constitution of the Bank or the contractor(s)/supplier(s).

This guarantee shall be irrevocable and the obligations of the Bank herein shall not be conditional to any prior notice by BSNL .Dated ____________________________________________________ (indicating the name of the Bank).

This guarantee should be issued on non-judicial stamped paper, stamped in accordance with the stamp act.

S E C T I O N - VIII3

LETTER OF AUTHORISATION FOR ATTENDING DURING THE BID OPENING

(To reach before the last date and time of bid submission)

To

The GMTD,

Bharat Sanchar Nigam Ltd.

Bhubaneswar

Subject: -	Authorization for attending bid opening on _________________(date)

In the Tender No. GMTD/BBSTD/Comp-13/2009/3.

Following persons are hereby authorized to attend during the bid opening for the tender mentioned above on behalf of ____________________________________(Bidder) in order of preference given below.

Order of Preference			Name			            Specimen Signature

I.

II.

Alternate Representative

Signature of bidder/

Authorized Officer who signed the bid

document on behalf of the bidder

Note:	1. Maximum of one representative for a bidder will be permitted to attend bid opening.    In case where it is restricted to one, first preference will be allowed. Alternate representative will be permitted when regular representatives are not able to attend.

- Permission for entry to the hall, where bids are opened, may be refused in case authorization, as prescribed above, is not received.

S E C T I O N - IX

Performa for declaration of no near relative (s) of the contractor working in BSNL

Certificate to be given by the Contractor in respect of its no near

Relative(s) working in BSNL

I ……………………………………………………………. Son/daughter of Shri ……………………………………………… R/o ……………………….………… hereby certify that none of my relative(s) as defined in the tender document is/are employed anywhere in BSNL as per detail given in tender document. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit, without any prior notice to me.

Signature of the tenderer with seal*

*Note: 	In case of proprietorship firm, certificate will be given by the proprietor, for partnership firm, certificate will be given by all the partners and for Limited. Company certificate will be issued by all the Directors of the Company.

PART – B					               Form No…………………………

Cost of Tender document Rs.520/-

(Rs. 500 + 20 (VAT) @ 4% = Rs.520/-)

BHUBANESWAR TELECOM DISTRICT

TENDER FOR SUPPLY OFCOMPUTER CONSUMABLES

IN THE OFFICE OF GMTD,  BHUBANESWAR

(TO BE FILLED IN BY THE BIDDER)

# Tender No. BBSTD/Comp-13/2009/3

|  | Particulars of Issue of tender document |
| --- | --- |
|  | Details of Payment towards cost of tender document: Rs.520/- Mode of payment: Cash/D.D. Receipt/D.D. No………………………………………………… |
|  | Date of payment ………………../2010 D.D. drawn on…………………. |
|  | SDE(Computer & Dotsoft) O/o the G.M.T.D. Bhubanaeswar, |

EMD Particulars Receipt No……………………………………Dated………………………….or Demand Draft No…………………………….Dated………………………….. Drawn on (Name of Bank & Branch) ……………………………………………………… ……………………………………………………………………………………………...

SCHEDULE FOR QUOTING RATES

General Manager Telecom District

Bhubaneswar –751 022.

Sub:		My / Our bid for supply of-------------- in the office of the GMTD,	Bhubaneswar.

Ref:		NIT No. GMTD/ BBSTD/Comp-13/2009/3

Sir,

Having understood the tender document, terms and conditions laid down therein, I/we, the undersigned offer to supply the UPS batteries in accordance with the terms and conditions as per the rates quoted below:

| SECTION V SCHEDULE OF REQUIREMENT AND PRICE SCHEDULE |
| --- |
| Tender for supply of SMF Battery |  |  |  |  |
| Rate quoted by M/s / Shri ........................................................................................................................................... |
| Sl. No | Item | Required Brand | Approx Qty Required | Basic Price per unit (in Rs) |
|  |  |  |  | In Figure | In Words |
|  | 7AH, 12Vot SMF Batteries | Exide Powersafe/Panasonic/ Amaron Quanta or any other National or International brand which meet our technical specifications. | 30 |  |  |
|  | 26AH, 12Vot SMF Batteries |  | 120 |  |  |
|  | 28AH, 12Vot SMF Batteries |  | 16 |  |  |
|  | 42AH, 12Vot SMF Batteries |  | 10 |  |  |
|  | 65AH, 12Vot SMF Batteries |  | 20 |  |  |
| (Inclusive of all taxes excluding VAT. VAT should be shown separately.) |  |  |  |  |
| N.B. :-The prices are inclusive of all taxes excluding VAT. VAT should be shown separately. Entry TAX, if applicable, shall be paid at actuals on production of proof of payment. The quantities are indicative only. Actual quantity may vary as per the requirement. So Rates may be quoted accordingly, inclusive of all taxes & levies, FOR destination. Single rate must be quoted for each item irrespective the brands mentioned. Multiple rates will not be accepted. The purchaser reserves all rights to place purchase order of any brand mentioned against the items as per the approve rate depending on the requirements. The bidder has to quote the rates for every item given above. N.B.: - The Approximate quantity required may vary depending on the actual requirement and the rate one approved shall be valid for one year from the date of finalisation of the tender. |

CRITERIA FOR COMMERCIAL EVALUATION.

GRAND TOTAL=Rs

1:- Rates inclusive of taxes of each Item will be taken into account.

2: -No consideration of transportation charges.

3:-Bidder shall have to quote price against all items, failing which the Bid may be rejected.

3:- L1 bidder will be selected on the basis of the  GRAND TOTAL   price.

If my / our bid is accepted I/we shall submit the security deposit as per the conditions mentioned in the contract. I/We agree to abide by this bid for a period of 90 days from the date of opening of financial bid and it will remain binding upon me/us to accept the bid at any time before the expiry of that date..

Signature of the tenderer________________________________________

Name of tenderer_____________________________________________

Address ___________________________________________________________

Technical Specifications

| Float Life | 4-6 years |
| --- | --- |
| Cyclic Life at 100% DoD at 50% DoD at 30% DoD | 250-300 550-650 1150-1350 |
| Specifications | JIS 8702C |
| Grid Design | Redial grid |
| Cell Bonding | Inter cell welded |
| voltage | 12V |
| Paste recipe | Insta charge |
| Container | Reinforced end wall |
| Terminal Design | Flappon |
| Wattage Discharge Data 26ah @15 Min to 1.7V 42ah @15 Min to 1.7V 65ah @15 Min to 1.7V | Higher Watts per cell 541W 840W 1345W |
| Self Discharge | Less than 0.75% per week at 27C |
| Carton pack | Self lock design |
| AGM Separators | High void volume |
| Discharge end Voltage | Upto 7.6V for 15 min |
| Design Temperature | 270C |
| Quality system practices | EN ISO 9001, ISO/TS 16949, EN ISO 14001 or latest ISO certificate |
| Acid Filling | Totally automated & vacuummised |
| Container Material | PPCP |
| Warranty | 15 months |

CHECK LIST

| SL# | Check list for preparation of bid |
| --- | --- |
|  | Tender document cost |
|  | EMD particulars |
|  | Turnover certificate |
|  | No near relative certificate |
|  | Manufacturer/ Dealership proof |
|  | Tenderer's profile and other details |
|  | Signature on all pages of the document |
|  | Superscription on the main envelope. |
|  | Envelope-A(i)Bid security& Cost of Bid document |
|  | Envelope-B:-Qualifying Bid |
|  | Envelope-C:-Financial Bid |
|  | Letter of authorisation for attending the tender opening if any |
|  | Bid form duly signed with relevant details |

1:-      ENVELOPE-A:-Original receipt of payment of EMD at the cash counter/the Demand

Draft drawn in favour of the Accounts Officer (CASH), Office of the General Manager

Telecom District, BSNL, Bhubaneswar payable at any scheduled bank located at

Bhubaneswar and Particulars of cash receipt or Bank Draft in support of the purchase of

blank tender form @Rs520/-.

2:-        a.	ENVELOPE-B:-The tender document in original duly filled in and signed on

each page by the tenderer or its authorized representative along with seal.

b.	Copy of Partnership deed or proprietorship deed and Power of attorney signing the bid on behalf of the firm/Company (if applicable).

- Proforma duly signed as per Section-IX.  -  Declaration of no near relative (s) of the contractor working in BSNL.

d.          Proof for annul turnover of more than 25(twenty-five) lakh rupees with respect to

UPS batteries.

3:-     Submission of Financial Bid.

The bidder shall have to quote price against all items.L1 bidder will be selected on the basis of grand total price.

All these three envelopes should be duly sealed separately and super-scribed as “Envelope-A and Envelope –B, Qualifying Bid for supply of UPS batteries-” and “Envelope –C: - Financial Bid for supply of UPS batteries -”. All envelopes should be enclosed in a fourth envelope duly sealed and super-scribed as “Tender for supply of UPS batteries in the office of the GMTD, Bhubaneswar, NIT No.GMTD/BBSTD/Comp-13/2009/3”. All the envelopes should be addressed separately to the Dy. General Manager (City.) 2nd Floor, Office of the General Manager Telecom District, Bhubaneswar, Doorsanchar Bhawan, Bhubaneswar-751022. The envelopes should also bear the name and address of the tenderer on the left lower corner. All the envelopes should be sealed properly.

The bidder is requested to peruse all instructions, terms and specification in the Bid

document. Failure to furnish all the information required, as per Bid Document, or submission of the bids not substantially pursuant to the Bid Documents in every respect will enable the bid to be rejected.