BHARAT SANCHAR NIGAM LIMITED (A Govt. of India Enterprise) Office of the Telecom District Engineer, Phulbani TENDER DOCUMENT FOR UNDERGROUND, OFC CABLE LAYING & ALLIED WORKS IN PHULBANI TELECOM DISTRICT TENDER NO.-W-126/10-11/1 Dated 08. 10 .2010

CONTENTS

#### Notice Inviting Tender

Page Number

#### A.  Special cum commercial condition				6

B.  Documents to be submitted					9

C.  Specification of works						9-16

D.  Works commencement, supervision & measurement		16-18

E.  Safety, Security & labour Law					18-19

F.  Rates to be quoted							19

G.  Payment & other commercial Terms				20-22

Annexures 	(I)   List of Zones				23

(II) Agreement				24

(III)Tender Quotation				25

(IV)Scheduled Rates for Financial Bid	26-28

(V)  Material Security Bond Form		29

(VI) Declaration form		            	30

(VII) Tenderer’s Profile			31-32

(VIII) Financial bid (Proforma)		33

Issued  to M/s_____________________________________________

____________________________________________

Tender Document No.:

Zone No			:

Cost of Documents Rs520/- (Non refundable)

Dated…………………….

Seal & signature of issuing officer

###### BHARAT SANCHAR NIGAM LIMITED

O/o-The  Telecom District Engineer,

Phulbani – 762001.

NOTICE INVITING TENDER

Tender No-W-126 / 10-11/1 		                   Dated       08 - 10-2010.

The TDE, BSNL. Phulbani is pleased to invite wax sealed tenders on behalf of Bharat Sanchar Nigam Limited from experienced contractors for laying of U/G cable of all sizes & OFC cable and allied works under Phulbani Telecom District. For details please log on to web site www.orissa.bsnl.co.in/Phulbani..

TDE, Phulbani.

BHARAT SANCHAR NIGAM LTD.

(A Government Of India Enterprise)

Office of the Telecom District Engineer, Phulbani

# PHULBANI.-762001.

No. W-126/ 10-11/ 1						Dated at Phulbani. the     08 - 10-2010

# Notice Inviting Tenders

Wax sealed tenders are hereby invited for different Zones under Phulbani. SSA by the Telecom District Engineer, BSNL, Phulbani on behalf of Bharat Sanchar Nigam Limited, India from experienced contractors for laying, jointing and allied works of underground cables & OFC cable in the jurisdiction of Phulbani Telecom district for 3(Three)  Zones.

| Tender No | Cost of bid document | EMD | Date and Time of |
| --- | --- | --- | --- |
|  |  |  | Sale of Bid | Receipt of Bid | Opening of Qualifying Bid |
| W-126/10-11/1 | Rs 520/- including Vat 4% per zone | As shown in Annexure-I | Upto 17.00 hrs of 08.11.2010 | upto 13.00 hrs of 09.11.2010 | 16.00 hrs. of 09.11.2010 |

Job Description: - This tender is for digging trench and laying of underground telephone cable of all sizes & OFC cable, laying of OFC through micro-tunneling jointing & allied works at different zones. The details of job description are available in the tender document. For the purpose of tendering the SSA has been divided into 3 (Three) zones.

A. Eligibility criteria for the above works:

i)  The contractors must be bonafide and experienced and should have experience of Rs 2 Lakh of cable laying (both U/G / OFC) and jointing in BSNL/MTNL/ any other PSU. in last two years (08-09 & 09-10 putting together).

Experience certificate in this regard is to be issued by an officer not below the rank of Deputy General Manager or SSA Head  or  equivalent of BSNL / MTNL/ any other PSU..

ii)  PAN No/GIR No. (attested copy)

iii) Solvency certificate of Rs 2 lakh from scheduled bank.

Separate tender document should be submitted for each zone along with EMD as per Annexure-I  fixed for the zone. One tenderer can submit tenders for maximum of two zones.

B.Issue of Bid document: Bid document will be issued from the date of Publication of NIT up to 08/11/2010 between 10.30hrs to 17.00 hrs.

C.Bid documents can be had:

a) From SDE (HRD), O/o TDE, Telephone Bhawan,Phulbani. on written application with the copies of documents in support of their eligibility to participate in the tender along with the cost of bid document as mentioned in the form of DD from any scheduled bank drawn in favour of                     Sr AO(Cash),BSNL,O/o TDE,Phulbani. payable at Phulbani..

b)Eligible bidders can also download the entire bid document from our website www.orissa.bsnl.co.in/Phulbani. and submit the same within scheduled time and date alongwith the required cost of the bid document(Rs. 520/-) in the form of DD from any scheduled bank in favour of Sr AO(Cash),BSNL,O/o TDE,Phulbani. payable at Phulbani.. The DD and documents confirming to the eligibility criteria as mentioned in clause A of the document are required to be kept in the “Envelope-Qualifying Bid”. The financial bid of those tenderers who qualify in the qualifying bid only will be opened by the opening committee as per time and date decided later. All the envelopes containing documents should be wax sealed and names and address of the bidder should be written in the left side of each envelope.

The Envelope containing the tender documents must be addressed to “TDE, O/O TDE, Phulbani., 1st  Floor, Telephone Bhawan, Phulbani. Kandhamal-762001.

The detail terms and conditions etc. are available in the tender documents. Tenders without EMD will be rejected. The TDE Phulbani reserves the right to reject anyone or all tenders without assigning any reason thereof. The Wax sealed tenders can be dropped in the tender box available in the chamber of TDE O/o TDE, Phulbani. The Tender document can also be sent by Registered  Post / Courier in sealed cover, which will be opened along with the other tender paper dropped in the box. However, delay in receipt of tender paper through Post / Courier is not the responsibility of BSNL.

Telecom District Engineer,

Phulbani-762001.

Signature of Tenderer

A.   SPECIAL CUM COMMERCIAL CONDITIONS OF TENDER.

A0.Name of the Work: Under Ground Telephone cable & Optical Fibre Cable laying and allied works in the various zones (as given in the annexure-I) of Phulbani. Telecom District.

A1. N.I.T.No W-126/10-11/1 Dated 08.10.2010.

A2.EARNEST MONEY-DEPOSIT-

a) Earnest money as mentioned against each zone in annexure I will have to be deposited while submitting the tender, in form of demand draft or pay order drawn on any of the nationalized banks at Phulbani to be drawn in favour of the Sr. Accounts officer (cash), BSNL O/o TDE, Phulbani-762001.The tenders received without EMD will be rejected. The EMD shall be forfeited in case the tenderer withdraws his tender before the final acceptance or fails to enter into the prescribed agreement with BSNL for execution of work after it is accepted. The EMD of unsuccessful contractors will be refunded after finalization of the tender. For successful tenderers the EMD is to be refunded after signing the agreement and submission of Bank Guarantee.

b)The successful tenderers will be required to sign an agreement in the proforma at Annexure II with the TDE, here-in-after referred to as District Authority for carrying out the cable laying jointing and allied works under the jurisdiction at different zones as specified at Annexure ’I’. After the tenderer has been declared successful by the TDE Phulbani, the successful tenderer and the Dist. Authority would be two contracting parties for all purposes.

A3.Validity of BID: The bid validity period is 180 days after receipt of bid documents

.

A4.Validity of Tender- The tender is valid for a period of one year from the date of signing the agreement. However TDE Phulbani  reserves the right to increase the period to the tune of maximum 6 months or decrease the period as per requirement.

A5.ELIGIBILITY CRITERIA-:

The contractors must be experienced and should have experience of Rs 2 Lakh of cable laying in BSNL/MTNL/ any other PSU in last two years (08-09 & 09-10 putting together). Experience certificate in this regard is to be issued by an officer not below the rank of Deputy General Manager or SSA Head or  equivalent of  BSNL / MTNL / any other PSU.

A6. SECURITY

a)  Material Security

i)       The successful tenderer will have to deposit material security of Rs. 50,000 /- (Fifty thousand only) in the form of bank guarantee valid up to and including six months after the period of contract from a scheduled bank and in the material security bond form provided in the bid document at annexure-V.

ii)    The contractor, at any point of time, will not be issued stores costing more than the material security. The proceeds of the material security shall be payable to BSNL as a compensation for any loss resulting from the contractors failure to handle properly the material issued to him under the contract.

Signature of Tenderer

iii)         The material security shall be released within a fortnight from the date of payment of the final bill under the contract or the final settlement of the material account whichever is later on production of no due certificate from the competent authority.

b) Performance Security

i)      An amount of 10% of each running bill/final bill of the contractor will be deducted from the billed amount in addition to the sum already deposited as material security deposit. The proceeds of the performance security shall be payable to BSNL as compensation for any loss resulting from the contractor’s failure to complete its obligation under the contract.

- The performance security deposit shall be refunded to the tenderer after twelve month of the last work executed provided there should not be any recoveries to be made arising out of poor quality of work, incomplete work and/or violation of any terms and conditions of the contract as stipulated in the bid document. One certificate in this regard is to be attached with the claim from concerned JTO and countersigned by concerned  SDO.

- No interest shall be paid to the contractor on performance security.

A7.    Conditional and incomplete tenders are liable for rejection.

A8.   The TDE, Phulbani reserves the right to reject any one or all of the tenders without assigning any reason thereof.

A9.    All tools and tackles for the works shall be provided by the contractor.

A10.  Transportation of labour from one site to another and from one town to other will be the sole responsibility of the contractor.

A11.  The Dist. Authority will not be responsible to provide residential accommodation to the labourers employed by the contractor. All arrangement in this regard, will be responsibility of the contractor.

A12.   The near relative of employees of BSNL are prohibited from participation in this tender (either directly recruited or on deputation) .The near relatives for this purpose are defined as ( a) Members of Hindu undivided family (b) They are husband & wife( c)The one related to other in the manner as father, mother, son(s)& son’s wife (daughter in law), daughter(s)& daughter’s husband (son in law),brother(s) & brother’s wife, sister(s) & sister’s husband (brother-in law).

A13.  In case of any dispute arising out of the contract between the two contracting parties. the decision of the TDE.Phulbani shall be final and binding.

A14.   The Dist.Authority reserves the rights to increase/decrease upto ± 25% of the total quantum of work or delete the scope of works without assigning any reason.

A15.  The Dist.Authority reserves the rights to apportion the total cable laying works amongst a number of cable contractors at the approved rates and on uniform terms and conditions. Thus the Dist. Authority may appoint more than one contractor for each zone in his jurisdiction. In case there are two contractor the quantum of work should be distributed in ratio of 70:30 between L1 & L2 respectively. In case of non completion of work with stipulated time mentioned in work order without justified reasons, the same work can be awarded to other approved contractors.

Signature of Tenderer

A16.   The Dist.Authority also reserves the right to carry out a part or the whole of the cable laying work through its departmental employees/ labourers or through outside labourers employed by the Dist.Authority

A17    The terms and conditions for the contractors for undertaking the work of laying U/G cable of all sizes & OFC cable at different zones under the jurisdiction of TDE, Phulbani. are specified at Annexure-I .

A18  The works against this tender will be executed under the overall control of the TDE.Phulbani..

A19   The TDE may authorize any officer working under him to conduct test checks of any trench anywhere within the district to ascertain the standard of works being done as and when desired by him.

A20.   Disposal of empty cable drums

The contractor shall be responsible for disposal of the empty cable drums after laying of cables. The cost of various sizes of empty cable drums recoverable from the contractor has been fixed taking into account the prevailing market rates as mentioned below:-

| Serial number | Size of Cable drums | Rate Fixed for disposal |
| --- | --- | --- |
| 1 | 1200/800 Pr. | Rs. 500.00 |
| 2. | 400 Pr. | Rs. 375.00 |
| 3. | 200 Pr. | Rs. 250.00 |
| 4. | 100 Pr. | Rs. 150.00 |
| 5. | 50 Pr. | Rs. 125.00 |
| 6. | 5/10/20 Pr | Rs. 75.00 |
| 7. | OFC cable drum | Rs. 200.00 |

N.B. These rates of the empty cable drums are fixed and to be deducted from the contractor’s bills.

A21    Rates must be quoted both in words & figures. In case of discrepancy between words & figure, rate in words will be considered.

A22 	ADDRESSING THE TENDER – TDE, O/O TDE, 1st  FLOOR, TELEPHONE BHAWAN ,PHULBANI.-762001. The bidders are requested to submit their bid in a main envelope having two different sealed cover one as “QUALIFYING BID” and other as “FINANCIAL BID”. The qualifying bid will consist of documents Sl.No-B1 to B6 & the financial bid will contain the rate quotation in the prescribed format in ANNEXURE-VIII.

All the envelopes  should be super scribed as “Tender for U/G & OFC cable laying, jointing & allied works”and must be dropped in the sealed tender box kept in the office of TDE, O/o-TDE, Phulbani by the time mentioned in NIT & the qualifying bid will be opened on same day at 16.00 hrs in the presence of tenderers or their representative if they so desire. The financial bid of those tenderers who qualify in the qualifying bid only will be opened by the opening committee as per time schedule which will be intimated later.

Signature of Tenderer

- DOCUMENTS TO BE SUBMITTED ALONGWITH BID

B1.	Experience Certificate as per clause A5.

B2       The copy of valid contractor’s licence, PAN, valid VATCC,

B3      If the tender is submitted by a firm, certificate authorizing the person to sign the tender papers and the copy of the partnership deed may be enclosed in case it is a company registered under “Companies Act”. A copy of the article of association should also be submitted.

B4     	 EMD as specified at Annexure-I

B5     Declaration to the effect that no near relative of the bidder is working in BSNL (description given in clause no A12 of this document) as given in the annexure VI of the tender document.

B6.      Solvency certificate of Rs 2 Lakh from any scheduled bank.

B7.      The bid document duly signed in each page.

Note:  The bidders are requested to submit their bid in a main envelope having two different wax sealed cover one as “QUALIFYING BID” covering pages 1 to 32 and other as “FINANCIAL BID” which will contain their rate quotation in the prescribed format in ANNEXURE-VIII.

The qualifying bid will consist of documents Sl.No-B1 to B6. The financial bid will consist of the rate quotation as per ANNEXURE-VIII.

B8      The original of the above documents may be produced at the time of final verification and signing of contract. (For verification)

B9	The financial bid of those tenders who qualify in the qualifying bid only will be opened by the opening committee as per time & schedule which will be intimated to the qualified bidders later.

C.     SPECIFICATION OF WORK

C1      This tender is for digging trench and laying of underground telephone cable, trenching and laying of OFC cable, microtunnelling, jointing & allied works at different zones under the jurisdiction of TDE, Phulbani.. The work broadly consists of the following components.

C2   Approximate Quantum work to be done under different Zones

| Sl.No. | Zones | U/G cable in km.s (approx) | OFC cable in km.s (approx) |
| --- | --- | --- | --- |
| 1 | SDE N/W OP CFA Boudh | 25 | 10 |
| 2 | SDE N/W OP CFA Phulbani | 25 | 10 |
| 3 | SDE N/W OP CFA Baliguda | 25 | 10 |

There may be variation of  ± 25% in the quantum of work noted above.

Signature of Tenderer

C3 . U/G CABLE LAYING

1.      The work involves excavation of trench measuring 30 cm (width) x 90 cm (depth) in all places of Phulbani Telecom Dist. for the cable above 5 pr. For 5pr. Cables the specification is 30 cm (width) x 60 cm (depth).The excavation also involves clearing of bushes, cutting roots of trees that may lie along the route of the cable trench and throwing out stones and boulders that may be dug up during the process of trenching.

2.        After the trenches dug up its bottom is lined with soft soil of about 05 cm thickness, a soft soil of same thickness is again to be provided after cable is laid in the trench. Whatever soft soil required for this purpose is to be arranged and supplied by the contractor himself at his own cost and no extra amount will be paid on this account.

3.        Cable has to be laid in the trench on the layer of soft soil. In some cases it may be required that more than one cable has to be laid in the same trench while in some other cases old cable may be existing in the trench. In order to avoid any damage to the cable including the existing one, utmost care is to be taken while digging, lowering of cable and laying in the trench.

4.        After the cable is lowered in the trench  soft soil of about 5cm thickness is to be provided in the trench. Then the warning bricks as per requirement for the higher gauge cables of 100 pairs and above if needed are to be laid over the cable. The bricks should be of first class kiln burnt type in quality. The bricks are to be laid normally lengthwise over cable. About 4 bricks are to be laid on every meter of cable length. The bricks are to be supplied by the cable contractor himself at his own cost.

5.        After the cable and bricks are laid, the trench has to be back filled. The excavated soil shall be used for back filling the trench which will then to be rammed to the road level with due watering at the rate of one tanker full of water for 400 meters of trench, if the trench subsides within three months, the back filling and ramming to the road level shall be done again by the contractor at his own cost.

6.     Before the cable is given to contractor for laying into the trench will be inspected by the representative of the BSNL to ensure that the depth and width of trench are as per the required specification (i.e. concern SDE/SDOT/JTO).

7.     The route and joint indicators and cable markers required are to be planted. RCC pipes/GI pipes/ tubes are required to be provided at the road crossing or at any other place where ever required. Those materials will be supplied by the Dist. Authority. The contractor shall be liable to ensure safety and security of those materials from the time those stores are handed over to him or to his representative upto the time when the work is completed and accepted by the Dist. Authority after inspection.

8.      The cable should be made available under proper acquaintance by the Sub-Divisional officer concerned or the representative of the Dist. Authority at the department store from where it has to be transported to the site by the contractor at his own cost. No separate charges will be allowed towards transportation of cable.

- To avoid the possibility of theft of exposed cable which is already laid earlier or partly laid, the contractor will be required to arrange for watching  the  cable trench at night time and all the days. The watchman so employed for this purpose shall have to be paid for by the contractor himself. In case of loss of cable by theft such open trenches the contractor shall be liable to pay the compensation to the Dist. Authority basing on the value of cable so stolen.

Signature of Tenderer

10.      In case damage is caused to the existing cables by  the labourers  employed by the cable laying contractor , the actual expenditure incurred for the restoration of the cable will be recovered from the contractor, including the cost of replaced portion of the damage cables.

11.     In case of road crossing, the cable shall be laid by punching the road without damaging the road surface. The punching shall be carried out by the contractor.

12.    Concreting should be done at culverts and bridges under supervision of concerned Sub-Divisional Engineer Telecom and at other place where necessary, prior permission from the TDE is required.

13.     Incase of jointing (a) The contractor himself should manage tools & staff   required for jointing work including such materials as tolls, kerosene oil, blow lamp, rags etc. However BSNL will supply only jointing materials TSF/RTSF/TWF joint kits, connectors and DP/GI pipes/cabinet/pillar if work allotted for erection of DP/Cabinet etc.

(b)     The contractor will get all the pairs verified after   making the joints & obtain a certificate from SDO regarding joint of all cable pairs & connecting of joints.

(c)     Closing of joints will be done by the contractor under supervision of BSNL staff or officer authorized in work order.

(d)    The warranty period of joints is one year from the date of jointing, if the joint fails for any reason other than any external agency, four times of the cost of jointing including cost of joint kit, connecter etc. will be recovered form the contractor.

- (i)In case of digging trenches of shorter depths, the contractor would be paid lesser amounts based on the following formula.(for cables except 5pr)

| Depth of cable trench (in cm) | Percentage of approved rate accorded |
| --- | --- |
| 90 or above | 100 |
| 80-89 | 80 |
| 70-79 | 70 |
| 60-69 | 60 |
| 50-59 | 50 |
| 40-49 | 40 |
| 30-39 | 30 |
| <30 | 0 |

(ii)In case of 5pr cables

| Depth of cable trench (in cm) | Percentage of approved rate accorded |
| --- | --- |
| 60 | 100 |
| 50-59 | 85 |
| 40-49 | 75 |
| 30-39 | 65 |
| <30 | 0 |

For trenches of depth less than 30 cm, no amount would be paid.

Signature of Tenderer

(iii)In case of OFC cable

| Depth of cable trench (in cm) | Percentage of approved rate accorded |
| --- | --- |
| 165 or above | 100% |
| 150 - 165 | 95% |
| 130 - 149 | 87.5% |
| 100-129 | 75% |
| < 100 | 40% |

Relaxation Clause:- Prior to laying PLB pipe.

Necessary approval must be obtained from the appropriate authorities in case of lower depths as per the details furnished below.

| Depth | Authority for relaxation |
| --- | --- |
| Below 165 cm & above 150 cm | TDE |
| Below 150 cm & above 100 cm | TDE |

15. JOINTING OF VARIOUS CABLES: Digging of pit and back filling, jointing of cable pairs, jointing each conductor using discrete connector/modular connector/twisting as per instruction of the supervising Officer, closing of joint using Thermo Shrink Kits and refilling of the joint pit, testing the cable pairs for different Sizes of cables.

16.  FOR ERECTION AND TERMINATION OF DP, THE WORKS INCLUDE

(a)For external DP with erection of poles

(i) Fitting of pole

(ii) Erection of pole

(iii) Fitting of DP on the top of GI pipe and clamping the GI pipe with pole by

Fitting brackets, U-backs, etc on the pole

(iv) Cleaning of cable and terminating the pairs on the DP

Erection and termination of DP includes fitting of DP on the top of 40 mm GI pipe

and clamping the G1 pipe, fitting a bracket on the pole, and termination of cable on both the ends complete in all respect (distribution cable end and DP end) and concreting sub’s wall about 3 meters (for internal DP).

(b)External DP on existing pole

All the works as above except (i) and (ii).

(c)Internal DP

(i) Chiselling of wall (upto 3 metres)

(ii) Fixing and then cementing over the cable

(iii) Fixing gutka and fitting the internal DP and terminating the cable in the DP after cleaning.

17. CONCRETING

The concrete, wherever required, must be of the ratio 1:2:4 in terms of cement, chips (15 cm size) & sand.

- In case of  river bridges / Culverts  the concrete  must have at least 3 no.s of horizontal  MS rods of size 8mm dia and  iron rings  at distance of 2 ft. separation and it should be done over the river bridges / Culverts having minimum length of 20 mtrs or more.

- In case of small culvert and other location where ever the concrete is required it must be without MS rods.

Signature of Tenderer

18.      In case of erection of pillars the same should be installed in safe places of suitable locality and it should be easily accessible for maintenance. The positions close to the edge of footpaths, near transformers, below HT lines etc. must be avoided. Foundation of cabinet/pillar 600 mm high from the ground level with first class brick & cement mixture of 1:4 ratio keeping holes for drawing of cable on the front (including supply of material) and fixing of the cabinet/pillar on the foundation by using fixing bolts to be supplied by the bidder (the cabinet is to be transported from the nearest exchange to the site by the tenderer)

C3. OFC  CABLE LAYING

1. LAYING OF PIPE

The pipe is to be laid at a depth of 1.65m.  in all classes of soil.However, in hard rocky area , the depth is restricted to 1 meter which is permissible only at locations where heavy traffic is encountered or densely populated areas prohibiting use of explosives  at the discretion of the officer in charge of the work.. Normally the trench  should be  of about 45cms wide at top and 30cm. wide at bottom at a depth of 1.65 meters.

2.DEPTH OF TRENCH

(a).   The depth of 1.65 meters should be taken as normal depth.Due to uneven ground conditions if 1.65meters is adopted as uniform depth  throughout the bottom of the  trench, it will also follow the same unevenness as the surrounding terrain.This should not be the case and the bottom of the trench has to be at uniform level.In this process in some locations the depth of excavation  may be less or more. However it is to be ensured that  at no locations , the depth is less than one meter.

(b).  Wherever the depth is less than the stipulated limit due to the local conditions , pipes (G.I. / RCC / HDPE ) are to be concreted  by the contractor.Sometimes concreting of the pipes have to be done while crossing the bridges or culverts.The decision regarding the necessity of concreting will be solely at the discretion of the TDE.

(c).   At locations where surface soil is soft , but rock is encountered at a depth of less than 1.65m.,the work has to be carried out in the following manner.

- If the rocky layer is encountered at a depth of 120cm. or more,no further excavation is necessary and the excavation may be stopped at the rocky layer ensuring at the sametime that the bottom level of the trench is uniform.

- If rocky layer is encountered at a depth of less than 120cms but more than 60cms.,in such locations the excavation is to be done upto a depth of  not less than 120 cms.

- If the rocky layer is encountered right from the surface or a depth of less than 60 cms from the surface, the depth of the trench in such locations should not be less than 100 cms.

- The Telecom District Engineer, will be the authority to decide the depth of trenches depending upon terrain condition and his decision shall be  final. However necessary approval from the appropriate authority should be obtained as mentioned below prior to laying  of PLB pipe in the trench.

| Depth | Authority for relaxation |
| --- | --- |
| Below 165 cm & above 150 cm | TDE |
| Below 150 cm & above 100 cm | TDE |

Signature of Tenderer

3. LOCATION & ALIGNMENT OF TRENCH

i. The alignment of the trench will be decided by the officer in charge of the work at site. However it is the responsibility of the contractor to ensure that the excavated trench is as straight as possible.

ii. The contractor shall clear , prepare and grade the right way to facilitate the making of the alignment  of the trench.The contractor shall remove  all bushes under growth,slumps,rocks and other obstacles to facilitate making  the centre line.It is to be ensured that minimum amount of bushes and shrubs shall be removed to clear the way and the contractor shall give all consideration to the preservation of trees within the rightway.

4. TRENCHING

The contractor shall dig the trench to the depth specified above.As far as possible , trenching should be kept much ahead of the laying of pipes.The contractor should not damage any underground structures or pipe line or cable etc. while making the trench.

5. MICROTUNNELLING SPECIFICATION

Horizontal Directional Drilling, Laying of PLB Duct of 40/33 mm dia through boring by “NO DIG” method using trench-less technology along road and under railway / road / canal / streams crossing in all type of soil ( including soft rock & hard rock) at suitable depth including all civil works.

The work includes DIT test, i.e. pressure, sponge, air test and all other test associated with DIT test. And supply of all tested lifting tools and tackling of other required equipment and consumables, labour etc. and making all such necessary arrangements are under venders scope. Total job has to be completed within time schedule mentioned in the work order. (Boring size 120 mm dia)

6.NIGHT CAPPING

At the end of each day’s work, the open ends of the pipe sections shall be tight capped with securely closed cap which will be supplied by the Department to prevent the entry of dirt / mud, water or any foreign matter into the pipe line until the work is resumed.

7. SWABBING

The inside of each length of pipe  shall be thoroughly cleaned to remove all sand , dirt or any other debris that may clog , disturb or damage the fibre optic cable when it is pulled at a later stage or which may disturb or damage the jointing operation . Any obstruction remaining in the pipeline after completion  shall be removed at the expense of the contractor.

8.PREPARATION FOR JOINTS

The ends of each pipe and inside of each jointing coupler shall be thoroughly cleaned up from any direct or other foreign matter so as to avoid defects in the joint.

9. LINE UP

The pipes when laid and jointed shall be in a straight line both in the horizontal and vertical plane except at locations where it has necessarily to take a bend because of change in the alignment or change in the depth of the trench due to unavoidable circumstances.

10.LAYING OF PIPE

After the trench is excavated to the specified depth, the bottom of the trench has to be cleared of all stones / pieces of rock and levelled up properly. A layer of soft soil  of not less than 5cms is to be used for levelling the trench to ensure that the pipe when laid will follow a straight alignment alongwith its joints. The pipe shall be straight as far as possible and all bends and gradients or change of depth should be gradual.

Signature of Tenderer

(a).  The pipes shall be jointed for continuous stretches of about 200 meters in the straight and end of  the pipe are easily accessible at the pipe end. Both the ends of the pipe are easily accessible at the pipe end. Both the ends of the pipeline section shall then be securely sealed by suitable covers supplied by the Department. The next length of the pipe shall be laid leaving gap of two meters.

(b).   A gap of two meters may also be kept at every bend.

( c).  Water present in the trench of the line of laying the pipe and jointing shall be pumped out by the contractor before lowering the pipe  to ensure that no mud or water gets into the pipe. If the trench collapses before the pipes are laid and jointed properly, the contractor shall make necessary repairs before laying the pipes at his own cost.

(d)    The contractor shall exercise all care to ensure that pipe is not subjected to any strain.

(e)     The OF cable must be laid from the nearest  OFC Joint to the site.

(f)     Frequent road crossing must be avoided.

11. Clamping of PLB Pipe on wall

The contractor shall clamp the PLB pipes properly on wall of the building for lifting of OFC cable upto the roof  top of the building.

12. BACK-FILLING AND DRESSING THE TRENCH

- Provided that the pipe has been properly laid and jointed in the trench at the specified depth and the nylon rope has been  pulled inside,the back filling operation shall follow.The back filling operation shall be performed in such a manner as to provide firm support under and above the pipe and to avoid bend or deformation of the pipe when the pipe gets loaded with the back filled earth.No debris shall be allowed in back-fill any time.The back filling should be done in layers of 20 cms. followed by watering and ramming.

- The back-fill shall be maintained by the contractor against washout settlement below original levels and rotting until reinstated to the original surface condition  as acceptable.After back filling the original  ground condition is to be restored.

- Back filling of trench by sand may be done upto 90cm. along the Nationl Highway / PWD roads as per the requirement of NH / PWD Authority and removal of extra soil away from the site( including transportation and material cost).

13.ROUTE AND JOINT INDICATORS  (To be supplied by BSNL).

- Providing and fixing well finished RCC  indicators in the middle of the joint and outside the edge of the chamber as per the instruction of the site engineer. The joint indicator must be 2/3rd inside the ground and 1/3rd above the ground and the upper portion of the joint indicator must be painted with red over the white enamel paint.

- The route indicators should be planted at the interval of 200m. along the cable route . The indicator must be 2/3rd inside the ground and 1/3rd above the ground and the upper exposed portion of the route indicator must be painted with yellow over the white enamel paint.

- All the joint / route indicators  to have BSNL Logo also.

Signature of Tenderer

14.SPLICING CHAMBER

This includes digging joint man holes of size 2m. length , 1.4m width and 1.8m depth respectively, placing of RCC ring of appx. 1m. dia and slab inside the chamber.The supply & transportation of the RCC rings to work site , filling the chamber with sand, plastering and reinstatement with excavated earth will be done by the contractor at his own cost.

- DOCUMENTATION

It should be prepared in 4 copies giving exact route details / joint location etc. on actual measurement  and  to be submitted immediately  after measurement. However a fixed charge of Rs. 100/- per km. should be claimed by the contractor in the bill.

One for  SDOT / SDOP office

2nd one for TDE office

3rd one for A/T

4th one for Trans installation Team.

Before submission of the bills,  the transmission wing has to verify the document of the route and there after the bills will be processed on obtaining their clearance.

D.WORK COMMENCEMENT, SUPERVISION & MEASUREMENT

D1.      The contractor has to commence the work order issued by the Dist. authority or his authorised representative. The work is to be commenced within seven days of issue of work order which will be containing route map and details for executing the order. The work order may cover an entire route or a part of the route in which the cable to be  laid. In case of jointing/allied works, details of the works will be indicated.

D2. 	Arrangement of permission for road cutting to lay OFC/UG cable along the road

Obtaining the permission from NH Authorities/ State High Way Authorities / Municipality / NAC Authorities/ other authorities is sole duty & responsibility of the successful bidder. However, BSNL shall only apply for the permission indicating proposed route diagram to the concerned authority with a copy to the contractor.  The compensation claimed by the concerned authority if any, shall be borne by BSNL after joint verification.

D3.     Penalty for Delay in contractors performance

a).   The time allowed for completion of the work as entered in the tender shall be strictly adhered by the contractor and shall be deemed to be the most important aspect of the contract on the part of the contractor and shall be reckoned from the seventh day from issue of work order by BSNL. The work shall, throughout the stipulated period of contract, be proceeded with all due diligence to achieve the desired progress uniformly and the contractor shall pay as penalty amount equal to 1% of the amount (minimum of Rs. 1000.00) per week of the incomplete work for every one week of delay in completion of the work, subject to a maximum of 10% of the cost of the work awarded.

Signature of Tenderer

b).  (i)   The contractor should repair the damaged OFC cable in his own expenditure if the cable damaged due to the negligence in cable puling (Twist in cable) or damaged by external agencies due to improper depth during the 1st year of cable lying failing to which the expenditure occurred will be recovered from his bill / EMD.

(ii)  Both end of the cable terminal should be terminated inside the building by suitably protecting the cable / PLB keeping excess cable in 3.5ft concrete ring filled with sand out side the building. At roof top location cable should be terminated at roof top building by suitable clamping of PLB pipes.

(iii)    All the joint pits should be filled with sand before starting of cable splicing, failing which  50% of the estimated joint pit amount will be recovered from bill. A certificate from SDE TI should be attached while producing the bill.

(iv)    While digging trench, contractor should take utmost care towards the under ground cables and pipers (including PHD pipes), OFC cable of BSNL or other private  operator. Contractor will be fully responsible if cable damage occur during trenching and will be penalised to the amount of compensation raised  by the private Telecom operator. The amount of penalty to be imposed will be as follows in case of cable damage during trenching:

A. BSNL U/G cable : Rs. 5000/- per cut.

B.  BSNL OFC cable : Rs. 20,000/- per cut.

C.   Other Operators OFC cable: 75,000/- per cut (50% of claim amount by private operators).

(v)   Care should be taken to lay OFC away from the culvert base keeping in view the future expansion of the culvert and laying over the culvert should be avoided as practicable as possible.

C).	If on any date the penalty payable as above reaches 10% of the estimated cost of the work, the contractor should proceed with the work further only after getting a written instruction from the  TDE  that he is allowed to proceed further with the work.

d).	Penalty for delay in completion of the work shall be recoverable from the bill of the contractor and/or by adjustment from the Security deposit (SD) or from the bill of any other contract. However, adjustment of the SD will be made only when the contract has been terminated or at the time of final settlement of bills on completion of the work.

e).	In case of slow progress of the work in a section which has been awarded to a particular contractor and the public interest does not permit extension of the time limit for completion of the work, the TDE will have the full right to order that the scope of the contractor may be restricted to such fraction of the whole of the work and get the balance executed at the risk and cost of the contractor. All such payments shall be recovered from the contractor’s pending bills or SD.

f).	The TDE reserves the right of cancelling the contract and forfeit the SD if the contractor fails to commence the work within seven days after issue of the work order.

Signature of Tenderer

D4.     The Dist. Authority reserves the rights to terminate the contract in the event of progress of cable laying and jointing /allied works being found slow in comparison to the time allowed. Thereafter, the Dist. Authority will be free to get the work done through any alternative agency to be decided by it. Any excess amount required to be paid to the alternative agency to carry out the works, shall have to be borne by the defaulting contractor which may also be adjusted from the Security or any amount due from BSNL to him.

D5.    	The Dist. Authority also reserves the right that in the  event of the contractor failing to commence and complete the work in specified time, the work will be awarded to any other alternative contractor. The difference in cost of the work thus completed will be payable by the defaulting contractor in addition, his security shall be forfeited.

D6.    	After the completion of the work, the work carried out by the contractor shall be measured by the supervisory officer nominated by the Dist. Authority. The details of measurement will be entered in measurement book and signed by both the contracting parties or their representative jointly. The measurement books will be maintained by the representative of the Dist. Authority.

E.SAFETY, SECURITY AND OBSERVANCE OF LABOUR LAWS.

E1.    The contractor will be responsible for the safety and security of the material supplied to him by BSNL. He will insure all the materials besides cable comprehensively to cover loss or damage due to theft, fire or any other reason.

E2.   	The contractor will be responsible for the safety and security of labour employed by him for execution of the work. He will be required to insure each labourer or as per labour laws. The contractor will ensure safe working by observing proper safety precaution.

E3.   The contractor will be required to abide by the labour laws enacted from time to time by the central or state govt. maintenance and observance of any or all of the statutory labour laws will be sole responsible of the contractor. The claims arising out of injury, causality or anything else to the worker/labourer employed by the contractor will be the sole responsibility of the contractor.

E4.    Under the provision of the workmen’s compensation Act that in case any compensation is paid by the BSNL.to a workmen/labour employed by the contractor in execution of the work the same will be recovered from the contractor either from the bill preferred by him or by adjustment from his security deposit money.

E5.      Before commencement of work, the contractor should obtain a valid labour license by virtue of the provision of the contract labour (Regulation and Abolition Act. 1970) and of the contract labour (Regulation & Abolition) contract Rule, 1971 and continue to have valid license during the period of contract. The contractor shall be responsible for any contingency arising out of his failure to obtain and have a valid labour license.

E6.   The contractor should ensure that no labour below the age of eighteen years is employed by him on the work.

E7.    	The wages paid by the contractor to the labours employed by him should not be less than the fair wages as defined in the CPWD contractor’s labour regulation or as per the provision of Central Labour (Regulation & Abolition) Rules, 1971, whichever is applicable.

Signature of Tenderer

E8.     Under the provision of minimum wages Act.1948 and the minimum wages (central Rules), 1950, the contractor should allow the labourers employed by him on work one day rest against six days continuous work  and pay wages for that day at the same rate as applicable for duty.

E9.     The contractor shall maintain “Muster Roll” in respect of all workmen employed by him on the work in contract from XVI of the CL (R&A) Rules,1971.

E10.  The contractor should comply with all the rules framed by the Government from time to time for the protection of health and sanitary arrangement for workers employed by him.

E11.  	The contractor shall maintain a Register of persons employed on work on contract in from XII of the C.L (R & A) Central Rules, 1971.

E12. 	The contractor should carry out the work in such a manner so that it will cause minimum hindrance to the traffic.

E13.   The cable will be laid & joints& allied works will be done along or across the road, streets, bridges, culverts and other similar places. The contractor will be required to display safety boards and provide lamps at night time to warn the passing traffic and users of the roads/streets. The contractor will be responsible for any accident caused due to the negligence in precautionary measures. He will undertake to indemnify BSNL against any loss and damage caused during the execution of work sustained by BSNL or by a third party.

E14.    The contractor shall maintain register of accidents, in such form as may be convenient at the work place. Also other necessary registers are to be maintained by the contractor for labourers employed by them.

E15.   The contractor shall allow inspection of all the prescribed labour records to any of his workers or to his agent at a convenient time and place after due notice is received or to the labour officer or to any other person authorised by BSNL on his behalf.

E16.    The contractor shall before commencement/commences his work on contract display and correctly maintain and continue to display and correctly maintain in a clean and visible condition in conspicuous place of work notices in English and in the local Indian languages spoken by majority of workers, giving the minimum rates of wages fixed under the minimum wages Act, the actual wages being paid,the hours of work for which such wages and other relevant information.

E17.   The contractor shall submit periodical returns as may be required/prescribed from time to time.

E18.  It will be obligatory on the part of the contractor to guard the cables starting from transportation from store depot till it is taken over by the concerned SDO/JTO.

E19	Form-V to be issued by BSNL for getting labour license.

F.RATES TO BE QUOTED.

F1.    The rates should be quoted in the financial bid format given in the annexure-VII.

F2.    The tenderers are required to quote their rates as percentage of the standard schedule of rates provided .

F3.      No conditional rates will be accepted.

Signature of Tenderer

G.PAYMENT AND OTHER COMMERCIAL TERMS.

G1.     Payment will be made against the bill preferred by the contractor. The bill will have to be submitted in triplicate and shall be accompanied with a pre-receipt with bank account number. Bill is to be submitted within one month of the completion of work.

G2.    	The bills are to be submitted in triplicate duly certified by the concerned JTO/SDO and countersigned by the concerned DE after sample check. The sample check for cable laying is to be conducted by the DE concerned @ 10 places per kilometer. Initially 90% of the bill will be paid and balance 10% will be retained towards performance security as indicated in the General Conditions of contract. In case any discrepancy is found as regards to depth, the bill will be passed as per average depth of these 10 places on proportionate basis. The sample check report should be submitted along with the bill as well as in the MB. In case of jointing, the sample check will include the details of joint inspected, DP erected with places specified pillar and terminations etc.

G3.    In case of OFC laying, 90% of the amount will be  paid after clearance of route/ fibre  A/T only  and rest 10% shall be retained towards performance security as indicated in the General Condition of contract

G4.  	The taken over & handed over certificate should be submitted along with bill for payment and the material accounts of the contractor should be submitted along with the bill.

G5.    	Payments will be made through account payee cheque drawn on BSNL Banker, Phulbani.. The Dist. Authority will not bear any collection charges, if required.

G6.   	2% + sc or as applicable from time to time of the entire billed amount will be deducted towards income Tax.

G7.   	Sales Tax and any other statutory tax as applicable from time to time will be deducted from the billed amount at source.

G8.   	The road punching / Microtunnelling  and concreting should be marked in Red ink with the details of length on the cable diagram.

G9.   	 All the cables above 5 pair will be laid at a depth of 90 cm, and 5 pair cable will be laid at a depth of 60 cm., OFC cable should be laid at a depth of 165cm. irrespective of nature of soil.

H. RESCISSION/TERMINATION OF CONTRACT

Under following conditions the competent authority may rescind/terminate the contract.

(a)       If the contractor suspends the execution of work &the engineer in charge of the work comes to judgement that the work could not be completed by the due date for completion or the contractor had already failed to complete the work by that date.

(b)    If the contractor had been given by the officer in charge of  work a notice in writing to rectify/replace any defective work fails to comply with the requirement within a period of seven days from the date of receipt of such notice

& (c)  If the contractor commits breach of conditions in the contract or sublets without prior  permission ,the Engineer in charge of the work can determine or rescind the contract.

Signature of Tenderer

Before determining/rescinding, the Engineer in charge shall give first show cause notice .Thereafter Notice on Final Action will have to be served in case no response is received for first show cause notice.

I.  FORCE MAJEURE:

a.      If any time, during the continuance of this contract, the performance in whole or in part by either party of any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Hereinafter referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason  of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance or delay in performance, and deliveries under the contract shall be resumed as soon as practicable after such event may come to an end or cease to exist provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days either party may, at his option terminate the contract.

b.        PROVIDED also that if the contract is terminated under this clause, the Department shall be at liberty to take over from the contractor at a price to be fixed by the Department, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in the course of execution of contract in possession of the contractor at the time of such termination of such portion thereof as the Department may deem fit excepting such materials bought out components and stores as the contracts may with the concurrence of the Department elect to retain.

J.  ARBITRATION:

- In the event of any question, dispute or difference arising under this agreement or in connection there with except as to matter the decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration of the TDE, BSNL, Phulbani. or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the Officer for the time being entrusted whether in addition to the functions of  the TDE, BSNL, Phulbani. or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the TDE, BSNL, Phulbani. or the said officer is unable or unwilling to act as such the sole arbitration or some other person appointed by the TDE, BSNL, Phulbani. or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act, 1996.

There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Government Servant he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such TDE, BSNL, Phulbani. or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

Signature of Tenderer

b.      The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to aforesaid Arbitration and Conciliation Act; 1996 and the Rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

c.       The venue of the arbitration proceeding shall be the Office of the Chief General Manager , Orissa Telecom Circle, Bhubaneswari. or such other places as the arbitrator may decide.

K.   SET OFF:

Any sum of money due and payable to the contractor ( including security deposit refundable to him) under this contract may be appropriated by the BSNL or the Government or any other person or persons contracting through the Govt. of India and set off the same against any claim of the BSNL or Govt. or such other person or persons for payment of a sum of money arising out of this contract or under any other contract made by the Contractor with the BSNL or Govt. or such other person or persons contracting through Government of India.

The terms and conditions enumerated in the above as different clauses shall be binding and the bidder shall have to accept them in writing along with the tender. Also other terms and conditions enumerated in the bid document shall be binding on bidder.

TDE,PHULBANI

Signature of Tenderer

ANNEXURE-I

LIST OF ZONES

| Name of the Zone | Areas under the jurisdiction | Area / SDCA covered | EMD in Rs |
| --- | --- | --- | --- |
| 1. | SDE N/W OP CFA BOUDH | SDE BOUDH AREA | 25,000/- |
| 2. | SDE N/W OP CFA PHULBANI | SDE PHULBANI AREA | 25,000/- |
| 3 | SDE N/W OP CFA BALIGUDA | SDE BALIGUDA/ GUDG AREA | 25,000/- |

##### Signature of Tenderer

ANNEXURE-II

AGREEMENT

AGREEMENT FOR LAYING, JOINTING AND ALLIED WORKS OF U/G CABLE AND OFC CABLE  IN PHULBANI. TELECOM DISTRICT

An agreement is entered in between Sri ________________________ as one part and the TDE, Phulbani. _________________________________ second part on behalf the BSNL on this ________ day of 2010 for laying, jointing and allied works of U/G  & OFC cable in zone no ________ under the jurisdiction of TDE Phulbani..

Whereas in response to the tender notice no ___________ dtd________ issued by the TDE Phulbani. Sri ___________________________ has been declared successful for laying , jointing and allied works of U/G & OFC cable in zone no _______ of Phulbani. Telecom district.

Sri ______________________________ hereby undertakes to carry out the work of laying , jointing and allied works of U/G & OFC  cable in the zone no ______ for a period of one year starting from the date of execution of the agreement & at the rate finalized in his favour according to the terms and  conditions laid down in the tender document.

Sri _________________________ also undertakes to carry out the work throughout the year at the same approved rate and according to the laid down standards of the department and up to the satisfaction of TDE Phulbani..

Sri __________________________ further undertakes to fully abide by the terms and conditions as stipulated in the tender notice no ______________ dt. __________________ referred to above and shall make good any loss caused to the telecom district or any other Govt. department or private body or to the public.

Signature of contractor			TDE

Name 						Name

Address					Address

Witness 1					Witness 2

Name 						Name

Address 					Address

Signature of Tenderer

Name & Address

ANNEXURE-III

TENDER QUOTATION

(TECHNICAL BID)

Tender for laying, Microtunnelling , jointing & allied works for underground cables( 5pr & above) and OFC cable  in zones of Phulbani. SSA. The description of work is given below which includes all sub works from (a) to (S). This may be termed as cable laying, jointing & allied works.

- Digging of trench and backfilling of trench.

- Laying of any sizes of cables, one or more nos, in the trench ( for U/G cable).

- Supply of soil and bricks if required so as to cover all the U/G cable laid in the trench as per BSNL standard.

- Laying & jointing of HDPE / PLB pipes, RCC pipes wherever necessary & pulling of OFC cable.

- Ramming and watering the trench .

- Planting of route/joint indicators ( BSNL is to  supply the route/ joint indicators).

- Punching road at road crossing without damaging the road surface.

- Microtunnelling for OFC cable if required.

- Concreting wherever necessary.

- Transporting the cables and other associated materials to worksite .

- Sand filling along National Highway , wherever required.

- Digging pits for jointing cables.

- Jointing of cables.

- Erection of DP, termination of cable pair.

- Erecting pillars/cabinets.

- Termination of cables in pillars/cabinets/tag blocks in exchange.

- Testing of cable from pillars/cabinets/DP.

- Clamping of PLB Pipes.

- Arrangement of permission for laying OFC / UG cable along & across the NH, State High Way, Municipality / NAC Roads from the respective authority.

Signature of Tenderer

ANNEXURE-IV

SCHEDULED RATES FOR FINANCIAL BID

The scheduled rates for various items of works in the tender are given below with the description of works. The tenderer has to quote percentage (below/at par/above) on scheduled rates in the financial bid format of the annexure-VIII.

(A) 5pr & U/G cable works

| Sl.no | Description of Work | Scheduled Rate (in Rupees) | Unit |
| --- | --- | --- | --- |
| 1. | Excavation and back filling of trench of 30 cm width X 90 cm depth as per description in the tender documents.(For all kinds of soils) Without bricks. | 24 | Per Mtr |
| 2. | Excavation and back filling of trench of 30 cm width X 90 cm depth as per description in the tender documents.(For all kinds of soils) With bricks (applicable for cables of 100 pairs and above). | 34 | Per Mtr |
| 3. | Excavation and back filling of trench of 30 cm width X 60 cm depth as per description in the tender documents.(For all kinds of soils) for 5 pair cables | 16 | Per Mtr |
| 4. | Laying of under ground cable in the trenches irrespective of the size of the trench including transportation from the Sub-Div. store to the site. |  |  |
| a) | For all sizes up to 50pairs(one rate only) | 2 | Per Mtr |
| b) | For 100 pr and 200 pr (one rate only) | 4 | Per Mtr |
| c) | For 400 pr and above (one rate only) | 8 | Per Mtr |
| 5. | Concreting (i) 5pr U/G cable (ii) 10pr & above with MS rods of 8 mm size. (iii) 10pr & above without MS rods (iv) Laying in concrete area / road including reinstatement by concreting again. | 65 130 80 100 | Per Mtr |
| 6. | Road boring 10pr & above | 300 | Per Mtr |
| 7. | Recovery of cable | 20 | Per Mtr |

Signature of Tenderer

B. Jointing of cable & allied works.

(All materials, except the required tools and testing instruments, shall be supplied by the department.)

| Sl.no- | Name of the work | Scheduled Rates(in Rupees) | Unit |
| --- | --- | --- | --- |
| 8. | Jointing various cables as per clause C16 |  |  |
|  | 5 pr 10 pr,20pr & 50 pr 100 pr 200 pr 400 pr 800 pr | 125 168 203 238 308 448 | Per joint |
| 9. | DP erection |  |  |
| a) | External DP on existing pole | 100 | Per DP |
| b) | External DP with erection of poles | 150 | Per DP |
| c) | Internal DP 5 pair / 10 pair | 75 | Per DP |
| 10. | Pillar construction including painting & sign writing | 2800 | Per pillar |
| 11. | Termination of cable MDF CT Box / pillar | 100 100 | Per 100pr. |

Signature of Tenderer

C.Laying of HDPE / PLB pipe & pulling of OFC cable

| Sl. No. | Description | Scheduled rate in Rupees | Unit |
| --- | --- | --- | --- |
| 1. | Excavation of trenches of 45cm. width at top & 30cm. width at bottom to a depth of 165cm. in all types of soils as per description in the tender | 50 | Per meter |
| 2. | Same as above for ROCKY WITH BLASTING | 175 | Per meter |
| 3. | LAYING,JOINTING & STRENGTHENING of HDPE /PLB pipes in the excavated trench as specified in tender ( The rate includes transportation of store materials from the Sub-div. store to work site ) | 5 | Per meter |
| 4. | LAYING,JOINTING OF HALF ROUND RCC PIPES – at the road crossings , bridges , culverts , swampy areas, town limits depending upon the condition of the terrain. | 10 | Per meter |
| 5. | Laying and fixing of 80mm G.I. pipe on bridges and culverts | 10 | Per meter |
| 6. | Concreting on / under the bridges / town areas/ rocky areas (i) With MS rod of 8mm size. (ii)With out MS rod | 130 80 | Per meter |
|  | (iii) Laying in concrete road / area & reinstatement by concreting again. | 100 | Per meter |
| 7. | Microtunnelling in case of unavoidable circumstances | 300 | Per meter |
| 8. | Road/ Railway crossing boring( excluding the cost of G.I. pipe) | 300 | Per meter |
| 9. | Cable pulling through HDPE / PLB pipes | 3 | Per meter |
| 10. | Fixing of route & joint indicator(as specified in tender) including specified painting: Route indictor ---- Yellow Joint indicator------Red Logo ----------- Blue & Red | 70 | Per meter |
| 11. | Construction of splicing chamber( including supply of RCC rings,slabs,sandfilling ,transportation & plastering the RCC ring & slabs) | 1200 | Per each |
| 12. | Back filling of trench by sand upto 75cm. along the National Highway as per the requirement of NH authority & removal of extrasoil from the site | 82 | Per meter |
| 13. | Clamping of PLB Pipe on wall including clamp materials. | 100 | Per meter |

Signature of Tenderer

ANNEXURE-V

Material Security Bond Form

Where as …………….. …………… …………………………………………..

(herein after called the contractor ) has been awarded the contract of U/G / OFC cable construction work as per tender number W-126/10-11/1     dated-21/09/2010                        know all men by these presents that we the contractor having registered office at …………………………………………………………………………..

are bound unto at …………………………………………………………………………….

(herein after called BSNL) in the sum of Rs….. … ( Rupees…………………………………..)

for which payment will and truly to be made of BSNL, the bank binds itself its successors and assigns by these presents.

The conditions of the obligations are :-

i. If the contractor is unable to keep stores issued to him properly, that is, the stores provided to the contractor are damaged or

ii.The stores issued to the contractor are stolen or

iii.The contractor is not able to provide proper account of the stores issued to him/her/them by BSNL

We undertake to pay to BSNL upto the above amount upon receipt of its first written demand with out  BSNL having to substantiate its demands provided that in its demands BSNL will note that the amount clamed by it is due to it owing to the occurance of one or two or all of the three conditions specifying the occured condition or conditions.

This guarantee will remain in force up to and including one hundred and eighty (180) days after the period of contract validity and any demand thereof should reach the Bank not later than the above date.

Signature of the Bank

Signature of witness

Name of witness

Address of witness

Signature of Tenderer

ANNEXURE-VI

DECLARATION

I --------------------------son of Sri ---------------------------- here by declare that none of my near relative (as mentioned in the tender document) is / are employed in BSNL unit. In case at any stage, it is found that the information given by me is false/ incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior information to me.

Signature of Tenderer

Name & Address

Underground / OF cable construction works in Phulbani. Telecom District for 2010-2011 Modified.

ANNEXURE-VII

TENDERERS’S PROFILE

3.1 General:

3.1.1 Name of the Tenderer / Firm…………………………………………..

3.1.2 Name of the person submitting the tender whose Photograph is affixed

Shri/Smt………………………………………………………….

(In case of Proprietary / Partnership firms, the tender has to be signed by

Proprietor / Partner only, as the case may be )

3.1.3 Address of the Tenderer / Firm

3.1.4 Telegraphic Address ………………………………………………………………………….

3.1.5 Tel.No. (with STD code) (O) ……………………… (Fax)…................(R)…………………

3.1.6 Registration & incorporation particulars of the firm:

i.   Proprietorship

ii.  Partnership

iii. Private Limited

iv. Public Limited

( Please attach attested copies of documents of registration / Incorporation of your firm with the competent authority as required by business law)

3.1.7. Name of Proprietor / Partners / Directors ………………………………..

…………………………………………..

3.1.8 Tenderer’s Enlistment Certificate details:

a.Category …………………………………..…….

b. Number …………………………………….……

c. Issuing Telecom Circle….......................................

d. Issued on………………………………………….

e. Valid upto………………………………….……..

(A copy of the enlistment Certificate attested by a Gazetted Officer may please be enclosed)

3.1.9 Tenderer’s bank, its address, his current Account No. & Bank Code for ECS payment.

3.1.10 Infrastructural capabilities:

a.Capacity of trenching per day ( in metres)………………………….

b. Capacity of pipe laying per day (in metres)………………………..

c. Capacity of pulling cable through duct / pipe per day ( in metres)…………………………

Read, understood & complied

Signature of the tenderer

Underground / OF cable construction works in Phulbani. Telecom District for 2010-2011 Modified.

d. Capacity of engaging mozdoors per day………………………………………..

e. Particulars of vehicles available with the tenderer

| Sl.No. | Type of Vehicle | Registration No. |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

f. Particulars of other machines possessed by the contractor which can help in trenching, cable laying and cable pulling:

1. …………………………………………………………………………………………………

2.   ……………………………………………………………………………………………….

3.   ………………………………………………………………………………………………..

3.1.11 Details of Technical and Supervisory Staff:

| Sl.No. | Name | Qualification | Designation | Remarks |
| --- | --- | --- | --- | --- |

3.1.12    Details of CST / KST / Service Tax / Labour License / Employee’s PF

1. PAN Number

2.  CST/ KST / VAT Registration Certificate

3.  Service Tax Registration Certificate

4. Copy of Labour License

5.  EPF Registration Certificate

6. Trade Index Number

I/We hereby declare that the information furnished above is true and correct.

Place:

Date:

Signature of Tenderer / Authorized Signatory …………..

Name of the Tenderer………………………………….

Seal of the Tenderer

Read, understood & complied

Signature of the tenderer

ANNEXURE-VIII

FINANCIAL BID

(Tender Paper No. __________ )

To

The TDE,

Telecom District, Phulbani..

Sub- :	My/Our financial bid for underground cable laying , HDPE / PLB pipe laying , jointing and allied works in Phulbani. telecom district.

Dear Sir,

Having examined the tender documents terms and conditions stipulated therein specification of works etc. I/We, the undersigned offer to execute the underground/OFC cable laying ,jointing and allied works in Phulbani. telecom district in confirmity with the said specifications and conditions of contract at the percentage (below /at par /above) on standard scheduled rates quoted as under.

| % | ZONE NO-------- |  |
| --- | --- | --- |
|  | In Figure | In Words |
| Above |  |  |
| At par |  |  |
| Below |  |  |

If our bid is accepted we shall submit the securities as per the conditions mentioned in the contract.

Date- :								                 Signature of the Tenderer

Name of the Tenderer

(N.B. – The bidders should write the rate in percentage w.r.t. the scheduled rate in Annexure-IV. For Example, if they write 50% against the row ‘Above’ it would imply that they intend to execute all the items of the work at a rate which is 50% higher than the scheduled rate. Similarly, if they indicate 15% against the row marked ‘Below’ it would imply that the bidder is prepared to carry out all the items of the  work at a rate which is 85% of the scheduled rate.

Those who intend to operate at the same rate as that of the scheduled rate, they may write ‘At Par’ against the row ‘At Par’.)

##### Signature of Tenderer

Name & Address:

Contract No.

# Text boxes

Passport size Photograph of the  tenderer/ authorized  Signatory holding power of Attorney  duly attested