BHARAT  SANCHAR  NIGAM  LIMITED

(A Govt. of India Enterprise )

O/o  TDM, Keonjhar-758001.

TENDER  DOCUMENT

# For

REPAIR OF SMPS  MODULE /OFC CARDS

IN KEONJHAR TELECOM DISTRICT.

Tender  Notice No.W-46( X ) /T- Module/2006-07/1            Dtd. 18.08.06

Rs.561/-

BHARAT   SANCHAR    NIGAM    LIMITED

( A GOVT. OF INDIA ENTERPRISE)

O/O THE TELECOM DISTRICT MANAGER ,

KEONJHAR-758001.

No. W-46( X )/T-Module / 2006-07 /1                                   Dtd.18.08.2006.

#### NOTICE    INVITING    TENDER    FOR  REPAIR   OF

SMPS  MODULE / OFC CARDS  IN KEONJHAR TELECOM DISTRICT.

Sealed tenders are invited by the TDM, Keonjhar on behalf of BSNL from registered firms for repair of SMPS modules of 25Amps/100Amps capacity & OFC mux and OLT card  in Keonjhar Telecom  District.

| 1. | Name of work | Repair of SMPS Modules & OFC Cards |
| --- | --- | --- |
| 2. | Cost of Tender Paper | Rs. 561 /- |
| 3. | Date of sale of Tender paper | On working day only from 24-08-06 to 11-09-06 between 10.00 hrs to 13.30 hrs |
| 4. | Last date of receipt of tender paper | On working day only up to 14.00hrs of dtd. 12-09-06 |
| 5. | Opening of tender | At 16.00 hrs of dtd 12-09-06 |
| 6. | Mode of sale of tender paper | By hand |
| 7. | Mode of receipt of tender paper | By regd. Post/courier service/by hand |
| 8 | Estimated Cost. | Rs. 3,00,000 /- |

The work of repair of   P/P modules will be carried out in the different exchanges for the following  Sub- Divisions on site & OFC cards will be sent for repair to their work shop.

- SDOT, Anandpur.

- SDOT, Joda.

- SDOT,Keonjhar.

- SDE (G/E),Keonjhar.

- SDE (P), Keonjhar.

EMD:- Earnest Money of Rs.6,000/-( Rupees six thousand) in the shape of D.D in favor of Accounts Officer (cash),O/o the TDM, Keonjhar is to be submitted along with the tender paper.

Purchase of Tender  Paper;- Tender paper can be had from SDE (estimate) ,of this office by paying Rs561/- (Rupees five hundred sixty one) only  in form of D/D payable to Accounts Officer (cash),BSNL, O/o TDM , Keonjhar & submitting a copy of experience in the field.

Eligibility: Registered firms having enough experience in the field of such repairing work in BSNL.       The firm has to submit experience certificate of doing  such repair work for at least three years consecutively issued by an officer not below the rank of  DGM along with up to date STCC, &  ITCC.

## Submission of completed tender paper:-

Sealed and completed tender is to be addressed to DE (P &A), o/o the TDM, Keonjhar and it must be superscribed as “TENDER FOR  REPAIR OF SMPS  MODULES/ OFC CARDS  NOT TO BE OPENED BEFORE 1600 hrs of 12-09-06 ” so as to reach this office by regd. Post/courier service/by hand on or before scheduled time & date  as mentioned  above.

The TDM, Keonjhar reserves the right to accept/ reject any or all the tenders without assigning any reason there of.

Telecom District Manager,

Keonjhar.

TENDER DOCUMENT.

Sealed tenders are invited by TDM, Keonjhar on behalf of BSNL for repair of SMPS modules of 25 Amps/ 100Amps capacity and OFC mux and OLT cards  in Keonjhar Telecom District from bonafide experience firms/ individuals.

GENERAL CONDITIONS OF TENDER.

1)The work against this tender will be executed under the over all control of the TDM, Keonjhar.

2)Sealed tenders are invited from reputed firms having experience in repair and maintenance of SMPS modules of 25Amps/100Amps capacity and OFC mux & OLT cards(of different make).

3)The bidder must be doing repair or maintenance of power modules / OFC cards for at least three years consecutively. Minimum 1 Lackh per year for modules & fifty thousand per year for OFC cards.

4)The experience certificate to the above should be submitted which should be issued by an officer not below the rank of DGM.

5)The bidder should have a infrastructure at any town in Orissa preferably at Keonjhar, Cuttack or Bhubaneswar. The repairing facility should have the latest of the testing and measuring tools which are used in microprocessor based or its equivalent type of equipment needs for a proper and successful diagnosis and repair. Bidders are allowed to submit their tender papers either for repair of SMPS modules or  for repair of OFC cards or for both as per their experience certificate.

6)In case of power plant, facilities for on site repair of modules of 25Amps/100Amps should be there. It is required for proper voltage and current adjustment with the other OK modules in site. Interface with the control card at site is also to be taken care of if required.

7)The repair is to be comprehensive and is all inclusive. No separate cost for spare/ component is applicable. The burnt PCBs if at all are to be tried to the best for restoration and if finally it is to be discarded the case is to be dully vetted by the controlling Divisional Engineer personally. The minimum guarantee period of repaired modules should be at least three months in rainy season and six months in other period. All modules received should be repaired. Modules  should not be returned as RNP. If any module returns as RNP, actual cost of the same will be recovered from contractors bill.

8)The time allowed for attending for the fault of P/P at any station is 48 hrs maximum along with its subsequent repair from the date and time of communication of the fault. Fault attended beyond this period will invite penalty at the rate of  2. 5% per every 6 hrs or part there of subject to maximum 10% of  the approved repair price inclusive of the statutary  tax component.

9)The firm will be communicated of the fault over Phone followed by FAX by the concerned SDO/SDE. Further SDO/ SDE must keep record to ascertain the last repair and to watch minimum guarantee period in data base. All the repaired modules will have to be given an un-erasable identification mark indicating  the date of repair.

10) (a) The firm should make its own arrangement for collection of faulty P/P modules  from the concerned SDO/SDE and for delivery of the same immediately after repair to the concerned officer.  No separate transportation charge will be paid.

(b) Transportation of OFC cards to and fro to the work shop of the contractor will be done by the department at his/her own cost.

11) Work order will be issued centrally by SDE (MM), O/o TDM, Keonjhar.

12)The Modules/ OFC cards  will be supplied giving the details of its make, serial no., nature of fault observed. The same instrument will have to return after repairing.

13) If the instrument goes faulty during the period of guarantee the Tenderer has to repair it on free of cost.

14)The TDM , Keonjhar reserves the right to engage one or more than one firm (maximum two) for the work and can assign any area to each which may not be equally distributed so far as work load is concerned. The TDM, Keonjhar reserves the right to assign part or the total work to any other PSU or any such agency found suitable in the interest of BSNL.

15)The contract will be valid for one year from the date of signing of the agreement. It can be extended of mutual consent by one year more.

16)EMD in the form of D/D in favor of  Accounts Officer (cash),BSNL, o/o the TDM, Keonjhar payable at S.B.I, Keonjhar branch for an amount of Rs 6,000/-( Rupees six thousand only) is to be submitted with the tender document. The tenders submitted without EMD will be rejected. The EMD will be forfeited in case the tenderer  withdraws his tender before the final acceptance or fails to enter into the  prescribed agreement with department for execution of work after tender is accepted. The EMD of unsuccessful bidders will be refunded after finalization of tender without any interest.

17) The EMD of the successful tenderer will be converted to security deposits and the Security Deposit will be refunded to the tenderer only after three months from the period of expiry of the agreement.

18) The rates should be quoted both in figures & words in the tender schedule at Annexure-I & Annexure -II.

19)The TDM, Keonjhar reserves the right of not accepting the lowest rate and to accept or

reject part or in  full  the tender.

20)No conditional tender will be considered.

21) The tender with all documents (i.e. Firm registration certificate, Experience certificate, D/D for EMD ,up to date STCC & ITCC ) in a sealed cover superscribing “TENDER FOR REPAIR OF SMPS  MODULES/OFC CARD  FOR  KEONJHAR TELECOM DISTRICT” should be addressed to the DE (P&A), o/o the TDM, Keonjhar-758001.

22)Completed tender paper is to be sent by regd. Post/ courier service/ by hand & dropped in the tender box available in the chamber of DE (P & A),of this office on or before 14.00 hrs of

Dtd.12-09-06.

23)The TDM,Keonjhar reserves the right to increase / decrease the quantity of faulty  modules for       repair.

24) The tenderer is not entitled to claim any interest on the EMD and Security Deposit.  & Income tax will be deducted from each bill as per the condition of Income Tax rules from time to time.

25) The TDM reserves the right to accept or reject any or all the tenders without assigning any reason what so ever.

26) In case of any dispute arising out of this tender and interpretation of terms and conditions of the contract, the decision of the TDM, Keonjhar will be final and legally binding upon the tenderer.

27)The successful tenderers will have to execute an agreement on a non-judicial stamp paper of Rs 50/- at his own cost in the proforma at annexure-III on the terms and conditions mentioned there in.

Telecom District Manager,

Keonjhar

Annexure-I

SCHEDULE   OF   RATES   FOR   REPAIRING

SMPS   MODULE.

Sl. No.      Description of Item                        Unit                      Price (inclusive all taxes )

In figure(Rs)            In words

1.            25Amps SMPS    Module                 Each

(Approximately –13 exchange)

2             100Amps SMPS  Module                  Each

(Approximately –30 exchange)

Signature of bidder

Annexure-II

SCHEDULE   OF   RATES   FOR   REPAIRING

##### OFC CARDS

Sl. No.      Description of Item                                Unit                      Price (inclusive all taxes )

In figure(Rs)            In words

1.		2/8 MbPS MUX card			Each

2.		2/8MbPS OLT card			Each

3.		2/34 MbPS MUX card		Each

4.		2/34 MbPS OLT card			Each

5.		2/140 MbPS MUX card		Each

6.		2/140 MbPS OLT card		Each

Signature of bidder

# Annexure-III

# AGREEMENT FOR REPAIR OF SMPS MODULES  IN KEONJHAR TELECOM DISTRICT.

This agreement is entered between Sri.          ………………………………the TDM, Keonjhar for and on behalf of BSNL and Sri.   ………………………….. son of Sri/ M/S………………………………….

At/Post………………………… Dist…………….    On………  day of……………2006 for repair of SMPS modules/OFC cards as per tender document in Keonjhar Telecom District under the jurisdiction of Telecom District Manager, Keonjhar.

Where as in response to the Tender Notice No…………………………….

Dt…………………issued by TDM, Keonjhar, Sri/ M/S………………………………………………

…………………has been declared as successful Tenderer for repair of SMPS modules/ OFC cards as per tender document in the jurisdiction of Telecom District Manager, Keonjhar.

Sri/ M/S………………………………………………here by under take to carry out the work of SMPS modules/ OFC cards as per tender document in Keonjhar Telecom District for a period of one year starting from the date of execution of the agreement at the rate as per the tender finalized in his favor and according to the terms and conditions laid down in the approved  tender.

Sri / M/S………………………………………also under takes to carry out the said work through out the year at the same approved rate and according to the Departmental standard

and specification  up to the satisfaction  of TDM, Keonjhar.

Signature  of bidder.                                                                      Telecom District Manager,

Keonjhar.

Name.                                                                                             Name

Address.                                                                                          Address.

Signature of witness.                                                                     Signature of witness.

Name                                                                                            Name.

Address.                                                                                       Address.