#### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

##### OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT, DHENKANAL

##### BID DOCUMENT

##### (TECHNICAL)

TENDER FOR

UNDERGROUND LOCAL CABLE CONSTRUCTION WORKS OF EXTERNAL PLANTS ALONG WITH ASSOCIATED WORKS

IN DHENKANAL SSA

TENDER NO. GC-398/11-12/36,        DATED :- 27.09.2011

ZONE NO(01 or 02 or 03):- ……………….

TABLE OF CONTENTS

QUALIFYING BID DOCUMENT

| SECTION NO. | DESCRIPTION |  | PAGE NO. |
| --- | --- | --- | --- |
| TECHNICAL BID |
| I | NOTICE INVITING TENDER |  | 03 |
| II | BID FORM |  | 04 |
| III | TENDERER’S PROFILE |  | 05 |
| IV | INSTRUCTION TO BIDDERS |  | 07-14 |
| V | GENERAL (COMMERCIAL) CONDITIONS OF THE CONTRACT |  | 15-27 |
| VI | SPECIAL CONDITIONS OF THE CONTRACT |  | 28-36 |
| VII | SCOPE OF WORK & JURISDICTION OF CONTRACT |  | 37-38 |
| VIII | UG CABLE CONSTRUCTION SPECIFICATION |  | 39-45 |
| IX | MATERIAL SECURITY BOND FORM |  | 46 |
| X | AGREEMENT |  | 47 |
| XI | LETTER OF AUTHORISATION FOR ATTENDING BID OPENING |  | 48 |
| XII | LIST OF THE DOCUMENTS TO BE SUBMITTED ALONG WITH BID |  | 49 |
| XIII | NEAR RELATIVE CERTIFICATE |  | 50 |
|  | FINANCIAL BID |  | 51-54 |

TENDER NO. GC-398/11-12/36,                                    DATED:- 27.09.2011

# SECTION-I NOTICE INVITING TENDER

Properly sealed tenders (preferably Packing with PVC Tape/Sealing Wax) are invited for and on behalf of BHARAT SANCHAR NIGAM LIMITED by the General Manager Telecom District, Dhenkanal, from the bonafied, contractors having experience in U/G OF Cable laying works or U/G local cable laying works or U/G local cable maintenance works in last 7(Seven) years ending on 31.08.2011 for a minimum amount of Rs. 2.0(Two) Lacs during any 1(One) year continuous period or less than 1(One) year continuous period in-between 01.09.2004 to 31.08.2011.

| Sl. No | Name of Item | Details of Item. |
| --- | --- | --- |
| 01. | Name of work | Underground local cable construction works of external plants along with associated works In Dhenkanal SSA. |
| 02 | Zone No, Name of the Zone, Designation of site Engineer, Designation of Engineer incharge, Estimated Cost & EMD or Bid Security. | Zone No | Name of The Zone | Designation of site Engineer | Designation of Engineer incharge. | Estimated Cost | EMD or Bid Security @2.5% of Estimated Cost |
|  |  | 01 | Jurisdiction of AGM(NW OP-CFA), Dhenkanal | SDOT- Dhenkanal | AGM (NW OP-CFA), Dhenkanal | Rs. 5.5 Lakhs | Rs 13750.00 |
|  |  |  |  | SDOP-Dhenkanal |  |  |  |
|  |  |  |  | SDOT-K. Nagar |  |  |  |
|  |  |  |  | SDOT-Hindol Road |  |  |  |
|  |  | 02 | Jurisdiction of AGM(NW OP-CFA), Nalconagar | SDOP- Nalco Nagar | AGM (NW OP-CFA), Nalconagar | Rs. 6 Lakhs | Rs15000.00 |
|  |  |  |  | SDOT-Talcher |  |  |  |
|  |  |  |  | SDOT-Kaniha |  |  |  |
|  |  | 03 | Jurisdiction of AGM(NW OP-CFA), Angul | SDOT-Angul | AGM (NW OP-CFA), Angul | Rs. 3.5 Lakhs | Rs8750.00 |
|  |  |  |  | SDOP-Angul |  |  |  |
|  |  |  |  | SDE(G/E), Boinda |  |  |  |
| 03 | Cost of BID Document | Rs. 552/- (For Each bid document in respect of each Zone separately) |
| 04. | Mode of deposit for both cost of BID document and EMD or BID Security. | D.D./B.C. drawn in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal payable at Dhenkanal. |
| 05. | Bid Document can be had from | SDE (Plg/MM), O/o. G.M.T.D., Dhenkanal 2nd Floor, Telephone Bhawan, Dhenkanal or Downloaded from BSNL website :- www.orissa.bsnl.co.in |
| 06. | Period of issue of Bid documents | All working days between 11.00 Hrs. to 16.00 Hrs. From 27.09.2011 to 17.10.2011 |
| 07. | Time and Last date of submission of bid document | Up to 13.30 hours of 18.10.2011 |
| 08. | Time and date of opening of bid . | At 15.30 Hrs of dt 18.10.2011. If the date is declared as holiday, then the opening date will automatically be treated as extended to next working day at 15.30 Hrs. |
| 09 | Experience | Contractors having experience in U/G OF Cable laying works or U/G local cable laying works or U/G local cable maintenance works in last 7(Seven) years ending on 31.08.2011 for a minimum amount of Rs. 2.0(Two) Lacs during any 1(One) year continuous period or less than 1(One) year continuous period in between 01.09.2004 to 31.08.2011will be eligible. The experience for above cited amount of Rs. 2.0(Two) Lacs during period in between 01.09.2004 to 31.08.2011 must be in any units of BSNL/MTNL/ any PSU /any state Govt. Department / any Central Govt. Department / any licensed private Telecom Service provider and the experience certificate for the same should have been issued by the officer of the level of minimum STS group A Officer or equivalent. |
| 10 | Criteria for issue of Bid document. | On payment of cost of Bid document amounting to Rs. 552/- in the shape of D.D./B.C. drawn in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal payable at Dhenkanal. |
| 11 | Each bidder is allowed to participate for maximum 02(two) Zones. | Maximum of 2 sets of Bid document can be issued to each applicant for any 2 zones. Thus, each bidder is allowed to participate in maximum any of the 2(Two) zones out of the 3(Three) Zones. |
| 12 | Mode of receipt of completed sealed tender document | By registered post/courier service or by dropping in the Tender Box placed in the chamber of AGM(HR & Admn) O/O GMTD, Dhenkanal on or before the date / time fixed as shown under Sl. No. 07 as above. |
| 13. | Rejection of Tender | Unsealed, late receipt, incomplete tender, ambiguous and conditional tender will be rejected |
| 14. | Down loaded Bid or Tender Document | Down loaded Tender document from the website must contain D.D/B.C of Rs 552/- as cost of tender document inside “ First” envelope otherwise the tender will be rejected. |

The G.M.T.D., Dhenkanal reserves the right to accept or reject any or all the tenders without assigning any reason what so ever and is not bound to accept the lowest tender. For more details please visit us / our website:-   www.orissa.bsnl.co.in

.

SECTION-II

BID FORM

TENDER NO. GC-398/11-12/36,        DATED:- 27.09.2011

To,

The General Manager, BSNL,

Telecom District, DHENKANAL

Dear Sir,

Having examined the conditions of contract and specifications including addenda No……………………………………………………………………………the receipt of which is hereby duly acknowledged. We undersigned, offer to execute the work of underground local cable construction works of external plants along with associated works In Dhenkanal SSA in conformity with said drawings, conditions of contract and specifications as may be ascertained in accordance with the schedule of prices attached herewith and made part of the bid.

We undertake, if our bid is accepted, we will execute the work in accordance with specifications, time limits and terms and conditions stipulated in the tender document.

If our bid is accepted, we shall submit Material Security Deposit  as per the conditions mentioned in the contract.

We agree to abide by this bid for a period of 180 days from the date fixed for bid opening (qualifying bid) and it shall be remain binding upon us and may be accepted at any time before the expiry of that period.

Until a formal agreement is prepared and executed, the bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

Dated this …………day of 2011

Signature of Authorized Signatory…………………………………………….

In capacity of …………………………………………………………………….

Duly authorized to sign the bid for

and on behalf of …………………………………………………………………

Witness ……………………………….

Address ………………………………

Signature …………………………….

SECTION – III

TENDERER’ S PROFILE

General

1. Name of the tenderer /firm ………………………………………………………………………………………..

2. Name of the person submitting the tender whose photograph is affixed

Shri / Smt ………………………………………………………………………………………………………………….

(In case of proprietary /Partnership firms, the tender has to be signed by proprietor/partner only, as the case may be )

3. Address of the firm …………………………………………………………………………………………………..

………………………………………………………………………………………………………………………………

4. Telephonic address …………………………………………………………………………………………………

5. Tel. Nos. with STD code (O) ……………………………….(Fax)………………………..(R) …………………...

6. Registration & incorporation particulars of the firm :

i) 	Proprietorship

ii)	Partnership

iii)	Private Limited

iv) 	Public Limited

(Please attach attested copies of documents of registration/incorporation of your firm with the competent authority as required by business law)

7. Name of Proprietor/ Partner / Directors …………………………………………………………………………

………………………………………………………………………………………………………………………………

8. Bidder’s Contractor Certificate details :

- Number ………………………………………………………..

- Issuing Authority ………………………………………

- Issued on ………………………………………………………

- Valid up to …………………………………………………….

(An attested copy of the certificate may please by enclosed)

9.  Tenderer’s bank, its address and his current account number ……………………………………………

………………………………………………………………………………………………………………………………

10. Permanent Income tax number, Income tax circle ……………………………………………………………

(Please attach a copy of last income tax return)

11. Infrastractural Capabilities

a)  Capacity of trenching per day (in meters) …………………………………………………………….……..

b)  Capacity of cable laying per day (in meters) ……………………………………………………………….

c)   Capacity of pulling cable through duct per day (in meters) …………………………………………….

d)   Capacity of engaging mazdoors per day …………………………………………………………………...

( An attested copy of the estimate / Registration certificate may be please enclosed)

e) 	Particulars of vehicles available with the tenderer Type of vehicle(s) Registration Number

| Type of vehicle (s) | Registration No. |
| --- | --- |

f) 	Particulars of other machines possessed by the contractor, which can help in trenching, cable laying and cable pulling. …………………………………………………………………………...

…………………………………………………………………………………………………………………….

12.	Details of Technical & Supervisory staff :

I / We hereby declare that the information furnished above is true and correct.

Place :

Date  :

Signature of tenderer/Authorised signatory ……………………………………………………

Name of the tenderer ……………………………………………………………………………...

Seal of the tenderer

SECTION – IV

INSTRUCTION TO BIDDERS

A.	INTRODUCTION

1. 	DEFINITIONS   :

a)	Department/BSNL : BSNL means Bharat Sanchar Nigam Limited

(A Government of India Enterprise) under the Department of Telecommunications, ministry of Communications & IT which invites the tenders on behalf of the President of India. All references with

Department/BSNL means:-

Chief General Manager

Principal General Manager

General Manager

Deputy General Manager / Area Manager / Director / TDM

AGM

Sub AGM

Junior Telecom Officer

Chief Accounts Officer

Accounts Officer

Assistant Accounts Officer

Junior Telecom Officer

Including other officers/executives in the department/BSNL, whatever designation assigned to them from time to time, who may be the In-charge of direction, supervision, testing, acceptance and maintenance including their successor(s) in the office appearing in various clauses shall be taken to mean the BSNL under the Department of Telecommunications, the Ministry of Communications & IT, Government of India.

c)	The SSA Head: Means The General Manager Telecom District,  DHENKANAL and his successors.

d)         The jurisdiction of the SSA Head: 	The jurisdiction of the General Manager Telecom District, Dhenkanal means the DHENKANAL Telecom District which

comprises of geographically with Dhenkanal, & Angul revenue Districts.

e)         Representative of the SSA Head:	Representative of General Manager Telecom District,   Dhenkanal means Officer and staff for the time being deputed by the General Manager Telecom District,  for inspecting or supervising the work or testing etc.

f)	Engineer-In-Charge:- The Engineer - In-Charge means the Engineering Officer nominated by the BSNL to supervise the work, under the contract. (Minimum AGM level Officer).

g)	Site Engineer:- Site Engineer shall mean an SDE/SDO of the BSNL who may be placed by the General Manager Telecom District, , DHENKANAL, as in-charge of the work at site at any particular period of time.

h)	A/T Unit : A/T unit shall be mean Acceptance and Testing unit of the BSNL.

i)	A/T Officer : An Officer authorized by the General Manager Telecom District,  DHENKANAL to conduct A/T.

j)	Contract : The term contract means the document forming the tender and acceptance thereof and the formal agreement executed between the competent authority on behalf of the BSNL and the contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions issued from time to time, by the engineer in-charge and all these documents taken together shall be deemed to form one contract and shall be complementary to one another. In the contract, the following expressions shall, unless the context otherwise requires, have the meanings, hereby respectively assigned to them. The expression works or work shall unless there be something either in the subject or context repugnant to such construction, be construed and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original, altered, substituted or additional.

k)	Contractor: The contractor shall mean, the individual, firm or company enlisted with BSNL in  accordance with procedure for enlistment of contractor, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or company, or the successors of such firm or company and the permitted assignees of such individual, firm or company.

l)	Work : The expression “Works” shall unless there be something either in the subject or context repugnant to such construction be construct and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original altered, substituted or additional.

m)	Schedule(s) : Schedule(s) referred to in these conditions shall mean the relevant schedule(s) or the standard schedule of rates mentioned in the document.

n)	Site : The site shall mean the land / or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which, the work is to be executed under the contract or any adjacent land, path, or street which may be allotted or used for the purpose of carrying our the contract.

o)	Normal time or stipulated time: Normal time or stipulated time means time specified in the work order to complete the work.

P)	Extension of time: Extension of time means the time granted by the BSNL to complete the work beyond the normal time or stipulated time.

q)	Date of commencement of work: Date of commencement of work means the date of actual commencement of work or 7th day from the date of issue of work order, whichever is earlier.

r)	Due date of completion: Due date of completion shall be the date by which the work shall be completed at site including clearance of site.

s)	Duration of work completion of work: The duration of completion of work or completion time shall be time specified in the work order plus extension of time granted, if any.

t)	Excepted risk : Excepted risk are risks due to war (whether declared or not), invasion, act of foreign enemies, hostilities, civil war, rebellion, revolution, insurrection, military or usurped power, any act of BSNL damages from aircraft, other causes over which, the contractor has no control and the same having been accepted as such by the Accepting Authority or causes solely due to use or occupation by the BSNL of the part of the work, in respect of which a certificate of completion has been issued.

2. 	ELIGIBILITY OF BIDDERS

The invitation of bid is open to bidders as per their eligibility mentioned under colume No-7(i)(a) to 7(i)(n) of this Section –IV.

3. 	BID DOCUMENT

3.1 	The construction work to be carried out, goods required, bidding procedures and contract terms are prescribed in the Bid document. The bid document include:-

3.1.1 	Qualifying  or Technical Bid :

3.1.1.1 	Notice Inviting Tender

3.1.1.2 	Bid Form

3.1.1.3 	Tenderer’s profile

3.1.1.4 	Instruction to Bidders

3.1.1.5 	General (commercial) conditions of the contract.

3.1.1.6 	Special conditions of contract

3.1.1.7 	Scope of work and jurisdiction of the contract

3.1.1.8 	UG cable construction specifications

3.1.1.9 	Material security bond form

3.1.1.10 Agreement (Sample)

3.1.1.11 Letter of Authorization for attending bid opening

3.1.1.12  List of documents to be submitted along with the qualifying bid.

3.1.1.13 Proforma for no near relatives certificate in BSNL

3.1.2 	Financial Bid :

      - OFFERED SOR

      - Price Schedule.

3.2 	The bidder is expected to examine all instructions, forms, terms and   specification in the bid document. Failure to furnish all information required as per the bid documents or submission of bids not substantially responsive to the bid documents in every respect will be at the bidder’s risk and shall result in rejection of bid.

4. 	QUERIES ON BID DOCUMENTS

A prospective bidder, requiring any clarification of the bid documents shall notify the BSNL in writing or by fax. The BSNL shall respond in writing to any request for clarification of the Bid documents, which it receives not later than 7 days prior to the date for the opening of the bids. Copies of the query (without identifying the source) and the clarifications by the BSNL shall be sent to all the prospective bidders who have purchased the bid documents or downloaded from Internet and all such clarifications issued by the BSNL will form part of the bid document.

5.	AMENDMENT OF BID DOCUMENTS

5.1 	At any time, prior to the date for submission of bids, the BSNL may, for any reason whether suo-moto or in response to a clarification requested by a prospective bidder, modify the bid documents by amendments.

5.2 	The amendments shall be notified in daily newspaper & website and these amendments will be binding on them.

5.3	 In order to afford prospective bidders reasonable time to take the amendments into account in preparing their bids, the BSNL may, at its discretion, extend the deadline for the submission/opening of bids suitably.

### B)	PREPARATION OF BIDS

6. 	COST OF BIDDING

- The bidder shall bear all costs associated with the preparation and submission of the bid. The  BSNL, will in no case, be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

- Tender document down-loaded from web-site should be enclosed with D.D. of Rs 552/- as cost of tender document (Each set).

7.	DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATIONS

i)  The bidder shall furnish, the (d) and (e) as below inside the first sealed inner envelop and all other documents that is all documents from (a) to (n) except (d) & (e) inside the second sealed inner envelop along with the Technical bid portion of the bid document.  These documents from (a) to (n) must be submitted inside first & Second sealed inner envelops as said above to establish bidder’s eligibility:-

- Self-Attested photo copy of the valid Registration of individual Contractor / Firm.

- Self-Attested Photo copy of PAN Card.

- Self-Attested Photo copy of Experience Certificate as per NIT. (As per Sl. No.  09)

- Cost of Tender/BID Document as per NIT (As per Sl. No.  03)

- EMD(Bid Security) as per NIT for any of the three Zones as per Column No-3 against Sl. No-02 of NIT for either of Zone NO-01, 02 or 03.

- Self-Attested photo Copy of valid EPF Registration Certificate.

- Self-Attested Photo copy of Valid ESI Registration Certificate.

- Self-Attested Photo copy of valid Labour Registration Certificate/Labour license,

- Self-Attested Photo copy of Valid Service Tax Registration Certificate.

- Declaration stating that none of his family members or near relatives are working   in    BSNL. (Proforma to be filled up and submitted along with technical bid  inside second sealed inner envelop as given in section - XIII)

- Tender document(s) must be submitted, in original, duly filled in and signed by tenderer or his authorized representative along with seal and signature on each page. All corrections and overwriting must be initialed with date by the tenderer or his authorized representative.

- Tenderer’s profile duly filled in, as per section-III of the technical bid portion of  tender    document.

- Original “Power of Attorney” in case person other than the tenderer has signed the tender documents must be submitted along with technical bid inside sealed inner envelop number “Second”.

- The tenders submitted by Partnership firms should furnish attested photocopy of “Partnership Deed" duly registered.

II)	     The tender is liable for rejection, if any of the document stated in clause No-7 (i) is found missing at the time of opening of the Technical bid.   Submission of any document submitted after opening of Technical Bid is not acceptable.

- BID SECURITY  / EMD

  - The bidder shall furnish, as part of his bid, a bid security (EMD) @ 2.5% of estimated cost of Tender as detailed in NIT under sl No. 2 in coloumn No.3 separately for each of the Zone No-01, 02 and 03, in the form of DD or BC in favour of AO(Cash),BSNL, O/o GMTD,Dhenkanal from scheduled bank. No interest shall be paid by the BSNL on the bid security for any period, what so ever.

  - The bid security is required to protect the BSNL, Dhenkanal against the risk of bidders conduct, which would warrant the bid security’s forfeiture, pursuant to para 8.7.

  - Bid Security shall be paid in the form of Crossed Demand Draft or BC issued by a scheduled bank, drawn in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal, payable at Dhenkanal.

  - A bid not secured in accordance with para 8.1 & 8.3 shall be rejected by the BSNL as non-responsive.

  - The bid security of the unsuccessful bidder will be refunded as promptly as possible but not later than 30 days after the expiry of the period of bid validity prescribed by the BSNL.

  - The successful bidder’s bid security will compulsorily be converted to part performance security deposit in accordance with clause: – 25.2.

  - The bid security / EMD shall be forfeited ;

    - If a bidder withdrawals his bid during the period of bid validity specified in the bid document or

    - If the bidder makes any modifications in the terms and conditions of the tender before acceptance of the tender, which are not acceptable to the BSNL or

    - if at any time the documents / Certificates submitted by the bidder found to be false or fabricated.  This may lead to black listing of the bidder.

    - In case of a successful bidder, if the bidder fails :

  - to sign the agreement in accordance with Section –IV, clause -25,

  - to furnish Material Security in accordance with clause-5 of Section-V.

9.	BID PRICES

  - The bidder shall give the total composite price inclusive of all levies and taxes, packing, forwarding, freight and insurance in case of materials to be supplied and inclusive of all taxes and levies in case of works to be executed. The contractor shall be responsible for transporting the materials, to be supplied by BSNL at the sub-divisional store deport or otherwise to execute the work under the contract, to site at his/their own cost.

  - Prices shall be quoted by the bidder as per Price schedule .The prices quoted at any other place shall not be considered.

  - The price quoted by the bidder shall remain fixed during the entire period of contract and shall not subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as non-responsive and rejected.

  - Discount, if any, offered by the bidders shall not be considered unless they are specifically indicated in the schedule of rates (financial Bid). Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply, etc. into account.

10.	PERIOD OF VALIDITY OF BIDS

  - Bid shall remain valid for 180 days from date of opening of the bid (Qualifying Bid). A BID VALID FOR A SHORTER PERIOD SHALL BE REJECTED BY BSNL AS NON-RESPONSIVE.

  - The BSNL reserves the right to request the lowest 3 bidders as per read out       list on the opening day to extend the bid validity for a period of further 120 days and the bidder has no necessarily extend the bid validity. Refusal to extend the bid validity will result in forfeiture of the bid security. A bidder accepting the request and extending the bid validity will not be permitted to modify his bid.

11.	SIGNING OF BID

  - The bidder shall submit, as a part of his bid, the bid documents (in original) duly signed on each and every page, establishing the conformity of his bid to the bid documents of all the works to be executed by the bidder under the contract. (Note : The tenderer is advised to keep a photocopy (at his own cost )  the bid documents for his own reference)

  - The bid shall contain no inter-lineation, erasures or overwriting necessary to correct errors made by the bidder in which case such correction shall be signed with date by the person or persons signing the bid.

C.	SUBMISSION OF BIDS

12.	METHOD OF SUBMISSION OF BID

  - Bid for each tender should be submitted in three envelopes placed inside a main cover.  These envelopes should contain the following :

| Envelope | Marked on the Cover | Contents of Envelope |
| --- | --- | --- |
| First | Bid Security | Containing Bid Security as per clause 8 and cost of Bid document as per NIT. |
| Second | Technical or Qualifying Bid | Containing documents as per clause 7(i) except the bid security and cost of bid document. |
| Third | Financial Bid | Rates duly quoted by the tenderer in the format that is price schedule as Section-XV. |

On all these envelopes the name of the firm and whether “Bid Security” OR “Qualifying bid” OR “Financial bid” must be clearly mentioned and should be properly sealed (with sealing wax/packing PVC tape). These envelopes are to be placed inside an outer envelope and properly sealed (with sealing wax/packing PVC tape). The tenders, which are not submitted in above, mentioned manner should be summarily rejected.

  - All envelopes (3 inner & one outer) must bear the following :

Tender for  Underground local cable construction works of external plants along with associated works In Dhenkanal SSA.         Zone No ……………………”

“NOT TO OPEN BEFORE 18.10.2011 at 15.30 Hrs “

( TENDER NO. GC-398/11-12/36,        DATED :- 27.09.2011)

(Full Address of the Tendering Authority)

  - The tender will be bound by all terms, conditions and specifications as per the tender documents.

  - Any tender with conditions other than those specified in the tender document to be summarily rejected. No modification by the contractor in any of the condition will be permitted after the tender is opened.

13. 	SUBMISSION OF BIDS

  - Tenders should be dropped in person in the tender box placed in the office of AGM(HR & Admn), 1st  Floor, O/o G.M.T.D., Dhenkanal before the closing (date & time) of tender, as mentioned in NIT & be addressed to , AGM(HR & Admn) 1st Floor O/o the General Manager, Telecom District, Dhenkanal-759001. The tenderer is to ensure the delivery of the bids at the correct address. The BSNL shall not be held responsible for delivery of bid to the wrong address. The slit of tender box will be sealed immediately after the specified time for receipt of tender. Any tender presented in person after the sealing of box will not be received by G.M.T.D., Dhenkanal or by any of the subordinates or will not be allowed to deposit in the tender box.

  - The bids complete in all respect can also be sent by Regd. Post/Speed post /courier service addressing AGM(HR & Admn) O/o GMTD, Dhenkanal which should reach before the scheduled date & time.  Late receipt of bid will not be opened and will be returned to the bidder unopened by registered post.  BSNL authority is not responsible for late receipt of BID by Regd. Post/Speed post /courier service.

13.3     Postponement of Tender opening: Whenever it is considered necessary to postpone the opening of tenders, quick decision must be taken and communicated to the tenderers who have purchased the tender documents and shall be at least one day before the original date of opening. The reason for postponing the tender shall be recorded in writing. Such notice of extension of date of opening shall also be put-up on the notice board and also published in the newspapers in which original NIT’s have been published. If the date of opening of bid is declared as holiday, the bids will be opened on the next working date at the same time and venue.

13.4	The BSNL if subsequently declares date fixed for opening of bids as holiday, the revised schedule will be notified. However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

14.	LATE BIDS

  - Tenders will not be received after the specified time of closing of the tender and the same shall be rejected and returned unopened to the bidder. It is the sole responsibility of the tenderer that he should ensure timely submission of tender.

15.	MODIFICATIONS AND WITHDRAWAL OF BID

  - The bidder may modify or withdraw his bid after submission and before opening, provided that the intimation is deposited by the bidder in a properly sealed envelope (with Wax/Packing PVC tape) in the tender box, before the scheduled time & date for closing of tender.

  - No bid shall be modified subsequent to the deadline for submission of bids.

D.	BID OPENING AND EVALUATION

16.	OPENING OF BIDS BY THE BSNL.

  - The BSNL shall open the bids in the presence of bidders or his authorized representatives who choose to attend the scheduled date & time as per NIT. The bidder’s representative, who is present, shall sign an attendance register. The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening (A format is given in this tender document).

  - A maximum of two (2) representatives for any bidder shall be authorized and permitted to attend the bid opening.

  - The Bids shall be opened in the following manner :

    - The bid opening committee shall count the number of bids and numbers to the bids. For example, if 10 tenders have been received the bid shall be numbered as 1 of 10, 2 of 10 etc. All the members shall initial on the outer envelopes of all the bids with date.

    - The envelopes containing the tender offer and not properly sealed, as required vide Para 12 shall not be opened and shall be rejected outright. Closing the cover by gum will not be treated as sealed cover. The reasons for not opening such tender offers shall be recorded on the face of the envelope and all the members of bid opening committee shall initial with date.

    - First the outer envelope containing the three envelopes will be opened. The committee shall initial on all three envelops with date.

    - Among these three envelopes, the envelope marked “BID SECURITIES” will be opened first and examined.

    - The bidders who have submitted proper bid security as per tender documents “QUALIFYING BID” shall be opened and papers/documents submitted by bidder shall be examined and recorded by the TOC. After opening the bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

    - After recording of the “Qualifying Bid” the TOC will place all the financial bids submitted by the bidder in an envelope and will properly sealed by wax/packaging PVC tape for keeping in safe custody.

  - The Financial Bid shall be opened in the following manner :

    - The envelope marked “Financial Bid”, will be opened only for qualified tenders in “Qualifying bid”.

    - The date and time of opening of “Financial bid “ shall be conveyed to the bidders who have qualified in qualifying bid and their representative shall  attend the financial bid opening.

    - After opening the “financial bid” the bidder’s name, bid prices, modifications, bid withdrawals and such other details as the BSNL, at its discretion may consider appropriate, will be announced at the opening.

    - In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in words shall prevail.

- CLARIFICATION OF BIDS BY THE BSNL

To assist in examination, evaluation and comparison of bids, the BSNL its discretion asks the bidder for clarification of its bid. The request for its clarification and its response shall be in writing. However, no post bid clarification at the initiative of the bidder shall be entertained.

18.	PRELIMINARY EVALUATION

  - BSNL shall evaluate the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

  - If there is discrepancy between words and figures, the amount in words shall prevail. If the Contractor does not accept the correction of the errors, his bid shall be rejected.

  - Prior to the detailed evaluation, pursuant to clause 16, the BSNL will determine the substantial responsiveness of each bid to the bid document. For purpose of these clauses a substantially responsive bid is one, which conforms to all the terms and conditions of the bid documents without deviations. The BSNL’s determination of bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

  - A bid, determined as substantially non-responsive will be rejected by the BSNL and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

  - The BSNL may waive any minor infirmity or non-conformity or irregularity in a bid which does not constitute a material deviation, provided such waiver does not prejudice or affect the relative ranking of the bidder.

19.	EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS

  - The BSNL shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause 18.

  - The evaluation and comparison of substantially responsive bids shall be done on the basis of rates quoted in price schedule of financial bid accordance with the %age of SOR(Below or At Par or Above) and accordingly the lowest bidder will de decided.

- CONTACTING THE BSNL

  - Subject to clause 17 no bidder shall try to influence the BSNL on any matter relating to its bid, from the time of bid opening till the time the contract is awarded.

  - Any effort by the bidder to modify his bid or influence the BSNL in the  bid’s evaluation, bid comparison or the contract award decisions shall result in the rejection of the bid.

- AWARD OF CONTRACT

  - The BSNL shall consider award of contract only to those eligible bidders whose offers have been found technically, commercially and financially acceptable.

  - The work against the tender is for one year’s requirement and the terms and conditions of this tender shall be operative for a period of one year from the date of signing of agreement between the BSNL and the Contractor.  However, the GMTD, Dhenkanal may extend the tender for another 6(six) months on same rates and terms-conditions on mutual consent with the contractor.

  - The GMTD, Dhenkanal reserves the right to offer the work of any zone where either no bidder has participated or L-1 bidder has backed out to the approved L1 bidder of any other adjacent zone of the SSA through this tender on his discretion  & with all other tender’s  terms & conditions. The contract, in such cases will be awarded on willingness of the approved L-1 contractor of any adjacent zone as to be decided by GMTD, Dhenkanal on his discretion  and in those cases the approved L-1 contractor of adjacent zone has to produce Performance Security Deposit  and sign the agreement before award of the contract as per tender rules.

22.	BSNL’S RIGHT TO VARY QUANTUM OF WORK

22.1	BSNL at the time of award of work under the contract, reserves the right to decrease or increase the work by up to 25% of the total quantum of work specified in the schedule of requirements without any change in the rates or other terms and conditions.

22.2	The estimated cost of work is as mentioned in the Notice Inviting Tender. The actual value of work may vary based on the actual requirement but generally being limited to ± 25% of the indicated value in NIT.

22.3	In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the G.M.T.D., Dhenkanal reserves the right to increase up to 50% of the quantum of works specified in the schedule of requirement contained in the running tender /contract within a period of 12 months from the earliest date of acceptance of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender.

23.	BSNL’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

The BSNL reserves the right to accept or reject any bid and to annual the bidding process and reject all bids, at any time prior to award of contract without assigning any reason what-so-ever and without thereby incurring any liability to the affected bidder or bidders on the grounds for the BSNL’s action.

24.	ISSUE OF LETTER OF INTENT

  - `The issue of letter of intent shall constitute the intention of the BSNL to enter in to the contract with the bidder. Letter of intent will be the issued as offered to the successful bidder.

  - The bidder shall within 15 days of issue of letter of intent, give his acceptance with material security in conformity with clause 5 of Section –V, provided with the bid documents.

25.	SIGNING OF AGREEMENT

  - The signing of agreement shall constitute the award of contract on the bidder. The agreement with the successful bidder shall be signed by the BSNL within a week of submission of material security as per clause 24.2 above.

  - As soon as the tender is approved by the competent authority the bid security or EMD @2.5% of estimated cost of tender deposited by the successful bidder shall be compulsorily converted in to the part performance security deposit which will be held by the BSNL till the completion of warranty period.

26.	ANNULMENT OF AWARD

Failure of the successful bidder to comply with the requirement of Clause-24 & 25 shall constitute sufficient ground for the annulment of the award of contrct and for forfeiture of bid security, in which event; the BSNL may make the award of contract to any other bidders at the discretion of the BSNL or call for new bids.

SECTION – V

GENERAL (COMMERCIAL) CONDITIONS OF THE CONTRACT

1. 	APPLICATION

The general conditions shall apply in the contracts made by the BSNL for execution of the work for U/G Local cable constructions worksof external plant in Dhenkanal SSA.

2. 	STANDARDS

The works to be executed under the contract shall conform to the standards prescribed in the U/G LOCALcable construction practices.

3. 	PRICES

3.1	Prices charged by the contractor for the works performed under the contract			shall not be higher from the prices quoted by the contractor in his bid.

3.2 	Price once fixed will remain valid for the period of contract. Increase and decrease of taxes/duties will not affect the price during the period.

4. 	SUBCONTRACTS

The contractor shall not assign sub contract or subject the whole or any part of the works covered by the contract, under any circumstances.

- SECURITY DEPOSIT :-

i)	Material Security Deposit:-

(a)     The successful tenderer will have to deposit material security as mentioned in the scope of work for an amount of Rs.1(One) Lac in the form of bank guarantee (valid up to and including six months after, the period of the contract) from a scheduled bank in favour of Accounts Officer (Cash), BSNL, O/o GMTD, Dhenkanal and in the material security bond form provided in the bid document, Section-IX.  Material Security can also be submitted in the form of crossed Demand Draft drawn in favour of Accounts Officer (Cash), BSNL, O/o GMTD, Dhenkanal issued by a Scheduled bank and payable at Dhenkanal.

(b)	The contractor at any point of time will not be issued stores costing more than material security.  If due to any reason more store has to be issued to the contractor, then the material security will be suitably enhanced.  In this regard the decision of the GMTD, Dhenkanal shall be final and binding.

(c)	The proceeds of the material security shall be payable to the BSNL, Dhenkanal as a compensation for any loss resulting from the contractor’s failure to handle properly the material issued to him under the contract.

(d)	The material security shall be released/refunded within a fortnight from the date of the payment of the last final bill of the work under the contract or final settlement of material account whichever is later on production of “ No dues certificate” from Engineer-In-charge”.

(ii)	Performance Security Deposit:-

(a) 	The contractor shall permit the BSNL, at the time of making any payment to him for work done under the contract,  to  deduct such sum in addition to the sum already deposited as a part performance  security deposit (Due to conversion of bid security) as amount to the tune of 7.5 % of running bills/final bill.

(b)       The proceeds of the performance Security deposit shall be payable to the BSNL as compensation for any loss resulting from the contractor’s failure to complete its obligation under the contract.

(C)     The performance Security deposit shall be refunded after expiry of warranty period of last work executed provided there are no recoveries to be made arising out of poor quality of work,  incomplete work and / or violation of any terms and conditions of the contract as stipulated in the bid document.

(d)       No interest will be paid to the contractor on security deposit.

6.	ISSUE OF WORK ORDERS AND TIME LIMIT

6.1	The work order shall be issued so as to include all items of works. The contractor shall organize the work in such a way so as to deliver meaningful output of requisite quality within shortest possible time. The work order for main works will be issued first and a different work order for other related work will be issued separately. The work shall be taken up in such a way that whole work is completed in a shortest possible time.

6.2	The work orders shall be issued by the SDOT/SDOP (Site Engineer) of concerned Zone or area after examining the technical and planning details of the works to be executed. The work order shall be given strictly under the provision available in the sanctioned detail estimate. Once the approved Contractor receives work order worth 80% of total cost of agreement, the same shall be intimated to planning or MM section of Office of GMTd, Dhenkanal by approved Contractor immediately so as to float to next Tender.

6.3	If due to any reason partial work order is to be issued then the same shall be
issued with the approval of an officer not below the rank of D G.M.

6.4	The Sub AGM shall mention the time limit to execute the work order
after seeing the quantum of work and store availability position.

6.5	The DHENKANAL SSA reserves the right to cancel or modify the scope of work stipulated to be carried out against the work order in the event of change of plan necessitated on account of technical reasons or in the opinion of work order issuing authority or the SSA Head, the contractor is not executing the work at the required pace.

7.	EXTENSION OF THE TIME LIMIT

7.1 	General

7.1.1 	In each work order, the work order issuing authority shall specify the time allowed for completion of work consistent with the magnitude and urgency of work. The time allowed for carrying out the work is to be strictly observed by the contractor and shall be reckoned from seventh day from the date of issue of work order.

7.1.2	In as much as “ the time being deemed to be the essence of contract” throughout the stipulated period of contract, the work is to be proceeded with all the diligence on the part of the contractor.

7.2 	Application for extension of the Time and Sanction of Extension of Time (EOT)

7.2.1 	There may be some hindrances, other than covered under force measure, while execution of work and in such cases the contractor shall apply in writing to the engineer-In-charge for extension time (EOT), on account of which he desires such extension within three days of occurrence of hindrance. The Engineer-In-charge shall forward the request to the competent authority (an Officer of the rank of JAG level in-charge of cable construction work) with his detailed report and photocopy of the hindrance register, within three days of receipt of request from the contractor.

7.2.1.1 	The application contains the ground(s), which hindered the contractor in execution of work.

7.2.1.2 	The engineer in-charge is of the opinion that the grounds shown for extension of time are reasonable.

7.2.2 	The competent authority shall consider the request keeping all the facts and circumstances in view and shall grant extension of time, if in his opinion, there are reasonable and sufficient grounds for granting such extension and the reasons for delay are not ascribable to the contractor.

7.2.3 	The competent authority may also grant extension of time for completion of work in cases where reasons for delay are ascribable to the contractor, but such extension of time shall be with LD charges as per clause dealing with penalty for delays in execution of works. The extension of time with LD charges shall be issued under the signature of JAG level Telecom Officer competent to grant the extension of time.

7.2.4 	The competent authority shall grant EOT with time period for completion of work expressly mentioned. The sanction of the competent authority of EOT shall be issued under the signature of the Engineer In-charge.

7.2.5 	If the competent authority is of the opinion that the grounds shown by the contractor are not reasonable and sufficient and declines to grant the extension of time, the contractor cannot challenge the soundness of the opinion by reference to arbitration. The decision of the competent authority on period of extension of time or refusal for extension of time shall be final and binding on the contractor.

7.3 	Grant of extension of time without application :

7.3.1 	There are, at times, practical difficulties the non availability of materials, delay in providing permissions/right of way etc. reasons for which are ascribable to the BSNL. In such cases, the Engineer In-charge with the approval of competent authority to sanction EOT, may issue extension of time suo-moto without waiting for contractor to make an application for EOT. Entry of hindrances shall be made in the hindrance register. The BSNL will however, not be liable to the contractor for any losses or damages, costs, charges or expenses that the contractor may in any way sustain/suffer due to delay in making the above available.

8. 	MEASUREMENT, INSPECTION, TESTING AND ACCEPTANCE TESTING

8.1. Measurement

8.1.1 	The measurement books are to be maintained by the Officer in-charge of the work or his immediate subordinate not below the rank of SDO/SDE. No entry shall be erased. If a mistake is made, it should be corrected by crossing out the incorrect words or figures and inserting the corrections, the corrections thus made shall be initialed & dated by the officer concerned.

8.1.2 	Responsibility of taking and recording measurement : The measurement of various items of work shall be taken and recorded in the measurement book issued with each work order. The measurement shall be taken and recorded by an officer not below the rank of SDO/SDE, supervision the work. The SDO / SDE directly responsible for supervision of work shall be responsible for accuracy of 100% of measurements. The AGM shall be responsible for conducting test check of 10% of measurements.

8.1.3 	Method of recording of nomenclature of items : Complete nomenclature of items, as given in the agreement need not be reproduced in the measurement book for recording the measurements but corresponding item code as provided, shall be used.

8.1.4 	Method of measurements : The measurements of the work shall be done for activity-wise as and when the item of work is ready for measurement. The methods of measurement of various items are enumerated as under –

  - Measurement of depth of trenches

The cable routes of one work order shall be divided into a number of segments each of maximum 100 meters length bounded by identifiable landmarks at both the ends of the segments. If landmarks are not available, length of segment may be maintained at 100 meters. One segment shall cover only one type of trench. The measurement of depth shall be recorded at each point of measurement (POM) in the measurement book in meters up to two decimal points. For example, 57cms depth shall be recorded as 0.57m. The points of measurements shall be at a distance of 10 meters starting from 0 (zero) meter. For example, if length of segment is 75 meters, the POMs shall be at 10 SBP, 10 SBP, 20SBP, 30SBP, 40SBP, 50SBP, 60SBP, 70M. The last POM shall be at 75th M to be recorded against residual POM. For each segment average depth shall be worked out by dividing the total depth by number of POMs. The measurement of depth be recorded in measurement book

The efforts required to excavate trenches is not proportionate especially with reference to depth. Therefore, normally the workers lend to dig shallow trenches. As standard depth of the trench is important for future life and protection of cables, this tendency has to be discouraged. In order to encourage the contractor to achieve best possible depth in the face of the constraints, the following scale of payment shall be applied for digging of lesser depths, subject to condition that relaxation has been granted by the competent authority for lesser depths.

  - Measurement of length & Profiles of strata and protection - The measurements of length of trenches are on running meter basis for particular category of surface strata viz, non-surfaced strata irrespective of type of soil encountered while digging. The length of trenches dug in different strata in a segment shall be measured and recorded item code-wise in the measurement book. Segment length from POMs and total of item code-wise length should match.

  - Measurement of length of cable – The length of cables laid in trenches, through pipes and through ducts shall be measured by use of RODO meter/Measuring tape. The length should be cross verified with the marking of length on the cables. The lengths shall be recorded in sheet provided in the measurement book.

    - The contractor shall sign all the measurement recorded in the measurement book. This will be considered as an acceptance by the contractor of measurements recorded in the MB. In case contractor fails to attend at the measurements or fails to countersign or to record the difference with in week, then in any such events the measurements taken by Engineer In-charge or by the subordinate as the case may be shall be final and binding on the contractor and the contractor shall have no right to dispute the same.

    - The AGM before passing the bill for Zones covered by each set of measurement may carry out test check by re-opening trench at as many locations as necessary as specified in document procedure for underground cable construction and bills will be passed only when he is personally satisfied of the correctness of entries in the measurement book and also when he is satisfied of other aspects of the work as per the terms and conditions of the contract. The contractor shall provide the necessary assistance of labour for reopening of trench for test check by AGM. Separate payment shall not be made to the contractor for excavation of such test checks, however such test pits shall not be more than 10% of the cable laying work.

8.1.7	Measurement of the work of cable pulling through pipe/duct will be taken equal to the length of the pipe/duct through which the cable has been pulled and not the total length of the cable pulled through pipe/duct.

8.2	Inspection and Quality control :

8.2.1 	The quality of work – The importance of quality of U/G cable construction works cannot be over-emphasized. The quality of Telecom services largely depends on the quality of external plant of which U.G. cable component covers the major portion. The U/G cables are vulnerable to damages due to work of other agencies.

8.2.2 	It is imperative that the contractors are fully conversant with the construction practices and shall be fully equipped to carry out the work in accordance with the specifications. The contractors are expected and bound to ensure quality in construction works in accordance with specifications laid down. The contractor shall engage adequate and experienced supervisors to ensure that works are carried out as per specifications and with due diligence and in a professional manner. The contractors shall satisfy himself/themselves that the work conforms to the quality specifications before offering the same to A.T. wing for Acceptance Testing for pole-less. An assessment of extent of interest shown by the contractors in executing the works with requisite quality shall be recorded and used in evaluating the Contractors’ Performance Rating (CPR).

8.2.3	In addition to Acceptance testing for pole-less being carried out by A.T. wing and supervision by Construction Officers, all works at all times shall be open to inspection of the BSNL. The contractors shall be bound, if called upon to do so, to offer the works for inspection without any extra payment.

8.2.4	Site Order Book : The site order book is one of the primary record to be maintained by he SDO/SDE supervising the work during the course of execution of works. The noting made by Officers as well as Contractors will form as basis for operation for many contractual clauses. The contractor shall remove all the defects pointed out by the BSNL in the site order book. The site order book is to be maintained. The contractor or their representatives shall also be at liberty to note their difficulties etc. in these books. The site books shall invariably be consulted at the time of making final payments to the contractor.

8.3	Testing and Accepting Testing  for pole-less :

8.3.1 	The work shall be deemed to have been completed only after the same has been accepted by the A.T. Officer. The contractor shall make test pits at the locations desired by A.T. Officer for conducting test checks without any extra payment. The contractor shall restore the pits after test measurements to its original shape. The contractor shall be responsible to provide test/measurement tools and testers for conducting various tests.

8.3.2 	Scope of Acceptance and Testing : The purpose of acceptance and testing is to verify integrity of measurement and quality of work done. The A.T. officer shall not be responsible for recording of measurements for the purpose of billing and contractual obligations. However, if the measurements taken by A.T. officer are found to be lesser than the measurements recorded by the officer responsible for recording the measurements, the measurements taken by A.T. officer shall prevail without prejudice to any punitive action against the contractor as per provisions of the contract and the officer recording the measurements. The contractor shall be obliged to remove defects/deficiencies pointed out by the A.T. officer without any additional cost to the BSNL.

8.3.3 	Offering the work for acceptance and testing : The Sub AGM responsible for construction, after having satisfied himself for completion of work ready for A.T., shall offer the work to A.T. officer for conducting Acceptance & Testing.

8.3.4 	The contractor shall provide labour, if demanded by the A.T. officer for digging of test pits and other necessary infrastructure for carrying out the A.T. work. No extra payment will be made for the digging of test pits.

9.	WARRANTY

9.1 	The contractor shall warrant that the material for the work shall be new and free from all defects and faults in material, workmanship and manufacture and shall be of the highest grade and consistent with the established and generally accepted standards for materials of the type ordered and shall perform in full conformity with the specifications and drawings. The contractor shall be responsible for any defects that may develop under the conditions provided by the contractor and under proper use, arising from faulty materials, design or workmanship such as corrosion of the equipment, inadequate quantity of materials etc. and shall remedy such defects at his own cost when called upon to do so by the BSNL who shall state in writing in what respect the stores are faulty. This warranty shall survive inspection or payment for, and acceptance of goods, but shall expire except in respect of completion notified prior to such date, twelve months after the acceptance testing.

9.2	 If it becomes necessary for the contractor to replace or renew any defective portion/portions of the material under this clause, the provisions of the clause shall apply to the portion/portions material so replaced or renewed or until he end of the above mentioned period of twelve months, whichever may be later. If any defect is not remedied within a reasonable time, as prescribed by the BSNL, the BSNL may      proceed to do the work at the contractor’s risk and costs, but without prejudice to any other rights, which the BSNL may have against the contractor in respect of such defects.

9.3 	The cable laid shall be guaranteed for a period of ONE year from the date of laying.

9.4 	Replacement under warranty clause shall be made by the contractor free of all charges at site including freight, insurance, cost of works and other incidental charges.

10. 	AUDIT AND TECHNICAL INSPECTION

10.1 	BSNL shall have the right to cause an audit and technical examination of the work and the final bills of the contractor including all supporting vouchers, abstract etc. to be made after payment of the final bills and if as a result of such audit and technical examination any sum is found to have been overpaid in respect of any work done by the contractor under the contract or any work claimed by him to have been done by him under the contract and found not to have been executed, the contractor shall be liable to refund the amount of over payment and it shall be lawful for BSNL to recover the same from him in the manner prescribed in clause with the heading payment of bills in any other manner legally permissible and if it is found that the contractor was paid less than what was due to him under the contract in respect of any work executed by him under it, the amount of such under payment shall be duly paid by BSNL to the contractor.

10.2 	Provided that BSNL shall be entitled to recover any sum overpaid, nor the contractor shall be entitled to payment of any sum paid short where such payment have agreed upon between the AGM or his subordinate officer on one hand and the contractor on the other under any term of the contract permitting payment for work after assessment by the General Manager Telecom or his subordinate officer.

10.3 	Any sum of money due and payable to the contractor (including security deposit) refundable to him) under this contract may be appropriate by the BSNL for the payment of a sum of money arising out or under any other contract made by the contractor with the BSNL.

11. 	PAYMENT TERMS

11.1	Procedure for preparation and settlement of bills

11.1.1 	The work order shall contain work of one or more primary cables and/or distribution cable works of one or more pillars. As stated earlier the work has to be organized in such a way so that the cables are available for release of connections at the earliest and in line with this thinking the contractor should carry out the works in a systematic manner either of a primary cable or a number of primary cables on the same route or distribution cables of a pillar in one stretch. The procedure for preparation of running and final bills is enumerated as under.

11.1.1.1Procedure for preparation, processing and payment of running bills : The contractor shall prepare the running bill in triplicate ensuring execution of part work in its completeness as envisaged above, correctness of rates and quantum of work and submit the bills to SDOT/SDOP In-charge of work. The bills shall be prepared accurately  and as per measurements recorded in the measurement book and after acceptance and testing of all the items involved in the work. The contractor should submit the running bill within 10 days of acceptance and testing. The SDOT/SDOP In-charge shall record the certificate on the running bill that the site order books have been consulted before signing the running bills. This would enable the SDOT/SDOP to ensure whether the defects pointed during execution have been rectified or not. The SDOT/SDOP In-charge of work shall scrutinize the bills and accord necessary certificate and submit the running bills with the documents as mentioned below to the AGM In-charge of work.

- First copy of the bill with first copy of measurement sheets of measurement book and A/T reports. (Payable copy)

- Second copy of the bill with second copy of measurement sheets of measurement book and A/T reports. (Not for payment)

- Third copy of the bill with photocopies of measurement sheets and A/T reports. (Not for payment

11.1.1.2 	The AGM shall exercise the prescribed checks to the bills and accord necessary rectification on the bills. The AGM shall retain the third copy in record and record it in the estimate file maintained in his office and send first and second copies with al documents to Work section of Planning cell for processing of bills and release of payment.

11.1.1.3 	The work section of planning cell shall process the bills in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provisions in the estimate etc. The bill shall be passed after necessary scrutiny by works section, by the officer competent to pass the bill. Against any running bill, payment to the extent of only 90% shall be made which shall be treated as on advance to the contractor. 10% of the bill amount towards security deposit and statutory taxes as applicable to contract shall be deducted at the time of payment from each running bill. Account payee cheque for the amount passed in the bill will be issued only after the contractor gives stamped receipt for the amount, if the bills are not pre-receipted. Details of payment of all the bills shall be entered into contractor’s ledger by Works section of the Planning cell.

11.1.1.4	In exceptional cases where work required for preferring a running bill cannot be completed within reasonable time due to non availability of stores or any other reason and where the BSNL is responsible for delay, the concerned DGM may permit payment of running bill (prepared without completing the work end to end for that unit of work) to the extent of 70% so that the contractor does not face resource crunch. Such payment shall be treated as an advance payment to the contractor like any other running bill.

11.1.2 	Procedure for preparation, processing and payment of Final bill : The contractor shall prepare the final bill in triplicate after completion of the entire work entrusted against the work order and acceptance and testing of all the works  and submit the same to SDOT/SDOP In-charge of work within 15 days of acceptance and testing. The final bill shall be prepared for all the measurement of all items involved in execution of complete work order. The contractor shall prepare the final bill containing the following details –

- The bill for all the quantities as per measurements at the approved rates.

- Adjustment of amount received against running bills.

- Adjustment of security deposit and statutory taxes already recovered.

- Store reconciliation statement furnishing account of stores received against the work order and returned to the designated store go-down as surplus with requisite verifications from store in-charge/ SDOT/SDOP In-charge of work.

- Letters of grant of E.O.T(s), if work could not be completed within stipulated time.

      - The SDOT/SDOP In-charge of work shall scrutinize the final bill against the works entrusted and accord necessary certificate stating that the work has been executed satisfactorily in accordance with specifications and terms and conditions of the contract. The SDOT/SDOP shall verify the quantities of items of work with reference to measurements recorded in the measurement book (an also A/T reports incase of any deviation noted by A/T officer) The SDOT/SDOP In-charge of work shall submit the final bills along with other documents mentioned above with the documents as mentioned hereunder to the AGM In-charge of work.

- Bills prepared by the contractor.

- Material reconciliation statement.

- Measurement book.

- A/T certificates.

- The site order book.

- The hindrance register.

- Details of recoveries/penalties for delays, damages to BSNL/Third party properties as per provisions of the contract. Incase no recovery is to be made, NIL report needs to be submitted.

11.1.2.2 	The AGM incharge of concerned Zone shall exercise the prescribed checks on the bills and accord necessary certificates on the bills. The AGM shall retain the

third copy of the bill along with photocopies of other documents not available to his estimate file and send first and second copies of the bills, measurement book and other documents submitted by SDOT/SDOP, along-with the bills as above to Work section of the Planning cell for processing and final payment.

      - The work section of Planning cell shall process the bill in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provision in the estimate etc. The work section shall scrutinize bill who recover all the liabilities of the contractor and statutory taxes besides 7.5% payment against part performance security deposit. The bill shall be passed, after necessary scrutiny by works section to the Officer competent to pass the final bill.

  - PROCEDURE FOR PAYMENT FOR SUB STANDARD WORKS

11.2.1 	The contractors are required to execute all works satisfactorily and in accordance with the specifications. If certain items of work are executed with unsound, imperfect or unskilled workmanship or with materials of any inferior description or that any materials or articles provided by him for execution of work are unsound or of a quality inferior to that contracted for or otherwise not in accordance with the contract (referred to a substandard work hereinafter), the AGM In-charge of shall make a demand in writing specifying the work, materials or articles about which there is a complaint.

11.2.2 	Timely action by Construction Officers : Timely reporting and action to a great extent , can prevent recurrence of sub standard work, which will be difficult or impossible to rectify later on. It is incumbent on the part of Construction Officers to point out the defects in work in time during progress of the work. The Junior Telecom Officer/Sub AGM responsible for execution and supervision of work shall without any loss of time submit a report of occurrence of any sub standard work to the AGM IN-charge besides making an entry in the site order book. A notice in respect of defective work shall be given the contractor to rectify/replace /remove the sub standard item of work and also definite time period within which such rectification/removal/replacement has to be done. After expiry of the notice period, of the contractor fails to rectify/replace/remove the sub standard items, the defects shall be got rectified/replaced/removed BSNLally or through some other agency at the risk and cost of the contractor.

11.2.3	Non-reporting of sub standard work in time on the part of Construction Officer(s) shall not in any way entitle the contractor to claim that the defects were not pointed out during execution and as such the contractor cannot be absolved of the responsibility for sub standard work and associated liabilities.

11.2.4 	Authority and procedure to accept sub standard work and payment thereof : There may be certain items of work pointed out as sub standard which may be difficult to rectify and in the opinion of the Head of SSA, the items in question will not materially deteriorate the quality of service provided by the construction, the head of SSA shall appoint committee to work out the reduced rates payable to the contractor for such sub standard work. The committee shall constitute one AGM other than the one who is directly in-charge of Cable construction involving sub standard item of work, as Chairman and one SDE (Planning) and an Accounts Officer as members. The committee shall also take into account the approximate cost of material/work pointed out as sub standard and recommend the rates payable for sub standard work, which shall not exceed 60% of the approved rates of the item in question.

    - Record of sub standard work : The item adjudged as sub standard shall be entered into the measurement book with red ink.

12.	DISPOSAL OF EMPTY CABLE DRUMS

12.1 	The contractor shall be responsible to dispose off the empty cable drums after laying of the cable. The competent authority taking in to account the prevailing market rates has fixed the cost of various sizes of cable drums as mentioned below in the table. The cost of empty cable drums shall be deducted as per approved rate from the bill for the work on which the cable along with the drum has been issued or any other amount due to the contractor or from security deposit.

| Serial number | Size of Cable drums | Rate Fixed for recovery from Contractor’s bill for each drum. |
| --- | --- | --- |
| 1 | 1200/800 Pr. | Rs. 500.00 |
| 2. | 400 Pr. | Rs. 375.00 |
| 3. | 200 Pr. | Rs. 250.00 |
| 4. | 100 Pr. | Rs. 150.00 |
| 5. | 50 Pr. | Rs. 125.00 |
| 6. | 5/10/20 Pr | Rs. 75.00 |

12.2 	The contractor shall be responsible for the accounting of the cable drums issued and shall mention the number and types of cable drums in the bill so that the amount is deducted from the bills due.

12.3 	The contractor shall not be allowed to dump the empty cable drums in Govt./public place, which may cause inconvenience to Govt./public. If the contractor does not dispose off the empty cable drums within 3 days of becoming empty, the BSNL is at liberty to dispose off the drum in any manner deemed fit and also recover the amount fixed in this contract for empty cable drums along with the transportation charges (to be decided by the General Manger Telecom) from the bill/security deposit/any other amount due to the contractor.

13. 	PENALTY CLAUSE

13.1 	DELAYS IN THE CONTRACTOR’S PERFORMANCE

13.1.1 	The time allowed for completion of the work as entered in the tender shall be strictly adhered by the contractor and shall be deemed to be the most important aspect of the contract on the part of the contractor and shall be reckoned from seventh day from issue of   work   order   by   the BSNL.  The work shall, through out the stipulated period of contract, be proceeded with all due diligence to achieve the desired progress uniformly and the contractor shall pay as penalty an amount equal to 0.25 percent of the estimated amount per day of delay in completion of work, subject to a maximum of 10(ten) percent of the cost of the work awarded.

13.1.2 	On any date the penalty payable as above, reaches 10(ten) percent of the estimated cost of the work, the contractor should proceed with the work further only on getting a written instructions from the AGM that, he is allowed to proceed further with the work. It will be in the discretion of the AGM to allow the contractor to continue with the work on the basis of any written agreement reached between the contractor and the AGM one of the conditions of such agreement may be a stipulation for the contractor to agree for realization of penalty for delay at a higher rate as my be agreed between the AGM and contractor.

13.1.3 	Penalty for delay in completion of the work shall be recoverable from the bills of the contractor and / or by adjustment from the security deposit or from the bills of any other contract. However, adjustment from security deposit will be made only when the contract has been terminated or at the time of final settlement of this on completion of work.

    - In case of slow progress of the work in a section which have been awarded to a particular contractor, and the public interest does not permit extension of time limit for completion of the work, the General Manager Telecom will have the full right to order that the scope of the contractor may be restricted to such fraction of the whole of the work and get the balance executed at the risk and cost of the contractor. The details are given in Rescission of the contract clause of the bid document. All such payments shall be recovered from the contractor’s pending bills or security deposit.

13.1.5 	The General Manager Telecom reserves the right of cancel the contract and forfeit the security deposit if the contractor fails to commence the work within 7 days after issue of the work order.

13.2 	PENALTY FOR CAUSING INCONVENIENCE TO THE PUBLIC

13.2.1	To ensure progress during the execution of work and to cause minimum inconvenience to the public, the contractor shall not dig a trench of more than 200 meters at a stretch in a route at a time. He shall cause to lay cable and close such trenches expeditiously. Under any circumstances a stretch of trench of maximum 200 meters shall not be kept open for more than 4 days in case of cable laying by digging paved surfaces. In the event of contractor failing to comply with these conditions, a penalty of recovery up to Rs.300/- per day the trench is kept open beyond the time limit allowed may be imposed by the BSNL. The penalty will be addition to that payable for delay or slow work.

13.2.2	The contractor shall not be allowed to dump the empty cable drums/waste materials in Govt./public place, which may cause inconvenience to Govt./public. If the contractor does not dispose off the empty cable drums/waste materials within 3 days of becoming empty, the BSNL is at liberty to dispose off the drums in any manner deemed fit and also recover the amount fixed in this contract for empty cable drums/waster materials form the bill/security deposit/along with the cost incurred by the BSNL in disposing off such materials. The BSNL may also levy a penalty up to rupees one thousand for each such default.

13.2.3	If any such penalty is levied on a contractor for more than 2 occasions, then his/her contract could be terminated In this regard the decision of General Manager Telecom shall be final and binding.

13.3 	COST OF REPAIR FOR CUTTING/DAMAGING THE EXISTING CABLE

13.3.1 	During excavation of trench utmost care is to be taken by the contractor so that the existing underground cables are not damaged or cut.

In case of cut/damage of the existing cable the contractor shall carry out such repairs for restoration of the damaged cable free of charge. The cost of jointing kit shall also be borne by the contractor, if contractor fails to repair the damage, the cost of repair (including cost of labour + Jointing kit) shall be recovered from the contractor.

13.4 	PENALTY TO DAMAGE STORES/MATERIALS SUPPLIED BY THE BSNL WHILE LAYING

13.4.1	The contractor while taking delivery of materials supplied by the BSNL at the designated place shall thoroughly inspect all items before taking them over. In case of execution of the work, if any material is found damaged/working unsatisfactorily, then a penalty equivalent to the cost of material + 10% as penalty shall be recovered from the contractor’s payments/securities.

13.4.2 	In case of damage to PIJF cables, while laying, the cost of number of pairs damaged (including laying charges, transportation/storage charges) adding 10% as penalty shall be recovered from the contractor’s bill/securities.

13.4.3	However, contractor will not be penalized for any defect in workmanship of the materials, which shall be taken up separately with the supplier of the stores.

14. 	RESCISSION / TERMINATION OF CONTRACT

  - CIRCUMSTANCES FOR RESCISSION OF CONTRACT

Under the following conditions the competent authority may rescind the contract :

a) 	If the contractor commits breach of any item of terms and conditions of the contract.

b) 	If the contractor suspends or abandons the execution of work and the engineer in charge of the work comes to conclusion that work could not be completed by due date for completion or the contractor had already failed to complete the work by that date.

c) 	If the contractor had been given by the Officer in-charge of work a notice in writing to rectify/replace any defective work and he/she fails to comply with the requirement within the specified period.

14.2 	Upon rescission of the contract, the security deposit of the contractor shall be liable to be forfeited and shall be absolutely at the disposal of the BSNL as under –

14.2.1 	Measurement of Works executed since the date of last measurement and up to the date of rescission of contract shall be taken in the presence of the contractor or his authorized representative who shall sign the same in the MB. If the contractor or his authorized representative do not turn up for joint measurement, the measurement shall be taken by the officer authorized for this purpose after expiry of due date given for joint measurement. The measurement taken by the officer so authorized shall be final and no further request for joint measurement shall be entertained.

14.2.2	The unused material (supplied by the BSNL) available at site, shall be transported back by the BSNL to the Telecom store at the risk and cost of the contractor. If any such material is found damaged/lost then the penalty shall also be recovered from the contractor as per condition in tender documents/bid.

14.2.3	The unexecuted work shall be got executed through the qualified bidder from amongst the bidders, who participated in the bidding process, by giving them offers in their order of ranking (L 2, L 3, ----) at their quoted rates. If the work was awarded on single tender basis then the BSNL shall got the unexecuted work completed through any other contractor approved under G.M.T.D., Dhenkanal at the approved rates of that particular Zone or to execute the work departmentally, as is convenient or expedient to the BSNL at the risk and cost of the contractor. In such a event no compensation shall be payable by the BSNL to the contractor towards any inconvenience loss that he may be subjected to as a result or such an action by the BSNL. In this regard the decision of G.M.T.D., Dhenkanal in concurrence with IFA shall be final and binding. In all these cases, expenses which may be incurred in excess of the sum which would have been paid to the original contractor if the whole work had been executed by him shall be borne and paid by the original contractor and shall be deducted from any money due to him by the BSNL under the contract or any other account whatsoever any where in the BSNL or from a security deposit.

14.2.4	The certificate of the AGM in-charge of work as to the value of work done shall be final and conclusive against the contractor, provided always that action shall only be taken after giving notice in writing to the contractor.

14.3 	Delete clause

    - The BSNL may at any time terminate the contract by giving written notice to the contractor without compensation to contractor, if the contractor becomes bankrupt or otherwise insolvent as declared by the competent court provided that such termination will not prejudice or affect any right or action or remedy which has accrued or will accrue to the BSNL.

  - OPTIONAL TERMINATION BY THE BSNL (Other than due default of the contractor)

14.4.1 	The BSNL may, at any time, at its option cancel and terminate the contract by written notice to the contractor, in which event the contractor shall be entitled to payment for the work done up to the time of such cancellation and a seasonable compensation in accordance with the contract prices for any additional expenses already incurred for balance work exclusive of purchases and/or whole of material, machinery and other equipment for use in or in respect of the work.

14.4.2 	In the event of termination of the contract, the contractor shall forthwith clear the site of all the contractor’s materials, machinery and equipment’s and hand over possession of the work/operations concerned to the BSNL o as the BSNL may direct.

14.4.3 	The BSNL may, at its option, cancel or omit the execution of one or more items of work under the contract and may part of such items without any compensation whatsoever to the contractor.

  - ISSUANCE OF NOTICE

14.5.1 	The AGM In-charge of work shall issue show cause notice giving details of lapses, violation of terms and conditions of the contract, wrongful delays or suspension of work or slow progress, to the contractor directing to take corrective action. A definite time schedule for corrective action shall be mentioned in the show cause notice. If the contractor fails to take corrective action within stipulated time frame, the AGM in-charge shall submit a draft of f final notice along-with a detailed report to the competent authority who had accepted the contract. The draft final notice shall be got legally vested from a Government Counsel.

14.5.2	 The final notice for rescission of contract to the contractor shall expressly state the precise date and time from which the rescission would become effective. The following safe guards shall be taken while issuing the final notice.

a) 	During the period of service of notice and its effectiveness, the contractor should not be allowed to remove from the site any material/equipment belonging to the BSNL.

b) 	The contractor shall give in writing the tolls and plants he would like to take away/remove from the site. Such of the materials as belong to him and which may not be required for future execution of balance work may be allowed by the AGM in-charge of work to be removed with proper records.

c) 	No new construction beneficial to the contractor shall be allowed.

d) 	Adequate BSNLal security arrangement in replacement of the contractor watch and ward shall be made forthwith. Expenses on this account are recoverable from the security deposit or any amount due to the contractor.

15.	INDEMNITIES

15.1 	The contractor shall at all times hold the BSNL harmless and indemnify from against all action, suits, proceedings, works, cost, damages, charges, claims and demands of every nature and descriptions, brought or procured against the BSNL, its Officers and employees and forthwith upon demand and without protect or demur to pay to the BSNL any and all losses and damages and cost (inclusive between attorney and client) and all costs incurred in endorsing this or any other indemnify or security which the BSNL may now or at any time have relative to the work or the contractors obligation or in protecting or endorsing its right in any suit or other legal proceeding, charges and expense and liabilities resulting from or incidental or in connection with injury, damages of the contractor or damage, to   property    resulting from or arising.

out of or in ay way connected with or incidental to the operations caused by the contract, documents. In addition the contractor shall reimburse the BSNL or pay to the BSNL forthwith on demand without protect or demur all cost, charges and expenses and losses and damages otherwise incurred by it in consequences of any claim, damages and actions which may be brought against the BSNL arising out of or incidental to or in connection with the operation covered by the contractor.

15.2 	The contractor shall at his won cost at the BSNL’s request defend any suit or other proceedings asserting a claim covered by this indemnity, but shall not settle compound or compromise any suit or other finding without first consulting the BSNL.

16.	FORCE MAJEURE

16.1 	If any time, during the continuance of this contract, the performance in whole or in part by either party or any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts, or act of God (herein after referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non- performance and work under the contract shall be resumed as soon as practicable  after  such  event  may come to an end or ceased to exit, and the decision of the BSNL as to whether the work have been so resumed or not shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days either party may, at his option terminate the contract.

16.2	Provided also that if the contract is terminated under this clause, the BSNL shall be at liberty to take over from the contractor at a price to be fixed by the BSNL, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in the course of execution of the contract, in possession of the contractor at the time of such termination of such portions thereof as the BSNL may deem fit excepting such materials bought out components and stores as the contracts may with the concurrence of the BSNL elect to retain.

17.	ARBITRATION

17.1	 In the event of any question, dispute or difference arising under this agreement or in connection there with (except as to matters decision of which is specifically provided under this agreement) the same shall be referred to the sole arbitration of the Chief General Manager, Orissa Telecom Circle, Bhubaneswar or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the officer for the time being entrusted whether in addition to the functions of the Chief General Manager, Orissa Telecom Circle Bhubaneswar or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the Chief General Manager, Orissa, Telecom Circle Bhubaneswar  or the said officer is unable or unwilling to act as such to sole arbitration or some other person appointed by the Chief General Manager, Orissa Telecom Circle Bhubaneswar The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act 1996. There will be no objection to any such appointment that the arbitrator is BSNL servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as BSNL servant he has expressed view on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reason whatsoever such Chief General Manager or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by the predecessors.

17.2 	The arbitrator may, from time to time, with the consent of all the parties change the time for making (and publishing) the award. Subject to the aforesaid provisions, the Arbitrator Act 1940 and the Rules made there under and any modification thereof for the time being in force shall deem to apply for the arbitration proceedings under this clause.

17.3 	The venue of the arbitration proceeding shall be the office of the Chief General Manager Orissa Telecom Circle Bhubaneswar or such other place as the arbitrator may decide. The following procedure shall be followed –

17.3.1 	In case parties are unable to reach a settlement by themselves, the dispute should be submitted or arbitration in accordance with contract agreement.

    - There should not be a joint submission with the contractor to the sole Arbitrator.

    - Each party should submit its own claim severally and may oppose the claim put forward by the other party.

    - The onus of establishing his claims will be left to the contractor.

    - Once a claim has been included in the submission by the contractor, a reiteration or modification thereof will be opposed.

    - The ‘points of defence’ will be based on actual conditions of the contract.

    - Claims in the nature of ex-gratia payments shall not be entertained by the Arbitrator as these are not contractual.

    - The question whether these conditions are equitable shall not receive any consideration in the preparation of “points of defence”.

    - If the contractor includes such claims in his submission, the fact that they are not contractual will be prominently placed before the Arbitrator.

The award of the sole Arbitrator shall be final and binding on all the parties to the dispute.

18. 	SET OFF

18.1 	Any sum of money due and payable to the contractor (including security deposit refundable to him) under this contract may be appropriated by the BSNL or the Govt. or any other person or persons contracting through the Govt. or such other person or persons for payment of a sum of money arising out of the contract made by the contractor with BSNL or Govt. or such other person or persons contracting through Govt. of India.

SECTION –VI

SPECIAL CONDITIONS OF THE CONTRACT

1. 	GENERAL

1.1 	The work shall be accepted only after Acceptance Testing carried out by DOT/DTS/BSNL team designated by the G.M.T.D., Dhenkanal, as per the prescribed schedule and work/material passing the test successfully.

1.2 	The G.M.T.D., Dhenkanal reserves the right to disqualify such bidders who have a record of not meeting contractual obligations against earlier contracts entered into with the BSNL.

1.3 	The G.M.T.D., Dhenkanal reserves the right to black list a bidder for a suitable period in case he fails to honour his bid without sufficient grounds.

1.4 	The G.M.T.D., Dhenkanal reserves the right to counter offers price(s) against price(s) quoted by the bidder.

1.5 	Any clarification issued by the G.M.T.D., Dhenkanal, in response to query raised by the prospective bidders shall form an integral part of bid document and it may amount to amendment of relevant clauses of the bid documents.

1.6 	Tender will be evaluated as a singly package of all the items given in the price schedule.

1.7 	All work to be executed under the contract shall be executed under the direction and subject to the approval in all respects of by the AGM or Site Engineer In-charge of work site who shall be entitled to direct at what point or points and what manner they are to be commenced, and from the tine to time carried on.

1.8 	The work in each zone may be split up between two or more contractors or accept any tender in part and not entirely if considered expedient by the G.M.T.D., Dhenkanal.

1.9	If the contractor shall desire an extension of time for completion of the work on the grounds of unavoidable hindrance in execution of work or on any other ground he shall apply in writing to the AGM within 3 days of the date of hindrance on account of which he desires such extension as aforesaid. In this regard the decision of the G.M.T.D., Dhenkanal shall be final.

1.10 	If at any time after the commencement of work, the G.M.T.D., Dhenkanal may feel that extension of whole or part of work, as specified in the tender is not required to be carried out, then the G.M.T.D., Dhenkanal shall give notice in writing of the fact to the contractor who shall have no claim to any amount of compensation whatsoever on account of any profit or advantage which he might have derived in consequence of the full amount of the work not having been carried out neither shall he have any claim for compensation by reason of any alteration having been made in the original specifications, drawings, designs and instructions which shall involve any curtailment of the work as originally contemplated.

1.11	Whenever any claim against the contractor for the payment of a sum of money arises out of or under the contract, the G.M.T.D., Dhenkanal shall be entitled to recover such sum by appropriating in part or whole the security deposit of the contractor and to sell any G.M.T.D., Dhenkanal promissory notes etc. forming the whole or part of such security or running / final bill pending against any contract with the G.M.T.D., Dhenkanal. In the event of the balance or the total sum recoverable as the case may be, shall be deducted from any sum then due or which at any time there after may become due to the contractor under this or any other contract with G.M.T.D., Dhenkanal Should this sum be not sufficient to cover the full amount recoverable the contract or shall pay to G.M.T.D., Dhenkanal on demand the balance remaining due.

1.12 	No official of Gazetted rank or other Gazetted officer employed in Engineering or administrative duties in an Engineering BSNL or any other BSNL of the Government of India is allowed to work as a contractor for a period of two years after his retirement from Government service without the pervious permission of Government of India. The contract is liable to be cancelled if either the contractor or any of the employees is fond at any time to be such a person who hadn’t obtained the permission of Government of India as aforesaid before submission of the engagement in the contractor’s service as the case may be.

1.13	 Delete clause

1.14 	Without prejudice to any of the rights or remedies under the contract, if the contractor dies, the G.M.T.D., Dhenkanal on behalf of the BSNL can terminate the contract without compensation to the contractor. However the G.M.T.D., Dhenkanal at his discretion may permit contractor’s heirs to perform the duties or engagement of the contractor under the contract, in case of his death. In this regard the decision of the G.M.T.D., Dhenkanal shall be the final.

1.15 	In the event of the contractor, winding up his company or account of transfer or merge of his company with any other, the contractor shall make it one of the terms and stipulations of the contract., for the transfer of his properties and business , that such other person or company, shall continue or perform the duties or engagement of the contractor under this contract and be subject to his liabilities there under.

1.16	 INTERPRETATION OF THE CONTRACT DOCUMENT

1.16.1 	The representatives of the G.M.T.D., Dhenkanal and the contractor shall in so far as possible by mutual consultation try to decide upon the meaning and intent of the contract document. In case of disagreement the matter shall be referred to the G.M.T.D., Dhenkanal whose decision shall be final. Any change in the contract documents shall be set forth in writing by the representatives of the parties hereto. It shall be the contractor’s responsibility to thoroughly familiarize all of the supervisory personnel with the contents of all the contract documents.

1.17 	NOTIFICATIONS

1.17.1 	The contractor shall give in writing to the proper person or authority with a copy to the AGM such notification as may be mandatory or necessary in connection with the commencement, supervision, resumption, performance and/or completion of the contracted work. All notice shall be given sufficiently in advance of the proposed operation to permit proper co-relation of activities and the contractor shall keep all proper persons or authorities involved and advised of the progress of operations through out the performance of the work and/or with such other information and /or supporting figure and data as may from time to time as directed or required.

1.18 	SHUT DOWN ON ACCOUNT OF WEATHER CONDITIONS

1.18.1 	The contractor shall not be entitled to any compensation whatsoever by reason of suspension of the whole or any part of the work made necessary by the BSNL or deemed advisable on account of bad weather conditions or other force majored conditions.

2. 	STORES SUPPLIED BY THE BSNL

2.1 	At no point of time the contractor shall be issued stores of value more than the contractor’s material security as per clause 5(1) of section-V. If at all the work requires more amount of materials to issued to the contractor, then the security shall suitably be revised before the issue of the store and the contractor will not have any objection to it.

2.2	The contractor shall transport (including loading and unloading) all stores issued to him from Sub-divisional Telecom Stores, to the work site at his own cost. The G.M.T.D., Dhenkanal shall not pay any transportation charges to the contractor.

2.3 	All materials supplied to the contractor by the G.M.T.D., Dhenkanal shall remain the absolute property of G.M.T.D., Dhenkanal and shall not be removed from site of the work except for use in the work and shall be at all times open to inspection by the representatives of G.M.T.D., Dhenkanal. In case the materials like cable and accessories are taken delivery of by the contractor and stored at the site office/store of the contractor such site office/store will also be treated “as site” for this purpose. Any such materials remaining unused at the time of the abandonment, completion or determination of the contract, shall be returned to the G.M.T.D., Dhenkanal at apace informed to him by the G.M.T.D., Dhenkanal, failing which the cost of the unused materials shall be deducted from the contractor’s material security or any of his pending bills from or from any other security.

2.4	The contractor shall be responsible for the transportation of store, storage and safe custody of all material supplied to him by the G.M.T.D., Dhenkanal, which in the contractor’s custody whether or not installed to the work. The contractor shall satisfy himself regularly the quantity and quality of the materials supplied to him and he will be responsible for any subsequent deterioration and discrepancy (inclusive of theft) in the quantity/quality of the materials.

2.5 	The contractor shall submit a proper account every month of all the materials supplied to him by the G.M.T.D., Dhenkanal and those consumed for items of work. Any discrepancy of difference between the materials issued to the contractor and those consumed in the work as per the “G.M.T.D., Dhenkanal’s calculation” (which shall be final) will be charged to the contractor or deducted from his bills at 1.5 times of prevailing standard price including freight, handling charges, storage charges etc.

2.6 	The contractor shall ensure that sonly the required materials are issued to him. Upon completion of work, the contractor shall return to the G.M.T.D., Dhenkanal, at the later designated store in good condition, free of charges, any unused materials that were supplied by the G.M.T.D., Dhenkanal.

3.	EASEMENT, PERMITS, LICENCES AND OTHER FACILITIES

3.1	The contractor shall obtain/provide at the own cost all easements, permits and licence necessary to do its work except for the following, which shall be provided by the representative of the G.M.T.D., Dhenkanal.

(A) 	Right of User easements and permits

(B)	Railway and Highway crossing permits including bridge

(C) 	Canal / stream crossing permits

3.2	The contractor shall be fully responsible for angling and obtaining all necessary easements, permits and licences, for moving all construction equipment, tools, supplied materials and then across Railways and Highways, across public or private road as well as premises of any public utility within the right of user and for bearing all costs that may be incurred in respect of the same.

3.3 	The contractor is to confine his operation to the provided construction ‘Right of User” unless it has made other arrangements with the particular property owners and / or tenants such other arrangements shall be entirely at the responsibility of the contractor as to cost and arrangements as also breach and claim and shall be entitled with a copy to the AGM.

3.4 	The contractor will not be entitled to extra compensation for hardship and increase in cost by the cable trench being routed adjacent to or across other pipeline, Highways, Railways, Telephones or poser poles and wires or guy wires, embankments, cliffs, streams or other obstacles, which may physically or otherwise in any manner, restrict or limit the use of the construction “Right of User”, some construction and such contingency shall be deemed to have been providing for in the rates.

3.5 	At location where the U/G cable trench is routed across along railways or roads, the contractor shall without extra cost provide and maintain such detours and road controls as are required by the railways or government or local agencies having jurisdiction.

3.6	If the G.M.T.D., Dhenkanal is not able to provide above mentioned permits etc. in time then the extension of time shall be provided as per EOT clause in tender document.

4. 	QUALITY OF WORK

The G.M.T.D., Dhenkanal shall be the final judge of the quality of the work and the satisfaction of the G.M.T.D., Dhenkanal in respect thereof set forth in the contract documents. Laxity or failure to enforce compliance with the contract documents by the G.M.T.D., Dhenkanal and / or its representative shall not manifest a change or intent of waiver, the intention being that, not withstanding the same, the contractor shall be and remain responsible for complete and proper compliance with the contract documents and the specification there in. The representative of G.M.T.D., Dhenkanal has the right to prohibit the use of men and any tools, materials and equipment, which in his opinion do not produce work or performance, meet the requirement of the contract document.

5. 	TAXES & DUTIES

Contractor shall pay all rates, levies, fees royalties, taxes and duties payable or arising from out of by virtue of or in connection with and/or incidental to the contract or any of the obligations of the parties in terms of the contract documents and / or in respect of the works or operations or any part thereof to be performed by the contractor and the contractor shall indemnify and keep indemnified the G.M.T.D., Dhenkanal from and against the same or any default by the contractor in the payment thereof.

6. 	PROTECTION OF LIFE AND PROPERTY AND EXISTING FACILITIES

6.1 	The contractor is fully responsible for taking all possible safety precautions during preparation for and actual performances of the works and for keeping the construction site in a reasonable safe condition. The contractor shall protect all life and property from damage or losses resulting from his construction operations and shall minimize the disturbance and inconvenience to the public.

6.2 	If the excavation of trench alters the contours of the ground around road and highway crossing in such locations dangerous to traffic, the contractor shall at his own cost, take all necessary precautions to protect public and shall comply with all the BSNL regulations as to placing of warning boards (minimum size 3’ X 2’) , traffic signals, barricades, flags etc. at such location. If the contractor does not put the warning signal as per above directions, then a penalty of  Rs. 500/- per day  shall  be

levied on the contractor, till the directions are complied by the contractor. The contractor shall take due precautions to avoid damages to other pipe lines, water mains, sewers, telephones, telegraphs and power conduits, laid wires poles and guy wires, railways, highways, bridges or other underground or above ground structure and / or property crossing or adjacent to the cable trench being excavated.

6.3 	Attention of the contractor is drawn to the rules regarding laying of cables at road crossing, along railway bridges, highways, safety precautions while working in Public Street. The contractor in writing shall obtain the detailed engineering instructions from the AGM of the area.

6.4 	The contractor shall be solely responsible for location through approved non-destructive means and ensuring the safety of all existing underground pipeline, electrical cables and or other structure.

6.5 	The contractor shall be solely liable for all expense for and in respect of repairs and / or damage occasioned by injury of or damage to such underground and above structures or other properties and under take to indemnify the G.M.T.D., Dhenkanal from and against all actions, cause of actions, damages, claims and demands whatsoever, either in law or in equity and all losses and damages and costs (inclusive between attorney and client), charges and expenses in connection therewith and/or incidental thereto. The contractor shall take all responsibilities and risk in crossing other pipelines and cables and shall be responsible for protecting all such existing pipelines, poles, electric lines, sewers, cables or other facilities from damage by the contractor’s operation in connection with the work. The contractor without cost of the G.M.T.D., Dhenkanal shall promptly repair any damage incurred.

6.6	The current market value of any commodities lost as a result of any damage to the aforesaid existing facilities shall be paid by the contractor together with such additional sum necessary to liquidate the personal or property damages, resulting there from.

7.	LABOUR WELFARE MEASURE AND WORKMAN COMPENSATION

7.1 	Obtaining licence before commencement of work: The contractor shall obtain a valid licence under the Contract Labour (R&A) Act 1970 and the Central Labour (Regulation & Abolition) central Rules 1971, before commencement of the work and continue to have a valid licence until the completion of work. The contractor shall also abide to the provision of the Child Labour (Prohibition & Regulation) Act 1986. Any failure to fulfill this requirement shall attract the penal provisions of this contract arising out of the resultant non-execution of work.  The contractor should fallow all the provisions of EPF & Misc. provisions act, 1952 and ESI act, 1948 strictly.

  - CONTRACTORS LABOUR REGULATIONS

7.2.1 	Working Hours :

7.2.1.1.	Normally working hours of an employee should not exceed 9 hours a day. The working day shall be so arranged that inclusive of interval for rest, if any, it shall not spread over more than 12 hours on any day.

7.2.1.2 	When a worker is made to work for more than 9 hours on any day or for more than 48 hours in any week he shall be paid over time for the extra hours put in by him.

7.2.1.3 	Every worker shall be given a weekly holiday normally on a Sunday, in accordance with the provisions of Minimum Wages (Central) Rules 1960, as amended from time to time irrespective of whether such worker is governed by the Minimum Wages Act or not.

7.2.1.4 	When the minimum wages prescribed by the Government, under the Minimum Wages Act, are not inclusive of the wages, for weekly day or rest, the worker be entitled to rest day wages or the rate applicable to the next preceding day, provided he has worked under the same contractor for a continuous period of not less than 6 days.

7.2.1.5	Where a contractor is permitted by the Engineer In-charge to allow a worker to work on a normal weekly holiday, he shall grant a substituted holiday to him for the whole day, on one of the five days, immediately before or after the normal weekly holiday and pay wages to such worker for the work performed for the normal weekly holiday at the overtime rate.

7.2.2 	DISPLAY OF NOTICE REGARDING WAGES ETC.

The contractor shall, before he commences the work on contract, display and correctly maintain and continue to display and correctly maintain, in a clear and legible condition in conspicuous places on the work, notices in English and in local Indian language spoken by the majority of the workers, giving the minimum rates of the wages fixed under Minimum Wages Act, the actual wages being paid, the hours of work for which such wages are earned, wages periods, dates of payments of wages and other relevant information.

7.2.3 	PAYMENT OF WAGES

7.2.3.1 	The contractor shall fix wage periods in respect of which wages shall be payable.

7.2.3.2 	No wage period shall exceed one month.

7.2.3.3.	The wages of every person employed as contract labour in an establishment or by a contractor where less than one thousand such persons are employed shall be paid before the expiry of seventh day and in other cases before the expiry of tenth day after the last day of wage period in respect of which the wages are payable.

7.2.3.4 	Where the employment of any worker is terminated by or on behalf of the contractor, the wages earned by him shall be paid before the expiry of the second working day from the date on which his employment is terminated.

7.2.3.5	All payment of wages shall be made on a working day at the work premises and during the working time and on a date notified in advance and in case the work is completed before the expiry of the wage period, final payment shall be made within 48 hours of the last working day.

7.2.3.6 	Wages due to every worker shall be paid to him direct or to other person authorized by him in this behalf.

7.2.3.7	All wages shall be paid in current coin or currency or in both.

7.2.3.8 	Wages shall be paid without any deductions of any kind except those specified by the Central Government by general or special order in this behalf or permissible under the Payment of Wages Act 1956.

7.2.3.9 	A notice showing the wages period and the place and time of disbursement of wages shall be displayed at the place of work and a copy sent by the contractor to the Engineer In-charge under acknowledgement.

7.2.3.10	It shall be the duty of the contractor to ensure the disbursement of wages in presence of the site Engineer or any other authorized representative of the Engineer In-charge who will be required to be present at the place and time of the disbursement of wages by the contractor to workmen.

7.2.3.11 	The contractor shall obtain from the site Engineer or any other authorized representative of the Engineer In-charge as the case may be a certificate under the signature at the end of the entries in the ‘Register of Wages” or the ‘Wages-cum-Muster Roll”, as the case may be in the following form –

“ Certified that the amount shown in the Column No……………….has been paid to the workman concerned in my presence on…………………….at……………………….”.

    - FINES & DEDUCTIONS WHICH MAY BE MADE FROM WAGES

7.2.4.1.	The wages of a worker shall be paid to him with-out any deductions of any kind except the following :

(a)	Fines

(b) 	Deductions for advance from duty i.e. from the place or the place where by the terms of the employment he is required to work. The amount of deduction shall be in proportion to the period for which he was absent.

(c) 	Deductions for damage to or lass of goods expressly entrusted to the employed person for custody or for loss of money or any other deductions which he is required to account, where such damage or loss is directly attributable to the neglect or default.

(d) 	Deduction for recovery of advance or for adjustment of overpayment of wages, advance granted shall be entered in a register.

(e) 	Any other deductions, which the Central government may from time to time, allow.

7.2.4.2 	No fines should be imposed on any worker save in respect of such acts and omissions on his part as have been approved of by the Labour Commissioner.

7.2.4.3.	No fine shall be imposed on a worker and no deductions for damage or loss shall be made from his wages until the worker has been given an opportunity of showing cause against such fines or deductions.

7.2.4.4.	Every fine shall be deemed to have been imposed on the day of the act or omission in respect of which it was imposed.

    - LABOUR RECORDS

7.2.5.1	The contractor shall maintain a Register of persons employed on work on contract in from XII of the Central Labour (R&A) Central Rules (97).

7.2.5.2	The contractor shall maintain a Muster Roll register in respect of all workmen employed by him on the work under Contract in from XVI of the CL (R&A) Rules (97).

7.2.5.3	The contractor shall maintain a Wage Register in respect of all workmen employed by him on the work under contract in from XVII of the CL (R&A) rules (97).

7.2.5.4	Register of accident – The contractor shall maintain a register of accident in such form as may be convenient at the work place but the same shall include the following particulars.

a)	Full particulars of the labourers who met the accident

b) 	Rate of wages

c) 	Sex

d) 	Age

e)	Nature of accident and cause of accident

f) 	Time & date of accident

g) 	Date and Time when admitted in Hospital

h) 	Date of discharge from the Hospital

i) 	Period of treatment and result of treatment

- Percentage of loss of earning capacity and disability as assessed by Medical Officer.

k) 	Claim required to be paid under Workmen’s Compensation Act.

l) 	Date of payment of compensation

m) 	Amount paid with details of the person to whom the same was paid

n) 	Authority by whom the compensation was assessed.

o)	Remarks

The BSNL will not pay any compensation to the laborers, contractors or any person deployed by the contractor for execution of the work in case of accident and mishap etc.

7.2.5.5	The contractor shall maintain a Register of Fines in the from XII of the CL(R&A) Rules (97). The contractor shall display in a good condition and in a conspicuous place of work the approved list of acts and omission for which fines can be imposed.

7.2.5.6	The contractor shall maintain a Register of deductions for damage or loss in Form XX of the CL(R&A) Rules (97).

7.2.5.7	The contractor shall maintain a Register of Advances in from XXIII of the CL(R&A) Rules (97).

7.2.5.8	The contractor shall maintain a Register of overtimes in form XXIII of the CL(R&A) Rules (97).

7.2.6 	ATTENDANCE CARD-CUM WAGE SLIP

7.2.6.1 	The contractor shall issue an Attendance card cum wage slip to each workman employed by him.

7.2.6.2	The card shall be valid for each wage period.

7.2.6.3	The contractor shall mark the attendance of each workman on the card twice each day, once at the commencement of the day and again after the rest interval, before he actually starts work.

7.2.6.4	The card shall remain in the possession of the worker during the wage period under reference.

7.2.6.5	The contractor shall complete the wage slip portion on the reverse of the card at least a day prior to the disbursement of wages in respect of the wage period under reference.

7.2.6.6	The contractor shall obtain the signature or thumb of the worker on the wage slip at the time of disbursement of wages and retain the card with him.

7.2.7 	EMPLOYMENT CARD

The contractor shall issue an Employment card in the form XIV of CL(R&A) Central Rules 1971 to each worker within three days of the employment of the worker.

7.2.8 	SERVICE CERTIFICATE

On termination of employment for any reason whatsoever the contractor shall issue to the workman whose services have been terminated, a service certificate in the from XV of the CL(R&A) Central Rules 1971.

7.2.9 	PRESERVATION OF LABOUR RECORDS

The labour records and records of fines and deductions shall be preserved in original for a period of three years from the date of last entries made in them and shall be made available for inspection by the Engineer-In-charge or Labour Officer or any other Officers authorized by the Ministry of Communications in this behalf.

7.3 	POWER OF LABOUR OFFICER TO MAKE INVESTIGATIONS OR ENQUIRY

The labour officer or any person authorized by the Central Government on their behalf shall have power to make enquiries with a view to ascertaining and enforcing due and proper observance of Fair Wage Clauses and provisions of these Regulations. He shall investigate into any complaint regarding the default made by the contractor in regard to such provision.

7.4 	REPORT OF INVESTIGATING OFFICER AND ACTION THEREON

The Labour Officer or other persons authorized as aforesaid shall submit a report of result of the investigation. Or enquiry to the Engineer in-charge including the extent, if any, to which the default has been committed with a note that necessary deductions from the contractor’s bill be made and the wages and other dues be paid to the labourers concerned. The Engineer In-charge shall arrange payments to the labour concerned within 45 days from the receipt of the report from the Labour Officer or the authorized officer as the case may be.

7.5 	INSPECTION OF BOOKS AND SLIPS

The contractor shall allow inspection of all the prescribed labour records to any of the workers or to his agent at a convenient time and place after due notice is received or to the Labour Officer or any person, authorized by the Central Government on his behalf.

7.6 	SUBMISSION OF RETURNS

The contractor shall submit periodical returns as may be specified from time to time.

7.7 	AMENDMENTS

The Central Government may from time to time add to or amend the regulations and on any question as to the application /Interpretation or effect of those regulations.

INSURANCE

8.1 	Without limiting any of his other obligations or liabilities, the contractor shall, at his own expenses, take and keep comprehensive insurance including third party risk for the plant, machinery, men, materials etc. brought to the site and for all the work during the execution. The contractor shall also take out workmen’s compensation insurance as required by law and under take to indemnify and keep indemnified the G.M.T.D., Dhenkanal from and against all manner of claims and demands and losses and damages and cost (including between attorney and client) charges and expenses that may arise in regard the same or that the G.M.T.D., Dhenkanal may suffer or incur with respect to and/or incidental to the same. The contractor shall have to furnish original and / or attested copies as required by the G.M.T.D., Dhenkanal of the policies of insurance taken within 15 days of being called upon to do so together with all premium receipts and other papers related thereto which the G.M.T.D., Dhenkanal may require.

9. 	COMPLIANCE WITH LAWAS AND REGULATION

9.1 	During the performance of the works the contractor shall at his own cost and initiative fully comply with all applicable laws of the land and with any and all applicable by-laws rules, regulations and orders and any other provisions having the force of law made or promulgated or deemed to be made or promulgated by the Government, Governmental agency or department, Municipal board, Government of other regulatory or Authorized body or persons and shall provide all certificates of compliance therewith  as  may  be  required  by such applicable law, by-laws, rules, regulations, orders and / or provisions. The contractor shall assume full responsibility for the payment of all contributions and pay all taxes, as to its employees, servants or agents engaged in the performance of the work specified in the contractor documents. If the contractor shall require any assignee or sub-contractor to sham any portion of the work to be performed hereunder may be assigned, sub-leased or sub-contracted to comply with the provisions of the clause and in this connection the contractor agrees as to undertake to save and hold the G.M.T.D., Dhenkanal harmless and indemnified from and against any/all penalties, actions, suits, losses and damages, claims and demands and costs (inclusive between attorney and client) charges and expenses whatsoever arising out or occasioned, indirectly or directly by failure of the contractor or any assignee or sub-contractor to make full and proper compliance with the said by-laws, rules, regulations, laws and order and provisions as aforesaid.

10. 	TOOLS & PLANTS

The contractor shall provide at his own cost all tools, plants appliances, Implements etc. required for proper execution of works. The contractor shall also supply without charge the requisite number of persons with all means and materials necessary for the purpose of setting out works, counting, weighing, and assisting the measurements for examination at any time and from time to time. The contractor shall be responsible to make all arrangements, at his own cost for the de-watering of trenches before carrying out work. The contractor shall also be responsible to make arrangements at his own cost for water required for carrying of works at sites including curing of CC works. Failing his so doing the same may be provided by the Engineer In-charge at the expense of the contractor and the expenses shall be deducted from any money due to the contractor under the contract or otherwise.

SECTION – VII

SCOPE OF WORK AND JURISDICTION OF CONTRACT

1.	SCOPE OF WORK

1.1 	MAIN CABLE CONSTRUCTION ACTIVITIES : The items of work involved in UG cable construction are as under :

    - Excavation of trench up to a depth such that the top of the cable is 60cm for 5 Pair U.G. Cable and 100 Cm. for higher size (more than 5 Pair) U.G. Cable below the normal ground level according to the construction specification.

The U/G Local Cable laying work includes laying of armoured / unarmoured cables or any other type of cable, including loading and unloading of cables drums on bridges or on other structure, pulling of cables through G. I. Pipes or through any other pipes or tunnel or cable ducts, shifting of cable, fitting pipes for cable beneath road / rails crossing and under the bridges, putting sand and leave the cable ends at a place free from all obstacles to enable to jointing work to be done at a later date. If required by the G.M.T.D., Dhenkanal, the cable should be laid under split pipes and tied with string. Laying of the cable shall also includes extra length kept for jointing but no extra charges for laying the extra length shall be claimed. Second class bricks will be laid lengthwise for only cables of size 200 pairs or more and if more than one cable on the same route / trench is laid then bricks will be laid breadth wise.

Depth of cable trench should be 60cms for laying 5pair cables and should be 100cms for laying 10 pairs and above size cables as per departmental instructions. The cable should be laid in such a manner that there in 5 cm soft soil cushion available under and around the cable. The depth may vary in places where underground pipes and electric mains etc. may come in the way of Cable Trenching, or where specifically required by the BSNL due to other reason for which the following scales of payment shall be applied for digging trenches of lesser depth:

5 Pair U/G Cable (Standard nominal depth =60Cms) :-

| Depth between | Rate applicable as % of approved per meter rates for 60 cms. depth. |
| --- | --- |
| 50 cms. to 59 cms. | Proportionate of approved rates |
| 40 cms. to 49 cms. | 65% of approved rates |
| 30 cms. to 39 cms. | 40% of approved rates |
| 20 cms. to 29 cms. | 20% of approved rates |
| 10 cms. To 19 cms. | NIL ( excluding case of 15cms in Subs Premises/ CC/ Pitch road pavements ) |
| Below 10 cms. | NIL |

10 Pair & above U/G  Cable (Standard nominal depth =100Cms) :-

| Depth between | Rate applicable as % of approved per meter rates for 100 cms. Depth. |
| --- | --- |
| 90 cms. to 99 cms. | Proportionate of approved rates |
| 80 cms. to 89 cms. | 75% of approved rates |
| 70 cms. to 79 cms. | 65% of approved rates |
| 60 cms. to 69 cms. | 50% of approved rates |
| 50 cms. to 59 cms. | 40% of approved rates |
| 40 cms. to 49 cms. | 30% of approved rates |
| 30 cms. to 39 cms. | 20% of approved rates |
| 20 cms. to 29 cms. | Nil |
| Below 10 cms. | Nil |

Variation in the standard depth of trenches (i.e. 60cms  for 5 pairs  cables and 100cms for 10pair and above size cables) is permissible only with the prior approval of the respective AGM. So, wherever there is any variation in the standard depth, specific certificate to the effect should be got endorsed with the relevant bill by the executing authority. Ramming and consolidation of trench will be done in layers after back filling the cable trench for a depth of 15cm i.e. the soil should be rammed for every 25cm of depth. Therefore, for trench of 60cms or 100cms standard nominal depth, consolidation will have to be done minimum 4 stages of back filling and ramming, the depth of cable just before closing the trench should be the same as seen by the BSNL officer of acceptance testing unit. No payment will be made of length, where the cable has been laid at substandard depth without the written prior approval of the concerned AGM. The cable laying at substandard depth except in unavoidable cases, that too with prior specific written permission from AGM is not permissible. However, wherever lesser depths have been permitted in writing by AGM, payment will be made on above mentioned basis.

1.1.2 	Laying and pulling of cables in trenches or through pipes/ducts/walk through trenches

1.1.3 	Placing of full round RCC pipes as per specifications if required.

1.1.4 	Back filling and compacting of the excavated trenches according to construction specifications and removal of excess earth from the site.

1.2 	ALLIED ACTIVITES

    - Transportation of Materials – The materials required for executing the work entrusted to the contractor against a work order shall be made available at concerned Sub-divisional Store Depot. The contractor shall be responsible for transporting the materials, to be supplied by the BSNL or otherwise to execute the work under the contract, to site at his/their own cost. The costs of transportation are subsumed in the standard schedule rates and therefore no separate charges are payable on this account.

    - Disposal of empty cable drums - The contractor shall be responsible to dispose of the empty cable drums after laying of the cables. The cost of various sizes of empty cable drums recoverable from the contractor has been fixed taking into account the prevailing market rats as mentioned in the document.

1.2.2.1 	It shall be obligatory on the part of the contractor to dispose of the empty cable drums at his/their level and the amount fixed for various empty cable drums shall be recovered from the bill for the work for which the drum(s) was/were issued or from any other amount due to the contractor or the security deposit.

1.2.2.2 	The contractor shall not be allowed to dump the empty cable drums in Govt./public place which may cause inconvenience to the BSNL/Public. If the contractor does not dispose of the empty cable drums within 3 days of becoming empty, the BSNL shall be at liberty to dispose of the drums in any manner deemed fit and also recover the amount fixed in this contract from the bill/security deposit/any other amount due to the contractor.

1.2.3 	Supply of Materials : There are some material required to be supplied by the contractor for execution of works under this contract like Bricks, Cement, sand and chips for protection etc. besides using other consumables which do/don’t become the part of the asset. The contractor shall ensure that the materials supplied are of best quality and workmanship and shall be strictly in accordance with the specifications.

2. 	VALUE OF WORK

The estimated cost of work is as mentioned in the Notice Inviting Tender which has been worked out based on standard schedule rates mentioned in this tender document. The actual value of work may vary based on the actual requirement but generally being limited to +/- 25% of the indicated value.

In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the G.M.T.D., Dhenkanal reserves the right to increase up to 50% of the quantum of works specified in the schedule of requirement contained in the running tender /contract within a period of 12months from the earliest date of acceptance of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender.

3. 	JURISDICTION OF CONTRACT

1) The jurisdiction of the contract shall be for zone wise. The telephone exchange areas in different zones shall be as under the jurisdiction of all concerned SDOs in that Zone. If any additional telephone exchange is planned, the same shall be included in the zone in the vicinity of concerned exchange keeping in view the logistics of carrying out the work.

2) The work of particular Zone may be awarded at the discretion of GMTD, Dhenkanal to 2 Bidders at L1 rates of that particular Zone among which the work will be distributed in 70:30 ratio in between L1 & L2 bidders. In case of failure of L1 bidder to execute the work within time frame , the GMTD, Dhenkanal  will be free to increase the ratio of L2 bidder to get the work completed and L1 bidder will not have any objection over the same .

SECTION – VIII

UG CABLE CONSTRUCTION SPECIFICATIONS

The guidelines in the form of Engineering Instructions on Construction Practices of Underground cables are issued by T & D wing of the BSNL, from time to time. However, the present practices are summarized here under, from the point of view of describing scope of work under various items of work.

01. 	General : The underground cables are extensively used in outdoor network of an exchange system. The cables are laid from Telephone Exchange up-to distribution points (DPs). For the purpose of flexibility, pillars are introduced in the network. The primary cables, which are of higher size, are laid from Telephone Exchange to pillars. The distribution cables are laid from pillar to D.P. The capacity of pillars and D.Ps are decided in accordance with the demand and size of the network. The planning of U.G. cable network is guided by the planning guidelines of the BSNL for external plant issued from time to time. The major portion of investment in telecom network goes into construction of UG cable network. Further, the quality of construction of UG cable network decides the quality and reliability of Telecom Services delivered to the customers to a large extent. Therefore, the construction practices of UG cables should be of very high quality, sturdy in accordance with construction specifications.

02.	The works involved : The  5 Pr UG cables and all others sizes of U.G Cables are to be buried  to a depth such that the top of the cable is 60 Centimeter in cases of 5pr U/G Local cable  and 100 cm in cases of 10pairs & above size U/G local cable respectively below the normal ground level. The items of work involved in UG cable laying are as under –

i) 	Excavation of trench up-to a depth such that the top of the cable is 60 Centimeter for 5 pair cable & 100 cm. for 10 pair & above size cables , below the normal ground level according to the construction specifications.

- Laying & pulling of cables in trenches or through pipes/ducts.

- Back filling, and compacting of the excavated trenches according to construction

specifications and removal of excess earth from the site.

iv)	The size of excavation of trench will be 45cm(width at the top of the ground) x 30 Cm. (width at the bottom of the trench) x 100cm (total depth)for cables of 10prs and above and 45cm(width at the top of the ground) x 30cm (width at the bottom of the trench)x 60cms(total depth) for 5 pair cable at all places.

- CONSTRUCTION SPECIFICATIONS

Classification of soil strata : This will include all types of soils – soft soil/hard soil/morrum i.e. any strata, such as sand, gravel, loam, clay, mud, black morrum, shingle, river or nallah bed boulders, soiling of roads, paths, densely pebbles/stones etc. lime concrete, mud concrete and their mixtures which for excavation yields to the application of picks, showels, sacrifiere, ripper and other manual digging implements including chiselling. Resorting to light blasting/electro-mechanical breakers for loosening the materials does not in any way entitle the strata to be classified as rocky.

04.	EXCAVATION OF TRENCHES

a)	Before excavation of trenches the route should be marked for trenching. Care should be taken to see that the route of the trench to excavate is reasonably straight, avoiding the existing underground services. The contractor should take trial pits to locate the underground services before commencement of actual trenching. These trial pits shall be 30 cms. wide, 120 cms. deep and 120 cms. long at right angles to the proposed trench at an interval of 20 to 50 Mtrs. Along the proposed cable route. If a slab is encountered, the same may be removed and trial pits may be made. In city areas, the trench will normally follow the footpath of the road except where it may have to come to the edge of carriage way or cutting across roads with the specific permission from the concerned authorities maintaining the road (such permission shall be obtained by the BSNL). Outside the city limits, the trench will normally follow the boundary of the roadside land. However, where the roadside land is full of burrow pits or a forestation or when the cable have to cross-culverts/bridges or streams, the trench may come closer to the road edge or in some cases, over the embankment or shoulder of the road  (Permission for such deviations for cutting the embankment as well as shoulder of the road shall be obtained by the BSNL). The alignment of the trench will be decided by a responsible BSNL Official, not below the rank of a SDO/SDE. Once the alignment is marked, no deviation from the alignment is permissible except with the approval of Engineer In-charge. While making the alignment only the centerline will be marked and the contractor shall set out all other works to ensure that, the excavated trench is as straight as possible. The contractor shall provide all necessary assistance and labour, at his own cost for marking the alignment. Contractor shall remove all bushes, undergrowth, stumps, rocks and other obstacles to facilitate marking the centre line without any extra charges. It is to be ensured that minimum amount of bushes and shrubs shall be removed to clear the way and the contractor shall give all considerations to the preservation of the trees.

b)	Methods of Excavation In city limits as well as in built up areas, the contractor shall resort to use of manual labour only to ensure that no damage is caused to any underground or surface installations belonging to other public utility services and / or private parties. However, along the Highways and cross country routes, there shall be no objection to the contractor resorting to mechanical means of excavation, provided that no underground installations exist in the path of excavation, if any, are damaged. There shall be no objection to resort to horizontal boring to bore a tube of required size and to push through G.I. pipe through horizontal bore at road crossing or rail crossing or small hillocks etc. In rocky strata, excavation shall be carried out by use of electro mechanical means like breakers, or by blasting wherever permissible with express permission from the competent authority. Necessary barricades, night lamps, warning boards, and required watchman shall be provided by the contractor to prevent any accident to pedestrian or vehicles. While carrying out blasting operations, the contractor shall ensure adequate safety by cautioning the vehicular and other traffic. The contractor shall employ sufficient manpower for this with caution boards, flags, sign writings etc. When trenches are excavated in slopes, uneven ground, inclined portion, the lower edge shall be treated as normal level of the ground for the purpose of measurement of depth of the trench. In certain locations, such as uneven ground, hilly areas and all other places, due to any reason whatsoever it can be ordered to excavate beyond standard depth of 60cms. above the cable to keep the bed of the trench as smooth as possible.

c)	If excavation is not possible of minimum depth of 60cms or 100cms. above the cable, as detailed above, full facts shall be brought to the notice of the Engineer In-charge in writing giving details of location and reason for not being able to excavate the particular portion. Approval shall be granted by the competent authority in writing under genuine circumstances.

d)	The contractor shall be responsible for all necessary arrangements to remove or pump out water from trench. The contractor should survey the soil conditions encountered in the Zone and make his own arrangement about dewatering arrangements that may be necessary. Wherever the soil is hard due to dry weather conditions, if watering is to be done for wetting the soil to make it loose, the same shall be done by the contractor.

e)	Trenching near Culverts/Bridges   :  At bridges and culverts, the cable shall be laid in GI pipe of suitable size with the permission of concerned authorities maintaining the roads/bridges. While carrying out the work on bridges and culverts, adequate arrangements for cautioning the traffic by way of caution boards during day tine and danger lights at night shall be provided. Of late the bridge construction authorities are providing ducts below the footpaths. The concerned SDO/SDE need to maintain good liaison with the concerned authority to  get  one side  of  the  duct

allotted for Telecom cables. In such ducts GI pipes can be coupled and laid for pulling the cables. It would be pertinent to mention here that close liaison with bridge construction authorities would be of immense advantage in ensuring provision of ducts on one or both sides of the bridges as per future requirements. However, for laying cables on existing bridges, where a duct arrangement does not exist, one of the following methods may be adopted.

i) 	Where the cushion on top of the arch of the culvert is 45 cms. or more, the pipe to carry the cable may be buried on the top of the arch adjoining the parapet wall by digging close to the wheel guard. Every precaution shall be taken to see that no damage occurs to the arch of the culvert. After burying the GI pipe, the excavated surface on the arch shall be restored.

ii) 	When the thickness of the cushion is less than 45 cms. the pipe to carry the cable may be buried under the wheel guard masonry. After burring the pipes, wheel guard should be re-built.

iii) 	If neither of the two methods mentioned above is possible, the pipe should be clamped to the outside of the parapet wall of the culvert or bridge with the help of clamps, nails, nuts, bolts, and screws of suitable size to ensure that the pipe is securely fixed. The GI clamps should be of minimum 25 mm width and 3 mm thickness and should be fixed at an interval of 50 cms. If necessary, the pipe should be taken to the parapet walls at the ends where the wall diverges away from the roads. The work should be carried out in consultation with the authorities concerned maintaining the roads and bridges. After laying the GI pipes, the wheel guards or arch may require repairing by concreting at site. For carrying out protection by concreting at site, the nominal dimension of concreting shall be according to the requirements of the site, Cement concrete mixture used shall be of 1:2:4 composition i.e. 1: 53 grade cement of a reputed company, 2: Coarse sand, 4: Graded coarse stone aggregate of 6mm nominal size. As the CC as cast at site, it is imperative to ensure that special care is taken to see that proper curing arrangements are made with adequate supply of water. In case of small bridges and culverts, where there is a likelihood of their subsequent expansion and remodeling, the cable should be laid with some curve on both sides of the culvert or the bridge to make some extra length available for readjustment of the cable at the time of reconstruction of culvert or the bridge.

iv)	Road punching:- where road cutting permission can not be obtained from the competent authority and road cutting is not practicable  the cable will be laid by punching/boring.

v)	After cable is lowered in the trench, soft soil of 10cms thickness is to be provided in the trench.  Then warning bricks are to be laid over the cables.  The warning  bricks are not required to be provided in  case of 5pr/10pr/20pr/50pair  cables  in rural and 5pr/10pr/20pr in plain urban areas.

- In case of loss of cable by theft from open trench made by the contractor, the contractor shall be liable to pay the cost of the cable to the Dhenkanal Telecom District Authority based on the value of the cable stolen.

- Jointing:- The job includes giving assistance for jointing of U.G. Cables, digging pits for jointing, clearing cables, soeldering joints or crimping U.Y. Connector/sleeaves and closing joints by using Thermo shrink canisters and testing.  After completion of jointing, joints is to be buried in the ground placing warning bricks and pit is to be filled up and leveled properly.

Viii)	Construction of pillar plinth construction of RRC plinth with one / two inlets provided for cable leading in arrangement for accommodating pillar as per the BSNL specified diagram (enclosed).  The size of the plinth area will be usually one a half feet above & three feet below the ground level with (5.5’ x 2.5’ / 3.5’ x 2.5’) constructed with 1:2:4 cement, metal, sand, and 6 mm. rods for cabinet and pillar 	fixing plinth.  The work also included erection of pillar, earthling  painting of two coats of red oxide and 2 coats of smoke grey.  Sign writhing and providing a lock.  The BSNL will supply the pillar and cabinet box.  The erection materials including tools and tents etc.  Has to be arranged by the contractor

f)	CLASSIFICATION OF TRENCHES

The trenches have been categorized based on its size required for laying different sizes and number of cables as under

| Sl. No. | Type of trench | Trench size (in Cms) |
| --- | --- | --- |
|  |  | Width at top of trench | Width at bottom of trench | Depth of trench |
| 1 | “A” type for 5 pair cables | 45 | 30 | 60 |
| 2 | “A” type for 10 pair and above size cables | 45 | 30 | 100 |

- The bottom width is mandatory.

- Where more than one cable is being laid in a trench there should be a gap of 5 cms. in between the cables,. No cable should be laid one-over the other.

g)	TRENCHES OF LESS DEPTH

Relaxation and Competent Authorities to Grant Relaxation : The depth of trench is very important for future life of cables. Therefore, the contractor is obligated to ensure that the standard depth is maintained in normal circumstances. However, due to obstructions, if the standard depth cannot be achieved, lower depth up to certain limits are acceptable by the authorities as prescribed below with extra protection as per specifications. The relaxation by the competent authority prescribed below shall be obtained giving reasons for not achieving standard depth.

| Size of cables | Standard depth in cms. | Minimum acceptable depth without relaxation in cm | Powers delegated for relaxation for depth up to the depth in Cms. |
| --- | --- | --- | --- |
|  |  |  | DET | DGM |
| 5 Prs | 60 | 50 | 40 | 20 |
| All sizes of 10 pairs & above | 100 | 90 | 80 | 30 |

05.	LAYING & PULLING OF CABLES

The normal methods used in the BSNL for laying Underground cables is  :

Laying direct in the Ground

After excavation of trenches, approximately 10 cms. thick bed of soft soil (in case the excavated material contains sharp pieces of rock/stones) is laid before directly laying the cable. Adequate care shall be exercised while laying the cables so that the cables are not put to undue tension/pressure as this may adversely affect the electrical characteristics of cables with passage of time.

The cables shall invariably be laid in the trenches through jack and spindle at appropriate position for easy unwinding, putting cable rollers in the trenches, if required at a regular interval of approx. 20 Mtrs. under proper  supervision.

Adequate overlaps shall be left for jointing 2 successive lengths of cables as under –

| Size of cable | Length of overlap |
| --- | --- |
| 5 Pair | 1.0 meter |
| 1200 pairs and above | 1.5 Meter |
| 800 pairs and 1000 Pairs | 1.4 Meter |
| 400 pairs and 600 Pairs | 1.2 Meter |
| Below 400 pairs | 1.0 Meter |

In case the previous length ends in the middle, of a carriage way / footpath / road crossing/bridge/culvert, it should be negotiated out of the carriage way/foot path/road crossing/bridge/culvert by laying the next length early and removing the excess overlap cable and depositing to the stores under proper receipt.

Where more than one cable are laid in the same trench, the jointing locations shall be suitably staggered. When a cable is to be terminated in a pillar, the depth of cable for such termination shall be equal to (Jointing length + height of the pillar). Sharp bends shall be avoided. Bends, if any, the radius of curvature should be more than at least six times the diameter of the cable. After the completion of cable laying soft soil shall be placed over the cable to a height of 10 cms. duly leveled and rammed lightly to form a bedding for laying warning bricks for mechanical protection.

The cables may be required to be pulled through RCC/GI pipes at road crossings, railway crossings, bridges and culverts. Extra care should be taken to avoid damage to the cable while pulling through pipes, which may occur due to kinks. The contractor should have the required tools and equipment for the purpose to complete the job in a professional manner.

When trenches are excavated up to specified depth, properly dressed and leveled and the cable(s) is/are laid, joint measurement of depth above cable shall be taken by representatives of contractor and Engineer In-charge. Measurements shall be recorded in measurement book with their signature. Trenches for which measurements are recorded in measurement book shall be considered as approved trenches.

The contractor shall ensure that trenching and cable laying activities are continuous, without leaving patches or portions incomplete in between. When there are number of cables of the same size in the same trench it becomes difficult to identify the particular cable at time of maintenance. Therefore, identification collars bearing L.I. Number of the cable shall be tagged to all the cables. The identification collars shall be provided at an interval of not more than 2 meters.

06. 	PLACING OF LAYER OF BRICKS : Not Applicable during laying of 5 pr/10 Pr/20 Pr/100Pr Cable. The bricks must be used while laying 200prs size U/G local cable and above.

07. 	BACK FILLING AND COMPACTING OF THE EXCAVATED TRENCHES

After laying the cables and providing warning/protection layer as per specifications, the remaining portion of the trench shall be filled in and well tamped in steps. The trench should be back filled in layers not exceeding 15 cms. each at a time and rammed. The contractor shall remove the excess earth from the site and leave only a crown of earth rising approximately 5 cms. in the center. This allows for natural subsidence. When digging on footpaths along road crossings, care should be taken to see that the road is made motor-able as soon as the work is completed. The permanent reinstatement of roads and pavement shall be done by the local authorities.

The BSNL will supply G. I. Pipes, R.C.C. Pipes and U.G. Cables to the contractor at concerned sub-divisional store depot.

08. 	SAFETY PRECAUTIONS

a) 	Safety precautions where excavating or working in excavations close to electric cables

The Engineer-In-charge of the work should get full information from Electricity Undertaking regarding any electric cables, which are known or suspect to exist near the proposed excavation and unless this is done, excavation should not be carried out in the Zone concerned. The electricity undertaking should be asked to send a representative and work should be preceded with close coordination with them.

Only wooden handled hand tools should be used until the electric cables have been completely exposed. Power cables not laid in conduits are usually protected from above by a cover slab of concrete, brick or stone. They may or may not be protected on the sides. It is safer, therefore, always   to drive the point of the pickaxe downwards then uncovering a cable, so that there is less chance of missing such warning slabs. No workman should be permitted to work alone where there are electric cables involved. At lest one more man should be working near by so that help can be given quickly in case of an accident. If disconnection of power could be arranged in that Zone it will be better. No electric cables shall be moved or altered without the consent of the Electric authority and they should be contacted to do the needful. If an electric cable is damaged even slightly, it should be reported to the Electric authority and any warning bricks disturbed during excavation should be replaced while back filling the trench. Before driving a spike into the ground, the presence of other underground properties should be checked. Information on plans regarding the location of power cables needs not to be assumed as wholly accurate. Full precautions should be taken in the vicinity until the power cable is uncovered. All electric cables should be regarded as being live and consequently dangerous. Any power is generally dangerous, even low voltage proving fatal in several cases.

b) 	ELECTRIC SHOCK-ACTION AND TREATMENT

Free the victim from the contact as quickly as possible. He should be jerked away from the live conductors by dry timber, dry rope or dry clothing. Care should be taken not to touch with bare hands as his body may be energized while in contact. Artificial respiration should begin immediately to restore breathing even if life appears to be extinct. Every moment of delay is serious, so, in the meanwhile, a doctor should be called for.

c) 	SAFETY PRECAUTIONS WHILE WORKING IN PUBLIC STREET AND ALONG RAILWAY LINES

When a road or footpath is to be opened in the course of work, special care should be taken to see that proper protection is provided to prevent any accidents from occurring. Excavation work should be done in such a manner that it will not unduly cause inconvenience to pedestrians or occupants of buildings or obstruct road traffic. Suitable bridges over open trenches should be so planned that these are required for the minimum possible time. Where bridges are constructed to accommodate vehicular traffic and is done near or on railway property, it should be with the full consent and knowledge of the competent railway authorities.

d) 	DANGER FROM FALLING MATERIAL

Care should be taken to see that apparatus, tools or other excavating implements or excavated materials are not left in a dangerous or insecure position so as to fall or be knocked into the trench thereby injuring any workman who may be working inside the trench.

e)	CARE WHEN WORKING IN EXCAVATIONS

Jumping into a trench is dangerous. If it is deep, workmen should be encouraged to lower themselves. Workers should work at safe distance so as to avoid striking each other accidentally with tools. If the walls of the trench contain glass bits, corroded wire or a sharp object they should be removed carefully. If an obstruction is encountered, it should be carefully uncovered and protected if necessary. Care must be taken to see that excavated material is not left in such a position that it is likely to cause any accident or obstruction to a roadway or waterway. If possible the excavated material should be put between the workmen and the traffic without encroaching too much on the road.

f)	DANGER OF CAVE IN

When working in deep trenches in loose soil, timbering up/shoring the sides will prevent soil subsidence. The excavated material should be kept at sufficient distance from the edge of the trench or pit. Vehicles or heavy equipment must not be permitted to approach too close to the excavation. When making tunneled opening, it should be ensured that the soil is compact enough to prevent cave in even under adverse conditions of traffic. Extra care should be taken while excavating near the foundations of buildings or retaining walls. In such cases, excavation should be done gradually and as far as possible in the presence of the owners of the property.

  - PROTECTION OF EXCAVATIONS

Excavations in populated areas, which are not likely to be filled up on the same day should be protected by barriers or other effective means of preventing accidents and the location of all such openings must in any event be indicated by red flags or other suitable warning signs. During the hours from dusk to dawn, adequate number of red warning lamps should be displayed. Supervisory officers should ensure that all excavations are adequately protected in this manner as serious risk and responsibility is involved. Notwithstanding adoption of the above-mentioned precautions, work-involving excavations should be so arranged as to keep the extent of opened ground and the time to open it to a minimum.

  - PRECAUTIONS WHILE WORKING ON ROADS

The period between half an hour after sun set and half an hour before sun-rise, and any period of fog or abnormal darkness may also be considered as night for the purpose of these instructions, for the purpose of providing the warning signs. Excavation liable to cause danger to vehicles or the public must at all times be protected with fencing of rope tied to strong uprights or bamboo poles at a suitable height or by some other effective means. Any such temporary erection which is likely to cause obstructions and which is not readily visible should be marked by posts carrying red flags or boards with a red background by day and by continuously lighted lamps at night.

The flags and lamps should be in conspicuous positions so as to indicate the pedestrians and drivers of vehicles the full expanse, i.e. both width and length of the obstructions. The distance between lamps or between floors should not generally exceed 1.25 mtrs. Along the width and 6 mtrs. Along length of the obstructions in non congested areas, but 4 mtrs. Along the length in congested areas. If the excavation is extensive, sufficient notice to give adequate warning of the danger, should be displayed conspicuously not less than 1.25 mtrs. Above the ground and close to the excavation. Where any excavation is not clearly visible for a distance of 25 mtrs. To traffic approaching from any direction or any part of the carriage way of the road in which the excavation exists, a warning notice should be placed on the kerb or edge of all such roads from which the excavation or as near the distance as is practicable but not less than 10 cms. from the junction of an entering or intersecting road in which the excavation exists. All warning lamps should exhibit a red light, but white lights may be used in addition to facilitate working at nights.

Wherever required a passage for pedestrians with footbridge should be provided. At excavations, cable drums, tools and all materials likely to offer obstructions should be properly folded round and protected. This applies to jointer’s tents as well, leads, hoses etc stretched and across the carriage-way should be guarded adequately for their own protection and also that of the public.

  - TRAFFIC CONTROL

The police authorities are normally responsible for the control of traffic and may require the setting up of traffic controls to reduce the inconvenience occasioned by establishment of a singly line of traffic due to restriction in road width or any other form of obstruction caused by the work. As far as possible, such arrangements should be settled in advance. If there are any specific regulations imposed by the local authorities, these should be followed.

j)	WORKING ALONG RAILWAY LINES

Normally, all works at Railway crossing is to be done under supervision of the railway authorities concerned, but it is to be borne in mind that use of while, red or green flags by the BSNL staff is positively forbidden to be used when working along a railway line as this practice may cause accident through engine drivers mistaking them for railway signals. When working along a double line of railway, the men should be warned to keep a sharp look on both the “UP” and “DOWN” lines to avoid the possibility of any accident when trains pass or happen to cross one another ear the work spot.

SECTION- IX

MATERIAL SECURITY BOND FORM

Where as M/s…………………………………………………………………………………………..

(hereinafter called the “the Contractor”) has been awarded the contract of …………………………….

…………………………………………………………………………………………..as per tender number

……………………………………………………………………………………………KNOW ALL MEN by

these presents that we of M/s…………………………………………………………………………………

having our registered office at ……………………………………………………………………………….

(hereinafter called the “the Contractor) are bound unto Bharat Sanchar Nigam Limited

(hereinafter called “the  BSNL “) in the sum of Rs…………………………..(Rupees……………………

………………………………………………………..) for which payment will and truly to be made of the said BSNL,  the bank binds itself, its successors and assigns by these presents.

THE CONDITIONS of the obligation are:

1.	If the Contractor is unable to keep stores issued to him, properly, i.e. the store provided to the contractor by the BSNL are damaged or

2.	The stores issued to the contractor by the BSNL are stolen or

3.	The contractor is not able to provided proper account of the stores issued to him/her/them by BSNL

We undertake to pay to the BSNL up to the above amount upon receipt of its first written demand without the BSNL  having to substantiate its demand, provided that in its demand, the BSNL  will note that the amount clamed by it is due to it owing to the occurrence of one or two or all of three conditions specifying the occurred condition or conditions.

This guarantee will remain in force upto and including one hundred and eight (180) days after the period of Contract validity, and demand in respect thereof should reach the bank not later than the above date.

Signature of the Contractor						Signature of the Bank

Signature of witness

1) Name & Address

…………………………….

…………………………….

2) Name & Address

…………………………….

…………………………….

SECTION- X

A G R E E M E N T

The successful Tenderer shall have to execute the following Agreement :

This agreement made on the………th day of (month)……….………(Year)………………….. between Sri …………………………………………………………..General Manager, Telecom District, Dhenkanal for and on behalf of Bharat Sanchar Nigam Limited and Sri ………………………………….………………………………..

Son of …………………………………………………..R/o……………………………P.S………….……………….………

Dist. …………………………….for Underground local cable construction works of external plants along with associated works In Dhenkanal SSA. in Zone No…………….(under the AGM  ……………………………………………………………..)

Where as in response to Tender Notice No……………………………………………………………… issued by General Manager, Telecom District, Dhenkanal, Shri ……………………………………………… has been declared as successful Tenderer vide Letter No………………………………………………………………….

Dated ………………………………of General Manager, Telecom District, Dhenkanal for Underground local cable construction works of external plants along with associated works In Dhenkanal SSA. in Zone No…………….(under the AGM  ……………………………………………………………..)

Shri ………………………………………………………….hereby undertakes to carryout the work of  Underground local cable construction works of external plants along with associated works In Dhenkanal SSA. in Zone No……………. (Sub-division…………………………………………………………………..) for a period of one year starting from the date of execution of the agreement at the rate as per the tender finalized in his favour and according to the terms and conditions laid down in the approved tender.

Shri …………………………………………………..also undertakes to carryout the work through out the year at the same approved rate as per Price Schedule and according to the Departmental Standards and up to the satisfaction of the General Manager, Telecom District, Dhenkanal.

Shri ……………………………………………………further undertakes to fully abide by the terms and conditions as stipulated in the Tender Notice No………………………………………………………………………..

Dated …………………………………referred to above and shall make good any loss caused to the Telecom District any other Government Department or Private Body or to the public.

Signature of Contractor				                         General Manager, BSNL

Telecom District, Dhenkanal

Name…………………………………….

Name………………………………………

Address………………………………….	                                          Address…………………………………….

…………………………………...		                                          ……………………………………..

1) Signature of Witness………………….

Name……………………………………….

Address...…………………………………...

………………………………………………..

2) Signature of Witness………………….

Name……………………………………….

Address...…………………………………...

………………………………………………..

SECTION – XI

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number ……………………………………………………………………………..

Subject  : 	Authorization for attending bid opening on ……………………...(date) in the tender of    …………………………………………………………………………………………………………..

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of…………………………………………………………………………………………(bidder) in order of preference given below.

| Order of preference | Name | Specimen Signature |
| --- | --- | --- |
| I) |  |  |
| II) |  |  |
| Alternate Representative |  |  |

Signature of bidder

or

Officer authorized to sign the bid

documents on behalf of the bidder.

No. 1. 	Maximum two representatives will be permitted to attend bid opening. In cases where it is restricted to one, first preference will be allowed. Alternate representative will be permitted when regular representatives are not able to attend.

No. 2 .	Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not recovered.

SECTION – XII

List of the documents to be submitted along with qualifying or Technical bid inside “Second” envelop and cost of bid document and bid security in “First” envelop.

The bidder shall furnish, the (d) and (e) as below inside the first sealed inner envelop and all other documents that is all documents from (a) to (n) except (d) & (e) inside the second sealed inner envelop along with the Technical bid portion of the bid document.  These documents from (a) to (n) must be submitted inside first & Second sealed inner envelops as said above to establish bidder’s eligibility:-

- Self-Attested photo copy of the valid Registration of individual Contractor / Firm.

- Self-Attested Photo copy of PAN Card.

- Self-Attested Photo copy of Experience Certificate as per NIT. (As per Sl. No.  09)

- Cost of Tender/BID Document as per NIT (As per Sl. No.  03)

- EMD(Bid Security) as per NIT for any of the three Zones as per Column No-3 against Sl. No-02 of NIT for either of Zone NO-01, 02 or 03.

- Self-Attested photo Copy of valid EPF Registration Certificate.

- Self-Attested Photo copy of Valid ESI Registration Certificate.

- Self-Attested Photo copy of valid Labour Registration Certificate/Labour license,

- Self-Attested Photo copy of Valid Service Tax Registration Certificate.

- Declaration stating that none of his family members or near relatives are working   in    BSNL. (Proforma to be filled up and submitted along with technical bid  inside second sealed inner envelop as given in section - XIII)

- Tender document(s) must be submitted, in original, duly filled in and signed by tenderer or his authorized representative along with seal and signature on each page. All corrections and overwriting must be initialed with date by the tenderer or his authorized representative.

- Tenderer’s profile duly filled in, as per section-III of the technical bid portion of  tender    document.

- Original “Power of Attorney” in case person other than the tenderer has signed the tender documents must be submitted along with technical bid inside sealed inner envelop number “Second”.

- The tenders submitted by Partnership firms should furnish attested photocopy of “Partnership Deed" duly registered.

Section- XIII

Near relative certificate

PROFORMA FOR NO NEAR REL ATIVES CERTIFICATE IN BSNL

Certificate to be given by the contractor in respect of no near

relative (s) in BSNL of the contractor.

I, …………………………………………………………………………………………..

S/o……………………………………………………………………………………….............resident of ……………………………………………………………………..hereby certify that none of my near relative(s) as defined in the tender document is/are employed any where in BSNL as per details given in tender document. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit, without any prior intimation to me.

Signature of the tenderer with seal

Note :	In case of proprietorship firm, certificate will be given by the proprietor, for partnership firm, certificate will be given by all the partners and in case of Private Ltd. Company, by all the directors of the company.

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT,

DHENKANAL

##### BID DOCUMENT

##### (FINANCIAL)

TENDER FOR

UNDERGROUND CABLE LAYING, UP GRADATION & REHABILITION OF EXTERNAL PLANTS ALONG WITH ASSOCIATED WORKS

IN DHENKANAL SSA

TENDER NO. GC-398/11-12/36,        DATED:- 27.09.2011

ZONE NO(01 or 02 or 03):- ……………….

Section -XIV

SCHEDULE OF RATES FOR U.G. LOCAL CABLE CONSTRUCTION WORKS IN RESPECT OF ANY ZONE OF DHENKANAL SSA.

| Sl | ITEM CODE | ITEM | UNIT | Offered SOR (in Rupees) |
| --- | --- | --- | --- | --- |
| 1A | Excavating trenches of A Type(45 cm width at Top and 30 cm width at Bottom) including backfilling, Compacting (After laying the cable) and removing excess earth from site.( The standard nominal depth of the trench will be 100(One Hundred) cms for U/G Localcable laying of 10 pairs and above size and will be 60 cm for 5 pair size cable) |  |  |
|  | 1A1 | In non-surfaces strata (For U/G Localcable of 10 pairs size and above at 100cm nominal depth) |  |  |
|  | 1A1.1 | All kinds of soils except rocky soil & cement concrete | Per meter | 33.00 |
|  | 1A1.2 | Rocky Soil | Per meter | 60.65 |
|  | 1A1.3 | Cement Concrete | Per meter | 41.56 |
|  | 1A2 | In non-surfaces strata (For U/G Localcable of 5 pairs size at 60cm nominal depth) |  |  |
|  | 1A2.1 | All kinds of soils except rocky soil & cement concrete | Per meter | 19.80 |
|  | 1A2.2 | Rocky Soil | Per meter | 36.39 |
|  | 1A2.3 | Cement Concrete | Per meter | 24.94 |
| 1.1 | 1RCH | Road Crossing through horizotal boring method and inserting 100/150mm dia GI pipe | Per meter | 180.00 |
| 1.2 | 1GIP1&1GIP2 | Laying and fixing of GI pipes on Bridges and Culverts upto 80MM dia GI Pipe | Per meter | 8.01 |
| 1.4 | 1PCC | Providing RCC protection at site reinforced by Weld Mesh | Per cubicmeter | 1829.48 |
|  | 1WLD | Weld Mesh | Per Sq. M | 30.00 |
| 2 | 2PLT | Pulling and laying of cables in Trenches and Pipes including the cost of Transportation Charges for 40 KM lead from SDO store godown including loading and unloading charges for cable of different size per meter |  |  |
|  | 2PLT 1 | up to 50 pairs | Per meter | 2.22 |
|  | 2PLT2 | 100/200 pairs | Per meter | 3.03 |
|  | 2PLT3 | 400 pairs | Per meter | 11.12 |
|  | 2PLT4 | 800 pairs | Per meter | 15.31 |
| 3 | 3WB L1 | ProvidingWarning/Protection Layer by providing & laying longitudinal brick layer for cable sizes of 200 Prs and above. | Per meter | 7.70 |

| Sl | ITEM CODE | ITEM | UNIT | Offered SOR (in Rupees) |
| --- | --- | --- | --- | --- |
| 4 | 4COPP | Construction of Plinth for Pillar |  |  |
|  | 4COPP1 | For pillar up to 1000 pairs | Per Unit | 1821.24 |
|  | 4COPP2 | For pillars above 1000 pairs | Per Unit | 2728.91 |
|  | 4ERP | Erection, Painting and Sign writing of pillars |  |  |
|  | 4ERP1 | For pillar up to 1000 pairs | Per Unit | 267.00 |
|  | 4ERP2 | For pillars above 1000 pairs | Per Unit | 329.30 |
| 5 | 5DP | Erection, Termination, Painting and signwriting of DPs |  |  |
|  | 5DPE | External DPs |  |  |
|  | 5DPE1 | 10Pairs | Per Unit | 184.63 |
|  | 5DPE2 | 20 Pairs | Per Unit | 206.08 |
|  | 5DPN | Internal DPs |  |  |
|  | 5DPN1 | 5/10 Pairs | Per Unit | 150.94 |
|  | 5DPN2 | 20/50 Pairs | Per Unit | 158.42 |
| 6 | 6TRM | Ternmination of Cables in MDF or Pillars | Per 100 Pair | 171.77 |
| 7 | 7JC | Jointing of cables(Straight and Branch) including closing of cable joints by using jointing kits or similar type of Maintenance kits with cost for making jointinting pit of 1mx1mx1m size and end to end testing |  |  |
|  |  | 5 Pair | Per Joint | 33.82 |
|  |  | 10 Pair | Per Joint | 67.64 |
|  |  | 20 Pairs | Per Joint | 135.28 |
|  |  | 50 Pair | Per Joint | 225.00 |
|  |  | 100 Pair | Per Joint | 400.00 |
|  |  | 200 Pair | Per Joint | 480.11 |
|  |  | 400 pairs | Per Joint | 623.21 |
|  |  | For above 400 Pairs size cablesadditional rates payable for each 100 Pairs in Excess | Per 100 Pair | 71.47 |
| The BSNL will supply only Jointing Kits and Connectors.The contractor shall arrange tools and other materials. |

Section-XV

PRICE SCHEDULE

To

The GMTD, Dhenkanal

Dear Sir,

Having examined the tender documents, terms and conditions stipulated therein, specifications of work etc., I ( the under signed) offer to execute the U.G. Local Cable Construction Works in respect of  Zone No: ………………. in Dhenkanal SSA.   in conformity with the said specifications and conditions of contract at the percentage ( Below / At Par / Above)  of all the SOR items as detailed under Section-XIV  of financial bid portion of the bid document :-

In figures.........................................................%.

BELOW

In words...............................................................percent

OR

AT PAR			In words...............................................................percent

OR

ABOVE    		 In figures............................................................%

In words..............................................................percent

If my Bid is accepted, I shall submit the securities as per the conditions mentioned in the bid document.   I agree to abide by this Bid for a period of 180 days and also for further extension of 120 days vide clause No- 10.1 & 10.2 under Section-IV  of the Technical Bid portion of  tender document from the date of opening of the qualifying or Technical bid and it shall remain binding upon us and may be accepted at any time before the expiry of that period.

Date

Signature of the Tenderer((((((((

Name of the Tenderer((((((((

Note:

1)   If the bidder desires to quote below or above the offered schedule of rates as mentioned under Section -XIV, percentage quote is to be mentioned in figures as well as in words in the appropriate blank space provided as above.

2)  In case ,  he is quoting ATPAR with respect to the offered schedule of rates as mentioned under Section -XIV,  the same should be mentioned in words as "ATPAR" in blank space provided against  ATPAR as above.

3)  The bidder should fill-up any of  the Zone No-01 or 02 or 03 for which he is submitting this price schedule in the blank space provided in the above mentioned first para of this price schedule after Zone No.

4)  The Service tax will be paid extra to the contractor as applicable from time to time.

# Text boxes

Passport size

Photograph of the

Tender / authorized Signatory holding

Power of autonomy

AGM(HR & Admn)

O/O GMTD, Telecom District, Dhenkanal

Signature of witness

1) Name & Address

…………………………….

…………………………….

2) Name & Address

…………………………….

…………………………….

1) Signature of Witness………………….

Name……………………………………….

Address...…………………………………...

………………………………………………..

2) Signature of Witness………………….

Name……………………………………….

Address...…………………………………...

………………………………………………..