BHARAT SANCHAR NIGAM LIMITED

(A Govt. of India Enterprise)

O/o The General Manager, Telecom District

Rourkela – 769001.

NIT No: N-53/2011-12/1		 Date: 19-12-2011

BID DOCUMENT

TENDER

FOR

RAPAIRING OF SMPS MODULES

IN

ROURKELA TELECOM DISTRICT

Price Rs.520  /-

CONTENTS

| Part-I | : | NIT |
| --- | --- | --- |
| Part-II | : | General Conditions |
| Part-III | : | Eligibility Conditions |
| Part-IV | : | Special Conditions |
| Part-V | : | Specification of Works. |
| Part-VI | : | Schedule of requirements. |
| Part-VII | : | Price Schedule. |
| Part-VIII | : | Under taking |
| Part-IX | : | Agreement Proforma |

Bharat Sanchar Nigam Limited,

(A Govt. of India Enterprise)

O/o the G M T D, Rourkela

------------------------------------------------------------------------

No: N-53/2011-12/1                                                          Dated:-19-12-2011

Sealed tenders with sealing wax/packing PVC Tape are invited by the General Manager, B.S.N.L., Telecom District, Rourkela from the experienced bonafide registered contractors for.

| Sl No | Name of Work | Cost of T.P. | Estimated cost in Rs. | EMD in Rupees. | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Repairing of SMPS Modules in Rourkela Telecom District | Rs 520/- | 6 Lakhs | 15000 |  |

Tender papers with details can be had from SDE (Estimate), O/o the General Manager, Telecom District, Rourkela on payment of Rs.520/- in shape of cash/ DD in favour of A.O ( Cash) , BSNL, Rourkela on working days between 10.30 hrs to 13.00 hrs from 26-12-2011 to 18-01-2012 on submission of application on plain paper. The tenders with required documents along with EMD should be submitted in sealed cover super scribed “TENDER FOR REPAIRING OF SMPS MODULES IN ROURKELA TELECOM DISTRICT” to be dropped on or before 13.00 hrs on 19-01-2012 in the tender box available in the chamber of AGM (P&A), O/o the GMTD, Rourkela and will be opened on the same day at 16.00 hrs in the presence of tenderers or their representatives who may be present on the spot.

In case of down loading of tender form from Website www.orissa.bsnl.co.in/rourkela, D.D. of Rs.520/- in favor of AO (Cash), BSNL, Rourkela must be enclosed towards cost of application form failing which the bids, submitted will not be considered as eligible.

G.M.T.D., Rourkela

No: N-53/2011-12/1		                                                                                    Dated: 19-12-2011

PART-II

GENERAL CONDITIONS

- DEFINITION;-

- “The bidder” means the Contractor who participates in this tender.

- “The BSNL” means The Bharat Sanchar Nigam Limited/ General Manager, Telecom District, Rourkela.

2.  	BID COST;-

The bidder shall bear all the costs associated with the procurement preparation and submission of bid. The BSNL in no case will be responsible or liable for these costs regardless of the conduct or outcome of the bidding process. The cost of bid form will be Rs. 520/- only.

The bidder is expected to examine all instructions, forms, terms and specifications in the bid documents. Failure to furnish all information required as per the bid documents or submission not substantially responsive to the bid documents in every respect will be at the bidder’s risk and shall result in rejection of the bid.

3.	CLARIFICATION OF BID DOCUMENTS:

A prospective bidder requiring any clarification of bid document shall notify the BSNL in writing or by FAX at the GMTD, Rourkela mailing address indicated in the invitation for bids. Copies of the query (without identifying the source) and clarification by the BSNL shall be sent to all the prospective bidder who have received the bid documents.

- PREPARATION OF BID:

- Documents comprising the bid:   -

The bid prepared by the bidder shall comprise the following documents.

- Documentary evidence in accordance with eligibility conditions as specified in Part-III.

- Bid security.

- A bid form and cost schedule completed in accordance with instructions in this regard.

- BID SECURITY:

a).	The bidder shall furnish a bid security (EMD) for an amount of Rs.15000/- (Rupees Fifteen Thousand) only to be deposited along with the tender paper as per (d) below failing which tender will be declared ineligible for all purpose.

b).	The bid security is required to protect the BSNL against the risk of bidder’s conduct, which would warrant the bid security forfeiture.

c).	The bid security shall be in form of a Bank Draft issued by a scheduled Bank in favour of Accounts Officer(Cash), BSNL, Rourkela.

d).	A bid not secured in accordance with Para - ( a ), ( b )& ( c)  above shall be rejected by the BSNL as non-responsive.

e).	The security of unsuccessful bidder will be discharged/returned as early as possible, after finalization of the tender only.

f)	The successful bidder’s bid security will be converted to performance Security Deposit

6.	PERFORMANCE SECURITY.

- An amount of Rs.15,000/- (Rupees Fifteen Thousand Only) is to be deposited as Performance Security Deposit.

- The proceeds of the performance security shall be payable to the Department as compensation for any loss resulting from the bidder’s failure to complete its obligations under the contract.

- Performance Security to be submitted in the form of Bank Guarantee should be issued by any scheduled Bank/NSC pledged in favour of GMTD, Rourkela for a period of 18 months.

- Performance Security will be discharged after completion of contractor’s performatory obligations under the contract.

- In case of any failure or negligence in the contractual obligations agreed upon by the contract, the BSNL reserves the right to forfeit, either whole or in part of performance security, furnished by the bidder, as compensation.

7.	PERIOD OF VALIDITY:

a).	Bid shall remain valid for 180 days after the date of bid opening. A bid valid for a shorter period shall be rejected by the GMTD, as non-responsive.

b).	In exceptional circumstances, the GMTD may request the bidder’s consent for an extension to the period of bid validity, the request and responses thereto shall be made in writing. A bidder may refuse the request without forfeiting his bid security, a bidder granting the request will not be permitted to modify the bid.

8.	FORMAT AND SIGNING OF BID:

a).	The bid shall be signed by the bidder or a person or persons duly authorised to bind the bidder to the contract. The letter of authorization shall be indicated by written power of attorney accompanying the bid. All pages of the bid shall be signed by the person or persons signing the bid. The bid shall be sealed properly.

b).	The bid shall contain no inter lineation, erasures or over writing except as necessary to correct errors made by the bidder in which case such corrections shall be signed by the person or persons signing the bid.

c) 	Rates should be quoted both in words and figures.

9.	SEALING AND MARKING OF BIDS:

a).	The bidder shall seal the bid with wax/ PVC tape, and mark envelope as “Tender for Repairing of SMPS Modules in Rourkela SSA”. The cover shall indicate the name and address of the bidder and addressed to GMTD, Rourkela-769 001.

- Tenders shall either be sent by registered post or delivered in person. The responsibility for ensuring that tenders are delivered in time would rest with the bidder.

- Bids delivered in person shall be dropped in the tender box before the expiry of deadline.

b).	If the envelope is not sealed and marked as required, the department shall not accept the bid.

10.	SUBMISSION OF BIDS:

a).	Bid must be received by the department at the address specified above not later than 13.00 hrs. on due date..

b).	The department may , at its discretion, extend this deadline for the submission of bids by corrigendum’s issued in which case  bidder’s previous submission if any will be taken into consideration.

11.	LATE BIDS:

Any bid received by the department after the deadline for submission of bids prescribed by the

Department shall be rejected and returned unopened to the bidder.

12.	OPENING OF BIDS BY THE BSNL:

a).	The BSNL shall open bids in the presence of bidder or his authorised representatives who choose to attend  on due date . The bidder’s representatives who are present shall sign an attendance register. Authority letter to this effect shall be submitted by the bidder before they are allowed to participate in bid opening.

b).	A maximum of two representative for any bidder shall be authorised and permitted to attend the bid opening.

13.	CLARIFICATION OF BIDS:

To assist in the examination, evaluation and comparing the bids, the BSNL may, at its Discretion ask the bidder for the clarification of its bid. The request for clarification and the response shall be in writing. However no post bid clarification at the initiative of the bidder shall be entertained.

14.	PRELIMINARY EVALUATION:

a).	BSNL shall evaluate the bids to determine whether they are complete, whether any computational errors have been made , whether required documents have been furnished , whether the documents have been properly signed and whether the bids are generally in order.

b).	Arithmetical errors shall be rectified on the following basis. If there is a discrepancy between words and figures, the amount in words shall prevail. If there is discrepancy between unit price and total price unit price will prevail. If the bidder does not accept the correction of the error, his bid shall be rejected.

c).	Prior to the detailed evaluation, the department will determine the substantial responsiveness of each bid i.e. one which confirms to all the terms and conditions of the bid. The department’s determination of bid’s responsiveness will be based on the contents of the bid itself without recourse to extrinsic evidence.

d).	A bid determined as substantially non-responsive will be rejected by the department and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

15.	CONTACTING THE BSNL:

a).	No bidder shall try to influence the department on any mater relating to its bid , from the time of the bid opening till the contract is awarded.

b).	Any effort by a bidder to influence the BSNL in the bid evaluation, bid comparison or contract award decisions shall result in the rejection of the bid.

16.	AWARD OF CONTRACT:

The BSNL shall consider issue of L.O.I on those bidders whose offers have been found technically and financially acceptable.

17.	BSNL’S RIGHTS TO VARY QUANTITIES AT THE TIME  OF AWARD:

The BSNL reserves the right at the time of award of contract to increase or decrease the quantity as per requirements without any change in terms and conditions. Normally this increase/decrease will be limited to ( 25%.

18.		BSNL’S RIGHT TO ACCEPT ANY BID AND REJECT ANY OR ALL BIDS:

a).	The BSNL reserves the right to accept or reject any bid , and to annul the biding process and reject all bids , at any time prior to award of contract without assigning any reason whatsoever, and without thereby incurring any liability to the effected bidder or bidders.

b).	Conditional bid will be rejected.

19.	SIGNING OF CONTRACT:

The Contract shall be signed by the Contractor as well as BSNL.

20.	ANNULMENT OF AWARD:

Failure of the successful bidder to sign the agreement shall constitute sufficient ground for the annulment of the award and forfeiture of the bid security in which event the department may make the award to any other bidder at the discretion of the BSNL or call for new bid.

21.	VALIDITY OF CONTRACT:

  - The tender can be extended for upto six months on the same rates and same terms and conditions at the discretion of competent authority. It will be mandatory for the contractor to continue the contracted works for extended period.

  - In exceptional cases competent authority may decide to extend the period of contract for further six months on the same rates and on the same terms and conditions on mutual agreement.

22. 	The bidder should give a certificate that none of his/her near relative is working in the units where he/she is going to apply for the tender. In case of proprietorship firm certificate will be given by the proprietor. For the partnership firm certificate will be given by all the partners and in case of limited company by all the directors of the company excluding Govt. of India/Financial Institutions nominees and independent non official part time directors appointed by Govt. of India or the Governor of state. Due to any breach of these conditions by the company or firm or any other person the tender will be cancelled and security will be forfeited at any stage whenever it is noticed and BSNL will not pay any damage to the company or the firm or the concerned person. The company or firm or the person can also be debarred for further participation in the concerned unit.

The near relatives for this purpose are defined as:

  - Members of a Hindu undivided family.

  - They are Husband and wife.

  - The one is related to the other in the manner as Father. Mother, Son (s) and Son’s wife (Daughter in law), Daughter(s) and Daughter’s Husband (son-in-law), Brother(s) and Brother’s wife, Sister(s) and Sister’s Husband (Brother-in-law)

23. 	ARBITRATION:

23. 1. In the event of any question, dispute or difference arising under this agreement or in connection there with except as to matter the decision of which is specifically provided under this agreement the same shall be referred to sole arbitration of the CGM, Orissa Telecom, Bhubaneswar or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the officer for the time being entrusted the function of the CGM, Orissa Telecom, Bhubaneswar or by whatever designation such officer may be called (hear after referred to as the said officer) and if the CGM, Orissa Telecom, Bhubaneswar or the said officer is unable or unwilling to act as such the sole arbitration to some other person appointed by the CGM, Orissa Telecom, Bhubaneswar or the said office. The agreement to appoint an arbitrator will be in accordance with the arbitration and conciliation Act, 1996. There will be no objection to any such appointment that the arbitrator is Govt. Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Govt. Servant he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such CGM, Orissa Telecom, Bhubaneswar or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessor.

23.2 The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to afore said arbitration and conciliation Act. 1996 and the rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

23.3 The venue of the arbitration proceeding shall be the Office of the CGM, Orissa Telecom Bhubaneswar or such other places as the arbitrator may decide.

24. The Contractor shall comply with all provisions of the “Payment of wages Act” 1936, minimum wages Act 1948, Employees liability act 1938, Workmen compensation act 1923, Industrial Disputes act 1970 or the modifications thereof or any other laws relating thereto and the rules made there under from time to time. The contractor shall indemnify BSNL against payments to be made for the observance of the laws aforesaid. The tenderer is required to have the valid labour license from the competent authority where ever applicable.

25. All the materials supplied to the tenderer are always the sole property of the BSNL even when they are under the safe custody of the tenderer. Any damage or loss is to be made good by the contractor on actual cost basis.

26. Compensation under the workmen’s compensation act:

The contractor shall be responsible for & shall pay any compensation to his Workmen payable under the workmen’s compensation Act, 1992 for injuries caused to the workmen. If such compensation is paid by department as a principal employer under section (1) of the section 12 of the said act, such compensation will be recovered from the security deposit or any amount due to the contractor on any account or otherwise.

27.  Payment Terms: -

a) 	On execution of the work on daily basis, the contractor will prepare a work book for due certification by the concerned JTO/SDOs/SDEs. On monthly basis or on completion of work order, the contractor should submit the bill in triplicate with Xerox copy of workbook duly certified by the concerned SDE/SDO/AO & countersigned by concerned DEs for onward transmission to Sr.GMTD office for payment. 100% payment will be made after successful completion of works.

b) The contractors bill may be paid through ECS as and when required by BSNL authority.

c) While preferring bills for payment, the contractor must mention the Service Tax Registration No. on the bill and claim Service Tax as applicable for payment in addition to bill amount.

28. 	EPF CLAUSE:

a)  The bidder / contractors must have EPF registration number issued by competent authority whenever applicable. The contractor must fulfill / comply with the provisions of EPF & miscellaneous. Provisions Act 1952 and Employees’ Provident Fund scheme 1952 in respect of labours / employees engaged by them for performing the work of BSNL.

b). Each claim bill of contractor must accompany the :-

1. List showing the details of lobourers / employees engaged

2. Duration of their engagement.

3. The amount of wages paid to such labourers/ employees for the duration in question.

4. Amount of EPF contributions (both employer’s and employees contribution) for the

duration of engagement in question, paid to the EPF authorities.

5. Copies of authenticated documents of payments of such contribution to EPF authorities.

6. A declaration from the contractors regarding compliance of the condition of EPF Act. 1952.

7. Any claim/ lapse/failure on the part of the contractor if communicated by EPF authorities to

BSNL , the same shall be recovered from / passed on to the contractor concerned for execution.

29.		Implementation of the following points related to contract labourers engaged in BSNL Rourkela SSA has to be ensured –

1)	Muster roll has to be maintained by the contractors in respect of contract labourers engaged by them.

2)	The payment of contact labourers by the contractor is to be carried out as per the rate approved by the state Govt. from time to time.

3)	The contract labourers engaged by the contractors may be covered under ESI and EPF scheme by the contractor himself as per rules.

4)	The contractor will issue employment cards of engaged contract labourers.

30.	BSNL reserves the right to terminate the contract by giving one month notice without assigning any reasons.

31.	BSNL reserves the right to relax one or more conditions of the tender document if exigencies of service so demand without any material/financial effect on the overall tender.

32.	SCOPE OF WORK    :

- On receipt of the order, the successful tenderer has to start the work and the same should be completed as specified in the order.

- The transportation charges for all purposes shall be borne by the tenderers.

- The work will be done within specified time from the date of issue of order, a penalty of 1% of value of work delayed per week or part thereof will be levied thereafter.

- Payment will be made by the GMTD, Rourkela against the bills preferred by the tenderers after the successful completion of work is done.

- Inspection and Testing will be conducted by The GMTD or his representative.

- Work Order issued under the signature of GMTD, Rourkela or any Officer authorized by him only will be valid.

GENERAL MANAGER

TELECOM DISTRICT

ROURKELA

PART-III

ELIGIBILITY CONDITIONS

The Contractor must submit the self attested Photo Copies of following documents alongwith the bid form –

1)	Experience Certificate for similar work in BSNL issued by an officer not below the rank of Gr-‘A’ Officer/Experience Certificate issued by Competent Authority from any PSUs or Private Company.

2)	Recent Bank solvency certificate of one lac. from any Nationalized Bank.

3)	Valid registration certificate.

4)	The Tenderer should have valid Service Tax Regd. No. /Proof of application for Service Tax Registration.

5)	Xerox Copy of PAN Card.

Note: In case any of the documents is found missing the bid will be declared ineligible and will not be considered for evaluation.

PART-IV

SPECIFIC CONDITIONS

- These conditions will supplement the general conditions of contract and if any contradiction with general conditions is found then the specific conditions will prevail.

- Tenderers bidders for work should have appropriate resources, necessary expertise, requisite manpower, proper co-ordination and supervisory ability to undertake the work.

- Tenderers must physically visit well in advance the different work places taking due permission from the concerned DET/SDE/JTO in order to make detail survey to access the type of Power Plant Modules, manpower required and the correctly bid their offer taking all factors in to consideration.

- Some or all items of work will also be required to be performed on Sunday and Holiday.

- The items of work mentioned in the tender is only illustrative and not exhaustive.

- The contractor should furnish its personal information and should always be available for contacting to assign works.

- The contractor has to issue the identity cards to the workers for entry into the respective exchange premises.

- Penalty of 1% of the bill amount will be imposed in case of any irregularities pointed by the officer in charge. The decision of GMTD, Rourkela in this regard is final.

- Work will be carried out within 24 hours after getting the telephonic information from the Competent Authority.

- The repairing work will be done at different locations of Rourkela SSA at his own transporting cost.

PART-V

SPECIFICATION OF WORKS

WORK COMMENCEMENT & SUPERVISION

- The work will be awarded to the contractor through issue of work order. The work order will be issued by the G.M.T.D, Rourkela or his authorised representative or SDO/SDE of field offices to carry out repair work within a specified time.

- The time allowed is the essence of the contract on the part of the contractor and the work should be completed in all respects within the time as indicated in the work order. In event of quality of repair work being found low, the District Authority reserves the right to terminate the contract. Thereafter, the District Authority will be free to get the work done through any alternate agency to be decided by it. Any excess amount required to be paid to the alternate agency to carry out the work have to be borne by the defaulting contractor.

- Also in case the contractor fails to undertake and complete the work in specified time, the District Authority will have right to award the work to any other alternative contractor. The difference in cost of work will be payable by the defaulting contractor. In addition, his security deposit, shall be forfeited.

- After completion of the work, the work carried out by the contractor shall be checked by the supervisory officer nominated by the District Authority.

- The bill has to be submitted within 30(thirty) days of completion of the work. The work must be completed within the stipulated period as specified in the work order.

- In respect of the work not complying the above standard the District Authority reserves the right to either allow proportionate rate or disallow the entire claim.

- If the contractor fails to complete the work within the stipulated time, improper and bad workmanship noticed in the work, penalty or recovery as per agreement would be imposed. Liquidity damages such that imposed shall be recovered form the running bill/final bill/SD as per the various clauses of the conditions of contract. Therefore, the contractors, who are confident of completing the works in schedule time period, are only eligible to participate in the tender.

- The contractor shall undertake the repair of Modules/Invertors at the site of the BSNL. The components required and to be used for such repair shall be procured and stocked by the contractor at his own cost.

- The contractor shall not be allowed to use any unconventional hard ware component other than those approved by the BSNL and passed by the Quality Assurance Authority.

- No repair in any case shall be carried out by taken out components of the faulty Modules or cannibalizing the other Modules.

- The decision of the DE / SDO / SDE in charge of the exchange concerned shall be final on the functional acceptability of the repaired Modules. In case a Module received from the contractor after repair is found to be unattended / un-repaired and so intimated to the contractor within two weeks time of receipt, the same shall be repaired free of charge and the counting of time of repair will be reckoned from original receipt of the Modules by the contractor for repair. Other provisions applicable as per Clause-J-8, J-9 and J-10.

- The contractor shall not refuse to repair Modules on the plea of the obsolescence or unavailability of spares.

- Warranty Period – The warranty period for repaired Modules shall be 90 days from the date of receipt of repaired card by the SDOs /SDEs. If the same Module under warranty period goes faulty, the contractor shall carry out the repair of the Module free of charge unless it is burnt.

- Penalty : In case a Module is damaged by the contractor, an OK tested Module shall be replaced by the contractor free of cost or a compensation equivalent to the actual current price of the Module shall be payable by the contractor to the District Authority. This will be adjusted in the next bill and the contractor will not have any objection to this.

- If due to change of hard ware version the code number of Module is changed by manufacturer, then also the contractor shall repair the modules of the old version and clause J.15 will be applicable for refusal of repairing that module.

- Incase the contractor refuses to repair any module on the plea of obsolescence of spares, an OK tested Modules shall be replaced by the contractor free of cost or an amount of equivalent to actual current price of the module shall be payable by the contractor of the District Authority. This will be adjusted in the next bill and contractor will not have any objection to this.

- If performance of the contractor shall be considered as poor, if consecutively for two months or more, 15% or more nos. of Modules made over to the contractor for the SSA the contractor shall liable to pay amount of Rs.50/- per week per Modules up to a period of 4 weeks delay and there after Rs.100/- per week per module up to next 4 weeks delay. Although beyond 8 weeks delay, BSNL will have the right to get a new Module of that type or current cost of the new Module from the contractor for consistent poor performance. In case of emergency and critical problem in the exchange, the penalty will be levied for a maximum period of one week only, after which District Authority will have the right to terminate the contract and forfeit the performance guarantee. The decision regarding critical problem or emergency will be of SSA head, which shall be final and binding on contractor.

- The head of the SSA shall have the option to reallocate the job of module repair, which has been identified for poor performance, to other contractor.

- Failure on the part of contractor to comply with any of the clauses of the contract shall constitute to be sufficient ground for termination of contract and the District Authority shall have right to forfeit the performance securities submitted to District Authority at the time of signing of the agreement.

- Any sum of money due and payable to the contractor including security deposit if any refundable to him under this contract, it may be appropriated by the BSNL and set off the same against any claim of the BSNL for payment of a sum of money arising out of this contract or under any other contract made by the contractor with BSNL.

PART – VI

SCHEDULE OF REQUIREMENT

| Sl. No. | Description of Items | No. of Modules to be repaired (Approx.) | Remarks |
| --- | --- | --- | --- |
| 1. | 50 Amps SMPS Modules | 20 Nos. |  |
| 2. | 100 Amps SMPS Modules (ITI) | 110 Nos. |  |
| 3. | 100 Amps SMPS Modules (ITI Digital) | 40 Nos. |  |
| 4. | 50 Amps SMPS Modules (ADOR) | 20 Nos. |  |
| 5. | 100 Amps SMPS Modules (ADOR) | 60 Nos. |  |
| 6. | 100 Amps SMPS Modules (Amarraja) | 20 Nos. |  |
| 7. | 100 Amps SMPS Modules (Exicom) | 40 Nos. |  |
| 8. | 100 Amps SMPS Modules (HBL) | 40 Nos. |  |
| 9. | 100 Amps SMPS Modules (XL Telecom) | 20 Nos. |  |
| 10. | 1 KVA Inverter | 10 Nos. |  |
| 11. | 2 KVA Inverter | 10 Nos. |  |
| 12. | 3 KVA Inverter | 10 Nos. |  |

Note: The quantities shown are approximate and can be increased/decreased as per actual requirement.

PART-VII

PRICE SCHEDULE

Financial Bid/Rate Chart (Rates to be quoted inclusive all taxes but excluding Service Tax)

| Sl. No. | Description of Items | Repairing Cost / Unit |
| --- | --- | --- |
|  |  | In Figure | In Word |
| 1. | 100 Amp SMPS Module (ITI) |  |  |
| 2. | 100 Amp SMPS Module (ITI-Digital) |  |  |
| 3. | 50 Amp SMPS Module (ADOR) |  |  |
| 4. | 100 Amp SMPS Module (ADOR) |  |  |
| 5. | 100 Amp SMPS Module (XL Telecom) |  |  |
| 6. | 100 Amp SMPS Module (Amarraja) |  |  |
| 7. | 100 Amp SMPS Module (Exicom) |  |  |
| 8. | 100 Amp SMPS Module (HBL) |  |  |
| 9. | 1 KVA Inverter |  |  |
| 10. | 2 KVA Inverter |  |  |
| 11. | 3 KVA Inverter |  |  |

The L-1 will be decided on total cost basis.

Place								     Signature of the Bidder/ Tenderer

Date:

PART-VIII

UNDERTAKING

(To be submitted by the bidder along with the bid)

“I __________________________________________________________________________

S/O ______________________________________________________________________________

Resident of ________________________________________________________________________

Hereby certify that none of my relative(s) as defined in the tender document is/are employed in BSNL unit as per details in tender document. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me”.

Date: _____________

Signature of Bidder

With Seal

PART-IX

AGREEMENT FORM

An agreement is entered in between M/s __________________________________________  as one part  & the General Manager, Telecom District, Rourkela the 2nd part on behalf of BSNL on this  ____________ day of ________ in Rourkela Telecom District.

Whereas in response to the tender notice no._______________________________

date ________________________ issued by the General Manager, Telecom District, Rourkela . M/s ______________________________ has been declared successful tenderer in Rourkela Telecom District.

M/s__________________________ hereby undertake to Comply to the terms and conditions laid down in the bid document.

M/s__________________________ further undertake to fully abide by the terms and conditions as stipulated in the bid notice no. _________________________ dated _____________.

Signature of Manufacturer / Dealer                                                For General Manager

/Owner of Firm					         Telecom District, Rourkela

Name :						Name :

Address :					Address :

Witness-1 :					Witness-2 :

Name :						Name :

Address :					Address  :

# Text boxes

O/o The General Manager

Rourkela Telecom District

Door Sanchar Bhawan

Rourkela