BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT

### DHENKANAL – 759 001

TECHNICAL BID

TENDER FOR RESTORATION OF FAULTS / DAMAGES IN OFC ROUTES

IN THE TERRITORY OF DHENKANAL TELECOM DISTRICT

NO. D-286/OFC -X /2006-2007/04,     DATED 07/10/2006

FORM NO.

| ISSUED TO Name & Address of the Contractor | Signature with seal of the issuing Authority and date of issue |
| --- | --- |

CONTENT

| SECTION | DESCRIPTION | PAGE NO. |
| --- | --- | --- |
| TECHNICAL BID |
| I | NOTICE INVITING TENDER |  | 3 |
| II | BID FORM |  | 4 |
| III | TENDERER’S PROFILE |  | 5-6 |
| IV | INSTRUCTION TO BIDDERS |  | 7-8 |
| V | TERMS AND CONDITIONS OF TENDER |  | 9-19 |
| VI | CONSTRUCTION SPECIFICATION & JOB DESCRIPTION |  | 20-25 |
| VII | SPECIAL CONDITION OF CONTRACT |  | 26 |
| VIII | UNDERTAKING AND DECLARATION |  | 27 |
| IX | AGREEMENT FORMAT |  | 28 |
| X | LETTER OF AUTHORISATION FOR ATTENDING BID OPENING |  | 29 |
| XI | NO NEAR RELATIVE CERTIFICATE IN BSNL |  | 30 |
| FINANCIAL BID |
| XII | PRICE SCHEDULE |  | 31-33 |

NO. D-286/OFC X/2006-2007/04                   			DHENKANAL DATED 07/10/2006

# SECTION-I

# NOTICE INVITING TENDER

Sealed tenders (Packing PVC Tape/Sealing Wax) are invited for and on behalf of BHARAT SANCHAR NIGAM LIMITED by the General Manager, Telecom District, Dhenkanal for the work of Restoration of faults / damages in OFC Routes in the territory of Dhenkanal Telecom District from the bonafide, experienced contractors having experience in restoration of OFC Routes or OFC Laying & Pulling

| 01. | Name of work | : | Restoration of faults/damages in OFC Routes in the territory of Dhenkanal Telecom District. |
| --- | --- | --- | --- |
| 02. | Tentative length of work | : | Enclosed |
| 03. | Cost of Bid document (Non refundable) | : | Rs.520/- |
| 04. | Tentative cost of tender | : | i) Zone – (I)=Rs. 3,15,000/- ii)Zone - (ii)=Rs. 3,60,000/- |
| 05. | E.M.D. | : | i) Zone – (I)=Rs. 8,000/- ii)Zone - (ii)=Rs 9,000/- |
| 06. | Mode of deposit for both Tender Paper and EMD. |  | Cash/D.D./B.C./P.O.drawn in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal payable at Dhenkanal. |
| 07. | Tender papers can be had from | : | SDE (Plg), 2nd Floor, O/o. G.M.T.D., Dhenkanal |
| 08. | Period of issue of Bid documents | : | All working days between 11.00 hours to 16.00 From 07/10/.2006 to 27/10/2006 |
| 09. | Time and Last date of submission of bid document | : | Up to 13.00 hours of 28/10/.2006 |
| 10. | Time and date of opening of bid document | : | At 15.00 Hrs of dt 28/10/.2006. If the date is declared as holiday the opening date will automatically extended to next working day. |
| 11. | Criteria for issue of Tender paper | : | On production of : |
|  |  |  | A | Copy of valid Contractor Licence. |
|  |  |  | B | Copy of valid VATCC |
|  |  |  | C | Copy of PAN card |
|  |  |  | D | Copy of valid Labour Licence. |
|  |  |  | E | Copy of Experience Certificate of OFC Routes or OFC laying & pulling Work in BSNL with proof of billed amount of Rs.50,000/- issued by T.D.M./Dy.G.M. of BSNL along with performance certificate in last three consecutive years. |
|  |  |  | F | Cost of Tender paper in Cash/D.D./B.C./P.O. drawn in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal payable at Dhenkanal |
| 12. | Rejection of Tender | : | Unsealed, late receipt, incomplete tender, ambiguous and conditional tender will be rejected |
| 13. | Down loaded Tender form | : | Down loaded from website must contain addition D.D of Rs 520/- as cost of tender form. |

The G.M.T.D., Dhenkanal reserves the right to accept or reject any or all the tenders without assigning any reason what so ever and is not bound to accept the lowest tender. For more details please visit www.orissa.bsnl.co.in

SECTION – II

BID FORM

TENDER NO. D-286/OFC -X /2006-2007/04,     DATED 07/10/.2006

To,

The General Manager, BSNL,

Telecom District, DHENKANAL

Dear Sir,

Having examined the conditions of contract and specifications including addenda of NIT No…………………………………………………………………………………the receipt of which is hereby duly acknowledged. We undersigned, offer to execute the work of Restoration of faults / damages in OFC routes in the territory of Dhenkanal Telecom District in conformity with conditions of contract and specifications as may be ascertained in accordance with the schedule of prices attached herewith and made part of the bid.

We undertake, if our bid is accepted, we will execute the work in accordance with specifications, time limits and terms and conditions stipulated in the tender document.

If our bid is accepted, we shall submit the performance securities as per the conditions mentioned in the contract.

We agree to abide by this bid for a period of 180 days from the date fixed for bid opening (qualifying bid) and it shall be remain binding upon us and may be accepted at any time before the expiry of that period.

Until a formal agreement is prepared and executed, the bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

Bid submitted by us is properly sealed (Packing PVC tape / sealing wax) and prepared so as to prevent any subsequent alteration and replacement.

Dated ………………………………….

Signature of Authorized Signatory…………………………………………….

In capacity of ………………………………………………………………………

Duly authorized to sign the bid for

and on behalf of ……………………………………………………………………

Witness ……………………………….

Address ………………………………

Signature …………………………….

SECTION – III

TENDERER’ S PROFILE

1.	Name of the tenderer /firm …………………………………………………………………………..

2.	Name of the person submitting the tender whose photograph is affixed

Shri / Smt ………………………………………………………………………………………………..

(In case of proprietary /Partnership firms, the tender has to be signed by proprietor/partner only, as the case may be)

3. 	Address of the firm …………………………………………………………………………………….

………………………………………………………………………………………………………………

4. 	Telephonic address …………………………………………………………………………………….

………………………………………………………………………………………………………………

5. 	Tel. Nos. with STD code (O) ……………………(Fax)………………………(R) ………………….

6. 	Registration & incorporation particulars of the firm :

i) 	Proprietorship

ii)	Partnership

iii)	Private Limited

iv) 	Public Limited

(Please attach attested copies of documents of registration/incorporation of your firm with the competent authority as required by business law)

7. 	Name of Proprietor/ Partner / Directors ………………………………………………………….

………………………………………………………………………………………………………………

8. 	Contractor’s Licence details :

a) Number …………………………………………………………

b) Issuing Telecom Circle ………………………………………

c) Issued on ………………………………………………………

d) Valid up to ……………………………………………………..

9.  	Tenderer’s bank, its address and his current account number ……………………………..

………………………………………………………………………………………………………………

10. 	Permanent Account Number, Income tax circle …………………………………………………

(Please attach a copy of last income tax return)

11. 	Infrastructural Capabilities

a)  Capacity of trenching per day (in meters) …………………………………………………….

b)  Capacity of cable laying per day (in meters) ………………………………………………….

c)   Capacity of pulling cable through duct per day (in meters) ……………………………..

d)   Capacity of engaging mazdoors per day ……………………………………………………...

e) 	Particulars of vehicles available with the tenderer Type of vehicle(s) Registration Number.

| Type of vehicle (s) | Registration No. |
| --- | --- |

f) 	Particulars of other machines possessed by the contractor, which can help in trenching, cable laying and cable pulling. ………………………………………………………..

………………………………………………………………………………………………………………

12.	Details of Technical & Supervisory staff :

I / We hereby declare that the information furnished above is true and correct.

Place :

Date  :

Signature of tenderer/Authorised signatory ……………………………………………

Name of the tenderer …………………………………………………………………………

Seal of the tenderer

SECTION – IV

INSTRUCTION TO BIDDERS

1. 	DEFINITIONS

a)	BSNL	           : 	BSNL means Bharat Sanchar Nigam Limited

(A Government of India Enterprise)

b)  Department : The department means the Department of Telecommunications /Department of Telecom Services or any other Department under the Ministry of Communications, which invites the tenders on behalf of the President of India. All references of :

Department

Chief General Manager

Principal General Manager

General Manager

Deputy General Manager / Area Manager / Director / TDM

Divisional Engineer

Sub Divisional Engineer

Junior Telecom Officer

Chief Accounts Officer

Accounts Officer

Assistant Accounts Officer

Junior Telecom Officer

Including other officers in the department, whatever designation assigned to them from time to time, who may be the In-charge of direction, supervision, testing, acceptance and maintenance including their successor(s) in the office appearing in various clauses shall be taken to mean the Department of Telecommunications under the Ministry of Communications, Government of India.

c)	The SSA Head: Means The General Manager Telecom DHENKANAL and his successors.

d)	The jurisdiction of the SSA Head : 	The jurisdiction of the General Manager

Telecom means the DHENKANAL Telecom District, which coincides geographically with Angul  & Dhenkanal District.

e)	Representative of the SSA Head  :	Representative of General Manager Telecom

means Officer and staff for the time being deputed by the General Manager Telecom for inspecting or supervising the work or testing etc.

f)	Engineer-In-Charge : The Engineer - In-Charge means the Engineering Officer nominated by the BSNL to supervise the work, under the contract. (Minimum Divisional Engineer level Officer).

g)	Site Engineer : Site Engineer shall mean an SDE/SDO of the BSNL who may be placed by the General Manager Telecom, DHENKANAL, as in-charge of the work at site at any particular period of time.

h)	A/T Unit : A/T unit shall be mean Acceptance and Testing unit of the BSNL.

i)	A/T Officer : An Officer authorized by the General Manager Telecom DHENKANAL to conduct A/T.

j)	Contract : The term contract means the document forming the tender and acceptance thereof and the formal agreement executed between the competent authority on behalf of the BSNL and the contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions issued from time to time, by the engineer in-charge and all these documents taken together shall be deemed to form one contract and shall be complementary to one another. In the contract, the following expressions shall, unless the context otherwise requires, have the meanings, hereby respectively assigned to them. The expression works or work shall unless there be something either in the subject or context repugnant to such construction, be construed and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original, altered, substituted or additional.

k)	Contractor : The contractor shall mean, the individual, firm or company, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or company, or the successors of such firm or company and the permitted assignees of such individual, firm or company.

l)	Work : The expression “Works” shall unless there be something either in the subject or context repugnant to such construction be construct and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original altered, substituted or additional.

m)	Schedule(s) : Schedule(s) referred to in these conditions shall mean the relevant schedule(s) or the standard schedule of rates mentioned in the document.

n)	Site : The site shall mean the land / or other places on, into or through which work is to be executed under the contract.

o)	Normal time or stipulated time: Normal time or stipulated time means time specified in the work order to complete the work.

P)	Extension of time : Extension of time means the time granted by the BSNL to complete the work beyond the normal time or stipulated time.

q)	Date of commencement of work : Date of commencement of work means the date of issue of work order.

r)	Due date of completion : Due date of completion shall be the date by which the work shall be completed i.e. within stipulated time from the date of issue of work order.

s)	Duration of  completion of work : The duration of completion of work or completion time shall be time specified in the work order plus extension of time granted, if any.

t)	Excepted risk : Excepted risk are risks due to war (whether declared or not), invasion, act of foreign enemies, hostilities, civil war, rebellion, revolution, insurrection, military or usurped power, any act of BSNL damages from aircraft, other causes over which, the contractor has no control and the same having been accepted as such by the Accepting Authority or causes solely due to use or occupation by the BSNL of the part of the work, in respect of which a certificate of completion has been issued.

SECTION-V

TERMS & CONDITION OF TENDER DOCUMENT

For and on behalf of the BSNL, (Packing PVC tape/sealing wax) tenders are invited by the General Manager, Telecom District, Dhenkanal from the bonafide and experienced contractors for the work of Restoration of faults/damages in OFC Routes in the territory of Dhenkanal Telecom District. The work will be carried out under the jurisdiction of General Manager, Telecom District, Dhenkanal i.e. in the areas of Angul, Dhenkanal Revenue Districts as per the terms and conditions stipulated below.

- The work against this tender will be executed under the overall control of the General Manager, Telecom District, Dhenkanal. The G.M.T.D., Dhenkanal reserves the right to distribute the works among more than one bidder keeping in view of the vast areas of the four revenue districts.

- The successful Tenderers will be required to sign an agreement as specified agreement form with the G.M.T.D., Dhenkanal for carrying out the aforesaid works for all four districts or as distributed by discretion of G.M.T.D., Dhenkanal. After a tenderer has been declared successful by the G.M.T.D., Dhenkanal, the successful tenderer and the G.M.T.D., Dhenkanal will be the two contracting parties for all purposes.

## A)	GUIDELINES

1.	The tenderer must carefully read all the Terms, Conditions and specification before filling up the tender schedule and the rate sheet.

2.	The tenderer should fill up the tender document in simple and straightforward manner. No pre-condition is allowed. Tenderer imposing any extra condition is liable to be rejected.

3.	Canvassing in any connection with the tender is strictly prohibited and the tender submitted by the contractors who resort to canvassing will be liable for rejection.

4.	The tenderer should give his/her/the firm full present and permanent address (proprietor’s name in case of the Firm) for all future correspondence. The Department is not responsible for any kind of postal delay.

B)	QUANTUM OF WORK

- The quantum of work will be approximate along with associated additional items (detailed in Schedule of Work-Clause-17 of Section-VI) during the period of agreement. Total work will not in concentrated in particular pocket/area, since being related to fault restoration.

- The above figures are approximate and the actual work to be carried out may vary as per requirement.

  - The G.M.T.D., Dhenkanal will have right to increase or decrease up to 25% of the quantum of work specified in the schedule of requirements without any change in the unit price or other terms and conditions at the time of award of contract.

  - In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the G.M.T.D., Dhenkanal reserves the right to increase up to 50% of the quantum of works specified in the schedule of requirement contained in the running tender /contract within a period of 12months from the earliest date of acceptance of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender. This will be also applicable for extended period (if required).

###### C)	 VALIDITY OF CONTRACT

The contract shall normally be valid for one year from the date of signing of the Agreement with an option of extension for a further period of one year in the same rate, terms and condition.

D)	PERIOD OF VALIDITY OF BIDS

Bid shall remain valid for 180days from the date of opening of the Financial Bid.

# E)	 SALE OF TENDER DOCUMENT

1.	The tender document (Non transferable) can be obtained from the SDE (Plg-I) O/o the GMTD, Dhenkanal on production of following documents.

- Attested Xerox copy of Contractor Licence.

- Attested Xerox copy of valid VATCC.

- Attested Xerox copy of PAN Card.

- Attested Xerox copy of valid Labour Licence.

- Attested Xerox copy of Experience Certificate

- An application for purchase of tender document with the cost of Rs.520/- (Rupees five hundred twenty) only (Non-refundable) in shape of Cash / B.C. / B.D. / P.O. in favour of Accounts Officer (Cash), BSNL, O/o G.M.T.D., Dhenkanal, payable at Dhenkanal.

2.	Tender paper will be sold on all working days from 11.00 hours to 16.00 hours from 07/10/.2006 to 27/10/2006

3.	The other certificate like proofs of Attorney holder etc. are to be produced as required for purchase of tender paper.

4.	Original documents must be produced, if required, at the time of purchase of tender paper.

# F)	SUBMISSION OF TENDER

1.	The completed tender with required documents are to be submitted in two parts. The first envelope (Packing PVC tape/sealing wax) must be marked as “Technical Bid” will contain (1) Attested Xerox copy of Contractor Licence (2) Attested Xerox copy of valid VATCC (3) Attested Xerox copy of PAN Card (4) Attested Xerox copy of valid Labour Licence (5) Attested Xerox copy of Experience Certificate (6) EMD of Rs 8000/-for Zone-(I) & Rs. 9000/-for Zone-(II)  in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal in  shape of Cash/B.C./ B.D./P.O. payable at Dhenkanal, (7) Tender document duly filled and signed by the bidder on each and every page with his seal, (8) Near  Relative  Certificate as per Section-XI, (9) Any other required document like partnership deed etc. and the second envelope (Packing PVC tape/sealing wax) marked as “Financial Bid” will contain the tender quoting rates as per Section-XII of tender document duly filled in. Financial Bid will be opened only when all documents in the first envelope (Technical Bid) are found in order. Date for opening of the Financial Bid will be notified later on after scrutiny of Technical Bid.

N.B:- 	Zone I is comprising of the jurisdiction under DET Angul and DET Nalconagar and Zone II of DET(Extl), Dhenkanal

2.	The outer envelope containing both the first envelope i.e. Technical Bid and second envelope i.e. Financial Bid (Packing PVC tapes/sealing wax) shall be suprescribed with “TENDER FOR RESTORATION OF FAULTS / DAMAGES IN OFC ROUTES IN THE TERRITORY OF DHENKANAL TELECOM DISTRICT” and be addressed to SHRI B. DEHURY , DIVISIONAL ENGINEER (P&A), 1TH FLOOR O/O THE GENERAL MANAGER, TELECOM DISTRICT, DHENKANAL-759 001.

3.	Completed tender paper can be dropped in the tender box available in the chamber of the Divisional Engineer (P&A), 1th Floor, O/o the G.M.T.D., Dhenkanal up to 13.00 hrs. of dtd.28.10.2006. In case this date is declared a holiday it will be extended to the next working day. The tender document can also be submitted by Registered Post within the time specified on the above-mentioned address. The authorities will not be responsible for any postal delay or for non-receipt, late receipt and loss of document.

4.	Issue and submission of tender documents do not automatically mean that the tenderer is qualified for award of contract.

5.	The tenderer should certify and affix his signature with seal on each and every pages of tender document and return it with technical bid, as a token of the acceptance of each condition specified on each page of the tender document.

6.	Name and designation of attesting Officer must clearly be mentioned in all the copies of attested documents. Also the tenderer must put his signature on all the copies of attested documents indicating “Submitted by me”.

7.	The envelope indicating the name and address of the bidder, in case any bid received by the authorities after the due date and time for submission of bids prescribed by the department shall be rejected and returned unopened to the bidder.

8.	Modification and withdrawal of bids are not permissible in any circumstances.

9.	Tender document should be superscribed with the name of work in details at the top of each (packing PVC tape/sealing wax) envelope. Unsealed and / or incomplete Tenders are liable to be rejected. All documents excluding the Bank Draft are to be signed by the tenderer.

10.	Gazetted Officer must attest the photocopies only and the tenderer will sign each copy also. The name and designation of the gazetted officer must be mentioned.

11.	The complete set of tender document duly filled in and signed putting date on each page with his seal and also at every correction /overwriting by the tenderer.

12.	The full name and address of the tenderer should be written on the sealed cover.

G)	 OPENING OF TENDER

1.	The G.M.T.D., Dhenkanal shall open the bids in the presence of bidders or his authorized representatives who choose to attend at 15.00 hours of 28.10.2006 in the chamber of Divisional Engineer (P&A), 1th Floor, O/o the G.M.T.D, Dhenkanal. The bidder’s representatives who are present, shall sign an attendance register. The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening (A format is given in Section-X).

2.	In case, holiday is declared on the opening date the same will be opened on next working day at the same time.

3.	A maximum of 2 (two) representatives for any bidder shall be authorized and permitted to attend the bid opening.

4.	The bid shall be opened in the following manner :

i)	The bid opening committee shall count the number of bids and assign serial numbers to the bids. e.g. , if 10 tenders have been received, the bids shall be numbered as 1 of 10, 2 of 10 etc. All the members shall initial on the outer envelopes of all the bids with date.

ii)	The envelope containing the tender offers are not properly sealed, as required shall not be opened and shall be rejected outright. Closing the cover by gum will not be treated as sealed cover. The reason for not opening such tender offer shall be recorded on the face of the envelope and all the members of bid opening committee shall initial with date.

iii)	First the outer envelope containing the two envelopes be opened. The bid opening committee shall initial on all three envelopes with date.

  - Among these two envelopes, the envelope marked “Technical Bid” shall be opened first and examined.

iv)	The technical bid shall be opened first and the papers/documents along with required EMD submitted by the bidder shall be examined and recorded by the TOC. After opening the technical bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

v)	After recording of the “Technical Bid” the TOC will place all the financial bids submitted by the bidder in an envelope and will seal it with a wax for keeping in safe custody.

5.	The financial bid shall be opened in the following manner :

i)	The envelope marked “ Financial Bid” will be opened only for qualified tenders in “Technical Bid”.

- The date and time of opening of Financial Bid shall be conveyed to all the bidders who have qualified in technical bid and their representative shall be allowed to attend the financial bid opening or TOC may open the financial bid on same day after scrutiny of technical bid.

iii)	After opening the financial bid, the bidder’s name, bid prices, modifications, bid withdrawals and such other details as the BSNL, at its discretion, may consider appropriate, will be announced at the opening. In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in words shall prevail.

H)	 REJECTION OF TENDER

1.	The G.M.T.D., Dhenkanal inviting tender shall reserve the right to refuse consideration of any tender on the following ground.

2.	If the tender is not duly supported by the requisite EMD in the manner provided therein.

3.	If the tender is not signed with his seal, deficient or incomplete in any of the requisite matters, particulars, formalities or for any reason which shall not be disclosed to the tenderer.

4.	If the tender is received later than schedule date and time will be returned without opening.

5.	If the tender paper envelope is not sealed with PVC tape/sealing wax. Closing the cover by gums/paste/staplers pin will not be treated as sealed cover. The cover should bear the seal of the Tenderer with sealing wax/PVC tape properly fixed on the cover.

6.	The authority is not bound to accept the lowest tender.

7.	The G.M.T.D., Dhenkanal reserves the right to cancel/reject any tender if the same is found to be containing any false /fabricated document/statement. Original of all documents must be produce, if required for verification, at any stage at the time of purchase of tender documents for scrutiny without which documents will not be issued.

8.	The conditional and incomplete tenders are liable for rejections.

I)	TENDER SCHEDULE AND RATES TO BE QUOTED

1.	The tender schedule should be read in conjunction with construction specifications, terms and conditions of the tender and conditions of the contract and the tenderer shall be deemed to have carefully examined all these documents. It is further understood and agreed that the contractor by careful examination satisfied himself to the nature and location of works, the configuration of the ground, the site condition, the character of the equipment and facilities needed preliminary to and during the execution of work, the general and local conditions, the labour conditions prevailing thereof, the detailed description of work to be done and the way in which they are to be carried out within the time schedule and all other matter which can, in any way, affect the work under the contract before giving his tender rates. The specification for entire work are to be read together and not in isolation.

2.	The tenderer shall quote the rate both in words and figures.

3.	The rates should be quoted both in figure and words and the word “Rs.” Should be written before the figures of Rupees and word “P” after decimal figure e.g. Rs.5.25P and in case of words, the word Rupees should precede and the word paise should be written at the end e.g. Rupees five and twenty five paise only.

4.	In case of illiterate tenderers, the rate tendered should be attested by the witness. The rates quoted in words will have precedence over the rates quoted in figures. If the rates are not quoted in words, that tenders are liable to be rejected.

5.	All corrections, addition and alterations in the entries and tender papers will be signed in full by the tenderer with date. No error or overwriting shall be permissible unless attested under the signature of the tenderer with date.

6.	Rates should be quoted in the form enclosed as per Section-XII of tender schedule i.e. Price Schedule.

J) 	PRELIMINARY EVALUATION

1.	The G.M.T.D., Dhenkanal shall evaluate the bids to determine whether they are complete, whether any-computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

2. 	If there is discrepancy between words and figures, the amount in words shall prevail. If the contractor does not accept the correction of errors, his bid shall be rejected.

3. 	Prior to the detailed evaluation, the G.M.T.D., Dhenkanal will determine the substantial responsiveness of each bid to the bid document. For purpose of these clauses a substantially responsive bid is one, which conforms to all the terms and conditions of the bid documents without deviations. The G.M.T.D., Dhenkanal’s determination of bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

4. 	A bid, determined as substantially non-responsive will be rejected by the G.M.T.D., Dhenkanal and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

5. 	The G.M.T.D., Dhenkanal may waive any minor infirmity or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such waiver, does not prejudice or affect the relative ranking of the bidder.

K) 	EVALUATIONS AND COMPARISION OF SUBSTANTIALLY RESPONSIVE BIDS

1. 	The G.M.T.D., Dhenkanal shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause J.

2.	The evaluation and comparison of responsive bids shall be done on the basis of ‘H’ factor based on rates quoted in financial bid i.e. ‘H’ factor = Total cost of work for item No.1 to 10. The Lowest bidder will be decided on the basis of ‘H’ factor based on the rates quoted in financial bid on the basis of overall lowest bidder for total work (based on approximate quantities mentioned in the schedule of work in Section-VI).

L)	PAYMENT & OTHER CONNECTED TERMS

1.	Payment will be made against the bill preferred by the contractor. The bills are to be submitted in triplicate and shall be accompanied with pre-receipt. Proper care should be taken to submit the bill within one month of completion of the work.

2.	Bills should be raised along with 3 copies of M.B./RID corrected clearly indicating work done & checks done by SDE (100%) and Divisional Engineer (10%).

3.	On receipt of bills, test check will be conducted by the nominated officer to ensure that the work is completed in all respect as per the departmental specifications and the payments will be released thereafter only.

4.	While making the payment, 10% of the billed amount will be held up as security deposit. The security deposit will not bear any interest and will be refunded after six months of the completion of the work, if no defects or irregularities are observed and after receipt of the clearance certificate from S.D.O/S.D.E. concerned along with copy of corrected RID at the time of releasing the security deposit.

5.	Required percentage of Income tax will be deducted from the entire bill amount depending on the statutory requirement.

6.	VAT at the prescribed rate, if required under statutory rules of the Government will be deducted from the billed amount.

7.	Payment will be made through Account Payee Cheque only. The contractor is to intimate his bank account number and branch details for issuing of the cheque.

8.	The contractor shall submit running bills based on the joint measurements recorded by the contractor and the department side representatives for the work executed duly verified in all respects by the site Engineers and certified by the Divisional Engineer-in-charge. Payments will be made by the Accounts Officer (Cash), BSNL O/o G.M.T.D., Dhenkanal to the contractor against the running bills normally within 7 days of the receipt of the bills (complete in order) duly verified and certified subject to the deduction of security deposit as per the contract clauses. The final bill will normally be paid within 10 days of final acceptance of the work provided the submission of the bill is complete in order.

9.	Any liquidated damages due shall also be recoverable from the bills submitted for payment by the aforesaid officers. The G.M.T.D., Dhenkanal will have right to recover liquidated damages for delay or slow progress of the work from the bills submitted for payment.

M)	EARNEST MONEY DEPOSIT & PERFORMANCE SECURITY DEPOSIT

1.	An amount of Rs 8000/- for Zone-(I) & Rs. 9000/- for Zone- (II)  in shape of Cash/BD/BC/PO drawn in favour of the Accounts Officer (Cash), BSNL O/o G.M.T.D., Dhenkanal, payable at Dhenkanal is to be submitted along with the tender. The tender received without E.M.D. will be rejected.

2.	Further, the successful tenderers are required to deposit an amount of  5% of estimated Cost only as material  security, in shape of Bank Draft/Bank Guarantee/Banker’s Cheque in favour of Accounts Officer (Cash) BSNL, O/o. G.M.T.D., Dhenkanal, payable at Dhenkanal with in ten days from the date of acceptance of tender before signing the agreement. The Bank Guarantee should be valid for 18 months  from the date of acceptance letter.

- The E.M.D. shall be forfeited in case of tenderers withdrawing their offer before final acceptance or fails to furnish the material  security of 5% of estimated Cost only within ten days of being called upon to do so or fails to enter to do so or fails to enter in to the prescribed agreement with the G.M.T.D., Dhenkanal for execution of works after the tender is accepted.

- The EMD for successful tenderers will be kept as security and that of the unsuccessful bidders will be refunded after finalisation of the tender process.

- The EMD and material security will be refunded on expiry of one & half year from the date of agreement and after completion of all works awarded during the contract period satisfactory.

N)	WORK COMMENCEMENT, SUPERVISION & MEASUREMENT

1.	The work will be awarded to the contractor through issue of work order, which will give the name of places and other details for restoration of OFC routes.

2.	The work order will be issued by the concerned SDOs/SDEs (after concurrence of DETs) as and when required after examining the technical and planning details of the works to be executed. The concerned SDOs/SDEs shall mention the time limit to execute the work order after seeing the quantum of work and store availability position.

3.	The G.M.T.D., Dhenkanal reserves the right to cancel or modify the scope of work stipulated to be carried out against the work order in the event of change of plan necessitated on account of technical reasons or in the opinion of work order issuing authority, the contractor is not executing the work at the required pace.

4.	The time allowed is the essence of the contract on the part of the contractor and the work should be completed in all respects within the time as indicated in the work order. In event of rate of work done being found low, the G.M.T.D., Dhenkanal reserves the right to terminate the contract. Thereafter, the G.M.T.D., Dhenkanal will be free to get the work done through any alternate agency to be decided by it. Any excess amount required to be paid to the alternate agency to carry out the work have to be borne by the defaulting contractor.

5.	Also in case the contractor fails to undertake and complete the work in specified time, the G.M.T.D., Dhenkanal will have right to award the work to any other alternative contractor. The difference in cost of work will be payable by the defaulting contractor. In addition, his security Deposit/ E.M.D. shall be forfeited.

6.	After completion of the work, the work carried out by the contractor shall be measured by the supervisory officer nominated by the G.M.T.D., Dhenkanal

7.	Details of measurements will be entered in the Measurement Book (M.B.) and signed by both the contracting parties or their representatives jointly. The Supervising Officer (S.D.O/S.D.E) or the representative of the G.M.T.D., Dhenkanal will maintain the Measurement Books. No entry shall be erased. If a mistake is made, it should be corrected by crossing out the incorrect words or figures and inserting the corrections, the corrections thus made shall be initialed & dated by the officer concerned.

8.	Responsibility of taking and recording measurement : The measurement of various items of work shall be taken and recorded in the measurement book issued with each work order. The measurement shall be taken and recorded by an officer not below the rank of S.D.E. /J.T.O. The Sub Divisional Engineer directly responsible for supervision of work shall be responsible for accuracy of 100% of measurements. The Sub Divisional Engineer shall be responsible for conducting check of 100% of measurements. The Divisional Engineer shall be responsible for conducting test check of 10% of measurements.

9.	Method of recording of nomenclature of items : Complete nomenclature of items, as given in the agreement need not be reproduced in the measurement book for recording the measurements but corresponding item code as provided, shall be used.

10. 	Method of measurements : The measurements of the work shall be done for activity-wise as and when the item of work is ready for measurement.

11.	The Measurement Book has to be submitted within 30(thirty) days of completion of the work, after modification and updating of route index diagram. The work must be completed within the stipulated period as specified in the work order.

12.	Even after joint measurement of the work, the G.M.T.D., Dhenkanal reserves the right to carry out a sample check measurement by another nominated official. This check measurement shall be carried out in the presence of the representatives of the contractor. The joint check measured work shall be used as the yardstick to proportionately modify the total work proposed to be billed against the work order.

13.	In respect of the works not complying the above standard the G.M.T.D., Dhenkanal reserves the right to either allow proportionate rate or disallow the entire claim.

14.	If the contractor fails to complete the work within the stipulated time, improper and bad workmanship noticed in the work, penalty or recovery as per agreement would be imposed. Liquidity damages such imposed shall be recovered from the Running Bill/Final Bill/SD as per the various clauses of the conditions of contract. Therefore, the contractors, who are confident of completing the works in schedule time period, are only eligible to participate in the tender.

O)	TERMINATION OF CONTRACT

1.	The G.M.T.D., Dhenkanal has the right to terminate the contract either party or fully at any stage without assigning any reason by giving 10 days notice in writing to that effect and shall not be liable to pay any compensation to the contractor thereof.

2.	In the event of contractor failing to execute the contract to the satisfaction of G.M.T.D., Dhenkanal shall have the right to reject or/and with hold payment for such quantity of work till such time the defect rectified to the satisfaction of the G.M.T.D., Dhenkanal.

3.	In case of death of contractor during the period of contract, G.M.T.D., Dhenkanal may at his opinion either immediately terminate the agreement or may require the surviving partner/legal heir of the contractor to complete the contract as per the original agreement.

P)	SAFETY, SECURITY & OBSERVANCE OF LABOUR LAW

1.	The Contractor will be responsible for the safety and security of the materials supplied to him by the Department.

2.	The contractor will be responsible for the safety and security of the labour employed by him for execution of work. He will be required to insure each labourer as per the labour laws. The contractor will ensure safe working by observing proper safety pre-cautions.

3.	The contractor will be required to abide by the labour laws enacted from time to time by the Central or State Government. Maintenance and observance of any or all of the statutory labour laws will be the sole responsibility of the contractor. The claims arising out of injury, casualty or any other thing from the workers or labourers employed by the contractor will be the sole responsibility of the contractor.

4.	Under the provision of Workman’s Compensation Act, in case of any compensation is paid by the department to a workman labour employed by the contractor in execution of the work, the same will be recovered from the contractor either from the bills preferred by him or by adjustment from his security deposit money.

5.	After the agreement, the contractor should obtain a valid license by virtue of the contract labour (Regulation & Abolition) Act, 1970 and of contract labour (Regulation and Abolition) contract rule, 1971, and contractor shall be responsible for any contingency arising out of his failure to obtain and have a valid license.

6.	The contractor should ensure that no labour below the age of 18 (eighteen) years is employed by him on the work.

7.	The wages paid by the contractor to the labourers employed by him should not be less than the fair wages as defined in the C.P.W.D. Contractor’s Labour Regulation or as per the provision of the Central Labour (Regulation & Abolition) Rules, 1971, whichever is applicable.

8.	Under the provisions of Minimum Wages Act, 1948, and the Minimum Wages (Central Rules) 1950, the contractor should allow the labourers employed by him on work one day rest against six days continuous work and pay wages for that the same rate as applicable for duty.

9.	The contractor should comply with all the Rules framed by the Govt. from time to time for the protection of healthy and sanitary arrangement for workers employed by him.

10.	The contractor shall maintain a “Register of Persons Employed” on work.

11.	The contractor should carryout the work in such a manner so that it will cause minimum hindrance to the traffic.

12.	The contractor will maintain a register of accidents, in such form as may be convenient at the work place. Also other necessary registers are to be maintained by the contractor for labourers employed by him.

13.	The contractor shall allow inspection of all the prescribed labour records to any of his workers or to his agents at a convenient time and place after due notice is received or to the labour officer/any other person authorised by the central Govt. on his behalf.

14.	The contractor shall before commencement/commences his work on contract, and continue to display and correctly maintain in a clean and legible condition in conspicuous place on the work notices in English and in the local Indian languages spoken by the majority of workers, giving the minimum rates of wages fixed under the minimum wages act, the actual wages being paid, the hours for which such wages and other relevant information.

15.	The contractor shall submit periodical returns, as may be required/prescribed from time to time.

16.	The department does not take any responsibility for engagement of any labourer by the contractor during the course of work.

Q)	NEAR RELATIVE CERTIFICATE

The tenderer who have any near relative posted in BSNL / DOT/DTS/MTNL must submit full particulars of such relatives, otherwise such tenders are likely to be rejected by G.M.T.D., Dhenkanal. Certificate to be given by the contractor in respect of no near relative (s) in BSNL of the contractor is available at Annexure-C, failing which the tender will be rejected.

R)	AGREEMENT AND WORK ORDER

The successful tenderer will be required to sign a contract agreement on non-judicial stamp paper of Rs.100/- (Rupees one hundred) only and the cost of the stamp paper has to be borne by the contractor after depositing 5% of estimated Cost only in shape of Banker’s Cheque / Bank Guarantee / Bank Draft in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal. If the successful tenderer fails to sign the contract agreement with in the stipulated date, the EMD (so deposited) will be forfeited and no claim will be entertained for the same work afterwards. The work order will be issued only after agreement is signed.

S)	G E N E R A L

01.	The tenders shall be evaluated by a committee to be appointed by the G.M.T.D., Dhenkanal.

i)	BSNL shall evaluate the bids to determine whether they are complete, whether any-computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

ii)	If there is discrepancy between words and figures, the amount in words shall prevail. If the contractor does not accept the correction of errors, his bid shall be rejected.

iii)	A bid, determined as substantially non-responsive will be rejected by the G.M.T.D., Dhenkanal and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

iv)	The G.M.T.D., Dhenkanal may waive any minor infirmity or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such waiver, does not prejudice or affect the relative ranking of the bidder.

v)	The tender shall be evaluated based on the rates quoted in financial bid on the basis of overall lowest bidder for total work (based on approximate quantities mentioned in the schedule of work). In case of more than one tenderer at the same lowest rates, the tenderer who has got more experience shall be preferred over others.

vi)	The G.M.T.D., Dhenkanal shall not be responsible for any escalation in prices of labour or materials, machinery, equipment, etc. whatsoever or any increase in any duties, levies, or taxes in respect thereof whatsoever and the contractor rates and contractor’s obligation shall remain unaffected by such escalation and/or increase.

02.	The G.M.T.D., Dhenkanal reserves the right to reject one or all the tenders without assigning any reason thereof.

03.	The G.M.T.D., Dhenkanal reserves the right to cancel/reject any tender if the same is found to be containing any false/fabricated document/statement. Original of all documents shall be produced, if required, at the time of purchase of tender documents for scrutiny without which documents will not be issued.

- The G.M.T.D., Dhenkanal reserves the right to apportion the total work amongst a        number of contractors at the approved rates and on uniform terms and conditions.

05.	The G.M.T.D., Dhenkanal reserves the right to carry out a part or whole of the work through any other contractor on job basis at the approved rates.

06.	Transportation of labour from the site to another site from one area to other areas will be the responsibility of the contractor.

- All tools and tackles for the work shall be provided by the contractor.

08.	The G.M.T.D., Dhenkanal will not be responsible to provide residential accommodation to the labourers employed by the contractor. All arrangement in this regard will be the responsibility of the contractor.

09.	The G.M.T.D., Dhenkanal reserves the right to increase or decrease or delete the scope of the work without assigning any reasons.

10.	The surplus stores are to be handed over to the Telecom Authority at the nearest store Depots and the expenditure in this connection shall be borne by the contractor.

11.	Conditional and incomplete tenders are liable for rejection.

12.	Tender without EMD will summarily rejected.

13.	Tender without requisite experience certificate in Restoration of OFC Routes or OFC laying & Pulling in BSNL will be summarily rejected.

14.	The G.M.T.D., Dhenkanal will not be responsible for any misprinting by the newspaper concerned. Tenderers are to contact the tendering authority and verify the facts in case of confusion.

15.	Issue of tender document does not automatically mean that the tenderer is qualified for the award of the contract. These will be reviewed and examined during the evaluation of the bid.

16.	The G.M.T.D. is not bound to accept the lowest tender.

17.	The G.M.T.D., Dhenkanal reserves the right to distribute the work amongst a number of contractors. The Telecom District Authority may thus appoint one or more contractors for each Sub-Division or Telecom district and may fix the tentative limit of work during agreement to keep expenditure within limit. The G.M.T.D., Dhenkanal will be free to re-distribute the work amongst contractors during concurrence of agreement based on performance of contractor and necessity of the work to be carried out. Contractors will not be allowed to object on decision of the G.M.T.D., Dhenkanal.

18.	To keep watch on total expenditure incurred during the period of agreement since the work will be divided to one or more than one contractor, all the approved contractor have to maintain monthly record of total work done till end of a month and submit it by 1st week of the month (though payments may not have been received) and contractor should bring to the notice of tender accepting authority regarding exceeding limit of tender cost when total cost of work done reaches to 80% of total cost finalized after negotiation. Tender accepting authority i.e. G.M.T.D., Dhenkanal will decide on continuance of tender based on requirement and contractor/ contractors will not object the decision of the tender accepting authority.

19.	The Department is not responsible for non-receipt/late receipt and loss of tender documents.

20.	In case of any dispute arising out of the contract between the two contracting parties, the decision of the G.M.T.D., Dhenkanal shall be final and binding.

SECTION-VI

CONSTRUCTION SPECIFICATION & JOB DESCRIPTION

1.	NATURE OF WORK

The work involves excavation of trench, laying of 50mm dia HDPE Pipes / 40mm dia PLBE Pipes /100mm dia RCC Pipes /50mm dia G.I. Pipes /100mm dia RCC half-cut pipes, jointing them in some places concreting of pipe as per specification and reinstatement of the excavated trench. Excavation of trench includes cutting of tree roots, removal of other obstructions like boulders, removal of bushes, wetting the trench with water etc. for which no additional payment will be made. The Optical Fibre Cables are to be drawn through these HDPE/PLBE pipes. The pipe is intended to provide mechanical protection to the delicate Optical Fibre Cable. The Department will arrange necessary permission from the road authorities and the contractor under the presence and direction of Site Engineer will mark the route for the cable trench. The trench will normally be straight. A nylon rope of approximately 4mm dia shall be laid inside the pipe while joining the pipes to facilitate pulling of Optical Fibre Cable. The ends of the pipe sections of approximate 200 meters shall be suitably plugged to prevent mud, dirt or any other objects entering the pipes and obstructing the cable pulling. The protective pipes, joining materials, nylon ropes and suitable plugs will all be supplied by the Department. The contractor shall be fully responsible for the safe custody of the materials supplied to him/his representatives, till work in the entire section is completed and the completed work taken over by the Department and also to return unused materials to the Department in good shape.

2.	LAYING OF PIPE

The pipe is to be laid at a depth of 1.65m in all classes of soil. However, in hard rocky area, the depth may be restricted to one meter at the discretion of Engineer-in-charge. Normally a trench of about 45 cms wide at the top and 30cm wide at the bottom at depth of 1.65 meter above HDPE/PLBE pipe should be taken as standard.

The pipe laying work will involve excavation of trench in various soil conditions like ordinary soft soil, hard morrum, black cotton soil, loose soil mixed with stone, stone mixed with loose soil, rocky area without blasting, hard rocky area with blasting, asphalted bituminised path, concrete path etc.

The prospective bidders are advised to make a detailed survey of the OFC Routes under Dhenkanal Telecom District for which they are bidding and familiarize themselves with the soil and terrain so that the rate quoted shall take all factors in to consideration.

3.	DEPTH OF TRENCH

Normally the standard depth of 1.65 meter is to be maintained throughout. However in hard rocky area where excavation can be done only by chiseling of rocks, the rocky portion is to be excavated in the following manner.

a)	If the rocky portion is continuous/intermittent for a length of less than 20 meters such rocky portions have to excavate to the same depth of 1.65 meters that the depth of the trench is uniform throughout. However, if the rocky portions are continuous for more than a distance of 20 meters so and rock is encountered more or less from the surface itself, the depth of the trench at such locations may restricted to one meter. But, in these cases it has to be ensured that the level/depth of the trench changes from 1.65 meters to 1 meter keeping a low gradient of not more than 15 degrees to the horizontal, so that when the pipes are laid and jointed, the change of gradient will be smooth to enable pulling of cables through these pipe with out much friction at a later date. Once the depth has changed from 1.65 meter to 1 meter the same of 1 meter has to be maintained for a distance of not less than 20 meters. This lower depth of 1 meter is permissible only at locations where heavy road traffic is encountered or densely populated areas. However, in such cases in areas where the depth is confined to 1 meter or below, G.I. Pipe / RCC Pipes has to be laid with suitable couplings over HDPE/PLBE pipes. Require pipes/couplings will be supplied by the Department. In other locations including those places where hard morrum, soft rock or soft soil may be encountered the depth of the excavation has to  be  not  less  than 1.65 meter. The

depth of 1.65 meter is to be taken as the normal depth. It is likely that due to uneven ground conditions if 1.65meter is adopted as uniform depth throughout the bottom of the trench will also follow the same unevenness as the surrounding terrain. This should not be the case and the bottom of the trench has to be at uniform level. In this process, it is possible that in some locations the depth of excavation maybe less or more. However, it is to be ensured that at no locations, the depth is less than one meter. Such relaxations will be allowed in writing by D.E. in-charge on going through justification.

b)	To maintain the trench at uniform level, sometimes it will become necessary at certain locations to excavate the trench either more than or less than 1.65 meter. In such cases, the payment per meter will be increased / decreased proportionately.

c)	Wherever the depth is less than the stipulated limit due to the local conditions, pipes (GI or RCC or HDPE or PLBE) are to be concreted by the contractor. Engineer-in-charge may make minor modifications. Cement (1 unit) coarse sand (2 units), chips of 20mm (4 units) has to be used. All the materials including water are to be arranged by the contractor at the work spot at his own cost. Contractor has to carry the work and he has to cure it properly by pouring water over it. After curing refilling of balance depth of the trench has to be done with excavated soil. It may be noted again that no extra payment is admissible for arranging necessary material, labour, tools, or machines while carrying out this work.

Secondly some times concreting of the pipes has to be done, if decided by the Officer-in-Charge while crossing the culverts or bridges. The decision regarding the necessity of concreting will be solely at the discretion of Engineer-in-Charge. Concreting while crossing culverts and bridges has to be done generally of 300mm x 300mm cross section over the G.I. pipe.

d)	Concreting of the HDPE /PLBE /RCC/ GI pipes, as decided by the Engineer-in-Charge has to be done in continuation of laying of the same.

e)	At locations where surface soil is soft, but rock is encountered at a depth of less than 1.65 meter the work has to be carried out in the following manner :

- If the rocky layer is encountered at a depth of 120 cms or more no further excavation is necessary and the excavation may be stopped at the rocky layer ensuring at the same time that the bottom level of the trench is uniform.

- If rocky layer encountered at a depth less than 120 cms but more than 60 cms. In such location the excavation is to be done up to a depth of not les than 120 cms.

- If the rocky layer is encountered right from the surface or a depth of less than 60 cms from the surface, the depth of the trench at such locations should not be less than 100 cms.

iv)	However, the decision of the Engineer-in-Charge will be final in deciding the depth requirements at individual locations.

f)	The Engineer-in-Charge of site work will be the authority to decide the depth of trenches depending upon terrain condition and his decision shall be final.

4.	LOCATION AND ALIGNMENT OF THE TRENCH

a)	The alignment of the trench will be decided by the responsible Department official not below the rank of a junior Telecom Officer, while marking the alignment only the center line will be marked and given and the Contractor shall set out all other work to ensure that the excavated trench is straight as possible. The Contractor shall solely be responsible for the accuracy of such setting out. No deviation from the alignment is permitted except with the consent of site in-charge officer.

b)	The Contractor shall clear, prepare and grade the right way to facilitate the making of the alignment of the trench. Contractor shall remove all bushes, undergrowth, stumps, rocks and other obstacles to facilitate making the centerline. It is to be ensured that minimum amount of bushes and shrubs shall be removed to clear the way and the Contractor shall give all consideration to the preservation of trees within the right way.

c)	The contractor at his own cost should provide necessary barricades, night lamps warning boards and post required watchman to prevent any accident to pedestrians or vehicles etc.

5.	TRENCHING

The Contractor shall dig the trench to the depth specified. Trenching shall as far as possible be kept ahead of the laying of pipes. Contractor shall exercise due care that the soil from trenching intended to be used for back filling is not mixed with loose debris. Trenching shall be carried out in all sorts of soil. While trenching, contractor should not damage any underground structure or pipeline or cable, slabs, culverts etc. Incase of any damage to any underground structures of pipe line / cables or culverts, slabs, etc. then the contractor should repair or replace it at his own cost and expenses, as directed by the owner of those damaged pipes/cables, culverts, slabs etc.

6.	DEWATERING/WETTING

a)	The contractor shall be responsible for all necessary arrangements to remove or pump out water in the trench. The contractor should survey the soil condition encountered in the section for which he is tendering and make his own assessment about dewatering arrangement that may be necessary. No extra payment shall be admissible for this and the tendered rate may take care of this aspect. In the same way, wherever the soil is hard due to dry weather conditions if watering is to be done for wetting the soil to make it loose the same shall be done at his cost.

b)	The Contractor should provide sufficient width of the trench at all such places where it is likely to cave in due to soil conditions and for this no extra payment will be made. Any shuddering/probing done for this purpose shall be at his cost.

c)	A minimum free clearance of 15cm should be maintained above or below any existing underground metallic or non-metallic line or structure crossing the trenching. No extra payment will be made towards this.

7.	NIGHT CAPPING

At the end of each day’s work, the open ends of the pipe sections shall be tight capped with securely closed cap, which will be supplied by the Department to prevent the entrance of dirt/mud water or any foreign matter into the pipeline until the work is resumed.

8.	METHOD OF EXCAVATION

a)	In City limits as well as in built up area, the Contractor shall resort to use manual labour only to ensure that damage is not caused to pipes and structures or various other utility services like Telephone, Power, Sewerage, Water supply etc. Any mechanical excavation may cause damage to such installation. However, along the High way, away from cities and town where it is certain after due care and verification that no other cable or pipeline may lie buried in the path of excavation, there shall be no objection to the contractor resorting to mechanical means of excavation subject to the approval of highway authorities/forest authorities and Engineer-in-Charge.

b)	The Contractor shall ensure that trenching and pipe laying should be continuous without leaving patches or portions in between.

9.	SWABBING

Preparatory to aligning the pipe for jointing, the inside of each length of pipe shall be thoroughly cleaned to remove all sand, dirt or any other debris that may clog, disturb or damage the Fibre optical cable when it is pulled or which may disturb or damage the jointing operation. Any obstruction remaining in the pipeline after its completion shall be removed at the expense of the Contractor.

10.	PREPARATION FOR JOINTS

The ends of each pipe and inside of each jointing coupler shall be thoroughly cleaned of any dirt or other foreign matter so as to avoid defects in the joint.

11.	LINE UP

The pipes when laid and jointed shall be in a straight line both in the horizontal and vertical plan except at locations where it has necessarily take a bend because of change in the alignment or the depth of the trench change according to limitations and restrictions as mentioned elsewhere.

12.	LAYING OF PIPE

a)	After the trench is excavated to the specified depth, the bottom of the trench has to be cleared of all stones or pieces of rock and leveled up properly. A layer of soft soil of not less than 5 cm is to be used for leveling the trench to ensure that the pipe when laid will follow a straight alignment along with its joints. The pipe shall be straight as far as possible and all bends and gradients of change of depth should be gradual. Any tree roots in the trench should be cut to avoid the risk of damagers to the cable due to growing of the tree roots in later years.

b)	The pipes shall be jointed for continuous stretches of about 200 meters in the straight and nylon rope pulled through the pipes and kept inside tied on suitable weight so that the end of the rope are easily accessible at the pipe end. Both the ends of the pipeline section shall then be securely sealed by suitable covers that will be supplied by the department. The next length of pipe shall be laid leaving a gap of two meters.

c)	A gap of two meters as mentioned above may also be kept at every bend that pipeline may take as will be directed by the Sub-Divisional Engineer or Junior Telecom Officer of the Department at site.

d)	Water present in the trench at the time of laying the pipe and jointing shall be pumped out by the Contractor before lowering in the pipe to ensure that no mud or water gets into the pipe using the process. If the trench has collapsed before the pipes are laid and jointed properly, the Contractor shall make the necessary repairs before laying the pipe at his own cost and expenses.

e)	The pipes to be laid may be one or more or the following :

i)	High density polyethylene pipes 50mm O.D. of nominal length of five meters to be jointed by HDPE couplers of suitable dimension.

ii)	100mm dia RCC spun pipes/RCC split pipes/50mm G. I. Pipes with suitable coupling / collars/socket/spigots etc.  Wherever such G. I. Pipes are laid, HDPE/PLBE pipes are to be inserted in the G. I. Pipes.

iii)	PLBE pipe 200mtrs. coil length or less as per requirement.

f)	The contractor shall exercise all care to ensure that HDPE/PLBE pipe is not subjected to any strain.

13.	BACK FILLING AND DRESSING THE TRENCH

a)	Provided that, the pipe has been properly laid and jointed in the trench at the specified depth and the nylon rope has been pulled inside, the back filling operation shall follow as closely as practicable. /The back filling operation shall be performed in such a manner as to provide firm support under and above the pipe and to avoid bend or deformation of the pipe, when the pipe gets loaded with the back filled earth. Wherein any location the back filling is unevenly centered over the trench due to carelessness or any other cause if shall be redressed at the contractor’s expense. No debris shall be allowed in back fill any time. Back filling should not be done in one stroke for the entire depth without ramming and consolidating. It should be done in layers of 20 cms watering if necessary and ramming before filling the next 20 cms. As normally complete consolidation does not take place immediately and certain amount of sinking takes place due to subsequent rains etc. it is necessary to fill an extra quantity over the normal surface level with available earth so that even after final consolidation there will not be formation of valleys. It should be borne in mind that wherever earth excavated should go back to the trench except big boulders and stones.

b)	At locations where the back fill materials contains hard clod rock fragments and other hard materials which may cause injury to the pipe and where rock has been excavated from the trench and it is intended to refill the trench in whole or in part with such excavated rock or material, the trench should be initially filled in order to prevent injury to the pipe from hard fragments, with not less than 10cms or de-rocked loose earth above the top of the pipe to be screened through a suitable mesh if so required and back filling only hereafter be completed and finished with excavated materials.

c)	The back fill shall be maintained by the contractor against washout settlement below original levels and rotting until reinstated to the original surface condition as acceptable to the Engineer-in-Charge.

d)	The finished back fill must be sufficiently leveled. After back filling the original ground condition should be restored.

e)	All excavated earth material should have been used for back filling ultimately, taking suitable allowance for consolidation. Mere loose filling of earth up to the original surface is not enough. Proper watering, ramming and consolidation to make the filled up earth as hard as possible is required, so that due to subsequent consolidation the filled up soil should not sink further causing void at the top of the trench. The decision of Engineer-in-Charge as to the satisfaction of proper reinstatement of earth is final.

14.	The OFC route indicators are to be fixed at every sections pit and at sharp bend, rail, road, river crossing as per construction specification and direction of site-in-charge. The OFC joint indicators are to be fixed at every OFC joint pit as per construction specification and direction of site-in-charge. Fixing of Route and Joint indicator with supply by the contractor as per the given specification and painting.

15.	Construction of splicing chamber as per the specification inclusive of RCC rings, slabs and sand filling.

16.	Splicing of all the fibres of O.F. Cable laid at every joint and making termination at the ends. The department will supply jointing kit & splicing machine only to the contractor at the work site. All other materials required for the work shall be arranged by the contractor.

17.	SCHEDULE OF WORK

It is proposed to carry out OFC repair work as per items given below with quantities (tentative, subject to change as per requirement) as and when required with no limitation for minimum or maximum quantity. ( separate sheet enclosed)

The G.M.T.D., Dhenkanal reserves the right to distribute the repair work amongst a number of contractors. The Telecom District Authority may thus appoint one or more contractors for each Sub-Division or Telecom district and may fix the tentative limit of work during agreement to keep expenditure within limit. The G.M.T.D., Dhenkanal will be free to re-distribute the work amongst contractors during concurrence of agreement based on performance of contractor and necessity of the work to be carried out. Contractors will not be allowed to object on decision of the G.M.T.D., Dhenkanal.

Quantum of works

| Sl. | Description of work | Unit | Quantity of works |
| --- | --- | --- | --- |
|  |  |  | Zone- (I) | Zone-(II) |
| 01 | Excavation of trenches of 45 cms width the top and 30 cms width at the bottom to a depth of 165 cms in all types of soils, ramming of bottoms including getting out of excavated soil as required and then reinstating the soil as required in layers not exceeding 20cms in depth including consolidating each deposited layer by ramming, watering etc and disposing of the surplus excavated soil as directed within a lead of 50m. This includes jungle cutting, dewatering and removing obstacles, if any. (The rate will be uniform irrespective of the type of soil) | Mtr. | 2000 | 2500 |
| 02 | Laying, jointing and strengthening H.D.P.E /P.L.B.E. Pipes in the excavated trench placing, adjustment and jointing with HDPE/PLBE sockets and drawing of nylon ropes (4mm dia) into the pipeline with sealing the section end by end-caps as per the construction specification of the tender. The rate includes the testing of HDPE/PLBE Pipeline section generally of 200 meters length by puling wooden balloons after re-instatement. (The rate also includes transportation of materials from the depart-mental store depot to the work site within a distance of 40 kms.) | Mtr. | 2500 | 3000 |
| 03 | Laying, jointing of half round RCC pipes at the road crossing, bridges, culverts, swampy areas, town limits and places needing extra protection, entire half round RCC Pipes will be used over the H.D.P.E / P.L.B.E. pipes depending upon the condition of the terrain for extra protection. (The rate includes transportation of materials from the departmental store depot, to the work site within a distance of 40 kms.) | Mtr. | -- | -- |
| 04 | Laying, jointing of full round RCC / G.I.pipes at the road crossing, bridges, culverts, swampy areas, town limits and places needing extra protection, entire full round RCC /G.I. Pipes will be used over the H.D.P.E / P.L.B.E. pipes depending upon the condition of the terrain for extra protection. (The rate includes transportation of materials from the departmental store depot, to the work site within a distance of 40 kms.) | Mtr. | -- | -- |
| 05 | Concreting G.I. Pipes /RCC Pipes/ H.D.P.E Pipes on/ under the bridges/ culverts /town limits / rocky areas wherever concreting will be necessary of size 30cms x 30cms thick layer of concrete (1:2:4) is to be provided. This includes supply of necessary materials like sand, cement, concrete etc. (Except G.I./H.D.P.E/RCC/Wire mesh which will be supplied by the department) (The rate includes transportation towards cement, concrete, sand etc.) | mtr. | 500 | 500 |
| 06 | ROAD BORING: This rate is for crossing the road by boring and inserting G.I pipes over HDPE/ PLBE pipes. It may be noted that this rate is not admissible if decided by site Engineer to cross the road-by-road cutting depending on the local condition. In such a case, the rate will be same as that of excavation of item No.1 (The rate per meter of road boring excluding the cost of G.I. pipes) | Mtr. | 100 | 100 |
| 07 | Road cutting, if necessary (cement & pitch road) in road crossing as per Sl. No.1 | Mtr. | 250 | 250 |
| Sl. | Description of work | Unit | Quantity of works |
|  |  |  | Zone- (I) | Zone-(II) |
| 08 | Pulling of Optical Fibre cable, which includes digging of required sections, extra sections (wherever required) Mandrel test, cable pulling, fixing of split-pipes in sections and re-instatement of excavated trenches/sections. Item also includes collection and transportation O.F. Cable, split pipes and all other accessories from Divisional Store depot to the work site within a distance of 40 kms. (Including cost of nylon rope) | Mtr. | 3000 | 3500 |
| 09 | Fixing of Route and Joint indicators with supply as per the given specification and painting. | Each | 50 | 60 |
| 10 | Construction of Splicing Chamber as per the specification inclusive of RCC rings, slabs and sand filling. | Each | 50 | 50 |

MATERIAL SECURITY BOND FORM

Where as M/s…………………………………………………………………………………………..

(hereinafter called the “the Contractor”) has been awarded the contract of …………………………….

…………………………………………………………………………………………..as per tender number

……………………………………………………………………………………………KNOW ALL MEN by

these presents that we of M/s…………………………………………………………………………………

having our registered office at ……………………………………………………………………………….

(hereinafter called the “the Contractor) are bound unto Bharat Sanchar Nigam Limited

(hereinafter called “the  BSNL “) in the sum of Rs…………………………..(Rupees……………………

………………………………………………………..) for which payment will and truly to be made of the said BSNL,  the bank binds itself, its successors and assigns by these presents.

THE CONDITIONS of the obligation are:

1.	If the Contractor is unable to keep stores issued to him, properly, i.e. the store provided to the contractor by the BSNL are damaged or

2.	The stores issued to the contractor by the BSNL are stolen or

3.	The contractor is not able to provided proper account of the stores issued to him/her/them by BSNL

We undertake to pay to the BSNL up to the above amount upon receipt of its first written demand without the BSNL  having to substantiate its demand, provided that in its demand, the BSNL  will note that the amount clamed by it is due to it owing to the occurrence of one or two or all of three conditions specifying the occurred condition or conditions.

This guarantee will remain in force upto and including one hundred and eight (180) days after the period of Contract validity, and demand in respect thereof should reach the bank not later than the above date.

Signature of the Bank							Signature of the Bank

Signature of witness							Signature of witness

Name of witness							Address of witness

Name of witness 							Address of witness

SECTION-VII

SPECIAL CONDITIONS OF CONTRACT

Since the works enlisted in this tender are of urgent nature, following guidelines to be followed.

1)	The contractor shall start the work within 6 hours for restoration of fault.

2)	The work to be started immediately after receipt of information, which is to be confirmed in writing subsequently.

3)	Filling of earth-work to be awarded only after physical inspection of Divisional Engineer In-charge of the area to confirm the quantum of work.

4)	Proper documentation of laying and joint locations as per BSNL standards to be submitted along with bill, certified by concerned SDO / SDE and countersigned by Divisional Engineer In-charge.

5)	OFC laying work to be completed positively within 24 hours after intimation. Incase of delay, penalty of Rs.500/- per hour will be charged for delayed time beyond 24 hours. The decision of G.M.T.D. will be final in deciding the penalty, which shall not be objected the contractor.

SECTION-VIII

UNDERTAKING & DECLARATION

The tenderer hereby covenants and declares that all the information, Documents, Xerox copies of the Documents/ Certificates enclosed along with the Tender document are correct and if any thing found false and/or incorrect and/or any suppression of fact is detected at any time, tender will be terminated and EMD/SD/Bills pending with Department will stand forfeited to BSNL and the contractor will be debarred from participation of any tender of this Department in future.

Certify the I/We read and agree with all the terms and conditions, specifications included in the tender documents & offer to execute the work at the rates quoted in the schedule. If I/We fails to enter into the agreement & commence the work in time the EMD/SD as deposited will stand forfeited to the BSNL.

Signature of Tenderer

along with date & Seal

SECTION-IX

AGREEMENT FORMAT

AGREEMENT FOR RESTORATION OF FAULTS/DAMAGES IN OFC ROUTES IN THE TERRITORY OF DHENKANAL TELECOM DISTRICT

This Agreement is entered between Shri………………………………………………. …………………………………..The General Manager, Telecom District, Dhenkanal for and on behalf of BSNL and Shri…………………………………………………………………. son of Shri………………………………………………………………………………………………………………….. At/Po………………………………Dist………………………………….On this day of …………………for Restoration of faults / damages of OFC routes in the territory of Dhenkanal Telecom District under the jurisdiction of G.M.T.D., Dhenkanal.

Where as in response to the Tender Notice No……………………………….Dated ……………………… issued by G.M.T.D., Dhenkanal, Shri …………………………… has been declared as successful tenderer for Restoration of faults / damages of OFC routes in the territory of Dhenkanal Telecom District under the jurisdiction of G.M.T.D., Dhenkanal.

Shri ……………………………………………………………….. hereby undertake to carry out the work of Restoration of faults / damages of OFC routes in the territory of Dhenkanal Telecom District under the jurisdiction of G.M.T.D., Dhenkanal for a period of one year starting from the date of execution of the agreement at the rate as per the tender finalized in his favour and according to the terms and conditions laid down in the approved tender.

Shri ………………………………………………………. also undertake to carry out the work through out the year at the same approved rate and according to the Departmental standards and up to the satisfaction of the General Manager, Telecom District, Dhenkanal.

Shri  ……………………………………………………… further undertake to fully abide by the terms and conditions as stipulated in the Tender Notice referred to above the shall make good any loss caused to the Telecom District or any other Government Department/ Private Body/ Public.

Signature of the Contractor		                                                General Manager, BSNL

Telecom Dist., Dhenkanal

Name     :……………………………                  		     Name           :……………………………….

Address  :……………………………                  	    Address        :……………………………….

…………………………….                                     	              ……………………………….

Witness :……………………………                  		    Witness        :……………………………….

Name   :……………………………                   		    Name           :……………………………….

Address :……………………………                  		   Address        :……………………………….

…………………………….                                                      ………………………………..

SECTION-X

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number ……………………………………………………………………………..

Subject  : 	Authorization for attending bid opening on ……………………...(date) in the tender of    …………………………………………………………………….………………..

……………………………………………………………………………………………………..

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of…………………………………………………………………………………………………

(bidder) in order of preference given below.

| Order of preference | Name | Specimen Signature |
| --- | --- | --- |
| I) |  |  |
| II) |  |  |
| Alternate Representative |  |  |

Signature of bidder

or

Officer authorized to sign the bid

documents on behalf of the bidder.

No. 1. 	Maximum two representatives will be permitted to attend bid opening. In cases where it is restricted to one, first preference will be allowed. Alternate representative will be permitted when regular representatives are not able to attend.

No. 2 .	Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not recovered.

SECTION-XI

PROFORMA FOR NO NEAR RELATIVES CERTIFICATE IN BSNL

Certificate to be given by the contractor in respect of no near

relative (s) in BSNL of the contractor.

I, ……………………………………………………………………………………………………………

S/o……………………………………………………………………………………………………..resident of

……………………………………………………………………………………………………...hereby certify that none of my near relative(s) as defined in the tender document is/are employed any where in BSNL as per details given in tender document. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit, without any prior intimation to me.

Signature of the tenderer with seal

Note :	In case of proprietorship firm, certificate will be given by the proprietor, for partnership firm, certificate will be given by all the partners and in case of Private Ltd. Company, by all the directors of the company.

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT

### DHENKANAL – 759 001

FINANCIAL BID

TENDER FOR RESTORATION OF FAULTS / DAMAGES IN OFC ROUTES

IN THE TERRITORY OF DHENKANAL TELECOM DISTRICT

NO. D-286/OFC -X /2006-2007/04,     DATED 07 / 10 / 2006

FORM NO.

| ISSUED TO Name & Address of the Contractor | Signature with seal of the issuing Authority and date of issue |
| --- | --- |

Zone No:-………….

# SECTION-XII

## PRICE SCHEDULE

| Sl. | Description of work | Unit | Rate in Rs. |
| --- | --- | --- | --- |
|  |  |  | In Figure | In Words |
| 01 | Excavation of trenches of 45 cms width the top and 30 cms width at the bottom to a depth of 165 cms in all types of soils, ramming of bottoms including getting out of excavated soil as required and then reinstating the soil as required in layers not exceeding 20cms in depth including consolidating each deposited layer by ramming, watering etc and disposing of the surplus excavated soil as directed within a lead of 50m. This includes jungle cutting, dewatering and removing obstacles, if any. (The rate will be uniform irrespective of the type of soil) | Mtr. |  |  |
| 02 | Laying, jointing and strengthening H.D.P.E /P.L.B.E. Pipes in the excavated trench placing, adjustment and jointing with HDPE/PLBE sockets and drawing of nylon ropes (4mm dia) into the pipeline with sealing the section end by end-caps as per the construction specification of the tender. The rate includes the testing of HDPE/PLBE Pipeline section generally of 200 meters length by puling wooden balloons after re-instatement. (The rate also includes transportation of materials from the depart-mental store depot to the work site within a distance of 40 kms.) | Mtr. |  |  |
| 03 | Laying, jointing of half round RCC pipes at the road crossing, bridges, culverts, swampy areas, town limits and places needing extra protection, entire half round RCC Pipes will be used over the H.D.P.E / P.L.B.E. pipes depending upon the condition of the terrain for extra protection. (The rate includes transportation of materials from the departmental store depot, to the work site within a distance of 40 kms.) | Mtr. |  |  |
| 04 | Laying, jointing of full round RCC / G.I.pipes at the road crossing, bridges, culverts, swampy areas, town limits and places needing extra protection, entire full round RCC /G.I. Pipes will be used over the H.D.P.E / P.L.B.E. pipes depending upon the condition of the terrain for extra protection. (The rate includes transportation of materials from the departmental store depot, to the work site within a distance of 40 kms.) | Mtr. |  |  |
| 05 | Concreting G.I. Pipes /RCC Pipes/ H.D.P.E Pipes on/ under the bridges/ culverts /town limits / rocky areas wherever concreting will be necessary of size 30cms x 30cms thick layer of concrete (1:2:4) is to be provided. This includes supply of necessary materials like sand, cement, concrete etc. (Except G.I./H.D.P.E/RCC/Wire mesh which will be supplied by the department) (The rate includes transportation towards cement, concrete, sand etc.) | mtr. |  |  |
| 06 | ROAD BORING: This rate is for crossing the road by boring and inserting G.I pipes over HDPE/ PLBE pipes. It may be noted that this rate is not admissible if decided by site Engineer to cross the road-by-road cutting depending on the local condition. In such a case, the rate will be same as that of excavation of item No.1 (The rate per meter of road boring excluding the cost of G.I. pipes) | Mtr. |  |  |
| 07 | Road cutting, if necessary (cement & pitch road) in road crossing as per Sl. No.1 | Mtr. |  |  |
| Sl. | Description of work | Unit | Rate in Rs. |
|  |  |  | In Figure | In Words |
| 08 | Pulling of Optical Fibre cable, which includes digging of required sections, extra sections (wherever required) Mandrel test, cable pulling, fixing of split-pipes in sections and re-instatement of excavated trenches/sections. Item also includes collection and transportation O.F. Cable, split pipes and all other accessories from Divisional Store depot to the work site within a distance of 40 kms. (Including cost of nylon rope) | Mtr. |  |  |
| 09 | Fixing of Route and Joint indicators with supply as per the given specification and painting. | Each |  |  |
| 10 | Construction of Splicing Chamber as per the specification inclusive of RCC rings, slabs and sand filling. | Each |  |  |

Please Note:-

- Zone I is comprising of the jurisdiction under DET Angul and DET Nalconagar and Zone II of DET(Extl), Dhenkanal

- The Quantum of work is tentative.

If may vary during the actual execution of work

- A tenderer can participate in one Zone only.

- Rates quoted must be inclusive of all type of Taxes.

Signature of the tenderer

With date and seal

# Text boxes

This tender document consists of 33 pages. The bidder is requested to verify immediately after receipt of tender documents.

### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT,DHENKANAL DHENKANAL

Divisional Engineer (P&A)

O/o. G.M.T.D., Dhenkanal

Passport size

Photograph of

Tenderer/authorized

Signatory holding Power of autonomy