BHARAT SANCHAR NIGAM LIMITED

(A Govt. of India Enterprise)

O/o the General Manager, Telecom District

Rourkela – 769001.

NIT No: N-62/12-13/1 				Date: 10-01-2013

BID DOCUMENT

Name of the Route ___________________________________

Name of the Section __________________________________

Price Rs.525/-

CONTENTS

| Part-I | : | NIT |
| --- | --- | --- |
| Part-II | : | General Conditions |
| Part-III | : | Eligibility Conditions |
| Part-IV | : | Special Conditions |
| Part-V | : | Specification of Works. |
| Part-VI | : | Schedule of requirements. |
| Part-VII | : | Price Schedule. |
| Part-VIII | : | Declaration |
| Part-IX | : | Under taking |
| Part-X | : | Performance Security Form |
| Part-XI | : | Agreement Proforma |

Bharat Sanchar Nigam Limited,

(A Govt. of India Enterprise)

O/o the  G M T D, Rourkela

------------------------------------------------------------------------

No: N-62/2012-13/1                                           Dated: 10-01-2013

PART-I

NOTICE INVITING TENDER

Sealed tenders with sealing wax/packing PVC Tape are invited by the General Manager, B.S.N.L., Telecom District, Rourkela from the experienced bonafide registered contractors for OFC laying as below.

| Name of OFC Route | Cost of Tender Paper | Estimated Cost of the Work | EMD in Rs. | Approx. route length | No. of Sections |
| --- | --- | --- | --- | --- | --- |
| Barsuan Telephone Exchange to Khandadhar OMC Mines | Rs.525/- | 56 Lakhs (Approx.) | Rs.24000/- (Per Section) | 24.5 Km | 6 (Approx. 4.1 Kms each) |

Tender papers with details can be had from SDE (Estimate), O/o the General Manager, Telecom District, Rourkela on payment of Rs.525/- in shape of cash/ DD in favour of Sr. A.O ( Cash) , BSNL, Rourkela on working days between 10.30 hrs to 13.00 hrs from 21-01-2013 to 12-02-2013 on submission of application on plain paper. The tenders with required documents along with EMD should be submitted in sealed cover super scribed 1) TENDER FOR LAYING OFC IN ROURKELA TELECOM DISTRICT, 2) Name of the Section to be dropped on or before 13.00 hrs on 13-02-2013 in the tender box available in the chamber of AGM (P&A), Room No-205, O/o the GMTD, Rourkela and will be opened on the same day at 16.00 hrs in the presence of Tenderers or their representatives who may be present on the spot.

In case of down loading of tender form from Website www.orisssa.bsnl.co.in/rourkela, D.D. of Rs.525/- in favor of AO (Cash), BSNL, Rourkela must be enclosed towards cost of application form in a separate D.D. not to be accumulated with EMD failing which the bids, submitted will not be considered as eligible.

G.M.T.D., Rourkela.

No: N-62/2012-13/1                                                                                    	 Dated: 10-01-2013

PART-II

GENERAL CONDITIONS

- DEFINITION;-

- “The bidder” means the Contractor who participates in this tender.

- “The BSNL” means The Bharat Sanchar Nigam Limited/ General Manager, Telecom District, Rourkela.

2.  	BID COST;-

The bidder shall bear all the costs associated with the procurement preparation and submission of bid. The BSNL in no case will be responsible or liable for these costs regardless of the conduct or outcome of the bidding process. The cost of bid form will be Rs. 525/- (Five Hundred Twenty Five) only.

The bidder is expected to examine all instructions, forms, terms and specifications in the bid documents. Failure to furnish all information required as per the bid documents or submission not substantially responsive to the bid documents in every respect will be at the bidder’s risk and shall result in rejection of the bid.

3.	CLARIFICATION OF BID DOCUMENTS:

A prospective bidder requiring any clarification of bid document shall notify the BSNL in writing or by FAX at the GMTD, Rourkela mailing address indicated in the invitation for bids. Copies of the query (without identifying the source) and clarification by the BSNL shall be sent to all the prospective bidder who have received the bid documents.

- PREPARATION OF BID:

- Documents comprising the bid:   -

The bid prepared by the bidder shall comprise the following documents.

- Documentary evidence in accordance with eligibility conditions as specified in Part-III.

- Bid security.

- A bid form and cost schedule completed in accordance with instructions in this regard.

- BID SECURITY:

a).	The bidder shall furnish a bid security (EMD) as mentioned in NIT to be deposited along with the tender paper as per (d) below failing which tender will be declared ineligible for all purpose.

b).	The bid security is required to protect the BSNL against the risk of bidder’s conduct, which would warrant the bid security forfeiture.

c).	The bid security shall be in form of a Bank Draft issued by a scheduled Bank in favour of Accounts Officer(Cash), BSNL, Rourkela.

d).	A bid not secured in accordance with Para - ( a ), ( b )& ( c)  above shall be rejected by the BSNL as non-responsive.

e).	The security of unsuccessful/successful bidder will be discharged/returned as early as possible, after finalization of the tender only.

6.	PERIOD OF VALIDITY:

a).	Bid shall remain valid for 180 days after the date of bid opening. A bid valid for a shorter period shall be rejected by the GMTD, as non-responsive.

b).	In exceptional circumstances, the GMTD may request the bidder’s consent for an extension to the period of bid validity, the request and responses thereto shall be made in writing. A bidder may refuse the request without forfeiting his bid security, a bidder granting the request will not be permitted to modify the bid.

7.	FORMAT AND SIGNING OF BID:

a).	The bid shall be signed by the bidder or a person or persons duly authorised to bind the bidder to the contract. The letter of authorization shall be indicated by written power of attorney accompanying the bid. All pages of the bid shall be signed by the person or persons signing the bid. The bid shall be sealed properly.

b).	The bid shall contain no inter lineation, erasures or over writing except as necessary to correct errors made by the bidder in which case such corrections shall be signed by the person or persons signing the bid.

c) 	Rates should be quoted both in words and figures.

8.	SEALING AND MARKING OF BIDS:

a).	The bidder shall seal the bid with wax/ PVC tape, and mark envelope as “ TENDER FOR LAYING OFC IN ROURKELA TELECOM DISTRICT”. The cover shall indicate the name and address of the bidder and addressed to GMTD, Rourkela-769 001.

- Tenders shall either be sent by registered post or delivered in person. The responsibility for ensuring that tenders are delivered in time would rest with the bidder.

- Bids delivered in person shall be dropped in the tender box before the expiry of deadline.

b).	If the envelope is not sealed and marked as required, the department shall not accept the bid.

9.	SUBMISSION OF BIDS:

(a) The bid must be dropped in the tender box placed in the chamber of AGM (P&A), Room No-205, 2nd Floor on or before 13:00 hrs dated: 13-02-2013.

(b) The tender can be sent by Regd. Post addressed to Sri A. Bilung, AGM (P&A), O/o Sr.GMTD, Rourkela which must be received on or before submission date/time.

10.	LATE BIDS:

Any bid received by the department after the deadline for submission of bids prescribed by the

Department shall be rejected and returned unopened to the bidder.

11.	OPENING OF BIDS BY THE BSNL:

a).	The BSNL shall open bids in the presence of bidder or his authorised representatives who choose to attend at 16:00 hrs in the same date. The bidder’s representatives who are present shall sign an attendance register. Authority letter to this effect shall be submitted by the bidder before they are allowed to participate in bid opening.

b).	A maximum of two representatives for any bidder shall be permitted to attend the bid opening.

12.	CLARIFICATION OF BIDS:

To assist in the examination, evaluation and comparing the bids, the BSNL may, at its Discretion ask the bidder for the clarification of its bid. The request for clarification and the response shall be in writing. However no post bid clarification at the initiative of the bidder shall be entertained.

13.	PRELIMINARY EVALUATION:

a).	BSNL shall evaluate the bids to determine whether they are complete, whether any computational errors have been made , whether required documents have been furnished , whether the documents have been properly signed and whether the bids are generally in order.

b).	Arithmetical errors shall be rectified on the following basis. If there is a discrepancy between words and figures, the amount in words shall prevail. If there is discrepancy between unit price and total price unit price will prevail. If the bidder does not accept the correction of the error, his bid shall be rejected.

c).	Prior to the detailed evaluation, the department will determine the substantial responsiveness of each bid i.e. one which confirms to all the terms and conditions of the bid. The department’s determination of bid’s responsiveness will be based on the contents of the bid itself without recourse to extrinsic evidence.

d).	A bid determined as substantially non-responsive will be rejected by the department and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

14.	CONTACTING THE BSNL:

a).	No bidder shall try to influence the department on any mater relating to its bid , from the time of the bid opening till the contract is awarded.

b).	Any effort by a bidder to influence the BSNL in the bid evaluation, bid comparison or contract award decisions shall result in the rejection of the bid.

15.	AWARD OF CONTRACT:

The BSNL shall consider issue of L.O.I on those bidders whose offers have been found technically and financially acceptable.

16.	BSNL’S RIGHTS TO VARY QUANTITIES AT THE TIME  OF AWARD:

The BSNL reserves the right at the time of award of contract to increase or decrease the quantity as per requirements without any change in terms and conditions. Normally this increase/decrease will be limited to ( 25%.

17.		BSNL’S RIGHT TO ACCEPT ANY BID AND REJECT ANY OR ALL BIDS:

a).	The BSNL reserves the right to accept or reject any bid , and to annul the biding process and reject all bids , at any time prior to award of contract without assigning any reason whatsoever, and without thereby incurring any liability to the effected bidder or bidders.

b).	Conditional bid will be rejected.

18.	PERFORMANCE SECURITY.

- An amount of Rs.40,000/- (Rupees Forty Thousand Only) is to be deposited as Performance Security for each section separately.

- The proceeds of the performance security shall be payable to the Department as compensation for any loss resulting from the bidder’s failure to complete its obligations under the contract.

- Performance Security to be submitted in the form of Bank Guarantee should be issued by any scheduled Bank/NSC pledged in favour of GMTD, Rourkela for a period of 18 months.

- Performance Security will be discharged after completion of contractor’s performatory obligations under the contract.

- In case of any failure or negligence in the contractual obligations agreed upon by the contract, the BSNL reserves the right to forfeit, either whole or in part of performance security, furnished by the bidder, as compensation.

19.	SIGNING OF CONTRACT:

Before signing the contract the eligibility documents submitted will be verified with original. If discrepancy is found then the bid will be rejected and bidder will be disqualified from participation in all future tenders of the SSA.

20.	ANNULMENT OF AWARD:

Failure of the successful bidder to sign the agreement shall constitute sufficient ground for the annulment of the award and forfeiture of the bid security in which event the department may make the award to any other bidder at the discretion of the BSNL or call for new bid.

21.	VALIDITY OF CONTRACT:

  - The contract period is valid for 1 year.

  - The tender can be extended for upto six months on the same rates and same terms and conditions at the discretion of competent authority. It will be mandatory for the contractor to continue the contracted works for extended period.

  - In exceptional cases competent authority may decide to extend the period of contract beyond six months on the same rates and on the same terms and conditions on mutual agreement.

22. 	The bidder should give a certificate that none of his/her near relative is working in the units where he/she is going to apply for the tender. In case of proprietorship firm certificate will be given by the proprietor. For the partnership firm certificate will be given by all the partners and in case of limited company by all the directors of the company excluding Govt. of India/Financial Institutions nominees and independent non official part time directors appointed by Govt. of India or the Governor of state. Due to any breach of these conditions by the company or firm or any other person the tender will be cancelled and security will be forfeited at any stage whenever it is noticed and BSNL will not pay any damage to the company or the firm or the concerned person. The company or firm or the person can also be debarred for further participation in the concerned unit.

The near relatives for this purpose are defined as:

  - Members of a Hindu undivided family.

  - They are Husband and wife.

  - The one is related to the other in the manner as Father. Mother, Son (s) and Son’s wife (Daughter in law), Daughter(s) and Daughter’s Husband (son-in-law), Brother(s) and Brother’s wife, Sister(s) and Sister’s Husband (Brother-in-law)

23. 	ARBITRATION:

23. 1. In the event of any question, dispute or difference arising under this agreement or in connection there with except as to matter the decision of which is specifically provided under this agreement the same shall be referred to sole arbitration of the CGM, Orissa Telecom, Bhubaneswar or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the officer for the time being entrusted the function of the CGM, Orissa Telecom, Bhubaneswar or by whatever designation such officer may be called (hear after referred to as the said officer) and if the CGM, Orissa Telecom, Bhubaneswar or the said officer is unable or unwilling to act as such the sole arbitration to some other person appointed by the CGM, Orissa Telecom, Bhubaneswar or the said office. The agreement to appoint an arbitrator will be in accordance with the arbitration and conciliation Act, 1996. There will be no objection to any such appointment that the arbitrator is Govt. Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Govt. Servant he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such CGM, Orissa Telecom, Bhubaneswar or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessor.

23.2 The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to afore said arbitration and conciliation Act. 1996 and the rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

23.3 The venue of the arbitration proceeding shall be the Office of the CGM, Orissa Telecom Bhubaneswar or such other places as the arbitrator may decide.

24. The Contractor shall comply with all provisions of the “Payment of wages Act” 1936, minimum wages Act 1948, Employees liability act 1938, Workmen compensation act 1923, Industrial Disputes act 1970 or the modifications thereof or any other laws relating thereto and the rules made there under from time to time. The contractor shall indemnify BSNL against payments to be made for the observance of the laws aforesaid. The tenderer is required to have the valid labour license from the competent authority where ever applicable.

25. All the materials supplied to the tenderer are always the sole property of the BSNL even when they are under the safe custody of the tenderer. Any damage or loss is to be made good by the contractor on actual cost basis.

26. Compensation under the workmen’s compensation act:

The contractor shall be responsible for & shall pay any compensation to his Workmen payable under the workmen’s compensation Act, 1992 for injuries caused to the workmen. If such compensation is paid by department as a principal employer under section (1) of the section 12 of the said act, such compensation will be recovered from the security deposit or any amount due to the contractor on any account or otherwise.

27.  Payment Terms: -

a) 	On completion of work, the contractor should submit the bill in triplicate with Xerox copy of workbook duly certified by the concerned SDE/SDO/AO & countersigned by concerned DEs for onward transmission to GMTD office for payment.

b) The contractors bill may be paid through ECS as and when required by BSNL authority.

c) TDS & S.Tax is applicable as per rule.

28. 	EPF CLAUSE:

a)  The bidder / contractors must have EPF registration number issued by competent authority whenever applicable. The contractor must fulfill / comply with the provisions of EPF & miscellaneous. Provisions Act 1952 and Employees’ Provident Fund scheme 1952 in respect of labours / employees engaged by them for performing the work of BSNL.

b). Each claim bill of contractor must accompany the :-

1. List showing the details of lobourers / employees engaged

2. Duration of their engagement.

3. The amount of wages paid to such labourers/ employees for the duration in question.

4. Amount of EPF contributions (both employer’s and employees contribution) for the

duration of engagement in question, paid to the EPF authorities.

5. Copies of authenticated documents of payments of such contribution to EPF authorities.

6. A declaration from the contractors regarding compliance of the condition of EPF Act. 1952.

7. Any claim/ lapse/failure on the part of the contractor if communicated by EPF authorities to

BSNL , the same shall be recovered from / passed on to the contractor concerned for execution.

29.		Implementation of the following points related to contract labourers engaged in BSNL Rourkela SSA has to be ensured –

1)	Muster roll has to be maintained by the contractors in respect of contract labourers engaged by them.

2)	The wages paid by the contractor o the laborer employed by him should not be less than the minimum wages as per the provisions of Central Labour (Regulation & Abolition) Rules, 1971.

3)	The contract labourers engaged by the contractors may be covered under ESI and EPF scheme by the contractor himself as per rules.

4)	The contractor will issue Identity cards of engaged contract labourers.

5)	Provision of the Contract labour Regulation & Abolition Act. 1970 & the contract labour Regulation & Abolition Contract Rule 1971.

30.	BSNL reserves the right to terminate the contract by giving one month notice without assigning any reasons.

31.	BSNL reserves the right to relax one or more conditions of the tender document if exigencies of service so demand without any material/financial effect on the overall tender.

32.	SCOPE OF WORK:

- On receipt of the order, the successful tenderer has to start the work and the same should be completed as specified in the Work Order.

- The transportation charges for all purposes shall be borne by the tenderers.

- The work will be done within specified time from the date of issue of Work Order, a penalty of 1% of value of work delayed per week or part thereof will be levied thereafter.

- Payment will be made by the GMTD, Rourkela against the bills preferred by the tenderers after the successful completion of work is done.

- Inspection and Testing will be conducted by The GMTD or his representative.

- Work Order issued under the signature of GMTD, Rourkela or any Officer authorised by him only will be valid.

GENERAL MANAGER

TELECOM DISTRICT

ROURKELA

PART-III

ELIGIBILITY CONDITIONS

The Contractor must submit the self attested Photo Copies of following documents alongwith the bid form –

1)	Experience Certificate for OFC work at UG Cable in BSNL/any other organization for last 2 years of an amount of Rs.5 lakhs (Five Lakhs).

2)	Bank solvency certificate of one lac. from any Nationalized Bank.

3)  	Separate DD for cost of Tender Paper & EMD respectively.

4) 	Valid registration certificate issued by BSNL/ MTNL/ State govt. / Central govt.

5)	Valid EPF registration.

6)	Valid ESI registration.

7)	Valid Labour Licence certificate.

8)	PAN Card.

9)	Valid Service Tax Regd. No.

Note: In case any missing of the above documents, TOC may either declare the bid ineligible for evaluation may allow its submission within a time period at its discretion.

### PART-IV

### SPECIAL CONDITION

- These conditions will supplement the general conditions of contract and if any contradiction with general conditions is found then the specific conditions will prevail.

- Tenderers bidders for work should have appropriate resources, necessary expertise, requisite manpower, proper co-ordination and supervisory ability to undertake the work.

- Tenderers must physically visit well in advance the different work places taking due permission from the concerned DET/SDE/JTO in order to make detail survey to access the quantum of work, manpower required and the correctly bid their offer taking all factors in to consideration.

- The items of work mentioned in the tender are only illustrative and not exhaustive.

- The contractor should furnish its personal information and should always be available for contacting to assign works.

- The contractor should submit the bill in triplicate by the concerned SDE/SDO and countersigned by concerned DEs for onward transmission to GMTD Office for payment.

- The contractor has to issue the identity cards to the workers for entry into the respective exchange premises.

- Penalty of 1% of the bill amount will be imposed in case of any irregularities pointed by the officer in charge. The decision of GMTD, Rourkela in this regard is final.

- Max. 2 Sections will be awarded to a Single Bidder, however the competent authority reserve its right to allot additional incase of exigency or not available.

### PART-V

### SPECIFICATION OF WORKS

- NATURE OF WORK  :-

The work involves excavation of trench, laying of 100mm HDPE/150 mm RCC/GI/RCC half-cut pipes, jointing them in some places concreting of pipe as per specification and reinstatement of the excavated trench.  Excavation of trench includes cutting of tree, roots, removal of other obstructions like boulders, removal of bushes, wetting the trench with water etc., for which  no  additional payment will be made.   The  Optical  Fiber Cables are to be drawn through these HDPE pipes at a later  date.  The  pipe  is intended to provide mechanical protection  to  the delicate  Optical  Fiber  Cable.  The  BSNL  will  arrange necessary  permission  from  the road authorities  and  the  site Engineer will make the route for the cable trench.  A nylon  rope of  approximately  4 mm dia. shall be laid inside the  pipe  while joining the pipes to facilitate pulling of Optical Fiber Cable at a  later date.  The ends of the pipe sections of approximate  200 meters  shall  be suitably plugged to prevent mud,  dirt  or  any other objects entering the pipes and obstructing the cable  pulling  at a later date.  The protective pipes,  joining  materials, nylon  ropes and suitable plugs will all be supplied by  the  BSNL.  The contractor shall be fully responsible for the safe custody  of  the materials supplied to  him/his  representatives, till  work in the entire section is completed and  the  completed work  taken  over by BSNL, and also  to  return  unused materials to BSNL in good shape.

- LAYING OF PIPE  :-

Normally the pipe is to be laid at a depth of 1.65 m in all classes of soil. Normally a trench of about 45cms wide at the top and 30 cm wide at the bottom at depth of 1.65 meter may be appropriate.

THE  PIPE LAYING WORK WILL INVOLVE  EXCAVATION  OF TRENCH  IN VARIOUS SOIL CONDITIONS LIKE ORDINARY SOFT SOIL,  HARD MORUM,  BLACK  COTTON SOIL, LOOSE SOIL MIXED  WITH  STONE,  STONE MIXED  WITH LOOSE SOIL, ROCKY AREA WITHOUT BLASTING,  HARD  ROCKY AREA  WITH  BLASTING, ASPHALTED BITUMINISED PATH,  CONCRETE  PATH ETC.

- DEPTH OF TRENCH  :-

The standard depth of 1.65 meter specified in  the preceding paragraph is subject to the following conditions.

(a) 	In  areas  where the nature of soil  is  soft  for continuous  stretch  of more than 100 meters the pipe had  to  be laid at the standard depth of 1.65 meter.

(b) 	In rocky areas, where excavation can be done  only by either blasting or chiseling of rocks the rocky portion is  to be excavated in the following manner. If  the rocky portion  is  continuous/intermittent for  a length of less than 20 meters such rocky portions have  to be  excavated to the same depth of 1.65 meter, so that the  depth of  the  trench  is uniform throughout.  However,  if  the  rocky portions are continuous for more than a distance of 20 meters and rock  is  encountered more or less from the surface  itself,  the depth  of the trench at such locations may be restricted  to  one meter.   But,  in  these  cases it has to  be  ensured  that  the level/depth  of  the trench changes from 1.65 meters to  1  meter keeping  a low gradient of not more than 15 degrees to the  horizontal, so that, when the pipes are laid and jointed, the  change of  gradient will be smooth to enable pulling of  cables  through these pipe with out much friction at later date.  Once the  depth has changed from 1.65 meter to 1 meter the same of 1 meter has to be  maintained for a distance of not less than 20  meters.   This lower  depth  of 1 meter is permissible only at  locations  where heavy  road  traffic is encountered or  densely  populated  areas prohibiting  use of explosives  (as a safety measure).   However, in such cases in areas where the depth is confined to 1 meter  or below required protection will be given as decided by supervising officer.  Required protection couplings will be supplied by the  BSNL.   In  other  locations including those  places  where  hard morrurn,  soft rock or soft soil may be encountered the depth  of the excavation has to be not less than 1.65 meter.  The depth  of 1.65 meter is to be taken as the normal depth.  It is likely that due  to  uneven  ground conditions if 1.65 meter  is  adopted  as uniform  depth  throughout  the bottom of the  trench  will  also follow  the  same  unevenness as the  surrounding  terrain.   This should not be the case and the bottom of the trench has to be  at uniform  level.   In this process, it is possible  that  in  some location  the depth of excavation may be less or more.   However, it is to be ensured that at no locations, the depth is less  than one meter.

(c) 	To maintain the trench at uniform level, sometimes it  will  become necessary at certain locations  to  excavate  the trench  either more than or less than 1.65 meter. In such  cases, the payment per meter will be increased/decreased  proportionately.

- Wherever  the  depth is less than  the  stipulated limit due to the local conditions, protection (GI or RCC or concreting )is to be provided as decided by the supervising officer by the contractor.  Secondly some times  concreting  of the pipes has to be done, if decided by  the  Officer-in-charge  while  crossing the culverts or  bridges.   The  decision regarding  the  necessity  of concreting will be  solely  at  the discretion  of  Engineer-in-charge. Whenever depth is less than 1 meter, mechanical protection by reinforced concrete if decided by the GMTD to be provided .

Engineer-in-charge  may make minor  modifications.  Cement  (1 unit), coarse sand (2 units) metal of 20mm  (4  units) has  to  be  used. All the materials including water  are  to  be arranged  by the contractor at the work spot at his cost and  has to carry the work and he has to cure it properly by pouring water over  it.  After curing refilling of balance depth of the  trench has  to be done with excavated soil.  It may be noted again  that no extra payment is admissible for arranging necessary  material, labour, tools or machines while carrying out this work.

(e)   Concreting  of  the G.I pipes, as decided  by  the Engineer-in-charge, has to be done, in continuation of laying  of the same.  If, for any reasons, the concreting is executed by the contractor,  at  a later date, no extra amount will be  paid  for excavation  of the trench or reinstatement.  It will be the  sole responsibility  of the contractor, to guard against the theft  of the laid GI pipes upto the time of concreting.

(f)   At location, where surface soil is soft, but  rock is  encountered at a depth of less than 1.65 metre the work has  to be carried out in the following manner :

(i)   If  the rocky layer is encountered at a  depth  of 120cms or more no further excavation is necessary and the excavation may be stopped at the rocky layer ensuring at the same  time that the bottom level of the trench is uniform.

(ii)   If  rocky layer encountered at a depth  less  than 120  cms but more than 60 cms, in such locations, the  excavation is to be done upto a depth of not less than 120 cms.

(iii)  If  the rocky layer is encountered right from  the surface  or  a depth of less than 60 cms from  the  surface,  the depth of the trench at such locations should not be less than 100 cms.

(iv)  However,  the decision of  the  Engineer-in-charge will  be  final in deciding the depth requirement  at  individual locations.

(v)   The  Engineer-in-charge of site work will  be  the authority to decide the depth of trenches depending upon  terrain condition and his decision shall be final.

(vi)	Suitable mechanical protection by using RCC/GI/concreting to be provided for all cable laid at a depth less than 1.2.m . No protection required to be given if the depth is more than 1.2 m.

(vii)	The specification of the Cement concrete 1:2:4 (1 Cemenet: 2 Coarse Sand: 4 Graded stone aggregate 20mm nominal size). The dimension of concrete 0.2m x 0.2m thickness approximately. Concreting is to be made in all culvert/bridge in the route over DWC/GI Pipe.

- LOCATION AND ALIGNMENT OF THE TRENCH  :-

(a) 	The alignment of the trench will be decided by the responsible BSNL official not below the rank of a  junior Telecom Officer.  While making the alignment only the centre line will  be  marked and given and the contractor shall set  out  all other  work  to ensure that the excavated trench is  straight  as possible.   The contractor shall provide efficient staff for  the purpose  of this marking and the contractor shall solely  be  responsible  for  the accuracy of such setting out.   No  deviation from  the alignment is permitted except with the consent of  site in-charge officer.

(b) 	The contractor shall clear, prepare and grade  the right  way  to  facilitate the making of  the  alignment  of  the trench.  Contractor shall remove all bushes, undergrowth, stumps, rocks  and other obstacles to facilitate making the centre  line.  It  is  to be ensured that minimum amount of  bushes  and  shrubs shall  be removed to clear the way and the contractor shall  give all  consideration to the preservation of trees within the  right way.

- The  Contractor  at his own  cost  should  provide necessary  barricades,  night lamps warning boards and  post  required  watchman to prevent any accident to pedestrians or  vehicles etc., while blasting rocks he shall ensure adequate safety by cautioning  the  vehicular and other traffic.  He  shall  employ sufficient manpower for this with caution boards, flags etc.

- TRENCHING   :-

The  Contractor shall dig the trench to the  depth specified.   Trenching shall as far as possible be kept ahead  of the laying of pipes.  Contractor shall exercise due care that the soil  from trenching intended to be used for back filling is  not mixed  with loose debris.  Trenching shall be carried out in  all sorts of soil.  While trenching, contractor should not damage any underground  structure  or pipe line or  cable,  slabs,  culverts etc,. In case of any damage to any underground structures or pipe line/cables  or culverts, clabs etc., then the contractor  should repair or replace it at his own cost and expenses, as directed  by the owner of those damaged pipes/cables, culverts, slabs etc.

- DEWATERING / WETTING  :-

(a)  The contractor shall be responsible for all  necessary arrangements to remove or pump out water in the trench.  The contractor  should survey the soil condition encountered, in  the section  for  which he is tendering and make his  own  assessment about  dewatering  arrangement that may be necessary.   No  extra payment  shall be admissible for this and the tendered  rate  may take care of this aspect.  In the same way, wherever the soil  is hard due to dry weather conditions if watering is to be done  for wetting the soil to make it loose, the same shall be done at  his cost.

(b)  The contractor should provide sufficient width  of the  trench at all such places where it is likely to cave in  due to  soil  conditions and for this no extra payment will  be  made.  Any  shuddering/probing  done for this purpose shall  be  at  his cost.

(c)  A minimum free clearance of 15 cm should be  maintained  above or below any existing underground metallic or  non-metallic  line  or structure crossing the  trenching.   No  extra payment will be made towards this.

- NIGHT CAPPING  :-

At  the  end of each day's work, the ends  of  the pipe  sections  shall be tight capped with  securely  closed  cap which will be supplied by BSNL to prevent the  entrance of  dirt/mud, water any foreign matter into the pipe  line  until the work is resumed.

- METHOD OF EXCAVATION  :-

(a)	In  City limits as well as in built up  area,  the contractor shall resort to use manual labour only to ensure  that damage  is  not caused to pipes sand structures  or  various other utility  service  like Telephone, Power, Sewerage,  Water  Supply etc. Any mechanical excavation may cause damage to such installations.  However,  along the Highway, away from  cities  and  town where it is certain after due care and verification that no other cable  or  pipe line may lie buried in the path  of  excavations, there  shall be no objection to the contractor resorting  to  mechanical  means of excavation subject to the approval of  highway authorities/forest authorities and Engineer-in-charge.

(b)  The  contractor shall ensure that  trenching  and pipe  laying  should  be continuous without  leaving  patches  or portions  in  between.  In case intermediate  patches  are  left, measurements will be taken of the completed portions, only  after such patches left over are also excavated according to specifications  and pipes laid and jointed and the trench back filled  and work in such patches is also completed in all respects.

- SWABBING  :-

Preparatory to aligning the pipe for jointing, the inside  of  each  length of pipe shall be  thoroughly  cleaned  to remove all sand, dirt or any other debries that may clog, disturb or  damage the fiber optical cable when it is pulled at  a  later date, or which may disturb or damage the jointing operation.  Any obstruction remaining in the pipe line after its completion shall be removed at the expense of the Contractor.

- PREPARATION FOR JOINTS  :-

The ends of each pipe and inside of each  jointing coupler  shall be thoroughly cleaned of any dirt or other  foreign matter so as to avoid defects in the joint.

- LINE  UP  :-

The  pipes  when laid and jointed shall  be  in  a straight line both in the horizontal and vertical plan except  at locations where it has necessarily take a bend because of  change in  the alignment or the depth of the trench change according  to limitations and restrictions as mentioned elsewhere.

- LAYING OF PIPE :-

(a) 	After  the  trench is excavated to  the  specified depth,  the bottom of the trench has to be cleared of all  stones or pieces of rock and leveled up properly.  A layer of soft  soil of not less than 5 cms is to be used for leveling the trench  to ensure  that the pipe when laid will follow a straight  alignment along with it joints.  The pipe shall be straight as far as possible  and  all bends and gradients or change of  depth  should  be gradual.  Any tree roots in the trench should be cut to avoid the risk of damages to the cable due to growing of the tree roots  in later years, for which no extra compensation will be paid.   Such woods cut by him should be returned to BSNL.

(b) The pipes shall be jointed for continuous trenches  of  about 200/500 meters in the straight and  nylon  rope  pulled through the pipes and kept inside tied on suitable weight so that the end of the rope are easily accessible at the pipe end.   Both the ends of the pipe line section, shall then be securely  sealed by  suitable that will be supplied by BSNL.   The  next length of pipe shall be laid leaving a gap of two meters.

(c)  A gap of two meters as mentioned above may also be kept at every bend that pipe line may take as will be directed by the  sub-Divisional  Engineer or Junior Telecom  Officer  of  BSNL at site.

(d)	Water present in the trench at the time of  laying the  pipe  and  jointing shall be pumped out  by  the  Contractor before  lowering in the pipe to ensure that no mud or water  gets in  to the pipe during the process.  If the trench has  collapsed before  the pipes are laid and jointed properly,  the  Contractor shall  make the necessary repairs before laying the pipe  at  his own cost and expenses.

(e)   Before  starting the work of cable pulling  ,  balloon testing has to be done by the cable contractor in presence of BSNL officer-in-charge.

(f)    The  pipes  to be laid may be one or more  or  the following :

(i) High  density  polyethylene pipes 50  mm  O.D.  of nominal  length of five meters to be jointed by PLB couplers  of suitable dimension.

(ii) DWC Pipes with suitable coupling/collars/socket/spigots etc., Wherever such G.I. pipes are laid  PLB pipes of 50 mm dia are to be inserted in the G.I. pipes.

- The  contractor shall exercise all care  of  ensure that pipe is not subjected to any strain.

- BACK FILLING AND DRESSING THE TRENCH  :-

(a)  Provided that the pipe has been properly laid  and jointed  in the trench at the specified depth and the nylon  rope has  been pulled inside, the back filling operation shall  follow as closely as practicable.  The back filling operation shall  be performed  in such a manner as to provide firm support under  and above  the  pipe and to avoid bend or deformation  of  the  pipe.  When the pipe gets loaded with the back filled earth.  Wherein any location  the back filling is unevenly centered over  the  trench due  to carelessness or any other cause it shall be redressed  at the contractor's expense.  No debris shall be allowed in back fill any time.  Back filling should not be done in one stroke for  the entire  depth without ramming and consolidating.  It  should  be done  in  layers  of 20 cms, watering if  necessary  and  ramming before filling the next 20 cms.  As normally complete  consolidation does not take place immediately and certain amount of  sinking takes place due to subsequent rains etc., it is necessary  to fill an extra quantity over the normal surface level with  available earth so that even after final consolidation there will  not be  formation  of "Valleys" .  It should be borne  in  mind  that whatever earth excavated should go back to the trench except  big boulders and stones.

(b)  At locations where the back fill material contains hard  cloud,  rock fragments and other hard materials  which  may cause  injury to the pipe and where rock has been excavated  from the trench and it is intended to refill the trench in whole or in part  with such excavated rock or material, the trench should  be initially filled in order to prevent injury to the pipe from hard fragments,  with  not less than 10 cms or  derocked  loose  earth above the top of the pipe to be screened through a suitable  mesh if  so required and back filling only hereafter be completed  and finished with excavated materials.

(c)  The back fill shall be maintained by the  contractor against wash-out settlement below original levels and rotting until reinstated to the original surface condition as acceptable to the Engineer-in-charge.

(d)   The  finished back fill must be  sufficiently  leveled.  After back filling the original ground condition  should be restored.

(e)   All earth material should have been used for  back filling ultimately, taking suitable allowance for  consolidation.  More loose fillng of earth upto the original surface is not enough.   Proper watering ramming and consolidation to  make  the filled  up earth as hard as possible is required, so that due  to subsequent  consolidation  the  filled up soil  should  not  sink further  causing void at the top of the trench.  The decision  of Engineer-in-charge as to the satisfaction of people reinstatement of earth of final.

- CONSTRUCTION OF SPLICING CHAMBER  :-

Splicing chamber is to be constructed at the joint position  of  optical fiber cable.  The cable generally  comes  in drums having 2 kms cable approximately.  Thereby splicing chamber is  needed  at bount every 2 Km interval.  The chamber is  to  be constructed  utilising  3 numbers of prefabricated RCC  rings  of approximate 1.2 mtr inner dia, 5cm thick, 25 cm height.  The rings are to be mounted one above the other and joints are to be  plastered  both  on inner and outer side.  The lower most  ring  must have  two diagonally opposite passages for passing small  length of  50mm dia HDPE pipe.  The top of the chamber is to be  covered with RCC slab with lifting iron handle.  All the RCC  fabrication should  be very strong made with 1:2:4 cement  concrete  properly reinforced and smooth in finish.

- ROUTE  INDICATOR  :-

Route  indicator have to be fixed at the  approximate  interval of 200 mtrs.  At the bends extra  joint  indicator may have to be fixed.  Route indicators are to be planted 60  cms away from the centre line of the trench.  At the place of splice, joint indicators are to be used.  The prefabricated RCC slabs  of size  150mm X 150mm at the bottom tapering to 100mm X  100mm  at top  and 1200mm in length made with 1:2:4 cement concrete  appropriately  reinforced  are  to be utilised  as  route  indicators.  These  are  to be fixed on the ground in a pit of  size  200mm  X 200mm  X750mm with 1:2:4 cement concrete of 200mm X 200mm  X200mm at the base, painting all sides of the exposed portion with  good quality  yellow  synthetic enamel paint and sign writing  in  red colour.

- PULLING OF CABLE THROUGH PLB PIPE  :-

The cable supplied  by BSNL should be lifted , taken to site and pull  through the  PLB  pipe by the contractor after balloon test as  per  the guide line and instruction of controlling officer. Utmost care must be taken , not to damage the cable during transportation and pulling .

PART-VI

SCHEDULE OF REQUIREMENT

NAME OF THE ROUTE - OFC LAYING FROM BARSUAN TE TO KHANDADHAR OMC MINES (24.5 Km.)

| Section | Section Length | Hard/ Rocky Soil | Blasting | Asphalt | Bridge No | Bridge Length In mtr | RD boring | Boring Length In mtr | Rly Crs. No | Rly crs. length | Conc. Length In mtr | RCC Pipe | PLB Pipe |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 4100 | 3925 | 0 | 0 | 2 | 140 | 1 | 5 | 3 | 30 | 140 | 0 | 4100 |
| 2 | 4100 | 3915 | 0 | 0 | 3 | 180 | 1 | 5 | 0 | 0 | 180 | 0 | 4100 |
| 3 | 4000 | 3895 | 0 | 0 | 2 | 100 | 1 | 5 | 0 | 0 | 100 | 0 | 4000 |
| 4 | 4100 | 3960 | 0 | 0 | 2 | 130 | 2 | 10 | 0 | 0 | 130 | 0 | 4100 |
| 5 | 4100 | 4090 | 0 | 0 | 0 | 0 | 2 | 10 | 0 | 0 | 0 | 0 | 4100 |
| 6 | 4100 | 4085 | 0 | 0 | 0 | 0 | 3 | 15 | 0 | 0 | 0 | 0 | 4100 |

Sec-1: (0 Km. to 4.1 Km.) Sec-2: (4.1 Km. to 8.2 Km.) Sec-3: (8.2 Km. to 12.2 Km)

Sec-4: (12.2 Km to 16.3 Km) Sec-5: (16.3 Km to 20.4 Km) Sec-6: (20.4 Km to 24.5 Km)

PART-VII

NAME OF THE SECTION:

Financial Bid/Rate Chart (Rates to be quoted inclusive all taxes)

| Sl. | Description of item | Unit | Rate |
| --- | --- | --- | --- |
| 1. | Excavation of trenches of 45 cm width at top and 30 cm width at bottom to a depth of 1.65 m in all types of soil ramming of bottoms including getting out of excavated soil and then reinstating the soil as required in layers not exceeding 20 cm in depth including consolidating each depo-sited layer by ramming watering etc. and dispositing of surplus excavated soil as directed within lead of 50 meters. This includes jungle cutting, dewatering, & removing obstacle if any.(THE RATE WILL BE UNIFORM IRRESPECTIVE OF TYPE OF SOIL). | Per Meter |  |
| 2. | LAYING, JOINTING & STRENGTHEN-ING HDPE PIPES : In the excavated trench laying , placing, adjustment and jointing with HDPE sockets and drawing Nylon rope (4mm dia) into the pipe line with sealing the section end by end caps as per the construction specification of the tender. The rate includes the testing of HDPE pipe line section generally of 200 Mtr length by pulling wooden balloons(50 mm Dia) after reinstatement.(The rate also includes transportation of materials from BSNL Sub-Division store depot to the work site). | Per Meter |  |
| 3 | OFC PULLING : | Per Meter |  |
| 4. | LAYING, JOINTING OF FULL-ROUND RCC/GI PIPES : At road crossing, bridges , culverts, swampy areas, town limits & places needing extra protection either RCC or GI will be used over the HDPE pipes depending upon the condition of the terrain as extra protection. WHEREVER SPLIT RCC PIPE WILL BE PROVIDED TO COVER THE HDPE PIPE THE RATE WILL BE TAKEN AS HALF THE RATE QUOTED HERE IN . (The rate includes transportation of materials from the BSNL al Sub-Division store depot to the work site) | Per Meter |  |
| 5. | CONCRETING G.I.PIPE /RCC PIPE/HDPE PIPE : On/Under the bridges/culverts/Town limits/Rocky areas wherever concreting will be necessary , 200 mm X 200 mm thick layer of concrete (1:2:4) is to be provided. This includes supply of necessary materials like sand, cement, concrete etc. (Except G.I./HDPE/RCC/WIRE MESH which will be supplied by BSNL )(Rates includes transportation towards cement, concrete, sand etc.) | Per Cubic Meter |  |
| 6. | ROAD BORING : This rate is for crossing road by boring and inserting G.I. pipes over HDPE pipes . It may be noted that this rate is not admissible if decided by Site-Engineer to cross the road by road cutting depending on the local condition . In such a case the rate will same as that of excavation at item 1. (Rate per meter of road boring excluding the cost of G.I.pipes). | Per Meter |  |
| 7. | RAILWAY CROSSING : Crossing railway tracks by boring through G.I.pipes.( Rate per meter of road boring excluding the cost of GI pipes.) | Per Meter |  |
| 8. | CONSTRUCTION OF SPLICING CHAMBER :Supplying and fixing as per specifications | Per one. |  |
| 9. | ROUTE INDICATOR : Supply and fixing as per specification | Per piece |  |
| 10 | OFC Jointing | Per Joint |  |
| 11 | Fitting of CT Box and Splicing Pigtail & Fitting of FDF | Per site |  |
| 12 | Leading in cable and supply of suction pipe | Per site |  |

The L-1 rates will be considered by taking the sum of the 3 items at Sl No 1, 2 & 3 i.e.  ( 1+2+3 )

Place___________                           Signature of Contractor____________________________

Date_____________                          Name________________________________________

PART-VIII

DECLARATION

(To be submitted by the bidder along with the bid)

“I __________________________________________________________________________

S/O ______________________________________________________________________________

Resident of ________________________________________________________________________

Hereby certify that none of my relative(s) as defined in the tender document is/are employed in BSNL unit as per details in tender document. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me”.

Date: _____________

Signature of Bidder

With Seal

PART-IX

UNDERTAKING

I Shri/Smt ……………………………………………………………………………………… son of Shri …………………………………………………………………. Do hereby undertake that all the documents/certificates submitted by me with this tender are true and are exact copies of the original documents/certificates are available with me.

I further undertake that if at any time any information furnished in the documents/certificates submitted by me are found to be false, BSNL will have every right to take suitable action against me including forfeiture of my security deposit, termination of my contact agreement and/or black-listing of my contract as deemed fit.

Date: _____________

Signature of Bidder

With Seal

PART-X

PERFORMANCE SECURITY FORM

In Consideration of Bharat Sanchar Nigam Ltd., New Delhi (here in after called the BSNL, New Delhi) having agreed to exempt_________________________________

_________________________________ (here in after called the said contractor(s) from the demand of security deposit of  Rs._________________ on production of Bank Guarantee for Rs.______________

or the due fulfilment by the said contractors of the terms & conditions to be contained in Agreement in connection with the contract for supply of _____________

________________________________  we (name of the bank)__________________

here in after referred to as “the Bank”) at the request of ________________________

Contractor’s do hereby undertake to pay to the BSNL, ________________________ an amount of not exceeding_______________________, against any loss or damage caused to or suffered or would be caused to or suffered by the BSNL, ___________ by reason of any breach by the said contractor’s of any of the terms & conditions contained in the said agreement.

We (name of the Bank)_________________________________________________ do hereby undertake to pay the amounts due and payable under this guarantee without any demur, purely on a demand from the BSNL, ______________________ stating that the amount claimed is due by way of loss or damage caused to or would be caused to or suffered by BSNL, ______________________ reason of breach by the said contractor of any of the terms and conditions contained in the said agreement or by reason of the contractors failure to perform the said Agreement. Any such demand made on the bank shall be conclusive regards the amount due and payable by the Bank under this guarantee where the decision of the BSNL, ________________ in these counts shall be final and binding on the bank. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs._____________________

________________________________________.

We undertake to pay to the BSNL, _________________________ any money so demanded not outstanding any disputes raised by the contractor(s)/supplier(s) in any suit or proceeding binding before any court or tribunal relating there to our liability under the present being absolute and equivocal. The payment so made by us under this bond shall be valid charge of our liability for payment there under and the contractor(s)/supplier(s) shall have no claim against us for making such payment.

Signature of the bidder with seal

We (name of the bank)_____________________________________________further see that the guarantee herein contained shall remain in full force and effect immediately a period of eighteen months from date here and further agrees to extend the same from time to time so that it shall continue to be enforceable till all the dues of the BSNL, ________________________ under or by virtue of the said agreement have been fully and its claims satisfied or discharged or till BSNL, _______

__________________certifies the terms and conditions of the said agreement have been fully and properly carried out the said contractor(s) and accordingly discharges this guarantee.

We (name of the bank) further agree with the BSNL, ________________ that the BSNL, _____________ shall have the fullest liberty without our consent and without affecting in any manner our obligations here under to vary and of the terms & conditions of the said agreement or to extend time of performance by the said contractor(s) from time to time or to ________________ against the said contractor(s) and to forbear or enforce any of the terms & conditions relating to the said agreement and we shall not be relieved from our liberty by reason of any such variation, or extension being granted to the said contractor(s) or any indulgence by the BSNL, ____________________ to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision have effect of so relieving us. This guarantee will not be discharged due to the change in the constitution of the Bank or the contractor(s)/supplier(s).

This guarantee shall be irrevocable and the obligations of the Bank herein shall not be conditional to any prior notice by BSNL.Dated: ____________________

________________________________________ (indicating the name of the Bank)

This guarantee should be issued on non-judicial stamped paper, stamped in accordance with the stamp act.

Signature of the bidder with seal

PART-XI

AGREEMENT FORM

An agreement is entered in between M/s __________________________________________  as one part  & the General Manager, Telecom District, Rourkela the 2nd part on behalf of BSNL on this  ____________ day of ________ in Rourkela Telecom District.

Whereas in response to the tender notice no._______________________________

date ________________________ issued by the General Manager, Telecom District, Rourkela . M/s ______________________________ has been declared successful tenderer in Rourkela Telecom District.

M/s__________________________ hereby undertake to Comply to the terms and conditions laid down in the bid document.

M/s__________________________ further undertake to fully abide by the terms and conditions as stipulated in the bid notice no. _________________________ dated _____________.

Signature of Manufacturer / Dealer                                                For General Manager

/Owner of Firm					         Telecom District, Rourkela

Name :						Name :

Address :					Address :

Witness-1 :					Witness-2 :

Name :						Name :

Address :					Address  :

# Text boxes

O/o The General Manager

Rourkela Telecom District

Door Sanchar Bhawan

Rourkela