#### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

##### OFFICE OF THE TELECOM. DISTRICT MANAGER, KEONJHAR

TENDER FOR

Earthing Works

in

Keonjhar Telecom. District

“TECHNICAL BID”

Tender No: T-30 /08-09 dated 24-09-2008

Cost of tender Paper = Rs. 1125/-

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

OFFICE OF THE TELECOM DISTRICT MANAGER, KEONJHAR.

NOTICE   INVITING TENDER

No.: T-30/08-09                         dated 24-09-2008

Sealed (with Wax /PVC Tape) tenders are invited by the undersigned for and on behalf of BSNL from bonafied and experienced individuals/ agencies   for Earthing Works in various telecom installations (20 sites) in Keonjhar Telecom. District.

Tentative Cost of Work   Rs. 13,00,000/-

EMD		  Rs. 32,500/-

Cost of tender Paper = Rs. 1125/-

(in the shape of a DD issued by any Nationalised Bank payable at Keonjhar in                                                  favour of A.O.( cash ) O/o the TDM, BSNL, Keonjhar)

Last date of sale of tender paper:                     21-10-2008(1300 hrs)

Last date of submission of tender paper:          22-10-2008 (1300 hrs)

Opening of tender:                                           22-10-2008 (1600hrs)

Tender papers will be available from SDE (Plg.), O/o TDM, Keonjhar on submission of an application (by 11.30 hrs) with cost of tender paper and attested copies of documents such as (1) PAN/ITCC, (2) Registration Certificate as a contractor, (3) BSNL Enlistment (4) Labour License issued by Labour Department (central), (5) Valid EPF number with up to date payment  and (6) Experience Certificate (having done the same type of work of cost Rs. Two Lakhs only during the last two years) issued by a BSNL officer not below the rank of a DGM. Original documents may be asked for verification at any stage of the tender.

If any of the above date falls on any BSNL Holiday or any strike/bandh, the same date will be automatically shifted to next working day. Downloaded tender paper with all formalities completed (along with cost of tender paper, EMD, other documents and etc.) will also be received by courier / post. Tender paper to be reached in this office in due time is the responsibility of the bidder.

Telecom. District Manager, Keonjhar.

SECTION-I

TENDERER'S PROFILE

General:

1. Name of the tenderer /firm______________________________

2. Name of the person submitting the tender whose Photograph is affixed Shri / Smt._______________________________________

(In case of Proprietary / Partnership firms, the tender has to be signed by Proprietor / Partner only, as the case may be)

3. Address of the firm/proprietor/Individual

………………………………………………………………………………………………………………………………………………………………………………

4.   Tel. No. (With STD code) (O)   ........................ (Fax).....................[R].

5.   Registration & incorporation particulars of the firm:

i)    Proprietorship

ii)   Partnership

iii)  Private Limited.

iv (Please attach attested copies of documents of registration / incorporation of your firm with the competent authority as required by business law)

6. Name of Proprietor / Partners/ Directors………………………………………….. .........................................................……………………………………………………………………..

7. Tenderer's bank, its address and his current account number....................

…………………………………………………………………………

8.  Permanent Income Tax number, Income Tax Circle .........................................…………………………………………………………………………

(Please attach a copy of last income tax return)

9. Details of Technical Staff:

I/ We hereby declare that the information furnished above is true and correct.

Place:

Date:

Signature of tenderer / authorized signatory

Name of the tenderer with Seal.

SECTION-II

BID DOCUMENT (Commercial)

A.	TERMS & CONDITIONS OF THE CONTRACT

A.1.	Scope of the Work: The work relates to earthing in different exchanges under the whole Keonjhar Telecom District. It is expected to undertake earthing of 20 (twenty) exchanges. However the above quantity may vary depending on the actual situation.

A.2.	The rates agreed upon would remain valid through out the contract period of one year from the date of signing the agreement. However the TDM, Keonjhar  reserves the right either to extend of reduce the contract period in the interest of service and administrative grounds.

A.3.	The terms and conditions of the tender shall be integral part of the contract.

A.4.	The contract may be absolutely determined and put to an end to by both the contracting parties by giving three calendar months notice in writing to the other of his/their intention to determine and put an end to the same.

B.    AMENDMENT OF BID DOCUMENTS;

B.1 At any time, prior to the date for submission of bids, the BSNL may, for any reason whether suo motto or in response to a clarification requested by a prospective Bidder, modify the bid documents by amendments.

B.2 The amendments shall be notified in writing or by telex or FAX to all prospective bidders and these amendments will be binding on them.

C. DOCUMENTS ESTABLISHING BIDDER'S ELIGIBILITY AND QUALIFICATIONS;

The bidder shall furnish the following documents as part of his bid documents establishing the bidder's eligibility,

C1. Bid Security in accordance to NIT,

C2. Technical bid document duly filled in and signed by tenderer or his authorized representative along with seal (seal for firms/company) on each page. All corrections and overwriting must be initialed with date by the tenderer or his authorized representative.

C3. Attested Xerox copies of the following documents:

(1)PAN/ITCC, (2) Registration Certificate as a contractor, (3) BSNL Enlistment (4) Labour License issued by Labour Department (central), (5) Valid EPF number with up to date payment  and (6) Experience Certificate (having done the same type of work of cost Rs. Two Lakhs only during the last two years) issued by a BSNL officer not below the rank of a DGM. (7) Original Power of Attorney in case person other than the bidder has signed the agreement, (8) The registration of firm, authenticated copy of partnership deed in cases of partnership firm,(9) Letter of Authorisation to attend the opening of the tender, (10) Declaration regarding no relative of the bidder working in BSNL Original documents may be asked for verification at any stage of the tender.

D. BID SECURITY;

D1. The bidder shall furnish, as part of his bid, the bid security (EMD) for an amount as mentioned in the NIT. No interest shall be paid by the BSNL on the bid security for any period, what so ever.

D2. The bid security is required to protect the BSNL against the risk of bidders’ conduct, which would warrant the security's forfeiture.

D3. Bid Security shall be paid in the form of Crossed Demand Draft issued by a scheduled bank, drawn in favour of. Accounts Officer (Cash), BSNL, O/o TDM, Keonjhar & payable at  Keonjhar..

D4. A bid not secured in accordance with Para D1 & D3 shall be rejected by the BSNL as non responsive.

D5. The bid security of the unsuccessful bidder will be refunded without any interest as promptly as possible as but not later than 30 days after the expiry of bid validity period as prescribed by the BSNL.

D6. The successful bidder's bid security will be refunded without any interest after furnishing of Performance Bank Guarantee by the bidder.

D7.   The bid security shall be forfeited;

D7.1 If a bidder withdraws his bid during the period of bid validity specified in the bid document or

D7.2 If the bidder makes any modifications in the terms and conditions of the tender before acceptance of the tender, which are not acceptable to the BSNL or

D7.3 In case of a successful bidder, if the bidder fails:

(i) To sign the agreement,  Or  (ii) To furnish performance bank guarantee.

- TENDER SCHEDULE AND RATES TO BE QUOTED

E1. The tender schedule should be read in conjunction with work details, terms and conditions of the tender and the tenderer shall be deemed to have carefully examined all these documents. It is further understood and agreed that the contractor by careful examination satisfied himself to the nature or works, the nature of land, soil and then quote the rates to achieve 0.5Ω or less earth value. The specifications for entire work are to be read together and not in isolation.

E2. The bidder shall quote the total composite price both in words and figures inclusive of all levies and taxes of works to be executed except service tax. However if this service comes under the ambit of service tax act, the contractor has to claim in the bill along with the S.T. registration number. Prices shall be quoted by the bidder in the financial bid part. Prices quoted at any other place shall not be considered.

E3. All corrections, addition also and alterations in the entries and tender papers will be signed in full by the tenderer with date. No corrections or overwriting shall be permissible unless attested under the signature of the tenderer with date.

E4. The price quoted by the bidder shall remain fixed during the entire period of contract and shall not be subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as not-responsive and rejected.

E5. Discount, if any, offered by the bidders shall not be considered unless they are specifically indicated in the schedule of rates (financial bid).

F.      PERIOD OF VALIDITY OF BIDS:

F1. Bid shall remain valid for 180 days from date of opening of the bid (Qualifying Bid). A BID VALID    FOR    A    SHORTER   PERIOD    SHALL    BE    REJECTED    BY   THE BSNL AS NON-RESPONSIVE.

F2. The BSNL reserves the right to request the lowest 3 bidders as per read out list on the opening day to extend the bid validity for a period of further 60 days and the bidder has to necessarily extend the bid validity. Refusal to extend the bid validity will result in forfeiture of the bid security, A bidder accepting the request and extending the bid validity will not be permitted to modify his bid.

G.    SIGNING OF BID:

G1. The bidder shall submit, as a part of his bid, the bid documents (in original) duly signed on each and every page, establishing the conformity of his bid to the bid documents of all the works to be executed by the bidder under the contract. (Note: The tenderer is advised to keep a photocopy (at his own cost) of the bid documents for his own reference.)

G2. The bid shall contain no inter-lineation, erasures or overwriting except as necessary to correct errors made by the bidder in which case such corrections shall be signed with date by the person or persons signing the bid.

### H. SUBMISSION OF BIDS

H1. Bid for each tender should be submitted in three envelopes placed inside a main cover.  These envelopes should contain the following:

| Envelope | Marked on the Cover | Contents of Envelope |
| --- | --- | --- |
| First | Bid Security | Containing Bid Security as per NIT |
| Second | Qualifying Bid | Containing documents as per clause C except Bid Security. |
| Third | Financial Bid | Containing Financial bid 'documents with rates duly quoted by the tenderer in the prescribed format. |

On all these envelopes the name of the firm/contractor and whether "Bid Security" OR "Qualifying" OR "Financial" bid must be clearly mentioned and should be properly sealed (with sealing wax / packing PVC tape). These envelopes are to be placed inside an outer envelope and properly sealed (with sealing wax/Packing PVC tape).   The tenders which are not submitted in above mentioned manner shall be summarily rejected.

H2.   All envelopes (3 inner & one outer) must bear the following:

“Tender for earthing works in Keonjhar TD”

- Address of the bid accepting authority

- Name and address of the bidder.

H3. The tenderer will be bound by all terms, conditions & specifications as detailed in the tender documents.

H4. Any tender with conditions other than those specified in the tender document is liable to be summarily rejected. No modification by the contractor in any of the conditions will be permitted after the tender is opened.

I. SUBMISSION OF BIDS;

Tender should be dropped in person in the tender box placed in the office of DE (P&A), O/o TDM, Keonjhar before the time limit as mentioned in NIT. It also can be submitted through registered post within the prescribed time limit. The TDM, Keonjhar will not be responsible for any postal delay or loss. The BSNL shall not be held responsible for delivery of bid to the wrong address. The slit of the tender box will be sealed immediately after the specified time for receipt of tender. Any tender presented in person after the sealing of box will not be received by or will not be allowed to be deposited in the tender box.

J.  Postponement of Tender opening:

J1. Whenever it is considered necessary to postpone the opening date of tenders, quick decision must be taken and communicated to the tenderers who have purchased the tender documents and shall be at least one day before the original date of opening. If the date of opening of bids is declared as holiday, or a ‘BANDH’ occurs the bids will be opened on the next working date at the same time and venue.

J2. The BSNL if subsequently declares date fixed for opening of bids as holiday, the revised schedule will be notified.  However, in absence of such notification, the-bids will be opened on next working day, time and venue remaining unaltered.

K.  LATE BIDS;

Tenders will not be received after the specified time of closing of the tender and the same shall be rejected and returned unopened to the bidder. It is the sole responsibility of the tenderer that he should ensure timely submission of tender.

L. MODIFICATION AND W1THDRAWL OF BIDS:

L1. The bidder may modify or withdraw his bid after submission and before opening, provided that the intimation is deposited by the bidder in a properly sealed envelope (With Wax/Packing PVC tape) in the tender box, before the scheduled time & date for closing of tender.

L2. No bid shall be modified subsequent to the deadline for submission of bids.

M.  BID OPENING AND EVALUATION:

M1. The BSNL shall open the bids in the presence of bidders or his authorized representatives, on due date. The bidder's representatives, who are present, shall sign an attendance register. The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening.

M2. A maximum of two (2) representatives for any bidder shall be authorized and permitted to attend the bid opening.

M3. The Bids shall be opened in the following manner:

M4. The bid opening committee shall count the number of bids and assign serial numbers to the bids.

M5. The envelopes containing the tender offer and not properly sealed, shall not be opened and shall be rejected outright.   Closing the cover by gum will not be treated as sealed cover. The reasons for not opening such tender offers shall be recorded on the face of the envelope and all the members of bid opening committee shall initial with date.

M6. First the outer envelope containing the three envelopes is opened. The bid opening committee shall initial on all three envelopes with date.

M7. Among these three envelopes, the envelope marked “BID SECURITY” shall be opened first and examined.

M8. (The bidders who have submitted proper bid security as per tender document, their "QUALIFYING BID" shall be opened and papers / documents submitted by the bidder shall be examined and recorded by the TOC.  After opening the qualifying bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

M9. After recording of the "Qualifying Bid" the TOC will place all the financial bids submitted by the bidder in an envelope and will seal it with wax for keeping in safe custody.

M10.   The Financial Bid shall be opened in the following manner;

M10.1 The envelope marked "Financial Bid," will be opened only for qualified tenders in "Qualifying bid".

M10.2. The date and time of opening of "Financial bid" shall be conveyed to all the bidders who have qualified in Qualifying Bid and their representative shall be allowed to attend the financial bid opening.

M10.3 In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in words shall prevail.

N. CLARIFICATION OF BIDS BY THE BSNL :

To assist in examination, evaluation and comparison of bids, the BSNL may, at its discretion ask the bidder for clarification of its bid. The request for its clarification and its response shall be in writing.    However, no post bid clarification at the initiative of the bidder shall be entertained.

O. PRELIMINARY EVALUATION;

O1. BSNL shall evaluate the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

O2. If there is discrepancy between words and figures, the amount in words shall prevail.  If the Contractor does not accept the correction of the errors, his bid shall be rejected.

O3. Prior to the detailed evaluation, the BSNL will determine the substantial responsiveness of each bid to the bid document. A substantially responsive bid is one which conforms to all the terms and conditions of the bid documents without deviations.

O4. A bid, determined as substantially non responsive will be rejected by the BSNL and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

P. EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS;

Only the financial bids of the substantially responsive bidders will be opened and the lowest bidder shall be determined on the basis of total cost of one earthing as indicated in financial bid documents of the tender document.

Q. AWARD OF CONTRACT;

Q1. The BSNL shall consider award of contract only to those eligible bidders whose offers have been found technically, commercially and financially acceptable.

Q2. The work against the tender is for one year's requirement and the terms and conditions of this tender shall be operative for a period of one year from the date of signing of agreement between the BSNL and the contractor.

R. BSNL'S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS;

The BSNL reserves the right to accept or reject any bid and to annual the bidding process and reject all bids, at any time prior to award of contract without assigning any reason what-so-sever and without thereby incurring any liability to the affected bidder or bidders on the grounds for the BSNL's action.

S. ISSUE OF LETTER OF INTENT:

S1. The issue of letter of intent shall constitute the intention of the BSNL to enter in to the contract with the bidder. Letter of intent will be issued as offer to the successful bidder.

S2. The bidder shall with in 21 days of issue of letter of intent, give his acceptance along with PBG in conformity.

T. SIGNING OF AGREEMENT:

T1. The signing of agreement shall constitute the award of contract on the bidder. The agreement with the successful bidder shall be signed by the BSNL with in a week of submission of PBG. It would be required to sign a contract agreement on non-judicial stamp paper of Rs100/-(Rupees one hundred) only and the cost of the stamp paper has to be borne by the contractor, before the work is allotted to him. If the successful tenderer fails to sign the contract agreement by the stipulated date, the EMD (so deposited) will be forfeited by the BSNL and no claim will be entertained for the same afterwards.

Bank Solvency Certificate (Rs. 15, 00,000/-) is to be submitted at the time of making agreement.

T2. As soon as the tender is approved by the competent authority, the Bid Security deposited by the successful bidder shall be refunded without any interest after furnishing of Performance Bank Guarantee by the bidder.

SECTION-III

SPECIFICATION OF EARTHING:

- PLATE EARTH

The work will be carried out as per the following specification. The required diagram is also available with this tender document.

( Payment will be made if the earth resistance value is 0.5 ohms or less, otherwise the payment will be held up till rectification and bringing down the earth value ≤0.5 ohms.)

SPECIFICATION:  The work will be carried out as per the following specification. The required diagram is also available with this tender document.

(i) Earth pit :  Normal depth of the earth pit will be  10’(length) X 10’(breadth) X 10’  (depth.) Boring at the center of the earth pit for about 10’ or more is to be made, (depending on the nature of soil) if required, to introduce the copper strip so that the final ohmic value of the earth must be less then 0.5 ohms.

(ii) Earthing Plates to be used : 4 numbers of copper plates of size 2’ (length) X 2’(breadth)  X 3 mm (thickness)  are to be placed on four corners of the  pit  at the bottom ( please consult diagram available inside the tender document.).

(iii) 	Connections: All copper plates are to be connected with each other by copper strips (19 mm x 3 mm) bolted (stainless steel) to the edges of all plates. Similarly, copper strips are to be bolted (stainless steel) cross- wise as per the diagram so that a common point will be available from where the copper strip will be welded and taken out as the earth wire.  From the common point of the cross, a copper strip (19 mm x 3 mm) will be taken out of the pit with the help of double bolted (stainless steel) and outside the pit it will be taken below the earth level (with concreting over the copper flat) which will be further extended up to the Earth Bus Bar of the Exchange and terminated there. In case of new exchange where provision of Earth Bus Bar is to be made, one copper strip of size 10” X 2” X 6mm with insulators and nuts, bolts of brass/copper are to be used for the purpose. One 10 ft length/2inch dia G.I pipe will be placed in the pit vertically with one end above ground level for watering purpose. One G.I. cap is to be provided at the top of the 10 ft. G.I. pipe which will be used to pour water as and when required.

- Filling up of the pit: The pit is to be filled up with salt, soft soil and charcoal in layer by layer of one foot thickness up to the ground level as per the diagram enclosed with this tender document. The remnants around the earth pit are to be cleaned properly.

The contractor should supply all the materials up to and including exchange earth Bus Bar.

Details of Item and quantity of work for making each earthing.

| Sl. No. | Schedule of work | Quantity |
| --- | --- | --- |
| 1 | Digging of earth pit 10’ X 10’ X 10’ and boring at the center of the earth pit for about 10 ft or more depending on the nature of soil, if required to introduce the copper strip to obtain the ohmic value of the earth less than 0.5 ohms. | 1 no. |
| 2 | Supplying soft soil/sand for filling the earth pit. | 28 Cu. Mtr. |
| 3 | Supplying charcoal for the earth pit. | 16 bags |
| 4 | Supplying salt for the earth pit. | 300 Kg |
| 5 | Filling up the earth pit with soft soil, sand charcoal and salt layer by layer of one foot thickness up to the ground level. | Per Pit |
| 6 | Supplying and fixing of 4 copper plates of size 2’X2’X 3 mm in the earth pit including making of holes, fitting nuts & bolts etc. and gas welding of the copper strips with the copper plates and complete settings. | 1 Set. |
| 7 | Supplying and providing G.I. pipe of medium gauge of size 10’ length of 50 mm. dia. | 1 no. |
| 8 | Supplying and making earth connections with copper strip up-to the earth bus-bar of the exchange and making terminations with proper size of copper sockets including materialized lugging etc. | 30 Kg. |
| 9 | Removal of surplus earth from the site and spreading inside the compound as per direction of BSNL official/officer | Per site |

EXCHANGE   EARTHING

The diagram with pit (10’ X 10’ X 10’)

Exchange Earth bus bar

Concreting over copper strip

G.I. Pipe for

watering purpose

1,2,3 & 4 copper plates.

A,B,C,D,E,F & G copper strips.

SECTION-IV

GENERAL COMMERCIAL CONDITIONS OF THE CONTRACT

A.	GENERAL CONDITION

A1. The TDM, Keonjhar reserves right to cancel / reject any tender if the same is found to be containing any false / fabricated documents/statements. Original of all documents shall be produced, if required, at the time of purchase of tender documents for scrutiny without which documents will not be issued.

A2. The total earthing work will be divided between two contractors at the approved rates and on uniform terms and conditions i.e. between the lowest Bidder (L1) and the second lowest bidder (L2) at a ratio 70:30. L1 will carry out 70% and L2 will carry out 30% of the total work at the tender approved rates. If (L2) does not agree to carry out 30% work at the approved rate, then the total work will be awarded to L-1. In case L1 bidder fails to carry out the work in stipulated time without any valid reason then L2 will be awarded the same work in addition to his own work. However in that case, the decision of TDM, Keonjhar will be final.

A3.  All tools for the work shall be provided by the contractor.

A4.  The tender paper will not be issued to any individual/firm whose service in past has been found unsatisfactory by BSNL.

A5. The TDM, Keonjhar will not be responsible to provide residential accommodation to the labourers employed by the contractor. All arrangements in this regard will be the responsibility of the contractor.

A6. The TDM, Keonjhar reserves the right to increase or delete the scope of the work without assigning any reasons.

A7. Conditional and incomplete tenders are liable for rejection.

A8. The TDM, Keonjhar is not bound to accept the lowest tender.

A9. In case of any dispute arising out of the contract between the two contracting parties the decision of the TDM, Keonjhar shall be final and binding.

B. WORK COMMENCEMENT & SUPERVISION.

B1.	Depending on the site condition, the work order for either plate or spike earthing shall be issued by the SDO/SDE in charge of exchange to the contractor.  The contractor has to complete the earthing work within the time specified in the work order.

B2. In case the contractor fails to undertake or complete the work in specified time or the work being found sub standard, the district authority will have right to award the work to any other alternative contractor. The difference in cost of the work will be payable by the defaulting contractor.

B3. Penalty Clause: The time allowed for completion of work as entered in the work order shall be strictly adhered to by the contractor and shall be reckoned from the seventh day from the issue of the work order by BSNL. The contractor shall pay as penalty an amount equal to 0.5 % of the amount of the incomplete work for every one week of delay in completion of work subject to a maximum of 10 % of the cost of the work awarded.

B4. Penalty for delay in completion of the work shall be recoverable from the bill of the contractor and/or by adjustment from the SD/PBG or from the bill of any other contract awarded to the same party.

B5.	After completion of work, it shall be checked by concerned DET and then to be cleared by A/T.  In addition TDM, Keonjhar reserves the right to carry out inspection by another officer or by a committee to be constituted by him. The contractors shall be bound, if called upon to do so, to offer the works for inspection without any extra payment. Payment will be made if the earth resistance value is 0.5 ohms or less, otherwise the payment will be held up till rectification and bringing down the earth value ≤0.5 ohms.

B6.	The bill has to be submitted within 30days of completion of the work with A/T clearance. The work must be completed within the stipulated period as specified in the work order.

B7. Warranty period: The earthing work will be warranted for a period of one year from the date of completion of work.  If the value of earth resistance increases abruptly within the warranty period, then the contractor shall have to rectify it to the permissible limit at his own cost.

B8. If the contractor shall desire an extension of time for completion of the work on the grounds of unavoidable hindrance in execution of work or on any other ground he shall apply in writing to the Divisional Engineer within 3 days of the date of hindrance on account of which he desires such extension as aforesaid. In this regard the decision of TDM, Keonjhar shall be final.

C. PAYMENT AND OTHER CONNECTED TERMS.

C1. Payment will be made against the bill preferred by the contractor. The bills are to be submitted in duplicate certified by the SDO/SDE and countersigned by concerned DET along with A/T clearance letter within one month of the completion of the work.

C2. Payment up to 90% after deduction of taxes shall be made. The balance 10% will be paid after successful completion of warranty period without any interest with necessary no objection certificate from the EIC duly recommended by concerned DET.

C3. Taxes at the present prescribed rates by Govt. shall be deducted from the gross amount of the bill.

C4. Payment will be made through account Payee Cheque.

C5.	 PERFORMANCE SECURITY. (10% of the cost of the tender)

(1) After a bidder is declared successful, his/her EMD (2.5% of the cost of tender)) will be converted into a part of Performance Security and the rest 7.5% will be deducted from bill submitted by him/her.

(2) Performance Security will be discharged after completion of contractor’s performance obligations under the contract.

(4)  If the contractor fails or neglects any of his obligations under the contract it shall be lawful for BSNL, to forfeit either whole or any part of performance security furnished by the bidder as compensation for any loss resulting from such failure. In this case the decision of TDM, Keonjhar will be final and binding on the contractor.

C6.  VALIDITY OF CONTRACT: The contract will remain valid for a period of one year from the date of signing of agreement. However the TDM, Keonjhar reserves the right either to extend or reduce the contract period in the interest of service and administrative grounds.

C7.	Failure on the part of contractor to comply with any of the clauses of the contract shall constitute to be sufficient ground for termination of contract and the District Authority shall have right to forfeit the performance security submitted to District Authority at the time of signing of the agreement.

C8.	Any sum of money due and payable to the contractor including security deposit if any refundable to him under this contract, it may be appropriated by the BSNL and set off the same against any claim of the BSNL for payment of a sum of money arising out of this contract or under any other contract made by the contractor with BSNL.

C9.  No  official  of Gazetted rank or other Gazetted officer employed  in Engineering or administrative duties in an Engineering BSNL or any other BSNL of the Government of India is allowed to work as a contractor for a period of two years after his retirement from Government service without the previous permission of Government of India.  This contract is liable to be cancelled if either the contractor or any of his employees is found at any time to be such a person who hadn't obtained the permission of Government of India as aforesaid before submission of the engagement in the contractor's service as the case may be.

C10.  In the event of the contractor being, adjusted insolvent or going voluntarily into liquidation of having received order or other order under insolvency act made against him or in the event of the contractor failing to comply with any of the conditions herein specified. The TDM, Keonjhar shall have the power to terminate the contract without any notice.

C11. Without prejudice to any of the rights or remedies under this contract, if the contractor dies, the TDM, Keonjhar can terminate the contract without compensation to the contractor. However TDM, Keonjhar, at his discretion may permit contractor's heirs to perform the duties or engagements of the contractor under the contract, in case of his death. In this regard the decision of TDM, Keonjhar shall be the final.

C12. As per Govt. of India’s CCS conduct rule-4, no Govt. servant shall in the discharge of his official duties deal with any matter or sanction any contract to any company or for any other person. If any member of his family is employed in that company or firm or under that person or if he or any member of his family is interested in such matter or contract in any other manner and the Govt. servant shall refer every such matter or contract to his superior official. This clause is applicable to all BSNL employees and in view of this, as soon as any BSNL employee becomes aware of the above aspect; he must intimate this to the prescribed authority. For non-executive employees this authority is SSA head/ Circle head/ Chief Engineer/ Chief Architect/ Corporate office under whom he is posted. For executive employees the prescribed authority for this purpose is Circle head/ Chief Engineer/ Chief Architect/ Corporate office under whom he is posted.

C13. Interpretation of the contract document; The representative of TDM, Keonjhar  and the contractor shall in so far as possible by mutual consultation, try to decide upon the meaning and intent of the contract document. In case of disagreement the matter shall be referred to TDM, Keonjhar  whose decision shall be final.

C14.    SAFETY, SECURITY & OBSERVANCE OF LABOUR LAWS

(1) The contractor will be responsible for the safety and security of the labour employed by him for execution of the work. He will be required to ensure each labourer as per labour laws. The contractor will ensure safe working by observing proper safety precautions.

- The contractor will be required to abide by the labour laws enacted from time to time by central or state government. Maintenance and observance of any or all the statutory labour laws will be sole responsibility of the contractor. The claims arising out of inquiry, casualty or any thing else to the worker labourers employed by the contractor will be sole responsibility of the contractor.

- Under the provision of the workmen’s compensation Act that in case of any compensation is paid by the BSNL to a work man labour employed by the contractor in execution of the work, the same will be recovered from the contractor either from the bills preferred by him or by adjustment from his security money.

- After the agreement and before commencement of work the contractor should obtain a valid license by virtue of the provisions of the contract labour (Registration & Abolition) act 1970 and of the contract (Regulation & Abolition contract Rule 1971 and continue to have valid license during the occurrence of the contract. The contractor shall be responsible for the exigency arising out of his failure to obtain and have a valid license.

- The contractor could ensure that no labourer below the age of eighteen years is employed by him on the work.

- The wages paid by the tenderer to the labour employed by him should not be less than the fair wages as defined in the CPWD Contractors labour regulations are as per the provision of the Central Labour (Regulation and Abolition) Rule 1971, which ever is applicable.

- The contractor shall abide all the rules framed by the Govt. from time to time for protection of health and sanitary arrangements for the worker employed by them.

- The contractor shall maintain a “Register of persons employed on work on contract in form XVII of the C.I.C. (R & A) Central rules 1971.

- The contractor shall allow inspection of all the prescribed labour records to any of his workers or to his agent at convenient time and place after due notice is recovered or to the labour officer or to any other person authorized by the Central Govt. on his behalf.

- The contractor should carry out the work in such a manner that it will cause minimum hindrance to the other works at the sites.

- The contractor shall maintain a register of accidents in such form as may be convenient at the work place. Also other necessary registers are to be maintained by the contractor for labourers employed by him.

- The TDM, Keonjhar does not take any responsibility for engagement of any labourer by the contractor during the course of work.

C15. Rescission / Termination of contract

15.1 Under the following conditions the competent authority may rescind the contract.

i.      If the contractor commits breach of any item of terms and conditions of the contract,

ii.      If the contractor suspends or abandons the execution of work

iii.    If the contractor had been asked to rectify / replace any defective work and he fails to comply   with the requirement within the specified period.

15.2 Upon rescission of the contract, the security deposit of the contractor shall be liable to be forfeited and shall be absolutely at the disposal of the BSNL.

15.3 The un-executed work shall be got executed through any other qualified bidder from amongst the bidders, who participated in the bidding process and as decided by TDM, Keonjhar. The BSNL may get the unexecuted work completed through any other contractor approved in Keonjhar Telecom. Dist. at the approved rates or to execute the work departmentally, at the risk and cost of the contractor. In such a event no compensation shall be payable by the BSNL to the contractor for any loss caused to him by such an action by the BSNL. In this regard the decision of TDM, Keonjhar shall be final and binding. In all these cases, the extra expenditure incurred due to getting the work done by any other means will be borne by the contractor.

15.4 The certificate of the Divisional Engineer in-charge of work as to the value of work done shall be final and conclusive against the contractor, provided always that action shall only be taken after giving notice in writing to the contractor.

15.5 Termination for Insolvency:

The BSNL may at any time terminate the Contract by giving written notice to the Contractor, without compensation to Contractor, if the Contractor becomes bankrupt or otherwise insolvent as declared by the competent court provided that such termination will not prejudice or affect any right or action or remedy which has increased or will increase thereafter to the BSNL.

C16.  FORCE MAJEURE:

If any time, during the continuance of this contract, the performance in whole or in part by either party or any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Herein after referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance and work under the contract shall be resumed as soon as practicable after such event may come to an end or cease to exist, and the decision of the TDM, Keonjhar as to whether the work have been so resumed or not shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event, for a period exceeding 60 days either part may, at his option terminate the contract.

SECTION-V

FORMAT FOR BANK GUARANTEE (SAMPLE)

WE............OF..........     having our registered office at................... are bound unto TDM, Keonjhar in the sum of ---------------- for which payment will truly to be made of the said department ,the Bank binds itself, its successors and assigns by these presents.

1. We (Name of the Bank)  . . . . . . . . . . . . . . do hereby undertake to pay the amounts due and payable under this guarantee without any demur, merely on a demand from the BSNL stating that the amount claimed is due by way of loss or damage caused to or would be caused to or  suffered by the BSNL by reason of breach by the said contractor(s) of any of terms or conditions contained in the said Agreement or by reason of the contractor (s) failure to perform the said Agreement.  Any such demand made on the bank shall be conclusive as regards the amount due and payable by the Bank under this guarantee where the decision of the BSNL in these counts shall be final and binding on the bank.  However, out liability under this guarantee shall be restricted to an amount not exceeding Rs ……… (In words)

2.	We undertake to pay to the BSNL any money so demanded notwithstanding any dispute or disputes raised by the Contractor(s) in any suit or proceeding before any court or tribunal relating thereto our liability under this present being absolute and unequivocal.  The Payment so made by us under this bond shall be valid discharge of our liability for payment there under and the contractor(s) shall have no claim against us for making such payment.

3.	We (name of the Bank) . . . . . . . . . . further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the BSNL under or by virtue of the said Agreement have been fully paid and its claims satisfied or discharged or till the TDM, Keonjhar certifies that the terms and conditions of the said Agreement have been fully and properly carried out by the said contractor(s) and accordingly discharge this guarantee.  Unless a demand or claim under this guarantee is made on us in writing or before ………… (Date), we shall be discharged from all liabilities under this guarantee thereafter.

4.	This guarantee will not be discharged due to the change in the constitution of the Bank or the contractor(s) / supplier(s).

5.	We (Name of the Bank) . . . . . . . . . lastly undertake not to revoke this guarantee during its currency except with the previous consent of the BSNL in writing.

This guarantee will remain in force up to and including (date)…………..and any demand in respect thereof should reach the Bank not later than the above date.

Dated the . . . . . . . . . . . . . . . 						For ………………….

(The name of the Bank)

SECTION-VI

AGREEMENT FOR EARTHING IN KEONJHAR TD (SAMPLE)

This agreement is entered between the TDM, Keonjhar  and

Shri………………………………………………………………………………….

S/o…………………………………………………………………………………..

At/Po………………………………………………………………Dist………………………………. on this day of ………………………………………………………… for earthing works in Keonjhar Telecom District under jurisdiction of TDM, Keonjhar

Where as response to the Tender Notice No    …………………………………………issued by the TDM, Keonjhar  , Shri……………………………………………...has been declared as successful contractor for earthing works in the jurisdiction of TDM, Keonjhar  .

Shri …………………………………………………………………………………here by undertake to carry out the earthing works in Keonjhar Telecom District for a period of one year starting from the date of execution of the agreement at the rate as per tender finalized in his favour and to the terms and conditions laid down in the approved tender.

Shri………………………………………………………………………also undertake to carry out the earthing works throughout the year at the same approved rate and according to the BSNL standard and up to the satisfaction of the TDM, Keonjhar.

Shri……………………………………………………………………further undertake to fully abide by the terms and conditions as stipulated in the Tender Notice No …………………………… referred to above and shall make good any loss caused to the Telecom District or any other Government department or private body or to the public.

Signature of the Contractor		 		Telecom. District Manage,

Keonjhar  ,

Address

Signature of witness1:						 Witness

Name:							              Name:

Address………………………………………………. 	             Address:

Signature of Witness 2

Name:

Address……………………………………………….

SECTION-VII

Certificate for non-participation of near relatives of BSNL employee in the tender

I……………………………………………………………………Sri……..…………………………………………….………………………S/o-…………………………………………………..……………………At-……………………………………..……………..…….Po-………………………………………..Dist-……………………………………………… hereby certify that none of my relatives as defined in the tender document is/ are employed in BSNL as per details given in the tender documents. In case at any stage it is found that the information given by me is false/ incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me.

Note: The near relatives for this purpose are defined as:

A. Members of a Hindu Undivided family.

B. They are husband and wife.

C. The one is related to the other in the manner as father, mother, son (s) and son’s wife (daughter in law), Daughter (s) and daughter’s Husband (son in law),

Brother (s) & brother’s wife, sister (s) and sister’s husband (Brother in law).

Signature of the tenderer

SECTION-VIII

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number ……………………………………………………………………………..

Subject: 	Authorization for attending bid opening on……………………...(date) in the tender for earthing in Keonjhar Telecom. District.

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf ………………………………………………………..

(bidder) in order of preference given below.

| Order of preference | Name | Specimen Signature |
| --- | --- | --- |
| I) |  |  |
| II) |  |  |
| Alternate Representative |  |  |

Signature of bidder

or

Officer authorized to sign the bid

documents on behalf of the bidder.

No. 1. 	Maximum two representatives will be permitted to attend bid opening. In cases where it is restricted to one, first preference will be allowed. Alternate representative will be permitted when regular representatives are not able to attend.

No. 2.	Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not recovered.

Annexure

Experience Certificate

Certified that Sri …………………………………………………………………… bonafide contractor / firm has successfully completed …………………………… work during the period ………………………….. The total amount of Rs. ………………………………… has been paid to him for the same as detailed below.

Sl. No.			Period	of work			Amount paid in Rs.

TDM / DGM, BSNL

O/o ………………………………

#### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

##### OFFICE OF THE TELECOM. DISTRICT MANAGER, KEONJHAR

TENDER FOR

Earthing Works

in

Keonjhar Telecom. District

“FINANCIAL BID”

Tender No: T-30 /08-09 dated 24-09-2008

Earthing Works

in

Keonjhar Telecom. District

### (PRICE BID)

Tender No: T-30 /08-09 dated 24-09-2008

| Name of the work | Nature of the soil | Quoted Rate per Earthing (inclusive of all taxes except service tax) (in Rs.) |
| --- | --- | --- |
|  |  | In figures | In words |
| Earthing per unit as per specifications given in the tender. (Section – III) | Normal Size |  |  |
|  | Rocky Soil |  |  |

# Text boxes

Passport size recent photograph of bidder/authorized signatory having power of attorney

F

E

1

2

3

4

A

D							     B

EeE

C