BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT

### DHENKANAL – 759001

##### FOR

###### EARTHING WORKS

IN

DHENKANAL TELECOM DISTRICT.

# FOR 2008-09

Tender No.D-312/Tender/Earthing/2008-09/01              Dt.12.11.2008

For Zone No.  :     ……………………

| ISSUED TO Name & Address of the Contractor | Signature with seal of the issuing Authority and date of issue |
| --- | --- |

Price…Rs. 563/-

CONTENT

| SECTION | DESCRIPTION | PAGE NO. |
| --- | --- | --- |
| TECHNICAL BID |
| I | NOTICE INVITING TENDER |  | 3 |
| II | ADDRESSING THE TENDER & QUANTUM OF WORK |  | 4 - 6 |
| III | SPECIFICATION |  | 7 |
| IV | COST OF BIDDING & DOCUMENT TO BE SUBMITTED |  | 8 & 9 |
| V | PERFORMANCE SECURITY. |  | 10 |
| VI | TERM & CONDITION |  | 11 & 12 |
| Annexure |  |
| ANNEXURE-I | AGREEMENT FORM |  | 13 |
| ANNEXURE-II | PERFORMANCE SECURITY GUARANTEE BOND FORM |  | 14 |
| ANNEXURE-III | DIAGRAM |  | 15 |
| ANNEXURE-IV | CERTIFICATE ON NON-PARTICIPATION OF NEAR RELATIVES IN THE TENDER. |  | 16 |
| ANNEXURE-V | CHECK LIST |  | 17 |
| ANNEXURE-VI | LETTER OF AUTHORISATION FOR ATTENDING BID OPENING |  | 18 |
| FINANCIAL BID 19 |
| ANNEXURE-VII | PRICE SCHEDULE |  | 20 |

NO. D-312 / Tender /Earthing / 2008-09 / 01                          DHENKANAL DATED Dt. 12.11.2008

# SECTION-I

# NOTICE INVIING TENDER

Properly sealed tenders (preferably Packing with PVC Tape/Sealing Wax) are invited for and on behalf of BHARAT SANCHAR NIGAM LIMITED by the General Manager, Telecom District, Dhenkanal from  the bonafide contractors  for the earthing works of Dhenkanal Telecom District for the year 2008-09

| 01. | Name of work | : | Earthing works in Dhenkanal Telecom District. |
| --- | --- | --- | --- |
| 02. | Tentative Qty. of work | : | As per Section- II (2) |
| 03. | Tentative cost of tender | : | Zone 1-Rs.150000/- |
|  |  |  | Zone 2-Rs.240000/- |
|  |  |  | Zone 3-Rs.330000/- |
| 04. | Cost of Bid document per set.(Non refundable) | : | Rs. 563/- |
| 05. | E.M.D. | : | Zone 1-Rs.3750/- |
|  |  |  | Zone 2-Rs.6000/- |
|  |  |  | Zone 3-Rs.8250/- |
| 06. | Mode of deposit for both Tender Paper and EMD. |  | Cash/D.D./B.C./P.O.drawn in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal payable at Dhenkanal. |
| 07. | Tender papers can be had from | : | SDE (Plg), 2nd Floor, O/o. G.M.T.D., Dhenkanal or Downloaded from BSNL website :- www.orissa.bsnl.co.in |
| 08. | Period of issue of Bid documents | : | All working days between 11.00 hours to 16.00 From 12.11.2008 to 25.11.2008 |
| 09. | Time and Last date of submission of bid document | : | Up to 13.30 hours of 26.11.2008 |
| 10. | Time and date of opening of bid document | : | At 15.30 Hrs of dt 26.11.2008. If the date is declared as holiday the opening date will automatically extended to next working day. |
| 11. | Criteria for issue of Tender paper | : | On production of : |
|  |  |  | A | Copy of valid Contractor Licence. |
|  |  |  | B | Copy of PAN card |
|  |  |  | C | Copy of Experience Certificate of Earthing/Electrical work in BSNL or PSUs/Govt. organisation from an officer not below the rank of Dy. G.M (BSNL) or equivalent during last Two years for an amount of Rs.100000/-. |
|  |  |  | D | Cost of Tender paper in Cash/D.D./B.C./P.O. drawn in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal payable at Dhenkanal |
|  |  |  | E | Maximum of 2 sets of tender papers can be issued to each bidder for any 2 zones. |
| 12. | Rejection of Tender | : | Unsealed, late receipt, incomplete tender, ambiguous and conditional tender will be rejected |
| 13. | Down loaded Tender form | : | Down loaded forms from website must contain D.D of Rs 563/- (Non refundable) as cost of tender form. |

The G.M.T.D., Dhenkanal reserves the right to accept or reject any or all the tenders without assigning any reason what so ever and is not bound to accept the lowest tender. For more details please visit us our website:-   www.orissa.bsnl.co.in

Section – II

1:      Addressing the tender : The Sealed Envelopes containing all the required documents should be superscripted as “Tender  for carrying out Earthing  work in Dhenkanal Telecom District for the year 2008-09” and  be addressed to the Divisional Engineer (P&A), BSNL, O/O GMTD, BSNL Bhawan, Dhenkanal and dropped in the tender box. available in his official chamber before the stipulated date and  time. Completed Tender can be sent through Registered Post / Courier Services so as to reach the DE(P&A) on or before the scheduled date and time. BSNL will not be responsible for any delay or loss in transit. Rate should be quoted clearly both in figures and words. However the rate quoted in words will be taken as the final rate as per rules. Any correction should be clearly scored out under proper attestation of the bidder.

2: 	Quantum of work : Approximately 48 Nos Earthlings will be required during the year. Bidders are to visit the places and examine the nature of terrain, soil and then quote the rates to achieve 0.5ohms or less earth value.

The quantum of work may vary as per actual requirement of BSNL

In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the G.M.T.D., Dhenkanal reserves the right to increase up to 50% of the quantum of works specified in the schedule of requirement contained in the running tender /contract within a period of 12 months from the earliest date of acceptance of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender.

a)    NOS OF EXCHANGE FOR  WHICH EARTHING TO BE MADE :48 ( Forty Eight )

Details of Item and quantity of work for making earthlings at 48 sites in Dhenkanal SSA

| Sl. No. | Schedule of work | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Digging of earth pit 2M×2M×3M and boring at the center of the earth pit for about 3M or more depending on the nature of soil, if required to introduce the G I strip to obtain the ohmic value of the earth less than 0.5 ohms | 48 nos. | Nos. |
| 2 | Supplying soft sieved soil/Ash for filling the earth pit | 576Cu.M. | Cu.M. |
| 3 | Filling up the earth pit with soft soil/Ash in layer by layer of 300mm thickness up to the ground level as per the instructions of JTO/SDO/TTA concerned. | 48 nos. | Nos. |
| 4 | Supply of G I plate of size 600mm×600mm×6.5 mm | 192 Nos. | Nos. |
| 5 | Supply of G.I. pipe with G.I.cap of medium gauge of size 3M. length of 50 mm Dia | 48 Nos. | Nos. |
| 6 | Supply of G.I. Strip up-to the earth bus-bar of the Exchange with proper size 50mm×3mm | 1440 K.G. | K.G. |
| 7 | Supply of Earth Bus Bar 300mm×50mm×6mm G.I. | 48 Nos. | Nos. |
| 8 | Removal of surplus earth from the site. | 48 Sites | Per Site |
| 9 | Making holes in the Earth plate, connecting strip, Earth leads & Bus bar, fixing the bus bar in a suitable place in the Exchange, making all connections, placing the earth plates & spare earth lead in position & extending the earth up-to bus bar, fitting of nuts & bolts etc. as per instructions at section – III .1 .(III) | 48 Sites | Per Site |

| ZONE 1 |
| --- |
| SITES UNDER JURISDICTION OF DE(T) AGL |
| 1 | Kangula | SDOP AGL | Proposed Mobile BTS in phase V-I |
| 2 | Laxmibazar | SDOP AGL | Proposed Mobile BTS in phase V-I |
| 3 | Hemsarpada | SDOP AGL | Proposed Mobile BTS in phase V-I |
| 4 | Similipada | SDOP AGL | Proposed Mobile BTS in phase V-I |
| 5 | Mahidharpur | SDOT AGL | Proposed Mobile BTS in phase V-I |
| 6 | Tulasipal | SDOT AGL | Proposed Mobile BTS in phase V-I |
| 7 | Kosala | SDOT AGL | Existing Earth high resistance |
| 8 | Madhapur | SDOT BND | Proposed Mobile BTS in phase V-I |
| 9 | Paika sahi | SDOT BND | Proposed Mobile BTS in phase V-I |
| 10 | Dandasinga | SDOT BND | Existing Earth high resistance |
| ZONE 2 |
| SITES UNDER JURISDICTION OF DE(T) NN |
| 1 | Nalco Hospital | SDOP NN | Proposed Mobile BTS in phase V-I |
| 2 | Kantabania (Bhusan) | SDOP NN | Proposed Mobile BTS in phase V-I |
| 3 | Smelter plant | SDOP NN | Proposed Mobile BTS in phase V-I |
| 4 | Budhapanka | SDOP NN | Proposed Mobile BTS in phase V-I |
| 5 | Kankili | SDOT TCR | Proposed Mobile BTS in phase V-I |
| 6 | Dera | SDOT TCR | Proposed Mobile BTS in phase V-I |
| 7 | Daanra | SDOT TCR | Proposed Mobile BTS in phase V-I |
| 8 | Hatatota Road | SDOT TCR | Proposed Mobile BTS in phase V-I |
| 9 | Ghantapada | SDOT TCR | Proposed Mobile BTS in phase V-I |
| 10 | Badatribida | SDOT KNH | Proposed Mobile BTS in phase V-I |
| 11 | Banar | SDOT KNH | Proposed Mobile BTS in phase V-I |
| 12 | Bajrakot | SDOT KNH | Proposed Mobile BTS in phase V-I |
| 13 | Kuluma | SDOT KNH | Proposed Mobile BTS in phase V-I |
| 14 | Ash Treatment Plant | SDOT KNH | Proposed Mobile BTS in phase V-I |
| 15 | Badatribida | SDOT KNH | Proposed Mobile BTS in phase V-I |
| 16 | Nalam | SDOT KNH | Proposed Mobile BTS in phase V-I |

| ZONE 3 |
| --- |
| SITES UNDER JURISDICTION OF DE(T) DKL |
| 1 | Surapratapur | SDOT KKN | Proposed Mobile BTS in phase V-I |
| 2 | Gadapalasuni | SDOT KKN | Proposed Mobile BTS in phase V-I |
| 3 | Jirala | SDOT KKN | Proposed Mobile BTS in phase V-I |
| 4 | Palas pithia | SDOT KKN | Existing Earth high resistance |
| 5 | Guneibili | SDOT KKN | Existing Earth high resistance |
| 6 | Mahul pal | SDOT KKN | Proposed Mobile BTS in phase V-I |
| 7 | Pandua | SDOT KKN | Proposed Mobile BTS in phase V-I |
| 8 | Saanda | SDOT KKN | Proposed Mobile BTS in phase V-I |
| 9 | Birasala | SDOT KKN | Existing Earth high resistance |
| 10 | Roda | SDOT KKN | Existing Earth high resistance |
| 11 | Saranga | SDOT KKN | Existing Earth high resistance |
| 12 | Sadangi | SDOT DKL | Proposed Mobile BTS in phase V-I |
| 13 | Nihalprasad | SDOT DKL | Proposed Mobile BTS in phase V-I |
| 14 | Talabarakot | SDOT DKL | Proposed Mobile BTS in phase V-I |
| 15 | Banasingh | SDOT DKL | Proposed Mobile BTS in phase V-I |
| 16 | Pingua | SDOT DKL | Proposed Mobile BTS in phase V-I |
| 17 | Sankarpur | SDOT DKL | Proposed Mobile BTS in phase V-I |
| 18 | Indipur | SDOT DKL | Proposed Mobile BTS in phase V-I |
| 19 | Mandar | SDOT DKL | Existing Earth high resistance |
| 20 | Karanda | SDOT HRD | Proposed Mobile BTS in phase V-I |
| 21 | Dudurakote | SDOT HRD | Proposed Mobile BTS in phase V-I |
| 22 | Paikpurunakot | SDOT HRD | Proposed Mobile BTS in phase V-I |

Section - III

1: SPECIFICATION:  The work will be carried out as per the following specification. The required diagram is also available with this tender document.

(i) Earth pit :  Normal size of the earth pit will be 3 M depth X 2 M breadth X 2 M length .

(ii) Earthing Plates to be used : 4 numbers of G I  plates of dimension 600×600×6.5 mm  are to be placed on four corners of the  pit  at the bottom ( please consult diagram available inside the tender document.).

(iii) 	Connections: All G.I.  Plates are to be connected each other by G I strips to the edges of all plates as shown in the Diagram. A G.I. strip will be Connected to one plate and taken out as the earth lead and will be connected to the Earth Bus Bar of the exchange. Another strip is to be connected to the opposite plate & taken out up to the ground level as the spare Earth lead. All connections are to be made with G.I. Nuts, Bolts and Washers. To prevent ingress of moisture and soil, the joints should be made water proof by covering with a thick layer of bitumen. In case of new exchange where provision of Earth Bus Bar is to be made, one G I strip of size 300 mm× 50 mm × 6mm thickness with insulators and nuts, bolts of brass/G I are to be used for the purpose. From the center  point of the earth pit, 3 M length/50 mm dia G.I pipe will be placed. The GI pipe should be perforated at 20 places of 10 mm dia each in different directions and places within one meter from bottom  One G.I. cap is to be provided at the top of the G.I. pipe which can be removed to pour water as and when required.

Filling up of the pit : After the Earthing Electrodes are placed in position and all the inter connections are made, the pit is to be filled up with fine ash and/or finely sieved soil which should be rammed in layers so as to make it compact and cohesive. No chemical treatment should be made while filling the pit.

Note: 1) G.I. Nuts, Bolts, Washers, screws, Bitumen and fixtures for bus-bar  etc. required for connection, and tools are to be supplied by the Contractor for no extra cost.

iv) Measurement book entry

Measurement of Works executed since the date of last measurement and upto the date of rescission of contract shall be taken in the presence of the contractor or his authorized representative who shall sign the same in the MB. If the contractor or his authorized representative do not turn up for joint measurement, the measurement shall be taken by the officer authorized for this purpose after expiry of due date given for joint measurement. The measurement taken by the officer so authorized shall be final and no further request for joint measurement shall be entertained.

Materials utilized in executing the work should be entered in the MB.

- TESTING AND ACCEPTANCE TESTING

The work shall be deemed to have been completed only after the same has been accepted by the A.T. Officer. The contractor shall make test pits at the locations desired by A.T. Officer for conducting test checks without any extra payment. The contractor shall restore the pits after test measurements to its original shape. The contractor shall be responsible to provide test/measurement tools and testers for conducting various tests.

Scope of Acceptance and Testing :	The purpose of acceptance and testing is to verify integrity of measurement and quality of work done. The A.T. Officer shall not be responsible for recording of measurement for the purpose of billing and contractual obligations. However, if the Measurements taking by A.T. Officer are found to be lesser than the measurements recorded by the officer responsible for recording the measurements, the measurement taken by A.T. Office shall prevail without prejudice to any punitive action against the contractor as per provisions of the contract and the officer recording the measurements. The Contractor shall be obligated to remove defects/deficiencies pointed out by the A/T Officer without any additional cost to the department.

Offering the work for acceptance and testing : The Sub Divisional Engineer responsible for construction, after having satisfied himself of completion of work ready for A.T., shall offer the work to A.T. Officer for conducting Acceptance and Testing. The work shall be offered for A.T. as soon as part of work is complete in all respects. The work against any work order can be offered for A.T. in a number of stages.

The contractor shall provide labour, if demanded by the A/T officer for digging of test pits and other necessary infrastructure for carrying out the A/T work. No extra payment will be made for the digging of test pit.

3)a. Payment will be made if the ohmic value of the earth is 0.5 ohms or less, otherwise the payment will be held up till rectification and bringing down the earth value  ≤0.5 ohms.

b. The Successful bidder has to deposit 5% of the Tender cost  as performance security deposit in shape of DD or BG  for a period of  one year from any scheduled bank at Dhenkanal payable to A.O.(Cash), BASNL, O/O the GMTD, Dhenkanal.. On completion of the contract period, the Performance Security Deposit will be refunded after forty five days of completion of warranty period & without any interest.

Section – IV

5: Cost of Bidding : The Bidder shall bear the cost associated with the preparation and submission of the bid. BSNL, in no case will be responsible to bear these costs regardless of the conduct or outcome of the bidding process.

6: Documents to be submitted along with the bid :

  - Attested Copy of Valid contractors’ license.

- EMD 2.5% of the estimated cost in shape of DD IN FAVOUR OF A.O.  (Cash), BSNL, O/O GMTD, Dhenkanal

- Attested copy of Experience certificate as stated 11.C of Sec. I

- Attested Copy of PAN.

- All documents should bear the signature of the bidder/authorized person.

- Annexure-VII, where rates should be quoted clearly both in words and figures.

The tender will be opened in presence of the bidders or their authorized persons those who like to be present on the scheduled date & time.

# SUBMISSION OF TENDER

7: a.	The completed tender with required documents are to be submitted in two parts. The first envelope (Packing PVC tape/sealing wax) must be marked as “Technical Bid” will contain (1) Attested Xerox copy of Contractor Licence (2) Attested Xerox copy of PAN Card (3) Attested Xerox copy of Experience Certificate (4) EMD 2.5% of the estimated cost in favour of Accounts Officer (Cash), BSNL, O/o. G.M.T.D., Dhenkanal in  shape of B.C./ B.D./P.O. payable at Dhenkanal, (5) Tender document duly filled and signed by the bidder on each and every page with his seal, (6) Near  Relative  Certificate as per Annexure IV, (8) Any other required document like partnership deed etc. and the second envelope (Packing PVC tape/sealing wax) marked as “Financial Bid” will contain the tender quoting rates as per Annexure VII of tender document duly filled in. Financial Bid will be opened only when all documents in the first envelope (Technical Bid) are found in order. Date for opening of the Financial Bid will be notified later on after scrutiny of Technical Bid.

b.	Mode of Dropping of Tender Paper : i)Completed Tender papers in a perfectly  sealed envelope is to be sent by Registered Post/Courier Service/By hand and dropped in the tender Box available in the Chamber of D.E. (P&A), O/o GMTD, Dhenkanal.

8:	EMD may be forfeited in the following case:

- If the bidder withdraws his bid during the validity period of 60 days from the date of financial bid opening.

- Production of false/fabricated documents

- If the successful bidder fails- i) to deposit the performance security within the prescribed time. ii) sign the contract within the prescribed period in the prescribed agreement form.

EMD of unsuccessful bidders will be returned as early as possible after finalization of tender but not later than 60 days after expiry of bid validity without any interest.

9:	BID OPENING AND EVALUATION

  - The BSNL shall open the bids in the presence of bidders or his authorized representatives who choose to attend at 15.30 Hrs on due date. The bidder’s representative who are present, shall sign an attendance register. The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening (A format is given in Annexure VI).

  - A maximum of two (2) representatives for any bidder shall be authorized and permitted to attend the bid opening.

  - The Bids shall be opened in the following manner :

  - The bid opening committee shall count the number of bids and numbers to the bids. For example, if 10 tenders have been received the bid shall be numbered as 1 of 10, 2 of 10 etc. All the members shall initial on the outer envelopes of all the bids with date.

  - The envelopes containing the tender offer and not properly sealed, as required vide Para 7.a, shall not be opened and shall be rejected outright. Closing the cover by gum will not be treated as sealed cover. The reasons for not opening such tender offers shall be recorded on the face of the envelope and all the members of bid opening committee shall initial with date.

Vi 	First the outer envelope containing the three envelopes be opened. The committee shall initial on all three envelops with date.

Vii	Among these three envelopes, the envelope marked “BID SECURITIES” opened first and examined.

Viii The bidders who have submitted proper bid security as per tender documents “QUALIFYING BID” shall be opened and papers/documents submitted by bidder shall be examined and recorded by the TOC. After opening the bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

Ix 	After recording of the “Qualifying Bid” the TOC will place all the financial bids submitted by the bidder in an envelope and will properly sealed by wax/packaging PVC tape for keeping in safe custody.

X	The Financial Bid shall be opened in the following manner :

Xi	The envelope marked “Financial Bid”, will be opened only for qualified tenders in “Qualifying bid”.

Xii	The date and time of opening of “Financial bid “ shall be conveyed to the bidders who have qualified in qualifying bid and their representative shall attend the financial bid opening.

Xiii	After opening the “financial bid” the bidder’s name, bid prices, modifications, bid withdrawals and such other details as the Department, at its discretion may consider appropriate, will be announced at the opening.

Xiv	In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in works shall prevail.

Xv	BSNL shall evaluate the bids on the basis of overall cost in making the earth. Generally, it checks   to determine whether the tender is complete in all respect, whether any computational errors have been made, whether documents have been properly signed and whether bids are generally in order.

xvi.	The GMTD, Dhenkanal reserves the right to offer the contract of any Zone to the L-2 bidder at the L-1 price, if the L-1 bidder fails to execute the work to the satisfaction  of BSNL.

10:	Signing the contract : The successful bidder is to sign an agreement with BSNL authorities in the prescribed form on a ten-rupee non-judicial stamp paper.The EMD of successful bidder will be returned  on submission of performance security deposit.

Section - V

11:	Performance Security.

- The successful bidder shall be required to deposit an amount of 5% of the estimated cost towards performance Security.

- Performance Security shall be submitted in the form of Bank Guarantee or A/C payee DD issued by a scheduled Bank at Dhenkanal.

iii)	Performance Security will be discharged after completion of contractor’s performance obligations under the contract after one year of completion contract period & without bearing any interest.

.

      - If the contractor fails or neglects any of his obligations under the contract it shall be lawful for BSNL, to forfeit either whole or any part of performance security furnished by the bidder as compensation for any loss resulting from such failure.

The security deposit will be forfeited in part/whole in case of

a) Unsatisfactory service.

b) Theft or misappropriation  of BSNL property.

c) Damage caused to BSNL  and loss to stores issued.

d) Withdrawal of the successful Tenderer from the contract before its expiry without      giving proper notice as specified in the term and condition of the Tender Document.

Section –VI

TERMS AND CONDITIONS OF TENDER

12:a.	Execution Time Limit : The time period as stipulated in the  work order or letter of intent shall be deemed to be essence of the contract.

b.    Execution of work:

i) The Contractor should proceed to start the work on getting the work order from the D.E. (P&A) of this office.

ii) The   work procedure should follow the Diagram & work schedule and be executed under supervision of the concerned officer-in-charge not below the rank of SDO/SDE.

- The completion report should be submitted immediately on completion of work to the ordering authority through the supervising officer.

- Extension of time limit for execution of work may be granted by the competent authority  on justified grounds if applied in writing by the contractor.

c.      In case of delay of work by the Contractor, a delay penalty will be imposed @ of 0.5% of the    value of the order per week of delay or part thereof, subject to maximum of 10% of the value of the order

d.	The Contractor should take every precautionary measure during execution of contract to ensure the safety and security of life and property of workers and public. Any loss caused due to negligence thereof is to be compensated by the contractor.

13:   RESCISSION/TERMINATION OF CONTRACT

- Circumstances for rescission of contract :  Under the following conditions the competent authority may rescind the contract :

a)	If the contractor commits breach of any item of terms and conditions of the contract.

b)	If the contractor suspends or abandons the execution of work and the engineer in-charge of the work comes to conclusion that work could not be completed by due date for completion or the contractor had already failed to complete the work by that date.

c)	If the contractor had been given by the officer-in-charge of work a notice in writing to rectify/replace any defective work and he/she fails to comply with the requirement within the specified period.

- Upon rescission of the contract, the security deposit of the contractor shall be liable to be forfeited and shall be absolutely at the disposal of the Government as under :

14: Force Majure : If any time, during the continuance of this contract, the performance in whole or in part by either party of any obligation under this contract is prevented or delayed by reason of any war or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Herein after referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reasons such events be entitled to terminate this contract nor shall either party have any claim for damages against the other in respect of such on performance or delay in performance under the contract shall be resumed as soon as practicable after such an event may come to an end or cease to exit, and conclusive, provided further that if the performance in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days either party may, at his option terminate the contract.

15:	Arbitration:

- In the event of any question, dispute or difference arising under the agreement or in connection there with (except as to matter the decision to which specifically provided under this agreement), the same shall be referred to sole arbitration of the GMTD, Dhenkanal, BSNL. In case his designation is changed or his office is abolished then in such case to the sole arbitration of the officer for the time being entrusted whether in addition to the function of the GMTD, Dhenkanal or by whatever designation such officers may be called (herein after referred to as the said officer) and if the GMTD, Dhenkanal or the said officer is unable or unwilling to act as such, than to the sole arbitration of some other person appointed by the CGM/PGM/TDM or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act, 1996.

ii)	The arbitrator may from time to time with the consent of both the parties enlarge the time frame for making and publishing the award. Subject to aforesaid arbitration and conciliation Act, 1996 and the rules made the under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

iii)	The Venus of the arbitration proceeding shall be Office of General Manager, Telecom District, BSNL, at Dhenkanal or such other place as the arbitrator may decide.

16:    Set Off : Any such of money due and payable to the contractor (including security deposit refundable to him) under his contract may be appropriated by BSNL and set off the same against any claim of BSNL for payment of a sum money arising out of this contract or under any other contractor with BSNL.

17.Submission of Bill: The bills submitted should contain certificate of the concerned SDO/SDE with counter signature of D.E. showing that the work has been executed with use of materials as per specification in addition to other conditions as directed in the work order.

Bills should be submitted within one Month of A T  clearance.

18. payment Terms : 90%Payment will be made only after  clearance of A/T.. The bill should be certified by the concerned SDO and countersigned by the DET. Balance 10% payment will be made after 6 Months of completion of the work on obtaining certificate from the concerned SDO/SDE with counter signature of the D.E. that the Earth resistance is showing 0.5 ohms or less.  In case of improper resistance, payment will be made only after correction of the same to the required value.

19.	Other Terms & Conditions of Tender.

(i)    GMTD, Dhenkanal reserves the right to accept or cancel any or all the tenders  without assigning any reason thereof.

(ii).	the successful bidder has to enter into an agreement on non-judicial Stamp paper of Rs.10/- at his own cost as per enclosed proforma for a period of one year from the date of agreement.

(iii)    Bid Validity

The rates agreed upon shall be valid for a period of one year from the date of signing of agreement. However, the GMTD, Dhenkanal  (GM) reserves the right to extend the validity period by another six months, No variance in rates is allowed in this case till the completion of the contract period.

(iv)	GMTD reserves the right to distribute work  among the responsive contractors who are willing to work at the approved rates, if the GMTD feels so to achieve the targets.

(v)     GMTD reserves the right to award the work of a zone to other contractor in case of failure of a contractor to perform to achieve the target.

(vi)   In case of any dispute the decision of the GMTD, Dhenkanal is final and binding.

General Manager, (BSNL)

Telecom District, Dhenkanal

Copy to:

  - Dy.GM (Planning), O/O CGMT, Orissa Bhubaneswar.

  - Notice Board of this office.

  - Three wide circulated news papers.

General Manager, (BSNL)

Telecom District, Dhenkanal

Annexure -I

#### AGREEMENT

#### The agreement is hereby executed between Sri _____________________________________

#### S/O Sri _______________________    Vill:________________P.O.________________, P.S._______________Dist:____________as one party

#### AND

#### the General Manager Telecom District, Dhenkanal on behalf of  BHARAT SANCHAR NIGAM LIMITED as the second party on this date of ……………for  carrying out the Earthing works as per the specifications of tender, at the exchanges  in Dhenkanal Telecom District.

#### Where as in response to the tender notice No.…………………dated………the contractor Sri, ……………………..……………………has agreed to execute the work at the approved rate through out the contract period.

Further Sri………………………………………….is declared as approved contractor for execution of Earthing works of the General Manager, Telecom District, Dhenkanal for one year from the date of signing the agreement.

Sri…………………………………………..further agrees to demand the payment only after getting the earthing cleared by A/T i.e. only when the ohmic value of the earth is within 0.5 ohms. In case, the contractor fails to provide such stipulated value of earth, no payment will be made unless it is rectified.

Sri………………………………………….further agreed that the above approval can be cancelled at any time for failure on the part of the contractor to get the work executed successfully.

Signature of Contractor 					Signature of Dy.GM

O/O GMTD, Dhenkanal

Name								Name

Address							Address:

Signature of Witness						Signature of witness

Address							Address:

Annexure -II

Performance Security Guarantee Bond

In consideration of the President of the India (hereinafter called “the Government”) having agreed to exempt ____________________(hereinafter called “the said contractor(s)’) from the demand under the terms and conditions of an agreement/(Purchase Order) No ______________________________________dated_____________________made Between ______________________________and_______________________(hereinafter called “the said agreement”) of security deposit for the due fulfilment by the said contractor (s) of the terms and conditions contained in the said Agreement, on production of the bank guarantee for______________________________________________________we. (name of the bank)________________________________(hereinafter refer to as “the bank”) at the request of ___________________________(contractor(s) do hereby undertake to pay to the Government an amount not exceeding_______________ against any loss of damage caused to or suffered or would be caused to or suffered by the Government by reason of any breach by the said Contractor(s) of any of the terms or conditions contained in the said Agreement.

2.	We (name of the bank) ___________________do hereby undertake to pay the amounts due and payable under this guarantee without any demure, merely on a demand from the Government stating that the amount claimed is due by way of loss or damage caused to or would be caused to or suffered by the Government by reason of breach by the said contractor(s)s failure to perform the said Agreement.  Any such demand made on the bank shall be conclusive as regards the amount due and payable by the Bank under this guarantee where the decision of the Government in these counts shall be final and binding on the bank.  However, our liability under this guarantee shall be restricted to an amount not exceeding _____________________________________________________

- We under take to pay to the Government any money so demanded notwithstanding any dispute or disputes raised by the contractor(s)/ supplier(s) in any suit or proceeding pending before any court or tribunal relating thereto our liability under this present guarantee being absolute and unequivocal, The payment so made by us under this bond shall be valid discharge of our liability for payment there under and the contractor(s)/ supplier(s) shall have no claim against us for making such payment.

- We (name of the bank)____________________ further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the Government under or by virtue of the said Agreement have been fully paid and its claims satisfied or discharged or till ___________________________________________(office/Department) Ministry of ________________________certifies that the terms and conditions of the said. Agreement have been fully or properly carried out by the said contractor(s) and accordingly discharges this guarantee.  Unless a demand or claim under this guarantee is made on us in writing on or before the expiry of TWO/TWO AND HALF/THREE YEARS (as specified in P.O.) from the date hereof, we shall be discharged from all liabilities under this guarantee thereafter.

- We (name of the bank)__________________________further agree with the Government that the Government shall have the fullest liberty without our consent and without affecting in any manner our obligations there under to very any of the terms and conditions of the said Agreement or to extend time of performance by the said contractor(s) from time to time or from time to time any of the power exercisable by the Government against the said Contractor(s) and to forbear or enforce of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said Contractor(s) or for any  forbearance, act or omission on the part of the Government or any indulgence by the Government to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect or so relieving us.

- This guarantee will not be discharged due to the change in the constitution of the Bank or the Contractor(s)/supplier(s).

- We (name of the bank)_____________________lastly undertake not to revoke this guarantee during its currency except with the previous consent of the Government in writing.

Dated the________________day of__________________

For____________________________________________

(indicate the name of   bank)

Annexure. III

Diagram

Annexure-IV

Certificate on non-participation of near relatives in the tender.

I, Sri__________________________________________________________

S/O________________________________________________________________

Village______________________________P.O.____________________________P.S._________________________________Dist.___________________________hereby certify that none of my relative(s) defined below is/are employed in BSNL unit. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to lake any action as deemed fit, without any prior intimation to me.

Signature of bidder_________________________

Date.

Definition of near relatives.

No sub-contracting is permissible by BSNL. The near relatives of all BSNL employees (Non-executive employees) working in telecom District, Dhenkanal & executive employees (also called Group-A & Group-B officers) working in Orissa Telecom Circle either directly recruited or on deputation are prohibited from participation in this tender. The near relatives for this purpose are defined as :

- Members of a Hindu Undivided Family.

- They are husband and wife

- The one is related to the other in the member as father, mother son(s), son’s wife (daughter-in-law). Daughter(s) & daughter’s husband (son-in-law), brother(s) & brother’s wife, sister(s) sister’s husband (brother-in-law), relative is working in the units of BSNL as defined above. In case of proprietorship firm the certificate will be given by the proprietor, for partnership firm certificate will be given by all the partners and in case of limited company by all Directors of the Company. Any breach of these conditions by the company or firm or any other person, the tender/work will be cancelled and earnest money/security deposit will be forfeited at any stage whenever it is noticed. The BSNL will not pay any damages to the company or firm or concerned person. The company or firm or the person will also be debarred from further participation in the concerned unit.

Annexure –V

#### CHECK LIST

        - Whether the following papers are enclosed.

          - Demand Draft for the prescribed amount of EMD & Tender Document cost if downloaded from website.

          - Photo Copies of :

            - Copy of Valid contractors’ license.

            - Experience certificate

            - Copy of PAN.

      - All documents should bear the signature of the bidder/authorized person.

- Annexure-VII, where rates should be quoted clearly both in words and figures.

- The tender will be opened in presence of the bidders or their authorized persons those who like to be present on the scheduled date & time.

- Whether the tender has been sealed properly?

- Whether the corrections if any has been encircled and fresh entry mode and signed by the authorized signatory? (No over writing is permissible).

- Whether your tender is conditional ?  All conditional tender will be rejected.

- Whether you have super scribed on the envelope the name of the tender, zone no both in technical & financial bids.

- Documentary Evidence to sign the Bid.

Annexure -VI

To be detached from the document and produced along with data required at the time of opening of Bid documents.

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number ………………………………………………………………………………………….

Subject :	Authorization for attending bid opening on …………………………….. (date) in the tender of ………………………………………………………………….…………………………..

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of …………………………………………………………………………. (bidder) in order of preference given below.

Order of Preference 					Name			Specimen Signatures

I.

II.

Alternate

Representative

Signatures of Bidder

Or

Officer authorized to sign the bid

documents on behalf of the bidder.

No.	1.	Maximum of two representatives will be permitted to attend bid opening. In cases where it is restricted to one, first preference will be allowed. Alternate representative will be permitted when regular representatives are not able to attend.

2.	Permission for entry to the hall where bids are opened, may be refused in case authorization as prescribed above is not recovered.

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT

### DHENKANAL – 759001

( FINANCIAL BID )

##### FOR

###### EARTHING WORKS

IN

DHENKANAL TELECOM DISTRICT.

# FOR 2008-09

Tender No.D-312/Tender/Earthing/2008-09/01              Dt.12.11.2008

For Zone No.  :     ……………………

| ISSUED TO Name & Address of the Contractor | Signature with seal of the issuing Authority and date of issue |
| --- | --- |

##### Annexure -VII

### FINANCIAL BID

Details of Item and quantity of work for making earthlings at …………. zone in Dhenkanal SSA

| Sl.No. | Schedule of work | Unit | Rate in figures | Rate in Words |
| --- | --- | --- | --- | --- |
| 1 | Digging of earth pit 2M×2M×3M and boring at the center of the earth pit for about 3M or more depending on the nature of soil, if required to introduce the G I strip to obtain the ohmic value of the earth less than 0.5 ohms | Nos. |  |  |
| 2 | Supplying soft sieved soil/Ash for filling the earth pit | Cu.M. |  |  |
| 3 | Charges for filling up the earth pit with soft soil/Ash in layer by layer of 300mm thickness up to the ground level as per the instructions of JTO/SDO/TTA concerned. | Nos. |  |  |
| 4 | Supply of G I plate of size 600mm×600mm×6.5 mm | Per Plate |  |  |
| 5 | Supply of G.I. pipe with G.I.cap of medium gauge of size 3M. length of 50 mm Dia | Per pipe |  |  |
| 6 | Supply of G.I. Strip up-to the earth bus-bar of the Exchange with proper size 50mm×3mm | K.G. |  |  |
| 7 | Supply of Earth Bus Bar 300mm×50mm×6mm G.I. |  |  |  |
| 8 | Removal of surplus earth from the site. | Per Site |  |  |
| 9 | Making holes in the Earth plate, connecting strip, Earth leads & Bus bar, fixing the bus bar in a suitable place in the Exchange, making all connections, placing the earth plates & spare earth lead in position & extending the earth up-to bus bar, fitting of nuts & bolts etc. as per instructions at III .1 .(III) | Per Site |  |  |

NOTE :

- The earth resistance should be 0.5 Ω or less at any cost otherwise payment will not be made till rectification.

- The rates  quoted should be inclusive of all taxes & transportation charges.

- In case of difference in rates quoted in figures and words against any item, the rate in word will be taken for consideration.

Signature of the bidder

With full address

Contact Telephone No:

Mobile/FAX No:

# Text boxes

DE (P & A)

O/O GMTD, Telecom District, Dhenkanal

### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprises)

OFFICE OF THE GENERAL MANAGER, TELECOM DISTRICT,  DHENKANAL DHENKANAL

Note:-

1) Plates and GI Strips are connected by GI Nut & Bolts.  To prevent ingress of Moisture and Soil, the joint is made water tight by covering with bitumen

2)  The bends in GI Strips should not be sharp but with a radius of  1 metre as shown in the Drawing.

3)  After the earthing electrodes are placed in position and all the interconnections made, the pit should be filled up with fine ash and / or finely sieved good quality soil which should be rammed in layers, so that it is compact and cohesive.

4) Jointing of G.I. strips is not allowed in the running part of Strips inside the Earth Pit except at connecting points.