BHARAT SANCHAR NIGAM LIMITED

### (A Govt. of India Enterprises)

Office of the Telecom District  Manager, Bolangir -767001

TENDER DOCUMENT FOR LAYING OF

PLB PIPE & OF-CABLE  WORK  IN BOLANGIR TELECOM DISTRICT

(for both Development and Maintenance Work)

Tender No:     W-59/2008-09/36 ………..Dated 13.02.09

| ISSUED TO Name & Address of the Contractor | Signature with seal of the issuing Authority and date of issue |
| --- | --- |

Tender Document : Rs.520/-

O/o the Telecom.  District  Manager,

Doorsanchar  Bhawan,

Bolangir  - 767001.

Tel – (+91) 6652 - 234001, 234500 (F)

Lr. No. – W-59/2008-09/36				            	Dated at Bolangir  13-02-2009

# Notice Inviting Tenders

Sealed tenders are hereby invited by the Telecom District Manager, BSNL, Bolangir  on behalf of Bharat Sanchar Nigam Limited, India from experienced contractors for laying of PLB pipe and Optical Fibre cable( For Development and maintenance work) in the jurisdiction of Bolangir  Telecom District.

| Cost of bid document in Rs | Estimated cost of tender | EMD | Date and Time of |
| --- | --- | --- | --- |
|  |  |  | Issue of paper | Receipt of paper | Opening of qualifying Bid |
| Rs 520/- including Vat 4% | Rs 15 Lakh | 30,000/- | From 16-02-09 to 27-02-09 10:30 Hrs to 15:00Hrs | Upto 13:00Hrs on 28-02-09 | On 28-02-09 at 16:00Hrs |

Bid documents can be had:

a)	 From SDE (Est.), O/o TDM, Door Sanchar Bhawan, Bolangir  on written application with the copies of documents in support of their eligibility to participate in the tender along with the cost of bid document as mentioned in the form of DD/CASH from any scheduled bank in favour of  AO(Cash),BSNL,O/o TDM,Bolangir  payable at Bolangir .

b)	Eligible bidders can download the entire bid document from our website www.orissa.bsnl.co.in and submit the same within scheduled time and date along with the required cost of the bid document (Rs520/-) in the form of DD from any scheduled bank in favour of  AO(Cash),BSNL,O/o TDM,Bolangir  payable at Bolangir .

The detailed terms and conditions etc. are available in the tender documents. Tenders without EMD will be rejected. The TDM Bolangir  reserves the right to reject any or all tenders without assigning any reason thereof. The sealed tenders can be dropped in the tender box available in the chamber of DE (P&A) O/O TDM Bolangir .

Telecom District Manager

Bolangir

GENERAL CONDITIONS OF THE TENDER:

A0.	Name of the Work: Laying of PLB pipes and OF cable for both Development and maintenance work in areas under the jurisdiction of TDM, BOLANGIR  Approximate estimated cost is Rs. 15 Lakh.

A1.	 N.I.T .No : W-59/2008-09/36

A2		The Total work may be divided into no. of    zones depending on the requirement and volume of work and work will  be awarded to different eligible contractors agreeing to execute the work  at the L1 rate.

##### A3. EARNEST MONEY DEPOSIT (EMD)-

##### Earnest Money Deposit (EMD) as mentioned as per NIT will have to be deposited while submitting the tender, in the form of demand draft or pay order drawn on any of the nationalized banks at Bolangir  in favour of the  Accounts officer (cash), BSNL O/o Telecom District Manager, Bolangir -767001. The tenders received without EMD will be rejected. The EMD shall be forfeited in case the tenderer withdraws his tender before the final acceptance or fails to enter into the prescribed agreement with BSNL for execution of work after it is accepted. The EMD of unsuccessful bidders will be refunded after finalization of the tender without any interest. For successful tenderers the EMD is to be refunded after signing the agreement and furnishing Performance Security in terms of B.G. which do not carries  any interest.

A4.  	The successful tenderers will be required to sign an agreement in the proforma at Annexure II with the Telecom District Manager, Bolangir here-in-after referred to as TDM, BOLANGIR  for carrying out the OF cable laying works under the jurisdiction at different sections as specified.. After the tender has been declared successful by the Telecom District Manager, Bolangir , the successful tenderer and the TDM, BOLANGIR  would be two contracting parties for all the purposes. The successful tenderer will have to submit necessary Performance Security in the form of Bank guarantee for a period of eighteen months before signing the agreement.

A5. ELIGIBILITY CRITERIA-:

(Experience Certificate) :Eligibility criteria for the above work are- the contractors must be bonafide and experienced and should have experience of Rs 1 Lakh in PLB pipe and OFC  cable laying work during last three year in BSNL. Experience certificate in this regard is to be produced from an officer not below the rank of Deputy General Manager  or equivalent..

A6.	VALIDITY OF BID: The valididity of bid period is 150 Days from the last date of submission of the bid.

A7.	SECURITY.

a).	Performance Security

i) 	The successful tenderer will have to deposit Performance Security for  Rs. 50000.00 (Fifty thousand)  in the form of bank guarantee/DD for a period of eighteen months  from a scheduled bank and in the Performance Security bond form provided in the bid document at annexureIII.

ii) 	The contractor, at any point of time, will not be issued stores costing more than the Performance Security. The proceeds of the Performance Security shall be payable to BSNL as a compensation for any loss resulting from the contractor’s failure to handle properly the material issued to him under the contract.

iii) The Performance Security shall be released after six months from the date of payment of the final bill under the contract.

b).	Performance Security for Route:

i) 	An amount of 10% of each running bill/final bill of the contractor will be deducted from the billed amount in addition to the sum already deposited as Performance Security deposit. The proceeds of the performance security shall be payable to BSNL as compensation for any loss resulting from the contractors failure to complete its obligation under the contract.

ii)	The performance security deposit for the route shall be refunded to the tenderer after six months from the date of last work executed provided there are no recoveries to be made arising out of poor quality of work, incomplete work and/or violation of any terms and conditions of the contract as stipulated in the bid document. The SD will be released after getting NOC from concerned SDE and countersigned by DE.

iii) 	No interest shall be paid to the contractor on performance security.

A7.	The conditional and incomplete tenders are liable for rejection.

A8.	The Telecom District Manager , Bolangir  reserves the right to    reject one or all of the tenders without assigning any reason thereof.

A9.	All tools and accessories for the works shall be provided by the contractor.

A10.	Transportation of labour from one site to another and from one town to other will be the sole responsibility of the contractor.

A11.	The TDM, Bolangir  will not be responsible to provide residential accommodation to the labour employed by the contractor. All arrangement in this regard, will be the responsibility of the contractor.

A12.   The near relative of employees of BSNL,  are prohibited from participation in this tender (either directly recruited or on deputation) .The near relatives for this purpose are defined as , a) Members of Hindu undivided family b) They are husband & wife c)The one related to other in the manner as father, mother, son(s)& son’s wife (daughter in law), daughter(s)& daughter’s husband (son in law),brother(s) & brother’s wife, sister(s) & sister’s husband (brother-in law).

A13.  	In case of any dispute arising out of the contract between the two contracting parties. The decision of the Telecom District Manager .Bolangir  shall be final and binding.

A14. 	The TDM, BOLANGIR reserves the rights to increase/decrease or delete the scope of works without assigning any reason.

A15	The TDM, BOLANGIR reserve the rights to apportion the total cable laying works amongst a number of contractors at the approved rates and on uniform terms and conditions. Thus the TDM, BOLANGIR  may appoint more then one contractor for each zone in his jurisdiction.

A16.	The TDM, BOLANGIR  also reserves the rights to carry out a part or the whole of the cable laying work through its employees or by other Contractors .

A18	The works against this tender will be executed under the overall control of the Telecom District Manager, Bolangir .

A19	The TDM, Bolangir may authorize any officer working under him to conduct test checks of any trench anywhere within the district to ascertain the standard of works being done as and when desired by him.

A20.	Disposal of empty cable drums

The contractor shall be responsible for disposal of the empty cable drums after laying of cables. The cost of various sizes of empty cable drums recoverable from the contractor has been fixed taking into account the prevailing market rates as mentioned below:-

| Serial number | Size of Cable drums | Rate Fixed for disposal |
| --- | --- | --- |
| 1 | OF cable drum | Rs 200.00 |

N.B. These rates of the empty cable drums are to be deducted from the contractor’s bills if not  deposited with the SDO/SDE, who has issued the work order.

A21	Rates must be quoted both in words & figures. In case of discrepancy between words & figure, rate in words will be considered.

A22 	ADDRESSING THE TENDER –DE(P&A) O/o. TDM, BOLANGIR  The bidders are requested to submit their bid in two different sealed cover one as “QUALIFYING BID” and the other as “FINANCIAL BID”. The qualifying bid will consist of documents Sl.No-B1 to B6 & the financial bid will contain the rate quotation in the prescribed format in ANNEXURE-V& VI.

The covers of each bid should be super scribed as “laying of PLB pipe and Optical Fibre cable( For Development and maintenance work) of Bolangir SSA,” must be dropped in the sealed tender box kept in the office of  DE (P&A),O/o-TDM, Bolangir  by the time mentioned in NIT & the qualifying bid will be opened on same day at 16.00 hrs in the presence of tenderers or their representatives if they so desire . The financial bid of those tenderers who qualify in the qualifying bid only will be opened by the opening committee as per time schedule which will be intimated later.

A22.   Quantum of work & the Estimated cost

This tender is a rate contract for laying of PLB pipe & OFC in the Bolangir  Telecom District. The volume of work may vary as per the requirement. The estimated cost of the tender is apprx. 15 lakhs for both developmental and maintenance work, which may vary depending on the new requirement . The TDM, Bolangir reserves the right to increase/decrease the quantum & scope of works without assigning any reason.

N.B.-The tender document is not transferable.

B.       DOCUMENTS TO BE SUBMITTED ALONGWITH BID:

B1.	Experience Certificate as per clause A5.

B2       PAN No/GIR No. (self attested copy)

B3      If the tender is submitted by a firm , certificate authorizing the person to sign the tender papers and the copy of the Firm registration or Partnership deed may be enclosed in case it is a company registered under “Companies Act”, a copy of memorandum of article of Association should be submitted.

B4     	 EMD as specified at NIT.

B5	Declaration to the effect that no near relative of the bidder is working in BSNL  as given in the annexure IV of the tender document.

B6. 	The bid document duly signed in each page.

B7. 	VAT Clearance.

Note:  The bidders are requested to submit their bid in two different wax sealed cover one as “QUALIFYING BID”(ENVELOPE A) and other as “FINANCIAL BID”(ENVELOPE B) which will contain their rate quotation in the prescribed format in ANNEXURE-V & VI.

The qualifying bid will consist of documents Sl.No-B1 to B7. The financial bid will consist of the rate quotation as per ANNEXURE-V & VI.

B8      The original of the above documents may be produced at the time of final verification and signing of contract. (For verification)

B9	The financial bids of those tenderers who qualify in the qualifying bid only will be opened by the opening committee as per time & schedule which will be intimated to the qualified bidders later.

C.  	SPECIFICATION OF WORK

This tender is a rate contract for laying of PLB Pipe and OFC in various sections of Bolangir  telecom District.

C1.  TRENCHING

(a) 	Digging trench and laying of PLB Pipe and Pulling of OF cable in different sections under the jurisdiction of Telecom District Manager , Bolangir . The work broadly consists of the following components:-

(b) 	 Excavation of trench measuring 45 cm width & depth of 165cm in all places of Bolangir  Telecom Dist .The excavation also involves clearing of bushes, cutting roots of trees that may lie along the route of the cable trench and throwing out stones and boulders that may be dug up during the process of trenching.

(c)	 Depending  on the composition, the soil has been divided into  three different types namely (1) Soft Soil (2) Hard  or semi rocky soil and (3) Rocky soil.  Accordingly three different rates have been asked in the financial bid in annexure –V & VI.  The rate for rocky soil is meant for exceptional cases where chiseling has to be done for excavation. The portion of rocky soil should be duly certified by the concerned DET.

(d)	In case of digging trenches of lesser depths, the contractor would be paid lesser amounts based on the following formula.

| Depth of OFcable trench (in cm) | Percentage of approved rate accorded |
| --- | --- |
| 165 | 100 |
| 150 to164 | 95 |
| 130 to149 | 87.5 |
| 100 to129 | 75 |
| Less than 100 | 60 |

The rate mentioned above will be taken, as that for a trench of 165 cm and proportionate calculation will be done based on this rate.

For example:

Let the rate approved = Rs. 40.00 for 165 cm depth and let the actual trench is of depth 120 cm, then the rate will be Rs. 40.00 x 0.75  = Rs.30.00 (for depth 165 cm). Then the applicable amount payable for the depth 120 cm per meter will be Rs.30.00 x 120  / 165 = Rs.21.82 per meter. Prior permission to lay cable at lesser depth in exceptional cases need to be taken from concerned DGM.

C2     LAYING, STRENGTHENING OF HDPE/PLB PIPE

a)	After excavation of trench as per specification, proper leveling of bottom should be done for the PLB pipe that has to be laid in the trench as supplied by BSNL (HDPE/PLB pipe is of outer dia 50 mm/as available for the purpose & of nominal length of five meters to be jointed by HDPE/PLB couplers of suitable dimension) .A layer of soft soil of not less than 5 cms is to be used for leveling the trench to ensure that the pipe when laid will follow a straight alignment  along with the joints .The pipe should be as straight as possible and all bends and gradients or change of depth should be gradual .

b) 	The pipes should be jointed properly & nylon ropes of dia 4 mm  (to be supplied by the contractor) pulled through the pipes & kept inside tied on suitable weight so that the ends of the rope are easily accessible at the pipe end. Both the end of the pipeline section shall then be securely sealed by suitable cover supplied by BSNL. The next length of pipe shall be laid leaving a gap of two meters.

c)	A gap of two meters as mentioned above may also be kept at every bend so that the pipe line may be taken as will be directed by the officer in charge at site. Water present in the trench at the time of laying the pipe & jointing shall be pumped out by the contractor before lowering in the pipe to ensure that no mud or water gets into the pipe during the process with his own expenses

C3. 	Laying of 100 mm dia RCC spun pipes/RCC split pipes/80mm GI pipes (to be supplied by Contractor)

100 mm dia RCC spun pipes/RCC split pipes are to be laid over HDPE/PLB/PLB pipes for extra protection especially in the routes where other cables, PHD/PWD pipes, densely populated areas, low depth areas as per the instruction of concerned DET. The 80 mm GI pipes are to be inserted in all road borings & culverts where concreting are to be done over the GI pipes. However the portions where such GI pipes are laid, HDPE/PLB/PLB pipes of 50 mm dia are to be inserted in the GI pipes.

The contractor shall exercise all care to ensure that pipes that are laid are not subjected to any strain.

C4.	CONCRETING

The specification of cement concrete is 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) .The dimension of concrete is 8 inch width x 8 inch thickness.

Concrete is to be made in all culverts in the route,  over which PLB pipe is to be laid over the culvert, over the GI pipes & HDPE/PLB/PLB pipes. However in some of the exceptional cases where proper depth cannot be maintained concrete has to be done with prior permission of concerned DET. While submitting the bills the certificate from concerned authority for the concreted portions is to be given with proper marking in the diagram.

C5.  	ROAD BORING

In case of road crossings, the pipes shall be laid by punching/boring the road without damaging the road surface. The 80 mm GI pipes are to be inserted in all road borings &HDPE/PLB/PLB pipes of 50 mm dia are to be inserted in the GI pipes.

C6. 	FIXING OF ROUTE / JOINT INDICATORS

The route and  joint indicators are to be co-located with each manhole/ joint chamber. In addition route indicators are also to be placed where route changes direction like road crossings etc. The route indicators must be provided at every 200m span. The route/ joint indicators made of pre-cast RCC should have the following dimensions:

Base  - 250mm X 150mm

Top  - 200 mm X 75mm

Height – 1250mm

The word ‘ BSNL OFC’ should be engraved on the route/joint indicators. The route indicators are painted yellow and the same are placed at 2ft. away from the center of the trench towards jungle side. The joint indicators are placed at OFC joints and placed 1ft. away from wall of the joint chamber facing jungle side and are painted red. The engraved word ‘BSNL OFC’ should be painted in white, on route as well as joint indicators. Numbering of route indicators/ joint indicators should also be done in white paint. The numbering scheme for route indicators will be joint No./Route Indicator No. for that joint. For example, 2/6 marking on a route indicator means 6th route indicator after 2nd joint. Additional joints on account of faults at a later date should be given number of preceding joint with suffix A B, C, D. For example sign writing 2A on a joint indicator means, additional joint between joint No.2 and 3. The numbering of existing route/joint indicator should not be disturbed on account of additional joints. Enamel paints of reputed brand should be used for painting and sign writing of route as well as joint indicators.

C7. 	JOINT CHAMBER

The joint chamber is to be provided at every joint normally at a distance of 2 kms to keep the O.F.C joint well protected and also to keep extra length of cable which may be required in the event of faults at a later date. The joint chambers are to be of pre-cast RCC type. For fixing pre cast RCC chamber, first a pit of size 2m X 2m X 1.8m depth is required to be dug. Pre cast RCC chamber consists of three parts (i) round base plate in two halves of 140 Cm dia and 5 cm thickness (ii) full round RCC joint chamber with dia of 120 cm and height of 100 cm and thickness of 5 cm (iii) round top cover will be in two halves with dia of 140 cm and thickness of 5 cm having one handle for each half in center and word ‘OFC’ engraved on it.  After, fixing the pre cast RCC joint chamber, the joint chamber is filled with clean sand before closing. Lastly, back filling of joint chamber pit with excavated soil is carried out.

C8. 	PULLING OF OF CABLE THROUGH THE PIPES

The OFC are to be drawn through the HDPE/PLB pipes with the help of nylon ropes already present inside the pipes from the sections (the distance between two sections should be approximately 200 metre). The contractor should be careful while pulling the cables to ensure no damage/stress to the OFC while pulling.

C9. 	TRANSPORTATION OF STORES

The contractor has to transport stores (OF cables/HDPE/PLB pipes/GI pipes etc) from SDO (P)/SDOT /SDE(G/E) store depot to the site by the contractor at his own cost. No separate charges will be allowed towards such transportation.

C10. 	ACCEPTANCE TESTING (A/T).

The DET of A / T wing or any other officer appointed by him has free access to do acceptance test to the site. The contractor shall render all possible assistance and facilities for the purpose of A/T to the officials concerned .The work executed by the contractors will be tested by A/T wing and

defect pointed out will have to be attended immediately by the contractor. The final A/T report is to be submitted before submission of the bill for the work.

## Procedure for Acceptance  Testing

General: -

The work shall be deemed to have been completed, only after the A./T Officer has accepted the same. The contractor shall make test pits at the locations desired by A./T. Officer for  conducting test checks for depth of trenching without any extra payment. The contractor shall restore the pits after test measurements are taken to its original shape. The contractor shall be responsible to provide test/measurement tools and testers for conducting various tests.

Scope of Acceptance  testing: - The purpose of acceptance and testing is to verify integrity of measurement and quality of work done. The A/.T Officer shall not be responsible for recording of measurements for the purpose of contractual obligations. However, if the measurements taken by A/.T Officer are found to be lesser than the measurements recorded by the officer responsible for recording the measurements, the measurement taken by A./T Officer shall prevail without prejudice to any punitive action against the contractor as per provisions of the contract and the officer recording the measurements. The contractor shall be obligated to remove defects/deficiencies pointed out by the A./T Officer without any additional cost to BSN

Offering the work for acceptance and testing: - The Sub Divisional Engineer responsible for construction, after having satisfied himself of completion of work ready for A./T., shall offer the work to A/T Officer for conducting Acceptance Testing. The work shall be offered for A./T as soon as work in some of the sections on the O.F. route in all aspects is ready for being offered to A./T. The work against any work order can be offered for A/.T in a number of such stages.

Acceptance Testing Schedules: - The following tests shall be conducted for Acceptance and Testing: -

i).	 A/T of Trenching, Pipe laying and Protection.

ii). 	A/T of Transmission characteristics of O.F. cable from end to end as prescribed in the T&D Circle A./T schedule

iii). 	Fixing, Painting and Sign Writing of Route and Joint Indicators.

iv).	Certification of documentation.

B.	Offering of works for Acceptance  Testing: - The work shall be offered for A. /T in the offering Memo

i). 	Photocopy of complete work order containing technical, execution plans with 	work sanctioned and general details (attested by the SDE In-Charge of Cable Construction).

ii). 	Line diagram of pipes laid.

iii). 	Copy (Copies) of relaxation(s) issued by the competent authority, if any (attested).

C11. 	To avoid the possibility of theft of exposed cable which is already laid earlier or partly laid, the contractor will be required to arrange his watchmen at cable trench at night time and all the days. The watchmen so employed for this purpose shall have to be paid for by the contractor himself. In case of loss of cable by theft at such open trenches, the contractor shall be liable to pay the compensation to the TDM, BOLANGIR  basing on the value of cable so stolen.

C12.	In case  damage is caused to the existing cables by the labourers employed by the OF cable laying contractor the actual expenditure incurred for the restoration of the cable will be recovered from the contractor, including the cost of replaced portion of the damaged cables.

C13. 	The approved bidder for the zone has to carry out the maintenance work of OFC in the same procedure as mentioned for developmental work . The only difference is he has to do the

maintenance work as and where  it is urgently required to restore the damaged routes. For the purpose he has to quote extra rate for the same in the Annexure-VI.

D.   	VALIDITY OF THE CONTRACT.

D1. 	The contract shall be valid for one year from the date of signing of the contract.

D2.	The TDM, BOLANGIR reserves the right to increase the contract period   from the agreed period for a maximum 6 months. He also reserves the right to cancel the contract at any time without assigning any reasons.

E. 	WORK COMMENCEMENT, SUPERVISION & MEASUREMENT.

E1. 	The contractor has to commence the work after work order is issued by the authorized officers of TDM, BOLANGIR  . The work is to be commenced within seven days of issue of work order, which will be containing route map and details for executing the order. The work order may cover an entire route or a part of the route in which the cable to be laid. In case of jointing/allied works, details of the works will be indicated.

E2.	The time allowed is the essence of the contract and it is on the part of the contractor to ensure that the work is to be completed in all respects within the time as indicated in the work order.

E3. 	The TDM, Bolangir reserves the rights to terminate the contract in the event of progress of cable laying works being found slow in comparison to the time allowed. There after, the TDM, BOLANGIR will be free to get the work done through any alternative agency to be decided by it. Any excess amount required to be paid to the alternative agency to carry out the works, shall have to be borne by the defaulting contractor. Otherwise it will be adjusted from the Security Deposit or any amount due from BSNL to him.

E4.    	The TDM, BOLANGIR  also reserves the right that in the event of the contractor failing to commence and complete the work in the specified time, the work will be awarded to any other alternative contractor. The difference in cost of the work thus completed will be payable by the defaulting contractor. Otherwise it will be adjusted from the S/D.

F5.   After the completion of the work, the work carried out by the contractor shall be measured by the supervisory officer nominated by the TDM,BOLANGIR  The details of measurement will be entered in the measurement book and signed by both the contracting parties and their representatives jointly. The measurement books will be maintained by the representative of the TDM,BOLANGIR

F.	SAFETY, SECURITY AND OBSERVANCE OF LABOUR LAWS.

F1.	The contractor will be responsible for the safety and security of the material supplied to him by BSNL. He will insure all the materials besides cable comprehensively to cover loss or damage due to theft, fire or any other reason.

F2.	The contractor will be responsible for the safety and security of labour employed by him for execution of the work. He will be required to insure each labourer as per labour laws. The contractor will ensure safe working by observing proper safety precautions.

F3.	The contractor will be required to abide by the labour laws enacted from time to time by the central or state govt. Maintenance and observance of any or all of the statutory labour laws will be the sole responsibility of the contractor. The claims arising out of injury, causality or anything else to the worker/labourer employed by the contractor will be the sole responsibility of the contractor.

F4.	Under the provisions of the workmen’s compensation Act,  in case any compensation is paid by the BSNL.to a workman/labour employed by the contractor in execution of the work the same will be recovered from the contractor either from the bill preferred by him or by adjustment from his security deposit money.

F5.	Before commencement of work, the contractor should obtain a valid license by virtue of the provisions of the Contract Labour Regulation and Abolition Act. 1970 and of the Contract Labour Regulation & Abolition contract Rule, 1971 and continue to have valid license during the period of contract. The contractor shall be responsible for any contingency arising out of his failure to obtain and have a valid license.

F6. 	The contractor should ensure that no labourer below the age of eighteen years is employed by him on the work.

F7.	The wages paid by the contractor to the labourer employed by him should not be less than the minimum wages as defined in the CPWD contractor’s labour regulation or as per the provision of Central Labour (Regulation & Abolition) Rules, 1971, whichever is applicable.

F8. 	Under the provision of minimum wages Act.1948 and the minimum wages (central Rules), 1950,the contractor should allow the labourers employed by him on work one day rest against six days continuous work  and pay wages for that day at the same rate as applicable for duty.

F9.	The contractor shall maintain “Muster Roll” in respect of all workmen employed by him on the work in contract from XVI of the CL (R&A) Rules, 1971.

F10.	The contractor should comply with all the rules framed by the Government from time to time for the protection of health and sanitary arrangement for workers employed by him.

F11.	The contractor shall maintain a Register of persons employed on work on contract in from XII of t	he C.L (R & A) Central Rules, 1971.

F12.	The contractor should carry out the work in such a manner so that it will cause minimum hindrance to the traffic.

F13.	The OF cable laying works will be done along or across the road, streets, bridges, culverts and other similar places. The contractor will be required to display safety boards and provide lamps at nighttime to warn the passing traffic and users of the roads/streets. The contractor will be responsible for any accident caused due to the negligence in precautionary measures. He will undertake to indemnify BSNL against any loss and/or damage caused during the execution of work sustained by BSNL or by a third party.

F14.	The contractor shall maintain register of accidents, in such form as may be convenient at the work place. Also other necessary registers are to be maintained by the contractor for labourers employed by him.

F15.	The contractor shall allow inspection of all the prescribed labour records to any of his workers or to his agent at a convenient time and place, after due notice is received or to the labour officer or to any other person authorized by BSNL on its behalf.

F16. 	The contractor shall before commencement/commences his work on contract, display and correctly maintain and continue to display and correctly maintain in a clean and visible condition in conspicuous place of work, notices in English and in the local Indian languages spoken by majority of workers, giving the minimum rates of wages fixed under the minimum wages Act, the actual wages being paid,   the hours of work for which such wages and other relevant information.

F17.	The contractor shall submit periodical returns as may be required/prescribed from time to time.

G. 	RATES TO BE QUOTED.

G1.	The rates should be quoted in the financial bid format given in the annexure V and VI.

G2.	The tenderers are required to quote their rates for each item as mentioned in the annexure V and VI.

G3. 	Rates must be quoted both in words & figures; in case of any discrepancy, the rates in words will be considered. No conditional rates will be accepted.

H. 	PAYMENT AND OTHER COMMERCIAL TERMS.

H1.	 Payment will be made against the bill preferred to by the contractor. The bill will have to be submitted in triplicate and shall be accompanied with a pre-receipt with bank account number.

H2.	The bills are to be submitted in triplicate duly certified by the concerned SDE and countersigned by the concerned DET after sample check. The sample check for cable laying to be conducted by the DET concerned @ 10 places per kilometer. Initially 90% of the bill will be paid and balance 10% will be released after six month of completion of work. In case any discrepancy is found with regard to depth, the bill will be passed as per average depth of these 10 places on proportionate basis. The sample check report should be submitted along with the bill as well as in the MB. In case of developmental work A/T certificate in respect of Depth of Pipe and Optical Fibre availability from end to end is to be submitted along with the bill. For maintenance work no A/T certificate is to be submitted, only Test Check Report by DET is to be submitted.

H3.	The taken over & handed over certificate and the material account of the contractor should be submitted along with the bill.

H4.	Payments will be made through account payee cheque drawn on BSNL banker Bolangir or through E-Payment for which contractor has to submit his account no of SBI . The TDM, BOLANGIR  will not bear any collection charges, if required.

H5.	2% + sc of the entire billed amount will be deducted towards income Tax. This percentage may change depending on the statutory requirement.

H6. 	Sales Tax/ Income Tax as applicable from time to time will be deducted from the billed amount.

H7.	The road punching and concreting should be marked in Red ink with the details of length on the cable diagram.

H8.	The A/T report should be enclosed along with the bill submitted for payment for the work concerned.

J.	FORCE MAJEURE:

J1.	If any time, during the continuance of this contract, the performance in whole or in part by either party of any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Hereinafter referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason  of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance or delay in performance, and deliveries under the contract shall be resumed as soon as practicable after such event may come to an end or cease to exist, and the decision of the Contractor as to whether the works have been so resumed or not shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days either party may, at his option terminate the contract.

J2.  	PROVIDED also that if the contract is terminated under this clause, BSNL shall be at liberty to take over from the contractor at a price to be fixed by it, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in the course of execution of contract in possession of the contractor at the time of such termination of such portion thereof as BSNL may deem fit excepting such materials bought out components and stores as the contracts may with the concurrence of BSNL elect to retain.

K.  	ARBITRATION:

K1.	In the event of any question, dispute or difference arising under this agreement or in connection there with except as to matter the decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration of the Telecom District Manager District, BSNL, Bolangir  or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the Officer for the time being entrusted whether in addition to the functions of  the Telecom District Manager District, BSNL, Bolangir  or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the Telecom District Manager District, BSNL, Bolangir  or the said officer is unable or unwilling to act as such the sole arbitration or some other person appointed by the Telecom District Manager District, BSNL, Bolangir  or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act,1996.

There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Government Servant he has expressed views on all or any of the matter under dispute.

The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such Telecom District Manager District, BSNL, Bolangir  or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

K.2    	The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to aforesaid Arbitration and Conciliation Act; 1996 and the Rules

made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

K.3   The venue of the arbitration proceeding shall be the Office of the  Telecom District Manager District, Bolangir  or such other places as the arbitrator may decide.

L.   SET OFF:

Any sum of money due and payable to the contractor ( including security deposit refundable to him) under this contract may be appropriated by BSNL  or the Government or any other person or persons contracting through the Govt. of India and set off the same against any claim of BSNL or Govt. or such other person or persons for payment of a sum of money arising out of this contract or under any other contract made by the Contractor with BSNL or Govt. or such other person or persons contracting through Government of India.

The terms and conditions enumerated in the above as different clauses shall be binding and the bidder shall have to accept them in writing along with the tender. Also other terms and conditions enumerated in the bid document shall be binding on the bidder.

SCOPE OF WORK:

Work will be carried out  under the following areas of Bolangir Telecom District. After the finalization of  L1 rates, TDM, Bolangir  will allot the work to the eligible contractors, who qualified in the qualifying bid,  for execution of work zone wise ( the entire Bolangir  Telecom District  may be divided into no. of zones),  who agrees to execute the work on L1 rates on same terms and conditions .

| Sl. No. | Name of the SDOT | Name of the SDCA | Remarks |
| --- | --- | --- | --- |
| 01 | SDOT, Bolangir | Bolangir, Dunguripali |  |
| 02 | SDOT, Patnagarh | Patnagarh |  |
| 03 | SDOT, Titlagarh | Titlagarh |  |
| 04 | SDOT, Sonepur | Sonepur, Birmaharajpur |  |
| 05 | SDE(G/E), Kantabanji | Kantabanji |  |
| 06 | SDOP, Bolangir | Bolangir Town |  |

The volume of work in each section may vary as per actual requirement..

ANNEXURE-II

AGREEMENT

(to be done in a Rs10/- non-judicial stamp paper by the contractor)

AGREEMENT FOR LAYING OF PLB PIPE & OPTICAL FIBRE  WORKS (for Development and Maintenance work)  IN BOLANGIR  TELECOM        DISTRICT

An agreement is entered in between Sri ________________________ as one part and the Telecom District Managerrict, Bolangir  _________________________________ second part on behalf the BSNL on this ________ day of 2009 for OF Cable laying works in sections no …. under the jurisdiction of TDM Bolangir .

Whereas in response to the tender notice no ________________ dtd________ issued by the TDM Bolangir  Sri ___________________________ has been declared successful for OF cable laying  works  in zone/section  no _______ of Bolangir  Telecom district.

Sri ______________________________ hereby undertakes to carry out the work of OF cable laying  works  in the Zone  no ..  &..  respectively for a period of one year starting from the date of execution of the agreement of the rate as per the tender finalized his favour to the agreement  as per the tender  terms and  conditions laid down in the tender document.

Sri _________________________ also undertakes to carry  out the work throughout the year at the same approved rate and according to the laid down standards of BSNL and up to the satisfaction of TDM Bolangir .

Sri __________________________ further undertakes to fully abide by the terms and conditions as stipulated in the tender notice no ______________ dt. __________________ referred to above and shall make good any loss caused to the telecom district or any other Govt, department or private body or to the public.

Signature of contractor			Telecom District Manager, Bolangir

Name 						Name

Address					Address

Witness 1					Witness 2

Name 						Name

Address 					Address

ANNEXURE-III

Performance Security Bond Form

Where as …………….. …………… …………………………………………..

(herein after called the contractor ) has been awarded the contract of OF cable Laying for Development and Maintenance Work  as per tender number No.………………………know all men by these presents that we the contractor having registered office at ……………………………………………………………………...

are bound unto at ……………………………………………………………………………….………….

(herein after called BSNL) in the sum of Rs….. …         ( Rupees………………………………………………)

for which payment will and truly to be made of BSNL, the bank binds itself its successors and assigns by these presents.

The conditions of the obligations are :-

    - If the contractor is unable to keep stores issued to him properly, that is, the stores provided to the contractor are damaged or

    - The stores issued to the contractor are stolen or

    - The contractor is not able to provide proper account of the stores issued to him/her/them by BSNL

We undertake to pay to BSNL upto the above amount upon receipt of its first written demand with out  BSNL having to substantiate its demands provided that in its demands BSNL will note that the amount clamed by it is due to it owing to the occurrence of one or two or all of the three conditions specifying the occurred condition or conditions.

This guarantee will remain in force up to and including one hundred and eighty (180) days after the period of contract validity and any demand thereof should reach the Bank not later than the above date.

Signature of the Bank

Signature of witness

Name of witness

Address of witness

ANNEXURE-IV

DECLARATION OF NO NEAR RELATIVES WORKING IN BSNL

I ---------------------------------------------------------son of Sri  ------------------------------------------------------------------ hereby declare that none of my near relative(as mentioned in the tender document) is / are  employed in BSNL  unit . In case at any stage, it is found that the information given by me is false/ incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior information to me.

Signature of Tenderer

ANNEXURE-V

FINANCIAL BID (For Development Works)

| Sl No | Description of Work | Unit | Rate quoted in figure | Rate in word |
| --- | --- | --- | --- | --- |
| R.1 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For soft soils ) in rural area | Per meter |  |  |
| R.2 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For soft soils ) in urban area | Per meter |  |  |
| R.3 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For rocky soils) in rural area | Per meter |  |  |
| R.4 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents.( For rocky soils) in urban area | Per meter |  |  |
| R.5 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For hard or semi rocky soils ) in rural area | Per Meter |  |  |
| R.6 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For hard or semi rocky soils ) in Urban area | Per meter |  |  |
| R.7 | Pulling of OF Cables in the HDPE/PLB Pipes ( for both urban & rural area ) | Per meter |  |  |
| R.8 | Laying , strengthening of HDPE/PLB Pipes ( for both urban & rural area ) | Per meter |  |  |
| R.9 | Laying, Jointing of Half Round RCC Pipes/GI Pipes ( for both urban & rural area ) | Per meter |  |  |
| R.10 | Construction of Joint chamber ( for both urban & rural area ) | Per chamber |  |  |
| R.11 | Fixing Joint / Route indicators including supply ( for both urban & rural area ) | Per indicator |  |  |
| R.12 | Road boring/punching without damaging the road ( for both urban &rural area ) | Per meter |  |  |
| R.13 | Concrete ( for both urban &rural area ), Concrete Dimension: 8 inch X 8 inch | Per Meter |  |  |
| R-14 | Assisting in OFC Cable Joints and testing as per direction of controlling officer. | Per Meter |  |  |
| R-15 | Supply of 4mm nylon rope in case of HDPE/ PLB pipe of 5mt length . | Per Meter |  |  |

ANNEXURE-VI

FINANCIAL BID (For Maintenance work as per clause C13)

The rate must be quoted which includes all the taxes except service tax if applicable may be claimed extra.

| Sl No | Description of Work | Unit | Rate quoted in figure | Rate in word |
| --- | --- | --- | --- | --- |
| R.1 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For soft soils ) in rural area | Per meter |  |  |
| R.2 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For soft soils ) in urban area | Per meter |  |  |
| R.3 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For rocky soils) in rural area | Per meter |  |  |
| R.4 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents.( For rocky soils) in urban area | Per meter |  |  |
| R.5 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For hard or semi rocky soils ) in rural area | Per Meter |  |  |
| R.6 | Excavation and back filling of trench of 165 cm depth as per description in the tender documents (For hard or semi rocky soils ) in Urban area | Per meter |  |  |
| R.7 | Pulling of OF Cables in the HDPE/PLB Pipes ( for both urban &rural area ) | Per meter |  |  |
| R.8 | Laying , strengthening of HDPE/PLB Pipes ( for both urban &rural area ) | Per meter |  |  |
| R.9 | Laying, Jointing of Half Round RCC Pipes/GI Pipes ( for both urban &rural area ) | meter |  |  |
| R.10 | Construction of Joint chamber ( for both urban & rural area ) | Per chamber |  |  |
| R.11 | Fixing Joint / Route indicators including supply ( for both urban & rural area ) | Per indicator |  |  |
| R.12 | Road boring/punching without damaging the road ( for both urban &rural area ) | Per meter |  |  |
| R.13 | Concrete ( for both urban &rural area ), Concrete Dimension: 8inch x 8 inch | Per Meter |  |  |
| R-14 | Assisting in OFC Cable Joints and testing as per direction of controlling officer. | Per Meter |  |  |
| R-15 | Supply of 4mm nylon rope in case of HDPE/ PLB pipe of 5mt length . | Per Meter |  |  |