#### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

##### OFFICE OF THE TELECOM. DISTRICT MANAGER, KEONJHAR

##### BID DOCUMENT

##### (TECHNICAL)

Tender

for

Laying of u/g cable (all sizes)

and

Associated Works

in

Keonjhar Telecom. District.

(Tender No.: T-42 dated 01-04-2009)

##### Cost of tender papers:    Rs. 1125/-

Zone Number           ……………………………………….…..

Area under the jurisdiction of ……………………………….

Issued in favour of………………………………………............

Received by  ,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,……….

(It is the responsibility of the bidder to follow this office in every step of the tender/work to which he / she is concerned. In no case, the non-receipt of work order or any letter of correspondence will be entertained.)

Some important points about the tender

i)  One bidder can apply maximum for two zones only.

ii)  The bidder shall submit, as part of his bid, the bid documents (in original) duly signed on each and every page, establishing the conformity of his bid to the bid document of all the works to be executed by the bidder under the contract. (Note: The tenderer is advised to keep a photocopy (at his own cost) of the bid documents for his own reference).

iii)  Bid for each tender should be submitted in three envelopes placed inside a main cover.

iv) Award of Contract

BSNL shall consider award of contract only to those eligible bidders whose offers have been found technically, commercially and financially acceptable. The work may be awarded to more than one contractor (maximum two) in a particular zone as per requirement. The work will be awarded in the ratio of (L-1:L-2) 70:30. This proportion may vary as per actual requirement or up to the satisfaction of the authority.

v)  The bidder shall within 7 days of issue of letter of intent, give its acceptance along with material security .The agreement with the successful bidder shall be signed by the BSNL within a week of submission of material security in the form of Bank Guarantee issued by a scheduled bank valid for a period six months more than the contract period.

vi)   COMMUNICATION

1. The bidder must give his current postal address and telephone number (landline & mobile) in which correspondence can be made.

2. In case any letter sent to the bidder is returned to this office undelivered in the address given by the bidder. The responsibility will lie with the bidder only. Follow up action will be started as deems fit afterwards.

3. It is the responsibility of the bidder to follow this office in every step of the tender/work to which he / she is concerned. In no case, the non-receipt of work order or any letter of correspondence will be entertained.

vii)    EXECUTION OF WORK

If L-1 bidder fails to start / complete the assigned work within the time period as mentioned in the work order, the L-2 bidder will be called for to carry out the work at the approved rate as for L-1 bidder. Simultaneously, action will be taken against L-1 bidder. If the L-2 bidder fails to do the work, L-1 bidder of adjacent zone will be offered the work at the same rate if agreed by him. If he fails, L-2 bidder of the same zone will be called for and action will be taken against this L-1 bidder. Likewise, other zone bidders may be approached if necessity arises.

viii) The successful tender shall have to deposit material security of amount as fixed by TDM, Keonjhar (which will be communicated to the bidders in writing after their tenders are accepted) The Material Security will be a non-interest bearing deposit, for any period what so ever.

ix)  As soon as the tender is approved by the competent authority, the bidder has to submit 10% of the tender cost as Performance Security in the form of Bank Guarantee. The EMD deposited by the successful bidder may be converted in to the part of Performance security deposit if the bidder requests for such conversion. Besides this converted part security deposit, 7.5% amount from each running and final bill shall be deducted and credited to the performance security amount of the contractor against the contract.

x) In no case, EMD will be converted to Material Security Deposit.

xi) In each work order, the work order issuing authority shall specify the time allowed for completion of work consistent with the magnitude and urgency of work. The time allowed for carrying out the work is to be strictly observed by the contractor and shall be reckoned from seventh day from the date of issue of work order.

xii) The cable laid shall be guaranteed for a period of ONE YEAR from the date of laying.

xiii)  The time allowed for completion of the work as entered in the tender shall be strictly followed by the contractor and shall be deemed to be the most important aspect of the contract on the part of the contractor and shall be reckoned from seventh day from issue of   work   order   by   the department

xiv) The TDM, Keonjhar reserves the right to cancel the contract and forfeit the security deposit (both material security and performance security) if the contractor fails to commence the work within 7 days after issue of the work order.

xv) During excavation of trench utmost care is to be taken by the contractor so that the existing underground cables are not damaged or cut.

xvi) Register of accident – The contractor shall maintain a register of accident in such form as may be convenient at the work place.

xvii) Validity period of the Bid is 180 days.

TABLE OF CONTENTS

| SECTION | QUALIFYING BID DOCUMENT |
| --- | --- |
| I | NOTICE INVITING TENDER |
| II | BID FORM |
| III | TENDERER’S PROFILE |
| IV | INSTRUCTION TO BIDDERS |
| V | GENERAL (COMMERCIAL) CONDITIONS OF THE CONTRACT |
| VI | SPECIAL CONDITIONS OF THE CONTRACT |
| VII | SCOPE OF WORK & JURISDICTION OF CONTRACT |
| VIII | UG CABLE CONSTRUCTION SPECIFICATION |
| IX | MATERIAL SECURITY BOND FORM |
| X | AGREEMENT |
| XI | LETTER OF AUTHORISATION FOR ATTENDING BID OPENING |
| XII | LIST OF THE DOCUMENTS TO BE SUBMITTED ALONG WITH BID |
| XIII | RATE OF EMPTY CABLE DRUMS |
|  | FINANCIAL BID DOCUMENT |
| XIV | FINANCIAL BID |

SECTION – I

#### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

##### OFFICE OF THE TELECOM DISTRICT MANAGER, KEONJHAR

NOTICE   INVITING TENDER

No.: T-42/09-10                         dated   01-04-2009

Sealed (with Wax /PVC Tape) Tenders are invited by the undersigned for and on behalf of BSNL from bonafied and experienced individuals/ agencies for laying of underground cable (all sizes) and associated works in Keonjhar Telecom. District.

| Zone | Jurisdiction of | Tentative Cost of Work | EMD (Bid Security) |
| --- | --- | --- | --- |
| I | SDO(P), Keonjhar | Rs. 10,00,000/- | Rs.25,000/- |
| III | SDO(T),Joda | Rs. 15,00,000/- | Rs.37,500/- |

Cost of tender Paper = Rs. 1103/- for each zone.

in the shape of a DD issued by any Nationalised Bank payable at Keonjhar in  favour of A.O.( cash ) O/o the TDM, BSNL, Keonjhar)

Last date of sale of tender paper:                     23-04-2009 (1300 hrs)

Last date of submission of tender paper:          24-04-2009 (1300 hrs)

Opening of tender                                            24-04-2008 (1600 hrs)

Tender papers will be available from SDE (Est.), O/o TDM, Keonjhar on submission of an application (by 11.30 hrs) with cost of tender paper and attested copies of documents such as (1) PAN/ITCC, (2) Registration Certificate as a contractor, (3) Registration with Labour Department (Central Govt.)  (4) Valid EPF number and (5) Experience Certificate (having done any work under Central Govt. / State Govt. / PSU ) issued by an officer not below the rank of a DGM or a Superintending Engineer. Original documents will be asked for verification.

If any of the above date falls on any BSNL Holiday or any strike/bandh, the same date will be automatically shifted to next working day. Downloaded tender paper with all formalities completed (along with cost of tender paper, EMD, other documents, etc.) will also be received by courier / post. Tender paper to be reached in this office within due time is the responsibility of the bidder.

#### Telecom. District Manager, Keonjhar.

SECTION-II

BID FORM

Tender No. ---------------------------------------------------------------------------------------------

To,

The TDM, BSNL,

Telecom District, Keonjhar

Dear Sir,

Having examined the conditions of contract and specifications including addenda No……………………………………………………………………………the receipt of which is hereby duly acknowledged. We undersigned, offer to execute the work of Up-gradation & Rehabilitation of External Plant in Keonjhar TD in conformity with said drawings, conditions of contract and specifications as may be ascertained in accordance with the schedule of prices attached herewith and made part of the bid.

We undertake, if our bid is accepted, we will execute the work in accordance with specifications, time limits and terms and conditions stipulated in the tender document.

If our bid is accepted, we shall submit the securities as per the conditions mentioned in the contract.

We agree to abide by this bid for a period of 180 days from the date fixed for bid opening (qualifying bid) and it shall be remain binding upon us and may be accepted at any time before the expiry of that period.

Until a formal agreement is prepared and executed, the bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement. Besides, I/We agree to abide by the following conditions.

(1) The TDM, Keonjhar reserves the right to modify the nature and measure of any penalty mentioned in the tender as deems fit if necessity arises (due to delay in performance, sub standard work or otherwise).

(2) It is the responsibility of the bidder to follow the office of the TDM, Keonjhar in every step of the tender/work to which he / she is concerned. In no case, the non-receipt of work order or any letter of correspondence will be entertained.

Dated this …………day of 2008

Signature of Authorized Signatory…………………………………………….

In capacity of …………………………………………………………………….

Duly authorized to sign the bid for

and on behalf of …………………………………………………………………

Witness ……………………………….

Address ………………………………

Signature …………………………….

SECTION – III

TENDERER’ S PROFILE

General

1. Name of the tenderer /firm ………………………………………………………………………………………..

2. Name of the person submitting the tender whose photograph is affixed

Shri / Smt ………………………………………………………………………………………………………………….

(In case of proprietary /Partnership firms, the tender has to be signed by proprietor/partner only, as the case may be )

3. Permanent address. ___________________________________________________________________

4. Present address. _______________________________________________________________________

4. Telephonic address …………………………………………………………………………………………………

5. Tel. Nos. with STD code (O) ……………………………….(Fax)………………………..(R) …………………...

6. Registration & incorporation particulars of the firm :

(Proprietorship/ Partnership/ Private Limited/ Public Limited)

(Please attach attested copies of documents of registration/incorporation of your firm with the competent authority as required by business law)

7. Name of Proprietor/ Partner / Directors …………………………………………………………………………

………………………………………………………………………………………………………………………………

8. Bidder’s Contractor Certificate details:

- Number..____________________________________________

- Issuing Authority ………………………………………

- Issued on ………………………………………………………

- Valid up to._________________________________________

(An attested copy of the certificate may please by enclosed)

9.  Tenderer’s bank, its address and his current account number ……………………………………………

………………………………………………………………………………………………………………………………

10. Permanent Account Number,__________________________________________________

11. Income tax circle ……………………………………………………………

(Please attach a copy of last income tax return)

12. Infrastructural Capabilities

a)  Capacity of trenching per day (in meters) …………………………………………………………….……..

b)  Capacity of cable laying per day (in meters) ……………………………………………………………….

c)   Capacity of pulling cable through duct per day (in meters) …………………………………………….

d)   Capacity of engaging mazdoors per day …………………………………………………………………...

e) 	Particulars of vehicles available with the tenderer .

| Type of vehicle (s) | Registration No. |
| --- | --- |

f) 	Particulars of other machines possessed by the contractor, which can help in trenching, cable laying and cable pulling. …………………………………………………………………………...

…………………………………………………………………………………………………………………….

12.	Details of Technical & Supervisory staff:

I / We hereby declare that the information furnished above is true and correct.

Place :

Date  :

Signature of tenderer/Authorised signatory ……………………………………………………

Name of the tenderer ……………………………………………………………………………...

Seal of the tenderer

SECTION – IV

INSTRUCTION TO BIDDERS

A.	INTRODUCTION

1. 	DEFINITIONS   :

a)	BSNL	           : 	BSNL means Bharat Sanchar Nigam Limited

(A Government of India Enterprise)

b)         Department : The department means the Department of Telecommunications /

Department of Telecom Services or any other Department under the Ministry of Communications, which invites the tenders on behalf of the President of India. All references of :

Department

Chief GM / Principal GM / TDM / Deputy TDM / Area Manager / Director

Divisional Engineer / Sub Divisional Engineer / Junior Telecom Officer

Chief Accounts Officer / Accounts Officer / Assistant Accounts Officer /

Junior Telecom Officer

Including other officers in the department, whatever designation assigned to them from time to time, who may be the In-charge of direction, supervision, testing, acceptance and maintenance including their successor(s) in the office appearing in various clauses shall be taken to mean the Department of Telecommunications under the Ministry of Communications, Government of India.

c)	The Head of the TD : Means The TDM, BSNL, Keonjhar and his successors.

d)	The jurisdiction of the Head of the TD: Means the jurisdiction of the TDM BSNL, Keonjhar.

e)	Representative of the head of the TD : Means Representative of TDM, BSNL, Keonjhar

(Officer and staff for the time being deputed by the TDM Telecom for inspecting or supervising the work or testing etc).

f)	Engineer-In-Charge : The Engineer - In-Charge means the Engineering Officer nominated by TDM, Keonjhar to supervise the work, under the contract. (Minimum Divisional Engineer level Officer).

g)	Site Engineer : Site Engineer shall mean an SDE/SDO of the BSNL who may be placed by the TDM, BSNL, Keonjhar, as in-charge of the work at site at any particular period of time.

h)	A/T Unit : A/T unit shall be mean Acceptance and Testing unit of the BSNL.

i)	A/T Officer : An Officer authorized by the TDM, BSNL, Keonjhar to conduct A/T.

j)	Contract : The term contract means the document forming the tender and acceptance thereof and the formal agreement executed between the competent authority on behalf of the BSNL and the contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions issued from time to time, by the engineer in-charge and all these documents taken together shall be deemed to form one contract and shall be complementary to one another. In the contract, the following expressions shall, unless the context otherwise requires, have the meanings, hereby respectively assigned to them. The expression works or work shall unless there be something either in the subject or context repugnant to such construction, be construed and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original, altered, substituted or additional.

k)	Contractor : The contractor shall mean, the individual, firm or company registered with appropriate authority in accordance with procedure for contractor, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or company, or the successors of such firm or company and the permitted assignees of such individual, firm or company.

l)	Work : The expression “Works” shall unless there be something either in the subject or context repugnant to such construction be construct and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original altered, substituted or additional.

m)	Schedule(s) : Schedule(s) referred to in these conditions shall mean the relevant schedule(s) or the standard schedule of rates mentioned in the document.

n)	Site: The site shall mean the land / or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which, the work is to be executed under the contract or any adjacent land, path, or street which may be allotted or used for the purpose of carrying our the contract.

o)	Normal time or stipulated time: Normal time or stipulated time means time specified in the work order to complete the work.

P)	Extension of time : Extension of time means the time granted by the BSNL to complete the work beyond the normal time or stipulated time.

q)	Date of commencement of work : Date of commencement of work means the date of actual commencement of work or 7th day from the date of issue of work order, whichever is earlier.

r)	Due date of completion: Due date of completion shall be the date by which the work shall be completed at site including clearance of site.

s)	Duration of work completion of work: The duration of completion of work or completion time shall be time specified in the work order plus extension of time granted, if any.

t)	Excepted risk : Excepted risk are risks due to war (whether declared or not), invasion, act of foreign enemies, hostilities, civil war, rebellion, revolution, insurrection, military or usurped power, any act of BSNL damages from aircraft, other causes over which, the contractor has no control and the same having been accepted as such by the Accepting Authority or causes solely due to use or occupation by the BSNL of the part of the work, in respect of which a certificate of completion has been issued.

2. 	ELIGIBILITY OF BIDDERS

The invitation of bid is open to contractors as per their eligibility mentioned in the NIT of this tender document.

3. 	BID DOCUMENTS

3.1 	The construction work to be carried out, goods required, bidding procedures and contract terms are prescribed in the Bid documents. The bid documents include

3.1.1 	Qualifying Bid:

3.1.1.1 	Notice Inviting Tender

3.1.1.2 	Bid Form

3.1.1.3 	Tenderer’s profile

3.1.1.4 	Instructions to Bidders

3.1.1.5 	General (commercial) conditions of the contract.

3.1.1.6 	Special conditions of contract

3.1.1.7 	Scope of work and jurisdiction of the contract

3.1.1.8 	UG cable construction specifications

3.1.1.9 	Material security bond form

3.1.1.10 Agreement (Sample)

3.1.1.11 Letter of Authorization for attending bid opening

3.1.1.12 List of documents to be submitted along with the qualifying bid.

3.1.1.13 Rates of empty cable drums

3.1.2 	Financial Bid

3.2 	The bidder is expected to examine all instructions, forms, terms and   specification in the bid document. Failure to furnish all information required as per the bid documents or submission of bids not substantially responsive to the bid documents in every respect will be at the bidder’s risk and shall result in rejection of bid.

4. 	QUERIES ON BID DOCUMENTS

A prospective bidder, requiring any clarification of the bid documents shall notify the BSNL in writing or by fax or cable at the BSNL’s mailing address indicated in the invitation for Bid. The BSNL shall respond in writing to any request for clarification of the Bid documents, which it receives not later than 7 days prior to the date for the opening of the bids. Copies of the query (without identifying the source) and the clarifications by the BSNL shall be sent to all the prospective bidders who have purchased the bid documents and all such clarifications issued by the BSNL will form part of the bid document.

5.	AMENDMENT OF BID DOCUMENTS

5.1 	At any time, prior to the date for submission of bids, the BSNL may, for any reason whether suo-moto or in response to a clarification requested by a prospective bidder, modify the bid documents by amendments.

5.2 	The amendments shall be notified in writing or by telex or FAX to all prospective bidders on the address intimated at the time of purchase of bid document from the BSNL and these amendments will be binding on them.

5.3	 In order to afford prospective bidders reasonable time to take the amendments into account in preparing their bids, the BSNL may, at its discretion, extend the deadline for the submission/opening of bids suitably.

### B)	PREPARATION OF BIDS

6. 	COST OF BIDDING

The bidder shall bear all costs associated with the preparation and submission of the bid. The BSNL, will in no case, be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

- DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATIONS

(i) Cost of Tender paper & Bid Security (EMD),

(Ii) Tender document(s) in original duly filled in and signed by tenderer or its authorized representative along with seal on each page. All corrections and over-writing must be initialed with date by the tenderer or the authorized representative. (Seal is optional for individual bidder)

(iii) The bidder shall furnish as part of its bid documents establishing the bidder’s eligibility, the following documents:

(1) PAN/ITCC, (2) Registration Certificate as a contractor, (3) Labour License issued by Labour Department (central), (4) Valid EPF number and (5) Experience Certificate as per NIT (6) Original Power of Attorney in case person other than the bidder has signed the agreement, (7) The registration of firm, authenticated copy of partnership deed in cases of partnership firm,(8) Letter of Authorisation to attend the opening of the tender, (9) Declaration regarding no relative of the bidder working in BSNL Original documents may be asked for verification

Material Security, Performance Security, Bank Solvency Certificate, and List of qualified personnel to be deployed by the bidder for the work are to be submitted at the time of making agreement. (Details have been given in Section XII)

8. 	BID SECURITY (Earnest Money Deposit)

8.1	The bidder shall furnish as part of its bid, a bid security (EMD) (as mentioned in NIT, applicable for respective section individually being applied for). No interest shall be paid by the BSNL on the bid security for any period what so ever.

8.2	 The bid security is required to protect the BSNL against the risk of bidder’s conduct, which would warrant the security’s forfeiture.

8.3 	Bid security shall be paid in the form of BC/DD issued by a schedule bank, drawn in favour of Accounts Officer (Cash), BSNL, O/o TDM Keonjhar payable at Keonjhar

8.4 	A bid not secured in accordance with para 8.1 & 8.3 shall be rejected by the BSNL as non-responsive.

8.5 	The bid security of the unsuccessful bidder will be refunded as promptly as possible.

8.6 	The successful bidder’s bid security may be converted to a part of performance security deposit if the bidder requests for such conversion.

In no case, EMD will be converted to Material Security Deposit.

  - The bid security shall be forfeited

8.7.1	If a bidder withdraws his bid during the period of bid validity specified in the bid document or

8.7.2	If the bidder make any modifications in the terms and conditions of the tender before acceptance of the tender, which are not acceptable to the BSNL or

8.7.3	In case of successful bidder, if the bidder fails

(i)  to sign the agreement in accordance with clause 25, or

(ii) to furnish Material Security in accordance with clause 24.

9. 	BID PRICES

9.1 	The bidder shall give the total composite price inclusive of all levies and taxes, packing, forwarding, freight and insurance in case of materials to be supplied and inclusive of all taxes and levies in case of works to be executed. The contractor shall be responsible for transporting the materials, to be supplied by the BSNL (At the sub-divisional store) or otherwise to execute the work under the contract, to site at his/their own cost. The costs of transportation are subsumed in the standard schedule rates and therefore no separate charges are payable on this account. The offer shall be firm in India Rupee.

9.2	Prices shall be quoted by the bidder as per financial bid. Prices quoted at any other place shall not be considered.

9.3 	The price quoted by the bidder shall remain fixed during the entire period of contact and shall not be subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as non-responsive and rejected.

9.4	Discount, if any, offered by the bidders shall not be considered unless they are specifically indicated on the schedule of rates (Financial bid. Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply etc. into account.

10.	PERIOD OF VALIDITY OF BIDS

10.1	Bid shall remain valid for 180 days from date of opening of the bid (Qualifying bid). A bid valid for a shorter period shall be rejected by the BSNL as non-responsive.

11. 	SIGNING OF BID

11.1 	The bidder shall submit, as part of his bid, the bid documents (in original) duly signed on each and every page, establishing the conformity of his bid to the bid document of all the works to be executed by the bidder under the contract. (Note: The tenderer is advised to keep a photocopy (at his own cost) of the bid documents for his own reference).

11.2 	The bid shall contain no inter-lineation, erasures, or overwriting except as necessary to correct errors made by the bidder in which case such corrections shall be signed with date by the person or persons signing the bid.

C)	SUBMISSION OF BIDS

12. 	METHOD OF PREPARATION OF BID

  - Bid for each tender should be submitted in three envelopes placed inside a main cover. These envelopes should contain the following –

| ENVELOPE | MARKED ON THE COVER | CONTENTS OF ENVELOPE |
| --- | --- | --- |
| First | Bid Security | Containing Bid security as per clause 8 |  |
| Second | Qualifying Bid | Containing documents as per clause 7 except bid security. |
| Third | Financial Bid | Rates duly quoted by the tenderer in the prescribed format. |

On all these envelopes the name of the firm and whether “Bid Security” OR “Qualifying” OR “Financial” bid must be clearly mentioned and should be properly sealed (with sealing wax/packing PVC tape). These envelopes are to be placed inside an outer envelope and properly sealed (with sealing wax/packing PVC tape). The tenders, which are not submitted in above, mentioned manner should be summarily rejected.

All envelopes (3 inner & one outer) must be properly sealed and super scribed.

12.3 	The tenderer will be bound by all terms, conditions and specifications as detailed in the tender document.

12.4 	Any tender with conditions other than those specified in the tender document is liable to be summarily rejected. No modification by the contractor in any of the conditions will be permitted after the tender is opened.

13.	SUBMISSION OF BIDS

13.1 	Tenders should be dropped in person in the tender box placed in the office of Divisional Engineer (P&A), O/o TDM, BSNL, Keonjhar or received by post / courier before the closing (date & time) of tender, as mentioned in NIT. It is the sole responsibility of the tenderer that he should ensure timely submission of tender. The slit of tender box will be sealed immediately after the specified time for receipt of tender. Any tender presented in person after the sealing of box will not be received by TDM, Keonjhar or by any of the subordinates or will not be allowed to be deposited in the tender box.

13.2 	Postponement of Tender opening: Whenever it is considered necessary to postpone the opening of tenders, quick decision must be taken and communicated to the tenderers who have purchased the tender documents and shall be at least one day before the original date of opening. The reason for postponing the tender shall be recorded in writing. Such notice of extension of date of opening shall also be put-up on the notice board.  If the date of opening of bid is declared as holiday, the bids will be opened on the next working day at the same time and venue.

13.3 	The BSNL if subsequently declares date fixed for opening of bids as holiday, the revised schedule will be notified. However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

14. 	LATE BIDS

14.1 	Tenders will not be received after the specified time of closing of the tender and the same shall be rejected and returned to the bidder

15. 	MODIFICATIONS AND WITHDRAWL OF BIDS

15.1 	The bidder may modify or withdraw his bid after submission and before opening, provided that the intimation is deposited by the bidder in a properly sealed envelope (with wax/packing PVC tape) in the tender box, before the scheduled time & date for closing of tender.

15.2 	No bid shall be modified subsequent to the deadline for submission of bids.

D) 	BID OPENING AND EVALUATION

16. 	OPENING OF BIDS BY THE BSNL

16.1 	BSNL shall open the bids in the presence of bidders or his authorized representatives who choose to attend on due date at time. The bidder’s representative, who is present, shall sign an attendance register. The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening (A format is given in Section XI).

16.2.1 	A maximum of two (2) representatives for any bidder shall be authorized and permitted to attend the bid opening.

16.3	 The bid shall be opened in the following manner:

16.3.1 	The bid opening committee shall count the number of bids and assign serial numbers to the bids. e.g. , if 10 tenders have been received, the bids shall be numbered as 1 of 10, 2 of 10 etc. All the members shall initial on the outer envelopes of all the bids with date.

16.3.2	The envelope containing the tender offer and not properly sealed, as required vide Para 16.3.1 shall not be opened and shall be rejected outright. Closing the cover by gum will not be treated as sealed cover. The reason for not opening such tender offer shall be recorded on the face of the envelope and all the members of bid opening committee shall initial with date.

16.3.3 	First the outer envelope containing the three envelopes be opened. The bid opening committee shall initial on all three envelopes with date.

16.3.4 	Among these three envelopes, the envelope marked “BID SECURITY” shall be opened first and examined.

16.3.5 	(The bidders who have submitted proper bid security as per tender document, their “Qualifying Bid” shall be opened and papers/documents submitted by the bidder shall be examined and recorded by the TOC). After opening the qualifying bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

16.3.6 	(After recording of the “Qualifying Bid” the TOC will place all the financial bids submitted by the bidder in all envelope and will seal it with a wax for keeping in safe custody).

16.4 	The financial bid shall be opened in the following manner:

16.4.1 	(The envelope marked “Financial Bid” will be opened only for qualified tenders in “Qualifying Bid”).

    - The date and time of opening of Financial Bid shall be conveyed to all the bidders who have qualified in qualifying bid and their representative shall be allowed to attend the financial bid opening.

    - After opening the financial bid, the bidder’s name, bid prices, modifications, bid withdrawals and such other details as the BSNL, at its discretion, may consider appropriate, will be announced at the opening.

    - In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in words shall prevail.

- CLARIFICATION OF BIDS BY THE BSNL

To assist in examination, evaluation and comparison of bids, the BSNL may at its discretion ask the bidder for clarification of its bid. The request for its clarification and its response shall be in writing. However, no post bid clarification at the initiative of the bidder shall be entertained.

18. 	PRELIMINARY EVALUATION

18.1	BSNL shall evaluate the bids to determine whether they are complete, whether any-computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

18.2 	If there is discrepancy between words and figures, the amount in words shall prevail. If the contractor does not accept the correction of errors, his bid shall be rejected.

18.3 	Prior to the detailed evaluation, pursuant to clause 22, the BSNL will determine the substantial responsiveness of each bid to the bid document. For purpose of these clauses a substantially responsive bid is one, which conforms to all the terms and conditions of the bid documents without deviations. BSNL’s determination of bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

18.4 	A bid, determined as substantially non-responsive will be rejected by the BSNL and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

18.5 	BSNL may waive any minor infirmity or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such waiver, does not prejudice or affect the relative ranking of the bidder.

19. 	EVALUATIONS AND COMPARISION OF SUBSTANTIALLY RESPONSIVE BIDS

  - BSNL shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause 18. The evaluation and comparison of responsive bids shall be done on the basis of lowest bidder based on rates quoted in financial bid in total cost of all items added together.

  - The bidders may be asked to submit relevant documents in support of their technical capability and financial stability to carry out the work

  - The bidders may be asked to show the original documents during evaluation of the tender.

20. 	CONTACTING THE BSNL

20.1	Subject to clause 17 no bidder shall try to influence the BSNL on any matter relating to its bid, from the time of bid opening till the time the contract is awarded.

20.2 	Any effort, by the bidder to modify his bid or influence the BSNL in the BSNL’s bid evaluation, bid comparison or the contract award decisions shall result in the rejection of the bid.

21. 	AWARD OF CONTRACT

21.1	BSNL shall consider award of contract only to those eligible bidders whose offers have been found technically, commercially and financially acceptable. The work may be awarded to more than one contractor ( maximum two) in a particular zone as per requirement. The work will be awarded in the ratio of (L-1:L-2) 70:30. This proportion may vary as per the actual requirement or up to the satisfaction of the authority.

21.2 	The work against the tender is for one year’s requirement and the terms and conditions of this tender shall be operative for a period of one year from the date of signing of agreement between the BSNL and the contractor. The tender may be extended for another one year depending upon the quality of service rendered by the contractors or otherwise.

22. 	BSNL’S RIGHT TO VARY QUANTUM OF WORK

22.1	BSNL at the time of award of work under the contract, reserves the right to decrease or increase the work by up to 50% of the total quantum of work specified in the schedule of requirements without any change in the rates or other terms and conditions.

22.2	The estimated cost of work is as mentioned in the Notice Inviting Tender which has been worked out based on standard schedule rates mentioned in this tender document. The actual value of work may vary based on the actual requirement but generally being limited to +/- 50% of the indicated value.

22.3	In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the TDM, Keonjhar reserves the right to increase up to 60% of the quantum of works specified in the schedule of requirement contained in the running tender /contract within a period of 12months from the earliest date of acceptance of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender.

23. 	BSNL’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

BSNL reserves the right to accept or reject any bid and to annul the bidding process and reject all bids, at any time prior to award of contract without assigning any reason what-so-ever and without thereby incurring any liability to the affected bidder or bidders on the grounds for the BSNL’s action.

24.	ISSUE OF LETTER OF INTENT

24.1 	The issue of letter of intent shall constitute the intention of the BSNL to enter into the contract with the bidder. Letter of intent will be issued as offer to the successful bidder.

24.2 	The bidder shall within 7 days of issue of letter of intent, give its acceptance along with material security in conformity with clause 5.(1) section-V, provided with the bid documents.

25. 	SIGNING OF AGREEMENT

25.1 	The signing of agreement shall constitute the award of contract on the bidder. The agreement with the successful bidder shall be signed by the BSNL within a week of submission of material security in the form of Bank Guarantee issued by a scheduled bank valid for a period six months more than the contract period as per clause

25.2 	As soon as the tender is approved by the competent authority, the bid security deposited by the successful bidder shall be compulsorily converted in to the part of Performance security deposit, which will be held by BSNL till the completion of warranty period. Besides this converted part security deposit, 7.5% amount from each running and final bill shall be deducted and credited to the performance security amount of the contractor against the contract.

26. 	ANNULMENT OF AWARD

Failure of the successful bidder to comply with the requirement of clause 24 & 25 shall constitute sufficient ground for the annulment of the award and forfeiture of the bid security, in which event; the BSNL may make the award to any other bidder at the discretion of the BSNL or call for new bids.

27.         COMMUNICATION

1. The bidder must give his current postal address and telephone number (landline & mobile) in which correspondence can be made.

2. In case any letter sent to the bidder is returned to this office undelivered in the address given by the bidder. The responsibility will lie with the bidder only. Follow up action will be started as deems fit afterwards.

3. It is the responsibility of the bidder to follow this office in every step of the tender/work to which he / she is concerned. In no case, the non-receipt of work order or any letter of correspondence will be entertained.

- EXECUTION OF WORK

(i)   The work may be awarded to more than one contractor (maximum two) in a particular zone as per requirement. The work will be awarded in the ratio of (L-1:L-2) 70:30. This proportion may vary as per the actual requirement or up to the satisfaction of the authority.

(ii) If L-1 bidder fails to start / complete the assigned work within the time period as mentioned in the work order, the L-2 bidder will be called for to carry out the work at the approved rate as for L-1 bidder. Simultaneously, action will be taken against L-1 bidder. If the L-2 bidder fails to do the work, L-1 bidder of adjacent zone will be offered the work at the same rate if agreed by him. If he fails, L-2 bidder of the same zone will be called for and action will be taken against this L-1 bidder. Likewise, other zone bidders may be approached if necessity arises.

(iii)  The TDM, Keonjhar reserves the right to cancel the contract and forfeit the security deposit (both material security and performance security) if the contractor fails to commence the work within 7 days after issue of the work order.

SECTION – V

GENERAL (COMMERCIAL) CONDITIONS OF THE CONTRACT

The TDM, Keonjhar reserves the right to modify the nature and measure of any penalty mentioned in the tender as deems fit if necessity arises ( due to delay in performance, sub standard work or otherwise) .

1. 	APPLICATION

The general conditions shall apply in the contracts made by the BSNL for execution of the work of up-gradation & rehabilitation of external plant in Keonjhar Telecom. District.

2. 	STANDARDS

The works to be executed under the contract shall conform to the standards prescribed in the U/G cable construction practices.

3. 	PRICES

3.1	Prices charged by the contractor for the works performed under the contract			shall not be higher from the prices quoted by the contractor in his bid.

3.2 	Price once fixed will remain valid for the period of contract. Increase and decrease of taxes/duties will not affect the price during the period.

4. 	SUBCONTRACTS

The contractor shall not assign sub contract or subject the whole or any part of the works covered by the contract, under any circumstances.

5. 	SECURITY   (No interest will be paid to the contractor on the security deposit.)

(i)	Material Security

a.	The successful tender shall have to deposit material security of
amount as fixed by TDM, Keonjhar (which will be communicated to the bidders in writing after their tenders are accepted) The Material Security will be a non-interest bearing deposit, for any period what so ever.

b.	The contractor at any point of time will not be issued stores costing
more than material security. If due to any reason more stores have to be
issued to the contractor, then the material security will be suitably increased as per direction of approving authority.

c.      The proceeds of the material security shall be payable to the Keonjhar Telecom.  District as compensation for any loss resulting from the contract's failure to
handle properly the material issued to him under the contract.

d.	The Material security shall be released / refunded after last final bill of the work under contract or final settlement of material account whichever is later on
production of "no dues certificate" from concerned field officer.

(ii)	      PERFORMANCE SECURITY

a.	As soon as the tender is approved by the competent authority, the bidder has to submit 10% of the tender cost as Performance Security in the form of Bank Guarantee. After this deposit is done the EMD will be sent back to the bidder.

The EMD deposited by the successful bidder may be   converted into the part of Performance security deposit if the bidder requests for such conversion. Besides this converted part security deposit, 7.5% amount from each running and final bill shall be deducted and credited to the performance security amount of the contractor against the contract.

b.	The proceeds of the performance security shall be payable to the Keonjhar TD as compensation for any loss resulting from the contractor’s failure to complete its obligations under the contract.

c.	The performance security deposit shall be refunded after expiry of
warranty period of last work executed provided there are no recoveries
to be made arising out of poor quality of work, incomplete work and/or
violation of any terms and conditions of the contract as stipulated in the
bid document.

6.	ISSUE OF WORK ORDERS AND TIME LIMIT

6.1	The work order shall be issued so as to include all items of works. The
contractor shall organize the work in such a way so as to deliver meaningful
output of requisite quality within shortest possible time. The work order for
main works will be issued first and a different work order for other related
work will be issued separately. The work shall be taken up in such a way that
whole work is completed in a shortest possible time.

6.2	The work orders shall be issued by the field officer of concerned area after examining the technical and planning details of the works to be executed. The work order shall be given strictly under the provision available in the sanctioned detail estimate. Once the approved tenderer receives work order worth 80% of total cost of agreement, the same shall be intimated to planning section by approved tenderer immediately.

6.3	If due to any reason partial work order is to be issued then the same shall be
issued with the approval of an officer not below the rank of a DGM.

6.4	The Sub Divisional Engineer shall mention the time limit to execute the work order
after seeing the quantum of work and store availability position.

6.5	The TDM, Keonjhar reserves the right to cancel or modify the scope of work stipulated to be carried out against the work order in the event of change of plan necessitated on account of technical reasons or in the opinion of work order issuing authority or the SSA Head, the contractor is not executing the work at the required pace.

7.	EXTENSION OF THE TIME LIMIT

7.1 	General

7.1.1 	In each work order, the work order issuing authority shall specify the time allowed for completion of work consistent with the magnitude and urgency of work. The time allowed for carrying out the work is to be strictly observed by the contractor and shall be reckoned from seventh day from the date of issue of work order.

7.1.2	In as much as “the time being deemed to be the essence of contract” throughout the stipulated period of contract, the work is to be proceeded with all the diligence on the part of the contractor.

7.2 	Application for extension of the Time and Sanction of Extension of Time (EOT)

7.2.1 	There may be some hindrances, other than covered under force majeure, while execution of work and in such cases the contractor shall apply in writing in the prescribed form (Part-A) to the engineer-In-charge for extension time (EOT), on account of which he desires such extension within three days of occurrence of hindrance. The Engineer-In-charge shall forward the request to the competent authority (an Officer of the rank of JAG level in-charge of cable construction work) with his detailed report and photocopy of the hindrance register, in the prescribed form (Part-B) within three days of receipt of request from the contractor.

7.2.1.1 	The application contains the ground(s), which hindered the contractor in execution of work.

7.2.1.2 	The engineer in-charge is of the opinion that the grounds shown for extension of time are reasonable.

7.2.2 	The competent authority shall consider the request keeping all the facts and circumstances in view and shall grant extension of time, if in his opinion, there are reasonable and sufficient grounds for granting such extension and the reasons for delay are not ascribable to the contractor.

7.2.3 	The competent authority may also grant extension of time for completion of work in cases where reasons for delay are ascribable to the contractor, but such extension of time shall be with LD charges as per clause dealing with penalty for delays in execution of works. The extension of time with LD charges shall be issued under the signature of JAG level Telecom Officer competent to grant the extension of time.

7.2.4 	The competent authority shall grant EOT with time period for completion of work expressly mentioned. The sanction of the competent authority of EOT shall be issued under the signature of the Engineer In-charge.

7.2.5 	If the competent authority is of the opinion that the grounds shown by the contractor are not reasonable and sufficient and declines to grant the extension of time, the contractor cannot challenge the soundness of the opinion by reference to arbitration. The decision of the competent authority on period of extension of time or refusal for extension of time shall be final and binding on the contractor.

7.3 	Grant of extension of time without application:

7.3.1 	There are, at times, practical difficulties the non availability of materials, delay in providing permissions/right of way etc. reasons for which are ascribable to the BSNL. In such cases, the Engineer In-charge with the approval of competent authority to sanction EOT, may issue extension of time suo-moto without waiting for contractor to make an application for EOT. Entry of hindrances shall be made in the hindrance register. The BSNL will however, not be liable to the contractor for any losses or damages, costs, charges or expenses that the contractor may in any way sustain/suffer due to delay in making the above available.

8. 	MEASUREMENT, INSPECTION, TESTING AND ACCEPTANCE TESTING

8.1. Measurement

8.1.1 	The measurement books are to be maintained by the Officer in-charge of the work or his immediate subordinate not below the rank of SDO/SDE. No entry shall be erased. If a mistake is made, it should be corrected by crossing out the incorrect words or figures and inserting the corrections, the corrections thus made shall be initialed & dated by the officer concerned.

8.1.2 	Responsibility of taking and recording measurement: The measurement of various items of work shall be taken and recorded in the measurement book issued with each work order. The measurement shall be taken and recorded by an officer not below the rank of SDO/SDE, supervision the work. The SDO / SDE directly responsible for supervision of work shall be responsible for accuracy of 100% of measurements. The Divisional Engineer shall be responsible for conducting test check of 10% of measurements.

8.1.3 	Method of recording of nomenclature of items : Complete nomenclature of items, as given in the agreement need not be reproduced in the measurement book for recording the measurements but corresponding item code as provided, shall be used.

8.1.4 	Method of measurements: The measurements of the work shall be done for activity-wise as and when the item of work is ready for measurement. The methods of measurement of various items are enumerated as under –

- Measurement of depth of trenches

The cable routes of one work order shall be divided into a number of segments each of maximum 100 meters length bounded by identifiable landmarks at both the ends of the segments. If landmarks are not available, length of segment may be maintained at 100 meters. One segment shall cover only one type of trench. The measurement of depth shall be recorded at each point of measurement (POM) in the measurement book in meters up to two decimal points. For example, 57cms depth shall be recorded as 0.57m. The points of measurements shall be at a distance of 10 meters starting from 0

(zero) meter. For example, if length of segment is 75 meters, the POMs shall be at 10 SBP, 10 SBP, 20SBP, 30SBP, 40SBP, 50SBP, 60SBP, 70M. The last POM shall be at 75th M to be recorded against residual POM. For each segment average depth shall be worked out by dividing the total depth by number of POMs. The measurement of depth be recorded in measurement book.

The efforts required to excavate trenches is not proportionate especially with reference to depth. Therefore, normally the workers lend to dig shallow trenches. As standard depth of the trench is important for future life and protection of cables, this tendency has to be discouraged. In order to encourage the contractor to achieve best possible depth in the face of the constraints, the following scale of payment shall be applied for digging of lesser depths; subject to condition that relaxation has been granted by the competent authority for lesser depths.

- Measurement of length & Profiles of strata and protection - The measurements of length of trenches are on running meter basis for particular category of surface strata viz, non-surfaced strata irrespective of type of soil encountered while digging. The length of trenches dug in different strata in a segment shall be measured and recorded item code-wise in the measurement book. Segment length from POMs and total of item code-wise length should match.

- Measurement of length of cable – The length of cables laid in trenches, through pipes and through ducts shall be measured by use of RODO meter/Measuring tape. The length should be cross verified with the marking of length on the cables. The lengths shall be recorded in sheet provided in the measurement book.

    - The contractor shall sign all the measurement recorded in the measurement book. This will be considered as an acceptance by the contractor of measurements recorded in the MB. In case contractor fails to attend at the measurements or fails to countersign or to record the difference with in week, then in any such events the measurements taken by Engineer In-charge or by the subordinate as the case may be shall be final and binding on the contractor and the contractor shall have no right to dispute the same.

    - The Divisional Engineer before passing the bill for sections covered by each set of measurement may carry out test check by re-opening trench at as many locations as necessary as specified in document procedure for underground cable construction and bills will be passed only when he is personally satisfied of the correctness of entries in the measurement book and also when he is satisfied of other aspects of the work as per the terms and conditions of the contract. The contractor shall provide the necessary assistance of labour for reopening of trench for test check by Divisional Engineer. Separate payment shall not be made to the contractor for excavation of such test checks, however such test pits shall not be more than 10% of the cable laying work.

8.1.7	Measurement of the work of cable pulling through pipe/duct will be taken equal to the length of the pipe/duct through which the cable has been pulled and not the total length of the cable pulled through pipe/duct.

8.2	Inspection and Quality control:

8.2.1 	The quality of work – The importance of quality of U/G cable construction works cannot be over-emphasized. The quality of Telecom services largely depends on the quality of external plant of which U.G. cable component covers the major portion. The U/G cables are vulnerable to damages due to work of other agencies.

8.2.2 	It is imperative that the contractors are fully conversant with the construction practices and shall be fully equipped to carry out the work in accordance with the specifications. The contractors are expected and bound to ensure quality in construction works in accordance with specifications laid down. The contractor shall engage adequate and experienced supervisors to ensure that works are carried out as per specifications and with due diligence and in a professional manner. The contractors shall satisfy himself/themselves that the work conforms to the quality specifications before offering the same to A.T. wing for Acceptance Testing. An assessment of extent of interest shown by the contractors in executing the works with requisite quality shall be recorded and used in evaluating the Contractors’ Performance Rating (CPR).

8.2.3	In addition to Acceptance testing being carried out by A.T. wing and supervision by

Construction Officers, all works at all times shall be open to inspection of the BSNL. The contractors shall be bound, if called upon to do so, to offer the works for inspection without any extra payment.

8.2.4	Site Order Book : The site order book is one of the primary record to be maintained by he SDO/SDE supervising the work during the course of execution of works. The noting made by Officers as well as Contractors will form as basis for operation for many contractual clauses. The contractor shall remove all the defects pointed out by the BSNL in the site order book. The site order book is to be maintained in the prescribed format. The contractor or their representatives shall also be at liberty to note their difficulties etc. in these books. The site books shall invariably be consulted at the time of making final payments to the contractor.

8.3	Testing and Acceptance Testing:

8.3.1 	The work shall be deemed to have been completed only after the same has been accepted by the A.T. Officer. The contractor shall make test pits at the locations desired by A.T. Officer for conducting test checks without any extra payment. The contractor shall restore the pits after test measurements to its original shape. The contractor shall be responsible to provide test/measurement tools and testers for conducting various tests.

8.3.2 	Scope of Acceptance and Testing: The purpose of acceptance and testing is to verify integrity of measurement and quality of work done. The A.T. officer shall not be responsible for recording of measurements for the purpose of billing and contractual obligations. However, if the measurements taken by A.T. officer are found to be lesser than the measurements recorded by the officer responsible for recording the measurements, the measurements taken by A.T. officer shall prevail without prejudice to any punitive action against the contractor as per provisions of the contract and the officer recording the measurements. The contractor shall be obliged to remove defects/deficiencies pointed out by the A.T. officer without any additional cost to the BSNL. The 5pr wall mount DP rehabilitation work will also be acceptance tested by A.T. team of T&D circle or otherwise nominated by TDM.

8.3.3 	Offering the work for acceptance and testing: The Sub Divisional Engineer responsible for construction, after having satisfied himself for completion of work ready for A.T., shall offer the work to A.T. officer for conducting Acceptance & Testing.

8.3.4 	The contractor shall provide labour, if demanded by the A.T. officer for digging of test pits and other necessary infrastructure for carrying out the A.T. work. No extra payment will be made for the digging of test pits.

9.	WARRANTY

9.1 	The contractor shall warrant that the material for the work shall be new and free from all defects and faults in material, workmanship and manufacture and shall be of the highest grade and consistent with the established and generally accepted standards for materials of the type ordered and shall perform in full conformity with the specifications and drawings. The contractor shall be responsible for any defects that may develop under the conditions provided by the contractor and under proper use, arising from faulty materials, design or workmanship such as corrosion of the equipment, inadequate quantity of materials etc. and shall remedy such defects at his own cost when called upon to do so by the BSNL who shall state in writing in what respect the stores are faulty. This warranty shall survive inspection or payment for, and acceptance of goods, but shall expire except in respect of completion notified prior to such date, twelve months after the acceptance testing.

9.2	 If it becomes necessary for the contractor to replace or renew any defective portion/portions of the material under this clause, the provisions of the clause shall apply to the portion/portions material so replaced or renewed or until the end of the above mentioned period of twelve months, whichever may be later. If any defect is not remedied within a reasonable time, as prescribed by the BSNL, the BSNL may      proceed to do the work at the contractor’s risk and costs, but without prejudice to any other rights, which the BSNL may have against the contractor in respect of such defects.

9.3 	The cable laid shall be guaranteed for a period of ONE YEAR from the date of laying.

9.4 	Replacement under warranty clause shall be made by the contractor free of all charges at site including freight, insurance, cost of works and other incidental charges.

10. 	AUDIT AND TECHNICAL INSPECTION

10.1 	BSNL shall have the right to cause an audit and technical examination of the work and the final bills of the contractor including all supporting vouchers, abstract etc. to be made after payment of the final bills and if as a result of such audit and technical examination any sum is found to have been overpaid in respect of any work done by the contractor under the contract or any work claimed by him to have been done by him under the contract and found not to have been executed, the contractor shall be liable to refund the amount of over payment and it shall be lawful for BSNL to recover the same from him in the manner prescribed in clause with the heading payment of bills in any other manner legally permissible and if it is found that the contractor was paid less than what was due to him under the contract in respect of any work executed by him under it, the amount of such under payment shall be duly paid by BSNL to the contractor.

10.2 	Provided that BSNL shall be entitled to recover any sum overpaid, nor the contractor shall be entitled to payment of any sum paid short where such payment have agreed upon between the Divisional Engineer or his subordinate officer on one hand and the contractor on the other under any term of the contract permitting payment for work after assessment by the TDM Telecom or his subordinate officer.

10.3 	Any sum of money due and payable to the contractor (including security deposit) refundable to him) under this contract may be appropriate by the BSNL for the payment of a sum of money arising out or under any other contract made by the contractor with the BSNL.

11. 	PAYMENT TERMS (Bills must be submitted within one month of completion of the work)

11.1	Procedure for preparation and settlement of bills

11.1.1 	The work order shall contain work of one or more primary cables and/or distribution cable works of one or more pillars. As stated earlier the work has to be organized in such a way so that the cables are available for release of connections at the earliest and in line with this thinking the contractor should carry out the works in a systematic manner either of a primary cable or a number of primary cables on the same route or distribution cables of a pillar in one stretch. The procedure for preparation of running and final bills is enumerated as under.

11.1.1.1Procedure for preparation, processing and payment of running bills: The contractor shall prepare the running bill in triplicate ensuring execution of part work in its completeness as envisaged above, correctness of rates and quantum of work and submit the bills to SDE In-charge of work. The bills shall be prepared accurately and

as per measurements recorded in the measurement book and after acceptance and testing of all the items involved in the work. The contractor should submit the running bill within 10 days of acceptance and testing. The SDE In-charge shall record the certificate on the running bill that the site order books have been consulted before signing the running bills. This would enable the SDE to ensure whether the defects pointed during execution have been rectified or not. The SDE In-charge of work shall scrutinize the bills and accord necessary certificates (including certificate regarding provision of store & cash in the estimate from SDE (Estimate) and regarding issue of store against the estimate from SDE (MM) positively) and submit the running bills with the documents as mentioned below to the Divisional Engineer In-charge of work. Any variation in the quantity of store utilized from provision of store in the estimate must be justified and counter-signed by the DE. Approval from the TDM, Keonjhar for the same MUST be enclosed.

- First copy of the bill with first copy of measurement sheets of measurement book and A/T reports. (Payable copy)

- Second copy of the bill with second copy of measurement sheets of measurement book and A/T reports. (Not for payment)

- Third copy of the bill with photocopies of measurement sheets and A/T reports. (Not for payment)

11.1.1.2 	The Divisional Engineer shall exercise the prescribed checks to the bills and accord necessary rectification on the bills. The Divisional Engineer shall retain the third copy in record and record it in the estimate file maintained in his office and send first and second copies with al documents to Work section of Planning cell for processing of bills and release of payment.

11.1.1.3 	The work section of planning cell shall process the bills in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provisions in the estimate etc. The bill shall be passed after necessary scrutiny by works section, by the officer competent to pass the bill. Against any running bill,   7.5% of the bill amount towards performance security deposit and statutory taxes as applicable to contract shall be deducted at the time of payment from each running bill. Account payee cheque for the amount passed in the bill will be issued only after the contractor gives stamped receipt for the amount, if the bills are not pre-receipted. Details of payment of all the bills shall be entered into contractor’s ledger by Works section of the Planning cell.

11.1.1.4	In exceptional cases where work required for preferring a running bill cannot be completed within reasonable time due to non availability of stores or any other reason and where the department is responsible for delay, the concerned DGM may permit payment of running bill (prepared without completing the work end to end for that unit of work) to the extent of 70% so that the contractor does not face resource crunch. Such payment shall be treated as an advance payment to the contractor like any other running bill.

11.1.2 	Procedure for preparation, processing and payment of Final bill: The contractor shall prepare the final bill in triplicate after completion of the entire work entrusted against the work order and acceptance and testing of all the works  and submit the same to SDE In-charge of work within 15 days of acceptance and testing. The final bill shall be prepared for all the measurement of all items involved in execution of complete work order. The contractor shall prepare the final bill containing the following details –

- The bill for all the quantities as per measurements at the approved rates.

- Adjustment of amount received against running bills.

- Adjustment of security deposit and statutory taxes already recovered.

- Store reconciliation statement furnishing account of stores received against the work order and returned to the designated store go-down as surplus with requisite verifications from store in-charge/ SDE In-charge of work.

- Letters of grant of E.O.T(s), if work could not be completed within stipulated time.

11.1.2.1 	The SDE In-charge of work shall scrutinize the final bill against the works entrusted and accord necessary certificate stating that the work has been executed satisfactorily in accordance with specifications and terms and conditions of the contract. The SDE shall verify the quantities of items of work with reference to measurements recorded in the measurement book (an also A/T reports incase of any deviation noted by A/T officer) The SDE In-charge of work shall submit the final bills along with other documents mentioned above with the documents as mentioned hereunder to the Divisional Engineer In-charge of work.

- Bills prepared by the contractor.

- Material reconciliation statement.

- Measurement book.

- A/T certificates.

- The site order book.

- The hindrance registers.

- Details of recoveries/penalties for delays, damages to Department/Third party properties as per provisions of the contract. Incase no recovery is to be made, NIL report needs to be submitted.

11.1.2.2 	The Divisional Engineer shall exercise the prescribed checks on the bills and accord necessary certificates on the bills. The Divisional Engineer shall retain the third copy of the bill along with photocopies of other documents not available to his estimate file and send first and second copies of the bills, measurement book and other documents submitted by SDE, along-with the bills as above to Work section of the Planning cell for processing and final payment.

11.1.2.3 	The work section of planning cell shall process the bill in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provision in the estimate etc. The work section shall scrutinize bill who recover all the liabilities of the contractor and statutory taxes besides 10% payment against security deposit. The bill shall be passed, after necessary scrutiny by works section to the Officer competent to pass the final bill.

  - PROCEDURE FOR PAYMENT FOR SUB STANDARD WORKS

11.2.1 	The contractors are required to execute all works satisfactorily and in accordance with the specifications. If certain items of work are executed with unsound, imperfect or unskilled workmanship or with materials of any inferior description or that any materials or articles provided by him for execution of work are unsound or of a quality inferior to that contracted for or otherwise not in accordance with the contract (referred to a substandard work hereinafter), the Divisional Engineer In-charge of shall make a demand in writing specifying the work, materials or articles about which there is a complaint.

11.2.2 	Timely action by Construction Officers: Timely reporting and action to a great extent can prevent recurrence of sub standard work, which will be difficult or impossible to rectify later on. It is incumbent on the part of Construction Officers to point out the defects in work in time during progress of the work. The Junior Telecom Officer/Sub Divisional Engineer responsible for execution and supervision of work shall without any loss of time submit a report of occurrence of any sub standard work to the Divisional Engineer IN-charge besides making an entry in the site order book. A notice in respect of defective work shall be given the contractor to rectify/replace /remove the sub standard item of work and also definite time period within which such rectification/removal/replacement has to be done. After expiry of the notice period, of the contractor fails to rectify/replace/remove the sub standard items, the defects shall be got rectified/replaced/removed departmentally or through some other agency at the risk and cost of the contractor.

11.2.3	Non-reporting of sub standard work in time on the part of Construction Officer(s) shall not in any way entitle the contractor to claim that the defects were not pointed out during execution and as such the contractor cannot be absolved of the responsibility for sub standard work and associated liabilities.

11.2.4 	Authority and procedure to accept sub standard work and payment thereof : There may be certain items of work pointed out as sub standard which may be difficult to rectify and in the opinion of the Head of SSA, the items in question will not materially deteriorate the quality of service provided by the construction, the head of SSA shall appoint committee to work out the reduced rates payable to the contractor for such sub standard work. The committee shall constitute one Divisional Engineer other than the one who is directly in-charge of Cable construction involving sub standard item of work, as Chairman and one SDE (Planning) and an Accounts Officer as members. The committee shall also take into account the approximate cost of material/work pointed out as sub standard and recommend the rates payable for sub standard work, which shall not exceed 60% of the approved rates of the item in question.

11.2.5 	Record of sub standard work: The item adjudged as sub standard shall be entered into the measurement book with red ink.

12.	DISPOSAL OF EMPTY CABLE DRUMS

12.1 	The contractor shall be responsible to dispose off the empty cable drums after laying of the cable. The competent authority taking in to account the prevailing market rates has fixed the cost of various sizes of cable drums. The cost of empty cable drums shall be deducted from the bill for the work on which the cable along with the drum has been issued or any other amount due to the contractor or from security deposit.

12.2 	Rates fixed for various types of empty cable drums are given in tender document (Qualifying bid). The rates are fixed and there is no percentage above or below applicable on these rates.

12.3 	The contractor shall be responsible for the accounting of the cable drums issued and shall mention the number and types of cable drums in the bill so that the amount is deducted from the bills due.

12.4 	The contractor shall not be allowed to dump the empty cable drums in Govt./public place, which may cause inconvenience to Govt./public. If the contractor does not dispose off the empty cable drums within 3 days of becoming empty, the BSNL is at liberty to dispose off the drum in any manner deemed fit and also recover the amount fixed in this contract for empty cable drums along with the transportation charges (to be decided by the General Manger Telecom) from the bill/security deposit/any other amount due to the contractor.

13. 	PENALTY CLAUSE

13.1 	DELAYS IN THE CONTRACTOR’S PERFORMANCE

13.1.1 	The time allowed for completion of the work as entered in the tender shall be strictly followed by the contractor and shall be deemed to be the most important aspect of the contract on the part of the contractor and shall be reckoned from seventh day from issue of   work   order   by   the department.  The work shall, through out the stipulated period of contract, be proceeded with all due diligence to achieve the desired progress uniformly and the contractor shall pay as penalty an amount equal to 0.25 percent of the estimated amount per day of delay in completion of work, subject to a maximum of 10(ten) percent of the cost of the work awarded.

13.1.2 	On any date the penalty payable as above, reaches 10(ten) percent of the estimated cost of the work, the contractor should proceed with the work further only on getting a written instructions from the Divisional Engineer that, he is allowed to proceed further with the work. It will be in the discretion of the Divisional Engineer to allow the contractor to continue with the work on the basis of any written agreement reached between the contractor and the Divisional Engineer one of the conditions of such agreement may be a stipulation for the contractor to agree for realization of penalty for delay at a higher rate as my be agreed between the Divisional Engineer and contractor.

13.1.3 	Penalty for delay in completion of the work shall be recoverable from the bills of the contractor and / or by adjustment from the security deposit or from the bills of any other contract. However, adjustment from security deposit will be made only when the contract has been terminated or at the time of final settlement of this on completion of work.

    - In case of slow progress of the work in a section which have been awarded to a particular contractor, and the public interest does not permit extension of time limit for completion of the work, the TDM Telecom will have the full right to order that the scope of the contractor may be restricted to such fraction of the whole of the work and get the balance executed at the risk and cost of the contractor. The details are given in Rescission of the contract clause of the bid document. All such payments shall be recovered from the contractor’s pending bills or security deposit.

13.1.5 	The TDM, Keonjhar reserves the right of cancel the contract and forfeit the security deposit (both material security and performance security) if the contractor fails to commence the work within 7 days after issue of the work order.

13.2 	PENALTY FOR CAUSING INCONVENIENCE TO THE PUBLIC

13.2.1	To ensure progress during the execution of work and to cause minimum inconvenience to the public, the contractor shall not dig a trench of more than 200 meters at a stretch in a route at a time. He shall cause to lay cable and close such trenches expeditiously. Under any circumstances a stretch of trench of maximum 200 meters shall not be kept open for more than 4 days in case of cable laying by digging paved surfaces. In the event of contractor failing to comply with these conditions, a penalty of recovery up to Rs.300/- per day the trench is kept open beyond the time limit allowed may be imposed by the BSNL. The penalty will be addition to that payable for delay or slow work.

13.2.2	The contractor shall not be allowed to dump the empty cable drums/waste materials in Govt./public place, which may cause inconvenience to Govt./public. If the contractor does not dispose off the empty cable drums/waste materials within 3 days of becoming empty, the BSNL is at liberty to dispose off the drums in any manner deemed fit and also recover the amount fixed in this contract for empty cable drums/waster materials form the bill/security deposit/along with the cost incurred by the BSNL in disposing off such materials. The BSNL may also levy a penalty up to rupees one thousand for each such default.

13.2.3	If any such penalty is levied on a contractor for more than 2 occasions, then his/her contract could be terminated In this regard the decision of TDM, Keonjhar shall be final and binding.

13.3 	PENALTY FOR CUTTING/DAMAGING THE OLD CABLE

13.3.1 	During excavation of trench utmost care is to be taken by the contractor so that the existing underground cables are not damaged or cut. In case any damage/cut is done to the existing cables, a penalty as per the schedule given below will be charged from the contractor or the amount will be deducted from his running bills –

| Size of existing cables cut/damaged | Amount of penalty per cut/damage |
| --- | --- |
| Up to 100 Pairs cable | Rs. 0500.00 (Five hundred) |
| Above 100 Pairs & up to 400 Pairs | Rs. 1000.00 (One thousand) |
| Above 400 Pairs | Rs. 2000.00 (Two thousand) |

Besides the above penalty, the contractor shall carry out such repairs for restoration of the damaged cable free of charge. The cost of jointing kit shall also be borne by the contractor, if contractor fails to repair the damage, the cost of repair (including cost of labour + Jointing kit) shall be recovered from the contractor.

13.4 	PENALTY TO DAMAGE STORES/MATERIALS SUPPLIED BY THE BSNL WHILE LAYING

13.4.1	The contractor while taking delivery of materials supplied by the BSNL at the designated place shall thoroughly inspect all items before taking them over. In case of execution of the work, if any material is found damaged/working unsatisfactorily, then a penalty equivalent to the cost of material + 10% as penalty shall be recovered from the contractor’s payments/securities.

13.4.2 	In case of damage to PIJF cables, while laying, the cost of number of pairs damaged (including laying charges, transportation/storage charges) adding 10% as penalty shall be recovered from the contractor’s bill/securities.

13.4.3	However, contractor will not be penalized for any defect in workmanship of the materials, which shall be taken up separately with the supplier of the stores.

14. 	RESCISSION / TERMINATION OF CONTRACT

  - CIRCUMSTANCES FOR RESCISSION OF CONTRACT

Under the following conditions the competent authority may rescind the contract :

a) 	If the contractor commits breach of any item of terms and conditions of the contract.

b) 	If the contractor suspends or abandons the execution of work and the engineer in charge of the work comes to conclusion that work could not be completed by due date for completion or the contractor had already failed to complete the work by that date.

c) 	If the contractor had been given by the Officer in-charge of work a notice in writing to rectify/replace any defective work and he/she fails to comply with the requirement within the specified period.

14.2 	Upon rescission of the contract, the security deposit of the contractor shall be liable to be forfeited and shall be absolutely at the disposal of the BSNL as under –

14.2.1 	Measurement of Works executed since the date of last measurement and up to the date of rescission of contract shall be taken in the presence of the contractor or his authorized representative who shall sign the same in the MB. If the contractor or his authorized representative do not turn up for joint measurement, the measurement shall be taken by the officer authorized for this purpose after expiry of due date given for joint measurement. The measurement taken by the officer so authorized shall be final and no further request for joint measurement shall be entertained.

14.2.2	The unused material (supplied by the department) available at site, shall be transported back by the department to the Telecom store at the risk and cost of the contractor. If any such material is found damaged/lost then the penalty shall also be recovered from the contractor as per condition in tender documents/bid.

14.2.3	The unexecuted work shall be got executed through the qualified bidder from amongst the bidders, who participated in the bidding process, by giving them offers in their order of ranking (L 2, L 3, ----) at their quoted rates. If the work was awarded on single tender basis then the department shall got the unexecuted work completed through any other contractor approved under TDM, KEONJHAR at the approved rates of that particular section or to execute the work departmentally, as is convenient or expedient to the Department at the risk and cost of the contractor. In such a event no compensation shall be payable by the BSNL to the contractor towards any inconvenience loss that he may be subjected to as a result or such an action by the BSNL. In this regard the decision of TDM, KEONJHAR in concurrence with IFA shall be final and binding. In all these cases, expenses which may be incurred in excess of the sum which would have been paid to the original contractor if the whole work had been executed by him shall be borne and paid by the original contractor and shall be deducted from any money due to him by the BSNL under the contract or any other account whatsoever any where in the department or from a security deposit.

14.2.4	The certificate of the Divisional Engineer in-charge of work as to the value of work done shall be final and conclusive against the contractor, provided always that action shall only be taken after giving notice in writing to the contractor.

14.3 	TERMINATION FOR INSOLVENCY

14.3.1	The BSNL may at any time terminate the contract by giving written notice to the contractor without compensation to contractor, if the contractor becomes bankrupt or otherwise insolvent as declared by the competent court provided that such termination will not prejudice or affect any right or action or remedy which has accrued or will accrue to the BSNL.

  - OPTIONAL TERMINATION BY THE BSNL (Other than due default of the contractor)

14.4.1 	The BSNL may, at any time, at its option cancel and terminate the contract by written notice to the contractor, in which event the contractor shall be entitled to payment for the work done up to the time of such cancellation and a seasonable compensation in accordance with the contract prices for any additional expenses already incurred for balance work exclusive of purchases and/or whole of material, machinery and other equipment for use in or in respect of the work.

14.4.2 	In the event of termination of the contract, the contractor shall forthwith clear the site of all the contractor’s materials, machinery and equipment’s and hand over possession of the work/operations concerned to the BSNL o as the BSNL may direct.

    - The BSNL may, at its option, cancel or omit the execution of one or more items of work under the contract and may part of such items without any compensation whatsoever to the contractor.

  - ISSUANCE OF NOTICE

14.5.1 	The Divisional Engineer In-charge of work shall issue show cause notice giving details of lapses, violation of terms and conditions of the contract, wrongful delays or suspension of work or slow progress, to the contractor directing to take corrective action. A definite time schedule for corrective action shall be mentioned in the show cause notice. If the contractor fails to take corrective action within stipulated time frame, the Divisional Engineer in-charge shall submit a draft of f final notice along-with a detailed report to the competent authority who had accepted the contract. The draft final notice shall be got legally vested from a Government Counsel.

14.5.2	 The final notice for rescission of contract to the contractor shall expressly state the precise date and time from which the rescission would become effective. The following safe guards shall be taken while issuing the final notice.

a) 	During the period of service of notice and its effectiveness, the contractor should not be allowed to remove from the site any material/equipment belonging to the department.

b) 	The contractor shall give in writing the tolls and plants he would like to take away/remove from the site. Such of the materials as belong to him and which may not be required for future execution of balance work may be

allowed by the Divisional Engineer in-charge of work to be removed with proper records.

c) 	No new construction beneficial to the contractor shall be allowed.

Adequate departmental security arrangement in replacement of the contractor watch and ward shall be made forthwith. Expenses on this account are recoverable from the security deposit or any amount due to the contractor.

15.	INDEMNITIES

15.1 	The contractor shall at all times hold the BSNL harmless and indemnify from against all action, suits, proceedings, works, cost, damages, charges, claims and demands of every nature and descriptions, brought or procured against the BSNL, its Officers and employees and forthwith upon demand and without protect or demur to pay to the BSNL any and all losses and damages and cost (inclusive between attorney and client) and all costs incurred in endorsing this or any other indemnify or security which the BSNL may now or at any time have relative to the work or the contractors obligation or in protecting or endorsing its right in any suit or other legal proceeding,                                                                                                                                                            charges and expense and liabilities resulting from or incidental or in connection with injury, damages of the contractor or damage, to   property    resulting from or arising

out of or in ay way connected with or incidental to the operations caused by the contract, documents. In addition the contractor shall reimburse the BSNL or pay to the BSNL forthwith on demand without protect or demur all cost, charges and expenses and losses and damages otherwise incurred by it in consequences of any claim, damages and actions which may be brought against the BSNL arising out of or incidental to or in connection with the operation covered by the contractor.

15.2 	The contractor shall at his won cost at the BSNL’s request defend any suit or other proceedings asserting a claim covered by this indemnity, but shall not settle compound or compromise any suit or other finding without first consulting the BSNL.

16.	FORCE MAJEURE

16.1 	If any time, during the continuance of this contract, the performance in whole or in part by either party or any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts, or act of God (herein after referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non- performance and work under the contract shall be resumed as soon as practicable  after  such  event  may come to an end or ceased to exit, and the decision of the BSNL as to whether the work have been so resumed or not shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days either party may, at his option terminate the contract.

16.2	Provided also that if the contract is terminated under this clause, the BSNL shall be at liberty to take over from the contractor at a price to be fixed by the BSNL, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in the course of execution of the contract, in possession of the contractor at the time of such termination of such portions thereof as the BSNL may deem fit excepting such materials bought out components and stores as the contracts may with the concurrence of the BSNL elect to retain.

17.	ARBITRATION

17.1	 In the event of any question, dispute or difference arising under this agreement or in connection there with (except as to matters decision of which is specifically provided under this agreement) the same shall be referred to the sole arbitration of the GMTD, Dhenkanal or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the officer for the time being entrusted whether in addition to the functions of the GMTD, Dhenkanal or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the GMTD, Dhenkanal or the said officer is unable or unwilling to act as such to sole arbitration or some other person appointed by the GMTD, Dhenkanal. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act 1996. There will be no objection to any such appointment that the arbitrator is BSNL servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as BSNL servant he has expressed view on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reason whatsoever such GMTD, Dhenkanal or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by the predecessors.

17.2 	The arbitrator may, from time to time, with the consent of all the parties change the time for making (and publishing) the award. Subject to the aforesaid provisions, the Arbitrator Act 1940 and the Rules made there under and any modification thereof for the time being in force shall deem to apply for the arbitration proceedings under this clause.

17.3 	The venue of the arbitration proceeding shall be the office of the GMTD, Dhenkanal or such other place as the arbitrator may decide. The following procedure shall be followed –

    - In case parties are unable to reach a settlement by themselves, the dispute should be submitted or arbitration in accordance with contract agreement.

    - There should not be a joint submission with the contractor to the sole Arbitrator.

    - Each party should submit its own claim severally and may oppose the claim put forward by the other party.

    - The onus of establishing his claims will be left to the contractor.

    - Once a claim has been included in the submission by the contractor, a reiteration or modification thereof will be opposed.

    - The ‘points of defence’ will be based on actual conditions of the contract.

    - Claims in the nature of ex-gratia payments shall not be entertained by the Arbitrator as these are not contractual.

    - The question whether these conditions are equitable shall not receive any consideration in the preparation of “points of defence”.

    - If the contractor includes such claims in his submission, the fact that they are not contractual will be prominently placed before the Arbitrator.

The award of the sole Arbitrator shall be final and binding on all the parties to the dispute.

18. 	SET OFF

18.1 	Any sum of money due and payable to the contractor (including security deposit refundable to him) under this contract may be appropriated by the BSNL or the Govt. or any other person or persons contracting through the Govt. or such other person or persons for payment of a sum of money arising out of the contract made by the contractor with BSNL or Govt. or such other person or persons contracting through Govt. of India.

SECTION –VI

SPECIAL CONDITIONS OF THE CONTRACT

1. 	GENERAL

1.1 	The work shall be accepted only after Acceptance Testing carried out by DOT/DTS/BSNL team designated by the TDM, Keonjhar as per the prescribed schedule and work/material passing the test successfully.

1.2 	The TDM, Keonjhar reserves the right to disqualify such bidders who have a record of not meeting contractual obligations against earlier contracts entered into with the BSNL.

1.3 	The TDM, Keonjhar reserves the right to black list a bidder for a suitable period in case he fails to honour his bid without sufficient grounds.

1.4 	The TDM, Keonjhar reserves the right to counter offers price(s) against price(s) quoted by the bidder.

1.5 	Any clarification issued by the TDM, Keonjhar, in response to query raised by the prospective bidders shall form an integral part of bid document and it may amount to amendment of relevant clauses of the bid documents.

1.6 	Tender will be evaluated as a single package of all the items given in the price schedule.

1.7 	All work to be executed under the contract shall be executed under the direction and subject to the approval in all respects of by the Divisional Engineer or Site Engineer In-charge of work site who shall be entitled to direct at what point or points and what manner they are to be commenced, and from the tine to time carried on.

1.8 	The work in each zone may be split up between two or more contractors or accept any tender in part and not entirely if considered expedient by the TDM, BSNL, Keonjhar.

1.9	If the contractor shall desire an extension of time for completion of the work on the grounds of unavoidable hindrance in execution of work or on any other ground he shall apply in writing to the Divisional Engineer within 3 days of the date of hindrance on account of which he desires such extension as aforesaid. In this regard the decision of the TDM, BSNL, Keonjhar shall be final.

1.10 	If at any time after the commencement of work, the TDM, Keonjhar may feel that extension of whole or part of work, as specified in the tender is not required to be carried out, then the TDM, Keonjhar shall give notice in writing of the fact to the contractor who shall have no claim to any amount of compensation whatsoever on account of any profit or advantage which he might have derived in consequence of the full amount of the work not having been carried out neither shall he have any claim for compensation by reason of any alteration having been made in the original specifications, drawings, designs and instructions which shall involve any curtailment of the work as originally contemplated.

1.11	Whenever any claim against the contractor for the payment of a sum of money arises out of or under the contract, the TDM, Keonjhar shall be entitled to recover such sum by appropriating in part or whole the security deposit of the contractor and to sell any TDM, BSNL, Keonjhar promissory notes etc. forming the whole or part of such security or running / final bill pending against any contract with the TDM, KEONJHAR. In the event of the balance or the total sum recoverable as the case may be, shall be deducted from any sum then due or which at any time there after may become due to the contractor under this or any other contract with TDM, KEONJHAR Should this sum be not sufficient to cover the full amount recoverable the contract or shall pay to TDM, Keonjhar on demand the balance remaining due.

1.12 	No official of Gazetted rank or other Gazetted officer employed in Engineering or administrative duties in an Engineering Department or any other department of the Government of India is allowed to work as a contractor for a period of two years after his retirement from Government service without the pervious permission of Government of India. The contract is liable to be cancelled if either the contractor or any of the employees is fond at any time to be such a person who hadn’t obtained the permission of Government of India as aforesaid before submission of the engagement in the contractor’s service as the case may be.

1.13	 In the event of the contractor being, adjusted insolvent or going voluntarily into liquidation of having received order or other order under insolvency act made against him or in the case of company, of the passing of any resolution or making of any order for writing up whether voluntarily or otherwise, or in the event of the contractor falling to comply with any of the conditions herein specified. The TDM, KEONJHAR shall have the power to terminate the contract without any notice.

1.14 	Without prejudice to any of the rights or remedies under the contract, if the contractor dies, the TDM, Keonjhar on behalf of the BSNL can terminate the contract without compensation to the contractor. However the TDM, KEONJHAR at his discretion may permit contractor’s heirs to perform the duties or engagement of the contractor under the contract, in case of his death. In this regard the decision of the TDM, Keonjhar shall be the final.

1.15 	In the event of the contractor, winding up his company or account of transfer or merge of his company with any other, the contractor shall make it one of the terms and stipulations of the contract., for the transfer of his properties and business, that such other person or company, shall continue or perform the duties or engagement of the contractor under this contract and be subject to his liabilities there under.

1.16	 INTERPRETATION OF THE CONTRACT DOCUMENT

1.16.1 	The representatives of the TDM, Keonjhar and the contractor shall in so far as possible by mutual consultation try to decide upon the meaning and intent of the contract document. In case of disagreement the matter shall be referred to the TDM, BSNL, Keonjhar whose decision shall be final. Any change in the contract documents shall be set forth in writing by the representatives of the parties hereto. It shall be the contractor’s responsibility to thoroughly familiarize all of the supervisory personnel with the contents of all the contract documents.

1.17 	NOTIFICATIONS

1.17.1 	The contractor shall give in writing to the proper person or authority with a copy to the Divisional Engineer such notification as may be mandatory or necessary in connection with the commencement, supervision, resumption, performance and/or completion of the contracted work. All notice shall be given sufficiently in advance of the proposed operation to permit proper co-relation of activities and the contractor shall keep all proper persons or authorities involved and advised of the progress of operations through out the performance of the work and/or with such other information and /or supporting figure and data as may from time to time as directed or required.

1.18 	SHUT DOWN ON ACCOUNT OF WEATHER CONDITIONS

1.18.1 	The contractor shall not be entitled to any compensation whatsoever by reason of suspension of the whole or any part of the work made necessary by the BSNL or deemed advisable on account of bad weather conditions or other force majored conditions.

2. 	STORES SUPPLIED BY THE BSNL

2.1 	At no point of time the contractor shall be issued stores of value more than the contractor’s material security as per clause 5(1) of section-V. If at all the work requires more amount of materials to issue to the contractor, then the security shall suitably be revised before the issue of the store and the contractor will not have any objection to it.

2.2	The contractor shall transport (including loading and unloading) all stores issued to him from Sub-divisional Telecom Stores, to the work site at his own cost. The TDM, KEONJHAR shall not pay any transportation charges to the contractor.

2.3 	All materials supplied to the contractor by the TDM, KEONJHAR shall remain the absolute property of TDM,  Keonjhar and shall not be removed from site of the work except for use in the work and shall be at all times open to inspection by the representatives of TDM,  Keonjhar. In case the materials like cable and accessories are taken delivery of by the contractor and stored at the site office/store of the contractor such site office/store will also be treated “as site” for this purpose. Any such materials remaining unused at the time of the abandonment, completion or determination of the contract, shall be returned to the TDM, Keonjhar at apace informed to him by the TDM, Keonjhar, failing which the cost of the unused materials shall be deducted from the contractor’s material security or any of his pending bills from or from any other security.

2.4	The contractor shall be responsible for the transportation of store, storage and safe custody of all material supplied to him by the TDM, Keonjhar, which in the contractor’s custody whether or not installed to the work. The contractor shall satisfy himself regularly the quantity and quality of the materials supplied to him and he will be responsible for any subsequent deterioration and discrepancy (inclusive of theft) in the quantity/quality of the materials.

2.5 	The contractor shall submit a proper account every month of all the materials supplied to him by the TDM, Keonjhar and those consumed for items of work. Any discrepancy of difference between the materials issued to the contractor and those consumed in the work as per the “TDM, Keonjhar’s calculation” (which shall be final) will be charged to the contractor or deducted from his bills at 1.5 times of prevailing standard price including freight, handling charges, storage charges etc.

2.6 	The contractor shall ensure that sonly the required materials are issued to him. Upon completion of work, the contractor shall return to the TDM, Keonjhar, at the later designated store in good condition, free of charges, any unused materials that were supplied by the TDM, Keonjhar.

3.	EASEMENT, PERMITS, LICENCES AND OTHER FACILITIES

3.1	The contractor shall obtain/provide at the own cost all easements, permits and licence necessary to do its work except for the following, which shall be provided by the representative of the TDM, Keonjhar

(A) 	Right of User easements and permits

(B)	Railway and Highway crossing permits including bridge

(C) 	Canal / stream crossing permits

3.2	The contractor shall be fully responsible for angling and obtaining all necessary easements, permits and licenses, for moving all construction equipment, tools, supplied materials and then across Railways and Highways, across public or private road as well as premises of any public utility within the right of user and for bearing all costs that may be incurred in respect of the same.

3.3 	The contractor is to confine his operation to the provided construction ‘Right of User” unless it has made other arrangements with the particular property owners and / or tenants such other arrangements shall be entirely at the responsibility of the contractor as to cost and arrangements as also breach and claim and shall be entitled with a copy to the Divisional Engineer.

3.4 	The contractor will not be entitled to extra compensation for hardship and increase in cost by the cable trench being routed adjacent to or across other pipeline, Highways, Railways, Telephones or poser poles and wires or guy wires, embankments, cliffs, streams or other obstacles, which may physically or otherwise in any manner, restrict or limit the use of the construction “Right of User”, some construction and such contingency shall be deemed to have been providing for in the rates.

3.5 	At location where the U/G cable trench is routed across along railways or roads, the contractor shall without extra cost provide and maintain such detours and road controls as are required by the railways or government or local agencies having jurisdiction.

3.6	If the TDM, KEONJHAR is not able to provide above mentioned permits etc. in time then the extension of time shall be provided as per EOT clause in tender document.

4. 	QUALITY OF WORK

The TDM, Keonjhar shall be the final judge of the quality of the work and the satisfaction of the TDM, Keonjhar in respect thereof set forth in the contract documents. Laxity or failure to enforce compliance with the contract documents by the TDM, Keonjhar and / or its representative shall not manifest a change or intent of waiver, the intention being that, not withstanding the same, the contractor shall be and remain responsible for complete and proper compliance with the contract documents and the specification there in. The representative of TDM, BSNL, Keonjhar has the right to prohibit the use of men and any tools, materials and equipment, which in his opinion do not produce work or performance, meet the requirement of the contract document.

5. 	TAXES & DUTIES

Contractor shall pay all rates, levies, fees royalties, taxes and duties payable or arising from out of by virtue of or in connection with and/or incidental to the contract or any of the obligations of the parties in terms of the contract documents and / or in respect of the works or operations or any part thereof to be performed by the contractor and the contractor shall indemnify and keep indemnified the TDM, Keonjhar from and against the same or any default by the contractor in the payment thereof.

6. 	PROTECTION OF LIFE AND PROPERTY AND EXISTING FACILITIES

6.1 	The contractor is fully responsible for taking all possible safety precautions during preparation for and actual performances of the works and for keeping the construction site in a reasonable safe condition. The contractor shall protect all life and property from damage or losses resulting from his construction operations and shall minimize the disturbance and inconvenience to the public.

6.2 	If the excavation of trench alters the contours of the ground around road and highway crossing in such locations dangerous to traffic, the contractor shall at his own cost, take all necessary precautions to protect public and shall comply with all the BSNL regulations as to placing of warning boards (minimum size 3’ X 2’) , traffic signals, barricades, flags etc. at such location. If the contractor does not put the warning signal as per above directions, then a penalty of  Rs. 500/- per day  shall  be

Levied on the contractor, till the directions are complied by the contractor. The contractor shall take due precautions to avoid damages to other pipe lines, water mains, sewers, telephones, telegraphs and power conduits, laid wires poles and guy wires, railways, highways, bridges or other underground or above ground structure and / or property crossing or adjacent to the cable trench being excavated.

6.3 	Attention of the contractor is drawn to the rules regarding laying of cables at road crossing, along railway bridges, highways, safety precautions while working in Public Street. The contractor in writing shall obtain the detailed engineering instructions from the Divisional Engineer of the area.

6.4 	The contractor shall be solely responsible for location through approved non-destructive means and ensuring the safety of all existing underground pipeline, electrical cables and or other structure.

6.5 	The contractor shall be solely liable for all expense for and in respect of repairs and / or damage occasioned by injury of or damage to such underground and above structures or other properties and under take to indemnify the TDM, KEONJHAR from and against all actions, cause of actions, damages, claims and demands whatsoever, either in law or in equity and all losses and damages and costs (inclusive between attorney and client), charges and expenses in connection therewith and/or incidental thereto. The contractor shall take all responsibilities and risk in crossing other pipelines and cables and shall be responsible for protecting all such existing pipelines, poles, electric lines, sewers, cables or other facilities from damage by the contractor’s operation in connection with the work. The contractor without cost of the TDM, KEONJHAR shall promptly repair any damage incurred.

6.6	The current market value of any commodities lost as a result of any damage to the aforesaid existing facilities shall be paid by the contractor together with such additional sum necessary to liquidate the personal or property damages, resulting there from.

7.	LABOUR WELFARE MEASURE AND WORKMAN COMPENSATION

7.1 	Obtaining licence before commencement of work: The contractor shall obtain a valid licence under the Contract Labour (R&A) Act 1970 and the Central Labour (Regulation & Abolition) central Rules 1971, before commencement of the work and continue to have a valid licence until the completion of work. The contractor shall also abide to the provision of the Child Labour (Prohibition & Regulation) Act 1986. Any failure to fulfill this requirement shall attract the penal provisions of this contract arising out of the resultant non-execution of work.

  - CONTRACTORS LABOUR REGULATIONS

7.2.1 	Working Hours:

7.2.1.1.	Normally working hours of an employee should not exceed 9 hours a day. The working day shall be so arranged that inclusive of interval for rest, if any, it shall not spread over more than 12 hours on any day.

7.2.1.2 	When a worker is made to work for more than 9 hours on any day or for more than 48 hours in any week he shall be paid over time for the extra hours put in by him.

7.2.1.3 	Every worker shall be given a weekly holiday normally on a Sunday, in accordance with the provisions of Minimum Wages (Central) Rules 1960, as amended from time to time irrespective of whether such worker is governed by the Minimum Wages Act or not.

7.2.1.4 	When the minimum wages prescribed by the Government, under the Minimum Wages Act, are not inclusive of the wages, for weekly day or rest, the worker be entitled to rest day wages or the rate applicable to the next preceding day, provided he has worked under the same contractor for a continuous period of not less than 6 days.

7.2.1.5	Where a contractor is permitted by the Engineer In-charge to allow a worker to work on a normal weekly holiday, he shall grant a substituted holiday to him for the whole day, on one of the five days, immediately before or after the normal weekly holiday and pay wages to such worker for the work performed for the normal weekly holiday at the overtime rate.

7.2.2 	DISPLAY OF NOTICE REGARDING WAGES ETC.

The contractor shall, before he commences the work on contract, display and correctly maintain and continue to display and correctly maintain, in a clear and legible condition in conspicuous places on the work, notices in English and in local Indian language spoken by the majority of the workers, giving the minimum rates of the wages fixed under Minimum Wages Act, the actual wages being paid, the hours of work for which such wages are earned, wages periods, dates of payments of wages and other relevant information.

7.2.3 	PAYMENT OF WAGES

7.2.3.1 	The contractor shall fix wage periods in respect of which wages shall be payable.

7.2.3.2 	No wage period shall exceed one month.

7.2.3.3.	The wages of every person employed as contract labour in an establishment or by a contractor where less than one thousand such persons are employed shall be paid before the expiry of seventh day and in other cases before the expiry of tenth day after the last day of wage period in respect of which the wages are payable.

7.2.3.4 	Where the employment of any worker is terminated by or on behalf of the contractor, the wages earned by him shall be paid before the expiry of the second working day from the date on which his employment is terminated.

7.2.3.5	All payment of wages shall be made on a working day at the work premises and during the working time and on a date notified in advance and in case the work is completed before the expiry of the wage period, final payment shall be made within 48 hours of the last working day.

7.2.3.6 	Wages due to every worker shall be paid to him direct or to other person authorized by him in this behalf.

7.2.3.7	All wages shall be paid in current coin or currency or in both.

7.2.3.8 	Wages shall be paid without any deductions of any kind except those specified by the Central Government by general or special order in this behalf or permissible under the Payment of Wages Act 1956.

7.2.3.9 	A notice showing the wages period and the place and time of disbursement of wages shall be displayed at the place of work and a copy sent by the contractor to the Engineer In-charge under acknowledgement.

7.2.3.10	It shall be the duty of the contractor to ensure the disbursement of wages in presence of the site Engineer or any other authorized representative of the Engineer In-charge who will be required to be present at the place and time of the disbursement of wages by the contractor to workmen.

7.2.3.11 	The contractor shall obtain from the site Engineer or any other authorized representative of the Engineer In-charge as the case may be a certificate under the signature at the end of the entries in the ‘Register of Wages” or the ‘Wages-cum-Muster Roll”, as the case may be in the following form –

“ Certified that the amount shown in the Column No……………….has been paid to the workman concerned in my presence on……………….at………………20….”.

    - FINES & DEDUCTIONS WHICH MAY BE MADE FROM WAGES

7.2.4.1.	The wages of a worker shall be paid to him with-out any deductions of any kind except the following :

(a)	Fines

(b) 	Deductions for advance from duty i.e. from the place or the place where by the terms of the employment he is required to work. The amount of deduction shall be in proportion to the period for which he was absent.

(c) 	Deductions for damage to or lass of goods expressly entrusted to the employed person for custody or for loss of money or any other deductions which he is required to account, where such damage or loss is directly attributable to the neglect or default.

(d) 	Deduction for recovery of advance or for adjustment of overpayment of wages, advance granted shall be entered in a register.

(e) 	Any other deductions, which the Central government may from time to time, allow.

7.2.4.2 	No fines should be imposed on any worker save in respect of such acts and omissions on his part as have been approved of by the Labour Commissioner.

7.2.4.3.	No fine shall be imposed on a worker and no deductions for damage or loss shall be made from his wages until the worker has been given an opportunity of showing cause against such fines or deductions.

7.2.4.4.	Every fine shall be deemed to have been imposed on the day of the act or omission in respect of which it was imposed.

    - LABOUR RECORDS

7.2.5.1	The contractor shall maintain a Register of persons employed on work on contract in from XII of the Central Labour (R&A) Central Rules (97).

7.2.5.2	The contractor shall maintain a Muster Roll register in respect of all workmen employed by him on the work under Contract in from XVI of the CL (R&A) Rules (97).

7.2.5.3	The contractor shall maintain a Wage Register in respect of all workmen employed by him on the work under contract in from XVII of the CL (R&A) rules (97).

7.2.5.4	Register of accident – The contractor shall maintain a register of accident in such form as may be convenient at the work place but the same shall include the following particulars.

a)	Full particulars of the labourers who met the accident

b) 	Rate of wages

c) 	Sex

d) 	Age

e)	Nature of accident and cause of accident

f) 	Time & date of accident

g) 	Date and Time when admitted in Hospital

h) 	Date of discharge from the Hospital

i) 	Period of treatment and result of treatment

- Percentage of loss of earning capacity and disability as assessed by Medical Officer.

k) 	Claim required to be paid under Workmen’s Compensation Act.

l) 	Date of payment of compensation

m) 	Amount paid with details of the person to whom the same was paid

n) 	Authority by whom the compensation was assessed.

o)	Remarks

7.2.5.5	The contractor shall maintain a Register of Fines in the form XII of the CL(R&A) Rules (97). The contractor shall display in a good condition and in a conspicuous place of work the approved list of acts and omission for which fines can be imposed.

7.2.5.6	The contractor shall maintain a Register of deductions for damage or loss in Form XX of the CL(R&A) Rules (97).

7.2.5.7	The contractor shall maintain a Register of Advances in from XXIII of the CL(R&A) Rules (97).

7.2.5.8	The contractor shall maintain a Register of overtimes in form XXIII of the CL(R&A) Rules (97).

7.2.6 	ATTENDANCE CARD-CUM WAGE SLIP

7.2.6.1 	The contractor shall issue an Attendance card cum wage slip to each workman employed by him.

7.2.6.2	The card shall be valid for each wage period.

7.2.6.3	The contractor shall mark the attendance of each workman on the card twice each day, once at the commencement of the day and again after the rest interval, before he actually starts work.

7.2.6.4	The card shall remain in the possession of the worker during the wage period under reference.

7.2.6.5	The contractor shall complete the wage slip portion on the reverse of the card at least a day prior to the disbursement of wages in respect of the wage period under reference.

7.2.6.6	The contractor shall obtain the signature or thumb of the worker on the wage slip at the time of disbursement of wages and retain the card with him.

7.2.7 	EMPLOYMENT CARD

The contractor shall issue an Employment card in the form XIV of CL(R&A) Central Rules 1971 to each worker within three days of the employment of the worker.

7.2.8 	SERVICE CERTIFICATE

On termination of employment for any reason whatsoever the contractor shall issue to the workman whose services have been terminated, a service certificate in the from XV of the CL(R&A) Central Rules 1971.

7.2.9 	PRESERVATION OF LABOUR RECORDS

The labour records and records of fines and deductions shall be preserved in original for a period of three years from the date of last entries made in them and shall be made available for inspection by the Engineer-In-charge or Labour Officer or any other Officers authorized by the Ministry of Communications in this behalf.

7.3 	POWER OF LABOUR OFFICER TO MAKE INVESTIGATIONS OR ENQUIRY

The labour officer or any person authorized by the Central Government on their behalf shall have power to make enquiries with a view to ascertaining and enforcing due and proper observance of Fair Wage Clauses and provisions of these Regulations. He shall investigate into any complaint regarding the default made by the contractor in regard to such provision.

7.4 	REPORT OF INVESTIGATING OFFICER AND ACTION THEREON

The Labour Officer or other persons authorized as aforesaid shall submit a report of result of the investigation. Or enquiry to the Engineer in-charge including the extent, if any, to which the default has been committed with a note that necessary deductions from the contractor’s bill be made and the wages and other dues be paid to the labourers concerned. The Engineer In-charge shall arrange payments to the labour concerned within 45 days from the receipt of the report from the Labour Officer or the authorized officer as the case may be.

7.5 	INSPECTION OF BOOKS AND SLIPS

The contractor shall allow inspection of all the prescribed labour records to any of the workers or to his agent at a convenient time and place after due notice is received or to the Labour Officer or any person, authorized by the Central Government on his behalf.

7.6 	SUBMISSION OF RETURNS

The contractor shall submit periodical returns as may be specified from time to time.

7.7 	AMENDMENTS

The Central Government may from time to time add to or amend the regulations and on any question as to the application /Interpretation or effect of those regulations.

INSURANCE

8.1 	Without limiting any of his other obligations or liabilities, the contractor shall, at his own expenses, take and keep comprehensive insurance including third party risk for the plant, machinery, men, materials etc. brought to the site and for all the work during the execution. The contractor shall also take out workmen’s compensation insurance as required by law and under take to indemnify and keep indemnified the TDM, Keonjhar from and against all manner of claims and demands and losses and damages and cost (including between attorney and client) charges and expenses that may arise in regard the same or that the TDM, BSNL, Keonjhar may suffer or incur with respect to and/or incidental to the same. The contractor shall have to furnish original and / or attested copies as required by the TDM, BSNL, Keonjhar of the policies of insurance taken within 15 days of being called upon to do so together with all premium receipts and other papers related thereto which the TDM,  Keonjhar may require.

9. 	COMPLIANCE WITH LAWS AND REGULATION

9.1 	During the performance of the works the contractor shall at his own cost and initiative fully comply with all applicable laws of the land and with any and all applicable by-laws rules, regulations and orders and any other provisions having the force of law made or promulgated or deemed to be made or promulgated by the Government, Governmental agency or department, Municipal board, Government of other regulatory or Authorized body or persons and shall provide all certificates of compliance therewith  as  may  be  required  by such applicable law, by-laws, rules, regulations, orders and / or provisions. The contractor shall assume full responsibility for the payment of all contributions and pay all taxes, as to its employees, servants or agents engaged in the performance of the work specified in the contractor documents. If the contractor shall require any assignee or sub-contractor to sham any portion of the work to be performed hereunder may be assigned, sub-leased or sub-contracted to comply with the provisions of the clause and in this connection the contractor agrees as to undertake to save and hold the TDM, KEONJHAR harmless and indemnified from and against any/all penalties, actions, suits, losses and damages, claims and demands and costs (inclusive between attorney and client) charges and expenses whatsoever arising out or occasioned, indirectly or directly by failure of the contractor or any assignee or sub-contractor to make full and proper compliance with the said by-laws, rules, regulations, laws and order and provisions as aforesaid.

10. 	TOOLS & PLANTS

The contractor shall provide at his own cost all tools, plants appliances, Implements etc. required for proper execution of works. The contractor shall also supply without charge the requisite number of persons with all means and materials necessary for the purpose of setting out works, counting, weighing, and assisting the measurements for examination at any time and from time to time. The contractor shall be responsible to make all arrangements, at his own cost for the de-watering of trenches before carrying out work. The contractor shall also be responsible to make arrangements at his own cost for water required for carrying of works at sites including curing of CC works. Failing his so doing the same may be provided by the Engineer In-charge at the expense of the contractor and the expenses shall be deducted from any money due to the contractor under the contract or otherwise.

SECTION – VII

SCOPE OF WORK AND JURISDICTION OF CONTRACT

1.	SCOPE OF WORK

1.1 	MAIN CABLE CONSTRUCTION ACTIVITIES: The items of work involved in UG cable construction are as under:

    - Excavation of trench up to a depth such that the top of the cable is 60cms for 5 Pair U.G. Cable and 90 cms for higher size (more than 5 Pair) U.G. Cable below the normal ground level according to the construction specification.

The Cable laying work includes laying of armoured / unarmoured cables or any other type of cable, including loading and unloading of cables drums on bridges or on other structure, pulling of cables through G. I. Pipes or through any other pipes or tunnel or cable ducts, shifting of cable, fitting pipes for cable beneath road / rails crossing and under the bridges, putting sand and leave the cable ends at a place free from all obstacles to enable to jointing work to be done at a later date. If required by the TDM Keonjhar, the cable should be laid under split pipes and tied with string. Laying of the cable shall also includes extra length kept for jointing but no extra charges for laying the extra length shall be claimed. Second class bricks will be laid lengthwise and if more than one cable on the same route / trench is laid then bricks will be laid breadth wise.

Depth of cable trench should be 1.00 meter as per departmental instructions. The cable should be laid in such a manner that there in 5 cm soft soil cushion available under the around the cable. The depth may vary in places where underground pipes and electric mains etc. may come in the way of Cable Trenching, or where specifically required by the department due to other reason for which the following scales of payment shall be applied for digging trenches of lesser depth :

| Depth between | Rate applicable as % of approved rates |
| --- | --- |
| 90 cms. to 99 cms. | Proportionate of approved rates |
| 80 cms. to 89 cms. | 75% of approved rates |
| 70 cms. to 79 cms. | 65% of approved rates |
| 60 cms. to 69 cms. | 50% of approved rates |
| 50 cms. to 59 cms. | 40% of approved rates |
| 40 cms. to 49 cms. | 30% of approved rates |
| 30 cms. to 39 cms. | 20% of approved rates |
| 20 cms. to 29 cms. | NIL |
| 10 cms. to 19 cms. | NIL |
| Below 10 cms. | NIL |

Variation in the standard depth of trenches (i.e. 1.00 meter) is permissible only with the prior approval of the respective Divisional Engineer. So, wherever there is any variation in the standard depth, specific certificate to the effect should be got endorsed with the relevant bill by the executing authority. Ramming and consolidation of trench will be done in layers after back filling the cable trench for a depth of 25cm i.e. the soil should be rammed for every 25cm of depth. Therefore, for trench of 1.00 meter depth, consolidation will have to be done minimum 4 stages of back filling and ramming, the depth of cable just before closing the trench should be the same as seen by the departmental officer of acceptance testing unit. No payment will be made of length, where the cable has been laid at substandard without the written prior approval of the concerned Divisional Engineer. The cable laying at substandard depth except in unavoidable cases, that too with prior specific written permission from Divisional Engineer is not permissible. However, wherever lesser depths have been permitted in writing by Divisional Engineer, payment will be made on above mentioned basis.

1.1.2 	Laying and pulling of cables in trenches or through pipes/ducts/walk through trenches

1.1.3 	Placing of full round RCC pipes as per specifications if required.

1.1.4 	Back filling and compacting of the excavated trenches according to construction specifications and removal of excess earth from the site.

1.2 	ALLIED ACTIVITES

    - Transportation of Materials – The materials required for executing the work entrusted to the contractor against a work order shall be made available at concerned Sub-divisional Store Depot. The contractor shall be responsible for transporting the materials, to be supplied by the BSNL or otherwise to execute the work under the contract, to site at his/their own cost. The costs of transportation are subsumed in the standard schedule rates and therefore no separate charges are payable on this account.

    - Disposal of empty cable drums - The contractor shall be responsible to dispose of the empty cable drums after laying of the cables. The cost of various sizes of empty cable drums recoverable from the contractor has been fixed taking into account the prevailing market rats as mentioned in the document.

1.2.2.1 	It shall be obligatory on the part of the contractor to dispose of the empty cable drums at his/their level and the amount fixed for various empty cable drums shall be recovered from the bill for the work for which the drum(s) was/were issued or from any other amount due to the contractor or the security deposit.

1.2.2.2 	The contractor shall not be allowed to dump the empty cable drums in Govt./public place which may cause inconvenience to the BSNL/Public. If the contractor does not dispose of the empty cable drums within 3 days of becoming empty, the BSNL shall be at liberty to dispose of the drums in any manner deemed fit and also recover the amount fixed in this contract from the bill/security deposit/any other amount due to the contractor.

1.2.3 	Supply of Materials: There are some material required to be supplied by the contractor for execution of works under this contract like Bricks, Cement, sand and chips for protection etc. besides using other consumables which do/don’t become the part of the asset. The contractor shall ensure that the materials supplied are of best quality and workmanship and shall be strictly in accordance with the specifications.

2. 	VALUE OF WORK

The estimated cost of work is as mentioned in the Notice Inviting Tender which has been worked out based on standard schedule rates mentioned in this tender document. The actual value of work may vary based on the actual requirement but generally being limited to +/- 25% of the indicated value.

In exceptional situation where the requirement is of an emergent nature and it is necessary for continuation of works, the TDM, KEONJHAR reserves the right to increase up to 50% of the quantum of works specified in the schedule of requirement contained in the running tender /contract within a period of 12months from the earliest date of acceptance of tender at the same rate with the existing approved contractor with the same terms and conditions specified in the tender.

3. 	JURISDICTION OF CONTRACT

1) The jurisdiction of the contract shall be for zone wise. The telephone exchange areas in different zones shall be as under. If any additional telephone exchange is planned, the same shall be included in the zone in the vicinity of concerned exchange keeping in view the logistics of carrying out the work.

2) The work of particular section will be awarded to 2 Bidders at L1 rates of particular section among which the work will be distributed in 70:30 ratio starting from lowest bidder. In case of failure of L1 bidder to execute the work within time frame , KEONJHAR SSA  will be free to increase the ratio of L2 bidder to get the work completed and L1 bidder will not have any objection over the same .

SECTION – VIII

UG CABLE CONSTRUCTION SPECIFICATIONS

The guidelines in the form of Engineering Instructions on Construction Practices of Underground cables are issued by T & D wing of the Department, from time to time. However, the present practices are summarized here under, from the point of view of describing scope of work under various items of work.

01. 	General : The underground cables are extensively used in outdoor network of an exchange system. The cables are laid from Telephone Exchange up-to distribution points (DPs). For the purpose of flexibility, pillars are introduced in the network. The primary cables, which are of higher size, are laid from Telephone Exchange to pillars. The distribution cables are laid from pillar to D.P. The capacity of pillars and D.Ps are decided in accordance with the demand and size of the network. The planning of U.G. cable network is guided by the planning guidelines of the BSNL for external plant issued from time to time. The major portion of investment in telecom network goes into construction of UG cable network. Further, the quality of construction of UG cable network decides the quality and reliability of Telecom Services delivered to the customers to a large extent. Therefore, the construction practices of UG cables should be of very high quality, sturdy in accordance with construction specifications.

02.	The works involved: The UG cables are buried to a depth such that the top of the cable is 90 cms for cables of all sizes except 5 pr cables (for 5 pr cable it is 60 cms) below the normal ground level. The items of work involved in UG cable laying are as under –

i) 	Excavation of trench up-to a depth such that the top of the cable is one meter below the normal ground level according to the construction specifications.

- Laying & pulling of cables in trenches or through pipes/ducts.

- Placing of layer of bricks as per specifications.

- Back filling, and compacting of the excavated trenches according to construction

specifications and removal of excess earth from the site.

03.	CONSTRUCTION SPECIFICATIONS

Classification of soil strata: This will include all types of soils – soft soil/hard soil/morrum i.e. any strata, such as sand, gravel, loam, clay, mud, black morrum, shingle, river or nallah bed boulders, soiling of roads, paths, densely pebbles/stones etc. lime concrete, mud concrete and their mixtures which for excavation yields to the application of picks, showels, sacrifiere, ripper and other manual digging implements including chiselling. Resorting to light blasting/electro-mechanical breakers for loosening the materials does not in any way entitle the strata to be classified as rocky.

04.	EXCAVATION OF TRENCHES

a)	Before excavation of trenches the route should be marked for trenching. Care should be taken to see that the route of the trench to excavate is reasonably straight, avoiding the existing underground services. The contractor should take trial pits to locate the underground services before commencement of actual trenching. These trial pits shall be 30 cms. wide, 120 cms. deep and 120 cms. long at right angles to the proposed trench at an interval of 20 to 50 Mtrs. Along the proposed cable route. If a slab is encountered, the same may be removed and trial pits may be made. In city areas, the trench will normally follow the footpath of the road except where it may have to come to the edge of carriage way or cutting across roads with the specific permission from the concerned authorities maintaining the road (such permission shall be obtained by the BSNL). Outside the city limits, the trench will normally follow the boundary of the roadside land. However, where the roadside land is full of burrow pits or  afforestation  or  when the

cable have to cross-culverts/bridges or streams, the trench may come closer to the road edge or in some cases, over the embankment or shoulder of the road  (Permission for such deviations for cutting the embankment as well as shoulder of the road shall be obtained by the BSNL). The alignment of the trench will be decided by a responsible BSNL Official, not below the rank of a SDO/SDE. Once the alignment is marked, no deviation from the alignment is permissible except with the approval of Engineer In-charge. While making the alignment only the centerline will be marked and the contractor shall set out all other works to ensure that, the excavated trench is as straight as possible. The contractor shall provide all necessary assistance and labour, at his own cost for marking the alignment. Contractor shall remove all bushes, undergrowth, stumps, rocks and other obstacles to facilitate marking the centre line without any extra charges. It is to be ensured that minimum amount of bushes and shrubs shall be removed to clear the way and the contractor shall give all considerations to the preservation of the trees.

b)	Methods of Excavation In city limits as well as in built up areas, the contractor shall resort to use of manual labour only to ensure that no damage is caused to any underground or surface installations belonging to other public utility services and / or private parties. However, along the Highways and cross country routes, there shall be no objection to the contractor resorting to mechanical means of excavation, provided that no underground installations exist in the path of excavation, if any, are damaged. There shall be no objection to resort to horizontal boring to bore a tube of required size and to push through G.I. pipe through horizontal bore at road crossing or rail crossing or small hillocks etc. In rocky strata, excavation shall be carried out by use of electro mechanical means like breakers, or by blasting wherever permissible with express permission from the competent authority. Necessary barricades, night lamps, warning boards, and required watchman shall be provided by the contractor to prevent any accident to pedestrian or vehicles. While carrying out blasting operations, the contractor shall ensure adequate safety by cautioning the vehicular and other traffic. The contractor shall employ sufficient manpower for this with caution boards, flags, sign writings etc. When trenches are excavated in slopes, uneven ground, inclined portion, the lower edge shall be treated as normal level of the ground for the purpose of measurement of depth of the trench. In certain locations, such as uneven ground, hilly areas and all other places, due to any reason whatsoever it can be ordered to excavate beyond standard depth of 60cms. above the cable to keep the bed of the trench as smooth as possible.

c)	If excavation is not possible of minimum depth of 60cms. above the cable, as detailed above, full facts shall be brought to the notice of the Engineer In-charge in writing giving details of location and reason for not being able to excavate the particular portion. Approval shall be granted by the competent authority in writing under genuine circumstances.

d)	The contractor shall be responsible for all necessary arrangements to remove or pump out water from trench. The contractor should survey the soil conditions encountered in the section and make his own arrangement about dewatering arrangements that may be necessary. Wherever the soil is hard due to dry weather conditions, if watering is to be done for wetting the soil to make it loose, the same shall be done by the contractor.

e)	Trenching near Culverts/Bridges   :  At bridges and culverts, the cable shall be laid in GI pipe of suitable size with the permission of concerned authorities maintaining the roads/bridges. While carrying out the work on bridges and culverts, adequate arrangements for cautioning the traffic by way of caution boards during day tine and danger lights at night shall be provided. Of late the bridge construction authorities are providing ducts below the footpaths. The concerned SDO/SDE need to maintain good liaison with the concerned authority to  get  one side  of  the  duct

allotted for Telecom cables. In such ducts GI pipes can be coupled and laid for pulling the cables. It would be pertinent to mention here that close liaison with bridge construction authorities would be of immense advantage in ensuring provision of ducts on one or both sides of the bridges as per future requirements. However, for laying cables on existing bridges, where a duct arrangement does not exist, one of the following methods may be adopted.

i) 	Where the cushion on top of the arch of the culvert is 45 cms. or more, the pipe to carry the cable may be buried on the top of the arch adjoining the parapet wall by digging close to the wheel guard. Every precaution shall be taken to see that no damage occurs to the arch of the culvert. After burying the GI pipe, the excavated surface on the arch shall be restored.

ii) 	When the thickness of the cushion is less than 45 cms. the pipe to carry the cable may be buried under the wheel guard masonry. After burring the pipes, wheel guard should be re-built.

iii) 	If neither of the two methods mentioned above is possible, the pipe should be clamped to the outside of the parapet wall of the culvert or bridge with the help of clamps, nails, nuts, bolts, and screws of suitable size to ensure that the pipe is securely fixed. The GI clamps should be of minimum 25 mm width and 3 mm thickness and should be fixed at an interval of 50 cms. If necessary, the pipe should be taken to the parapet walls at the ends where the wall diverges away from the roads. The work should be carried out in consultation with the authorities concerned maintaining the roads and bridges. After laying the GI pipes, the wheel guards or arch may require repairing by concreting at site. For carrying out protection by concreting at site, the nominal dimension of concreting shall be according to the requirements of the site, Cement concrete mixture used shall be of 1:2:4 composition i.e. 1: 53 grade cement of a reputed company, 2: Coarse sand, 4: Graded coarse stone aggregate of 6mm nominal size. As the CC as cast at site, it is imperative to ensure that special care is taken to see that proper curing arrangements are made with adequate supply of water. In case of small bridges and culverts, where there is a likelihood of their subsequent expansion and remodeling, the cable should be laid with some curve on both sides of the culvert or the bridge to make some extra length available for readjustment of the cable at the time of reconstruction of culvert or the bridge.

f)	CLASSIFICATION OF TRENCHES

The trenches have been categorized based on its size required for laying different sizes and number of cables as under

| Sl. No. | Type of trench | Trench size in Cm. | Required for |
| --- | --- | --- | --- |
|  |  | Width | Depth of above cable |  |
|  |  | Top | Bottom |  |  |
| i | A | 45 | 30 | 90 | Single cable of any size or Laying any number of cables below 400 pairs * c) Laying two cables of 400 pairs with / without any number of additional small size cables. |
| ii | B | 60 | 45 | 90 | Laying three cables of 400 pairs and above with/without any number of additional small size cables. |
| iii | C | 75 | 60 | 90 | Laying four cables of 400 pairs and above with/without any number of additional small size cables. |
| iv | D | 90 | 75 | 100 | Laying five cables of 400 pairs and above with/without any number of additional small size cables. |

- The bottom width is mandatory.

- * In case of large number of cables to be laid in a trench, the type of trench can be upgraded to higher type of trench by the DGM In-charge considering site conditions.

- Where more than one cable is being laid in a trench there should be a gap of 5 cms. in between the cables,. No cable should be laid one-over the other.

g)	TRENCHES OF LESS DEPTH

Relaxation and Competent Authorities to Grant Relaxation : The depth of trench is very important for future life of cables. Therefore, the contractor is obligated to ensure that the standard depth is maintained in normal circumstances. However, due to obstructions, if the standard depth cannot be achieved, lower depth up to certain limits are acceptable by the authorities as prescribed below with extra protection as per specifications. The relaxation by the competent authority prescribed below shall be obtained giving reasons for not achieving standard depth.

| Size of cables | Standard depth in cms. | Powers delegated for relaxation for depth up to the depth in Cms. |
| --- | --- | --- |
|  |  | DET | DGM |
|  |  | DET | DGM |
| All sizes (Other than 5 Pr ) | 90 | 80 | 30 |
| 5 Prs | 60 | 40 | 30 |

05.	LAYING & PULLING OF CABLES

The normal methods used in the BSNL for laying Underground cables is  :

Laying direct in the Ground

After excavation of trenches, approximately 10 cms. thick bed of soft soil (in case the excavated material contains sharp pieces of rock/stones) is laid before directly laying the cable. Adequate care shall be exercised while laying the cables so that the cables are not put to undue tension/pressure as this may adversely affect the electrical characteristics of cables with passage of time.

The cables shall invariably be laid in the trenches through jack and spindle at appropriate position for easy unwinding, putting cable rollers in the trenches, if required at a regular interval of approx. 20 Mtrs. under proper  supervision.

Adequate overlaps shall be left for jointing 2 successive lengths of cables as under –

| Size of cable | Length of overlap |
| --- | --- |
| 1200 prs & above | 1.5 meter |
| 800 pairs | 1.4 meter |
| 400 pairs | 1.2 meter |
| Below 400 pairs | 1.0 meter |
| 5 Pair | 1.0 meter |

In case the previous length ends in the middle, of a carriage way / footpath / road crossing/bridge/culvert, it should be negotiated out of the carriage way/foot path/road crossing/bridge/culvert by laying the next length early and removing the excess overlap cable and depositing to the stores under proper receipt.

Where more than one cable are laid in the same trench, the jointing locations shall be suitably staggered. When a cable is to be terminated in a pillar, the depth of cable for such termination shall be equal to (Jointing length + height of the pillar). Sharp bends shall be avoided. Bends, if any, the radius of curvature should be more than at least six times the diameter of the cable. After the completion of cable laying soft soil shall be placed over the cable to a height of 10 cms. duly leveled and rammed lightly to form a bedding for laying warning bricks for mechanical protection.

The cables may be required to be pulled through RCC/GI pipes at road crossings, railway crossings, bridges and culverts. Extra care should be taken to avoid damage to the cable while pulling through pipes, which may occur due to kinks. The contractor should have the required tools and equipment for the purpose to complete the job in a professional manner.

When trenches are excavated up to specified depth, properly dressed and leveled and the cable(s) is/are laid, joint measurement of depth above cable shall be taken by representatives of contractor and Engineer In-charge. Measurements shall be recorded in measurement book with their signature. Trenches for which measurements are recorded in measurement book shall be considered as approved trenches.

The contractor shall ensure that trenching and cable laying activities are continuous, without leaving patches or portions incomplete in between. When there are number of cables of the same size in the same trench it becomes difficult to identify the particular cable at time of maintenance. Therefore, identification collars bearing L.I. Number of the cable shall be tagged to all the cables. The identification collars shall be provided at an interval of not more than 2 meters.

06. 	PLACING OF LAYER OF BRICKS : After laying of cables, it is covered by a consolidated layer of 10cms. of soft earth which should be free from stones or other sharp  objects,  carefully  pressed  and  lightly  tamped.  On this layer of soft earth a layer of Bricks is placed as a warning layer and also as a mechanical protection, as the telecom cables are vulnerable to damages due to excavations by other agencies.

The warning/protection layer of bricks is laid as per following schedule depending upon the size of the cables and depth of trench.

| Sl. No. | Size of Cables | Depth in cm | Warning laying/Protection |
| --- | --- | --- | --- |
| 1 | 200 Pairs and below | All depths | Bricks |
| 2 | 400 Pairs and above | Upto 80 cms. | Bricks |
| 3 | 400 Pairs and above | Below 80 cms. | Bricks |

a)	Layer of Bricks

Well burnt non-modular bricks of nominal size 229 mm(+/- 4mm) X 114 mm(+/- 3mm) X 70 mm of minimum compressive strength of 75 Kgf per square cm shall be used as a warning/protection layer. Bricks shall be used longitudinally over the cables up to 400 pairs and transversely over cables above 400 pairs or two cables of size up to 400 pairs. Approximately 4400 bricks per kilometer shall be required for laying longitudinally and 9000 bricks per KM shall be required for laying transversely.

07. 	BACK FILLING AND COMPACTING OF THE EXCAVATED TRENCHES

After laying the cables and providing warning/protection layer as per specifications, the remaining portion of the trench shall be filled in and well tamped in steps. The trench should be back filled in layers not exceeding 15 cms. each at a time and rammed. The contractor shall remove the excess earth from the site and leave only a crown of earth rising approximately 5 cms. in the center. This allows for natural subsidence. When digging on footpaths along road crossings, care should be taken to see that the road is made motor-able as soon as the work is completed. The permanent reinstatement of roads and pavement shall be done by the local authorities.

The department will supply G. I. Pipes, R.C.C. Pipes and U.G. Cables to the contractor at concerned sub-divisional store depot.

08. 	SAFETY PRECAUTIONS

a) 	Safety precautions where excavating or working in excavations close to electric cables

The Engineer-In-charge of the work should get full information from Electricity Undertaking regarding any electric cables, which are known or suspect to exist near the proposed excavation and unless this is done, excavation should not be carried out in the section concerned. The electricity undertaking should be asked to send a representative and work should be preceded with close coordination with them.

Only wooden handled hand tools should be used until the electric cables have been completely exposed. Power cables not laid in conduits are usually protected from above by a cover slab of concrete, brick or stone. They may or may not be protected on the sides. It is safer, therefore, always   to drive the point of the pickaxe downwards then uncovering a cable, so that there is less chance of missing such warning slabs. No workman should be permitted to work alone where there are electric cables involved. At lest one more man should be working near by so that help can be given quickly in case of an accident. If disconnection of power could be arranged in that section it will be better. No electric cables shall be moved or altered without the consent of the Electric authority and they should be contacted to do the needful. If an electric cable is damaged even slightly, it should be reported to the Electric authority and any warning bricks disturbed during excavation should be replaced while back filling the trench. Before driving a spike into the ground, the presence of other underground properties should be checked. Information on plans regarding the location of power cables needs not to be assumed as wholly accurate. Full precautions should be taken in the vicinity until the power cable is uncovered. All electric cables should be regarded as being live and consequently dangerous. Any power is generally dangerous, even low voltage proving fatal in several cases.

b) 	ELECTRIC SHOCK-ACTION AND TREATMENT

Free the victim from the contact as quickly as possible. He should be jerked away from the live conductors by dry timber, dry rope or dry clothing. Care should be taken not to touch with bare hands as his body may be energized while in contact. Artificial respiration should begin immediately to restore breathing even if life appears to be extinct. Every moment of delay is serious, so, in the meanwhile, a doctor should be called for.

c) 	SAFETY PRECAUTIONS WHILE WORKING IN PUBLIC STREET AND ALONG RAILWAY LINES

When a road or footpath is to be opened in the course of work, special care should be taken to see that proper protection is provided to prevent any accidents from occurring. Excavation work should be done in such a manner that it will not unduly cause inconvenience to pedestrians or occupants of buildings or obstruct road traffic. Suitable bridges over open trenches should be so planned that these are required for the minimum possible time. Where bridges are constructed to accommodate vehicular traffic and is done near or on railway property, it should be with the full consent and knowledge of the competent railway authorities.

d) 	DANGER FROM FALLING MATERIAL

Care should be taken to see that apparatus, tools or other excavating implements or excavated materials are not left in a dangerous or insecure position so as to fall or be knocked into the trench thereby injuring any workman who may be working inside the trench.

e)	CARE WHEN WORKING IN EXCAVATIONS

Jumping into a trench is dangerous. If it is deep, workmen should be encouraged to lower themselves. Workers should work at safe distance so as to avoid striking each other accidentally with tools. If the walls of the trench contain glass bits, corroded wire or a sharp object they should be removed carefully. If an obstruction is encountered, it should be carefully uncovered and protected if necessary. Care must be taken to see that excavated material is not left in such a position that it is likely to cause any accident or obstruction to a roadway or waterway. If possible the excavated material should be put between the workmen and the traffic without encroaching too much on the road.

f)	DANGER OF CAVE IN

When working in deep trenches in loose soil, timbering up/shoring the sides will prevent soil subsidence. The excavated material should be kept at sufficient distance from the edge of the trench or pit. Vehicles or heavy equipment must not be permitted to approach too close to the excavation. When making tunneled opening, it should be ensured that the soil is compact enough to prevent cave in even under adverse conditions of traffic. Extra care should be taken while excavating near the foundations of buildings or retaining walls. In such cases, excavation should be done gradually and as far as possible in the presence of the owners of the property.

  - PROTECTION OF EXCAVATIONS

Excavations in populated areas, which are not likely to be filled up on the same day should be protected by barriers or other effective means of preventing accidents and the location of all such openings must in any event be indicated by red flags or other suitable warning signs. During the hours from dusk to dawn, adequate number of red warning lamps should be displayed. Supervisory officers should ensure that all excavations are adequately protected in this manner as serious risk and responsibility is involved. Notwithstanding adoption of the above-mentioned precautions, work-involving excavations should be so arranged as to keep the extent of opened ground and the time to open it to a minimum.

  - PRECAUTIONS WHILE WORKING ON ROADS

The period between half an hour after sun set and half an hour before sun-rise, and any period of fog or abnormal darkness may also be considered as night for the purpose of these instructions, for the purpose of providing the warning signs. Excavation liable to cause danger to vehicles or the public must at all times be protected with fencing of rope tied to strong uprights or bamboo poles at a suitable height or by some other effective means. Any such temporary erection which is likely to cause obstructions and which is not readily visible should be marked by posts carrying red flags or boards with a red background by day and by continuously lighted lamps at night.

The flags and lamps should be in conspicuous positions so as to indicate the pedestrians and drivers of vehicles the full expanse, i.e. both width and length of the obstructions. The distance between lamps or between floors should not generally exceed 1.25 mtrs. Along the width and 6 mtrs. Along length of the obstructions in non congested areas, but 4 mtrs. Along the length in congested areas. If the excavation is extensive, sufficient notice to give adequate warning of the danger, should be displayed conspicuously not less than 1.25 mtrs. Above the ground and close to the excavation. Where any excavation is not clearly visible for a distance of 25 mtrs. To traffic approaching from any direction or any part of the carriage way of the road in which the excavation exists, a warning notice should be placed on the kerb or edge of all such roads from which the excavation or as near the distance as is practicable but not less than 10 cms. from the junction of an entering or intersecting road in which the excavation exists. All warning lamps should exhibit a red light, but white lights may be used in addition to facilitate working at nights.

Wherever required a passage for pedestrians with footbridge should be provided. At excavations, cable drums, tools and all materials likely to offer obstructions should be properly folded round and protected. This applies to jointer’s tents as well, leads, hoses etc stretched and across the carriage-way should be guarded adequately for their own protection and also that of the public.

  - TRAFFIC CONTROL

The police authorities are normally responsible for the control of traffic and may require the setting up of traffic controls to reduce the inconvenience occasioned by establishment of a singly line of traffic due to restriction in road width or any other form of obstruction caused by the work. As far as possible, such arrangements should be settled in advance. If there are any specific regulations imposed by the local authorities, these should be followed.

j)	WORKING ALONG RAILWAY LINES

Normally, all works at Railway crossing is to be done under supervision of the railway authorities concerned, but it is to be borne in mind that use of while, red or green flags by the BSNL staff is positively forbidden to be used when working along a railway line as this practice may cause accident through engine drivers mistaking them for railway signals. When working along a double line of railway, the men should be warned to keep a sharp look on both the “UP” and “DOWN” lines to avoid the possibility of any accident when trains pass or happen to cross one another ear the work spot.

SECTION – IX

MATERIAL SECURITY BOND FORM

Where as M/s……………………………………………………………………………………………….

(hereinafter called the "the Contractor") has been awarded the contract of……………………….

………………………………………………………………………………………………….as per tender number

…………………………………………………………………………………………………..KNOW ALL MEN' by these presents that we of M/s ………………………………………………………………………………………

having   our   registered ' office   at …………………………………………………………………………….

(hereinafter called the "the Contractor") are bound unto Bharat Sanchar Nigam Limited (hereinafter      called      "the      BSNL ")  in  the  sum   of  Rs………………………..(Rupees………………

…………………………………………………………………………) for which payment will and truly to be made of the said BSNL, the Bank binds itself, its successors and assigns by these presents.

THE CONDITIONS of the obligation are:

1.	If the Contractor is unable to keep stores issued to him, properly, i.e. the store provided to the contractor by the BSNL are damaged or

2.	The stores issued to the contractor by the BSNL are stolen or

3.	The contractor is not able to provide proper account of the stores issued to

him/her/them by BSNL.

We undertake to pay to the BSNL up to the above amount upon receipt of its first written demand without the BSNL having to substantiate its demand, provided that in its demand, the BSNL will note that the amount claimed by it is due to it owing to the occurrence of one or two or all of three conditions specifying the occurred condition or conditions.

This guarantee will remain in force up to and including one hundred and eighty (180) days after the period of Contract validity, and demand in respect thereof should reach the Bank not later than the above date.

Signature of the Dank		Signature of the Bank

Signature of witness							Signature of the Witness

Name of witness 							Address of witness

Name of Witness 							Address of Witness

Signature of bidder with seal

SECTION- X

AGREEMENT

Name of the work: Laying of underground cables and up-gradation and Rehabilation of External Plant in Zone…………………………in Keonjhar TD..

Tender Number: ……………………………………………………………….

:

This agreement made on the………th day of (month)……….… (Year)……………… between Sri …………..…………………………………………………………..TDM, Keonjhar for and on behalf of Bharat Sanchar Nigam Limited and Shri  ……………………………………… Son of  Shri …………………………………………..At…………………………………….…. P.O…………………………………P.S………….………………..Dist………….……………..

State. …………………………….for Laying of UG Cables , Up-gradation & Rehabilitation of External Plant in Keonjhar Telecom. District  in Zone ………………..………………  Sub-Division……………………………

Where as in response to Tender Notice Number……………………………………… Dated……………………… issued by TDM, Keonjhar, Shri …………….……………………  has been declared as successful Tenderer vide Letter No……………………..…… …………

Dated ………………………………of TDM, , Keonjhar for Laying of UG Cables, Up-gradation & Rehabilitation of External Plant in Keonjhar  Telecom. District in                Zone………………………Sub-division………………………………………..

Shri ………………………………………………………….hereby undertake to carryout the work of  Up-gradation & Rehabilitation of External Plant in Keonjhar TD in Zone No…………….(Sub-division…………………………………………………………………..) for a period of one year starting from the date of execution of the agreement at the rate as per the tender finalized in his favour and according to the terms and conditions laid down in the approved tender.

Shri …………………………………………………..also undertake to carryout the work through out the year at the same approved rate as per Annexure-I and according to the Departmental Standards and up to the satisfaction of the TDM, BSNL, Keonjhar

Shri ……………………………………………………further undertake to fully abide by the terms and conditions as stipulated in the Tender Notice No…………………………………………………………..

Dated …………………………………referred to above and shall make good any loss caused to the Telecom District any other Government Department or Private Body or to the public.

Now in the presence of witnesses it is hereby agreed and declared by and between the parties to abide by the conditions as follows:

1)	The contractor shall, during the period of this contact that is to say from ……………. to …………………………………………….or completion of work for Rs………………….. (…………………………………………………………………………………………………..)

whichever is earlier or until this contact shall be determined by such notice as is hereinafter mentioned, safely carryout, by means of labours employed at his own expenses and by means of tools, implements and equipment etc. to be supplied by him to his labour at his own expenses, all trenching, pipe laying, cable pulling, cable splicing, joint chamber preparation, fixing, painting and sign writing or route indicators and other associated works as described in tender documents (annexed to the agreement), when the TDM., Keonjhar  any other persons authorized by TDM., Keonjhar in that behalf required. It is understood by the contractor that the quantity of work mentioned on the schedule is likely to change as per actual requirements as demanded by exigencies of service.

2)	The NIT (Notice Inviting Tender), Bid documents (Qualifying and Financial), letter of intent, approved rates, annexed hereto and such other additional particulars, instructions, drawings, work orders as may be found requisite to be given during execution of the work shall be deemed and taken to be an integral part of the contract and shall also be deemed to be included in the expression “The Agreement” or “The Contract” wherever herein used.

3)	The contractor shall also supply the requisite number of workmen with means & materials as well as tools, appliances, machines, implements, vehicles for transportation, cartage etc. required for the proper execution of work within the time prescribed in the work orders.

4)	The contractor hereby declares that nobody connected with or in the employment of the BSNL is not/shall not ever be admitted as partner in the contract.

5)	The contractor shall abide by the terms and conditions, rules, guidelines, construction practices, safety precautions etc. stipulated in the tender document including any correspondence between the contractor and the Government having bearing on execution of work and payments of work to be done under the contract.

6) Details of Material Security: -

7) Details of Performance Security:-

The TDM, Keonjhar reserves the right to modify the nature and measure of any penalty mentioned in the tender as deems fit if necessity arises ( due to delay in performance, sub standard work or otherwise) .

In witness whereof parties presents have here into set their respective hands and seals the day and year in ……………………

Signature of Contractor		          	    Telecom. District Manager

Keonjhar

Witness………………………………….    .   Witness…………………………………

- 1)

- 2)

SECTION – XI

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number ……………………………………………………………………………..

Subject  : 	Authorization for attending bid opening on ……………………...(date) in the tender of    …………………………………………………………………………………………………………..

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of…………………………………………………………………………………………(bidder) in order of preference given below.

| Order of preference | Name | Specimen Signature |
| --- | --- | --- |
| I) |  |  |
| II) |  |  |
| Alternate Representative |  |  |

Signature of bidder

or

Officer authorized to sign the bid

documents on behalf of the bidder.

No. 1. 	Maximum two representatives will be permitted to attend bid opening. In cases where it is restricted to one, first preference will be allowed. Alternate representative will be permitted when regular representatives are not able to attend.

No. 2 .	Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not recovered.

SECTION – XII

LIST OF THE DOCUMENTS TO BE SUBMITTED WITH THE TENDER

At the time of dropping the tender (with Qualifying / Technical Bid)

- EMD

- Cost of Tender Paper

- PAN / Valid ITCC

- Valid Registration Certificate as a contractor

- Valid Labour License (Central)

- Valid EPF Registration Number

- Paid copy of up to date EPF dues (up to previous month of publication of NIT)

- Experience Certificate as per NIT

- Original Power of Attorney in case person other than the bidder has signed the agreement

- The registration of firm, authenticated copy of partnership deed in cases of partnership firm.

- Letter of Authorisation to attend the opening of the tender

- Declaration regarding no relative of the bidder working in BSNL

At the time of making Agreement (with Agreement Paper)

- Material Security in the form of Bank Guarantee

(The amount will be communicated to the successful bidder)

- Performance Security in the form of Bank Guarantee

(10% of the cost of work)

The EMD deposited by the successful bidder may be   converted in to the part of Performance Security Deposit if the bidder requests for such conversion. Besides this converted part security deposit, 7.5% amount from each running and final bill shall be deducted and credited to the performance security amount of the contractor against the contract.

- Valid Bank Solvency Certificate ( Rs Five Lakhs only) issued by a Nationalised Bank

(If validity of this certificate expires during the period of contract, the bidder has to submit a fresh one in order to cover the contract period without waiting for the reminder from TDM, Keonjhar for the same)

- A list of qualified and experienced personnel to be employed by the bidder for the work with details  ( Name, Permanent address, Present address, Age, Educational qualification, Years of experience  and etc)

This list is not same as asked to be furnished in Tenderer’s profile (Section – III)

( Sl. No. 12 – Details of Technical and Supervisory staffs)

SECTION – XIII

RATES OF EMPTY CABLE DRUMS

These are the rate of the empty cable drums, which have to be deducted from the contractor’s bills as per terms and conditions of the tender document.

| Sl.No. | Size of drum | Rate of disposal |
| --- | --- | --- |
| Sl.No. | Size of drum | Rate of disposal |
| 01. | 1200 Pairs | Rs.550.00 |
| 01. | 800 Pairs | Rs.500.00 |
| 02. | 400 Pairs | Rs.375.00 |
| 03. | 200 Pairs | Rs.250.00 |
| 04. | 100 Pairs | Rs.150.00 |
| 05. | 50 Pairs | Rs.125.00 |
| 06. | 20 Pairs | Rs.100.00 |
| 07. | 10 Pairs | Rs.075.00 |
| 08. | 5 Pairs | Rs.065.00 |

Note	:	These are fixed rates and no variations shall be acceptable from these rates.

#### BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

##### OFFICE OF THE TELECOM. DISTRICT MANAGER

##### KEONJHAR

##### BID DOCUMENT

##### (FINANCIAL)

Tender

for

Laying of u/g cable, Up-gradation & Rehabilitation of External Plant and Associated Works

in

Keonjhar Telecom. District.

TENDER NO.: T-42/09-10  dated 01-04-2009

It is the responsibility of the bidder to follow this office in every step of the tender/work to which he / she is concerned. In no case, the non-receipt of work order or any letter of correspondence will be entertained.

Zone Number           ……………………………………….…..

Area under the jurisdiction of ……………………………….

Issued in favour of………………………………………............

Received by ,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,……….

SECTION – XIV

FINANCIAL BID

To

The TDM, BSNL, Keonjhar

Subject:- Our Financial Bid for cable construction works in Zone  Number……………

(Area under the jurisdiction of ………………………………………..)

Ref:      Tender No……………………………………………………………….).

Dear Sir,

Having examined the tender documents, terms, and conditions stipulated therein, specifications of work etc.  I / we the under signed offer to execute the cable construction works in conformity with the specifications and conditions of contract at the percentage (Below/ at per/ above) on standard schedule rates quoted as under.

BELOW		In figures…………………………..%

In words ………………………….. percent

OR

ATPAR		In words …………………………

OR

Above		In figures…………………………..%

In words ………………………….. percent

If our bid is accepted   I/we will submit the securities as per the conditions mentioned on the contract.

We agree to abide by this Bid for a period of 365 days from the date of opening of financial bid and it shall remain binding upon us and may accepted at time before the expiry of that period.

Date …………./ ………../ ……..

Signature of the tenderer ……………………….

Name of Tenderer ………………………….

Keonjhar Telecom District

Annexure-1

CALCULATION OF STANDARD SCHEDULE RATES FOR U.G. CABLE CONSTRUCTION WORKS.

| Sl. No. | Description of work | Unit | Scheduled Rates (in Rs.) |
| --- | --- | --- | --- |
| 1 | Rate for digging in any kind of soil. a) Excavation of trench 30 cm (width) X 90cm (depth) for cable laying with putting bricks there on including the cost or transportation of store (bricks, cable) and back filling & reinstating trench as per clause of tender. | Per Mtr | Rs. 40.00 |
|  | b) Excavation of trench 30cm (width) X 90cm (depth) for cable laying without putting bricks there on including transportation of store (cable) & back filling & reinstatement of trench. | Per Mtr. | Rs. 25.00 |
|  | c) Excavation of trench 30cm (width) X 60cm (depth) for 5 pr ug cable laying without putting bricks there on including transportation of store (cable) & back filling & reinstatement of trench. | Per Mtr. | Rs. 18.00 |
| 2 | Cable laying charge. for 5pr. for 10 pr and above | Per mtr. Per mtr. | Rs. 1.50 Rs. 2.00 |
| 3 | Rate for Asphaltic cutting (Width 30 cm X depth 90cm) (width 30cm X depth 60cm) | Per Mtr. Per Mtr. | Rs. 40.00 Rs. 30.00 |
| 4 | Rate for concreting (1:2:4) in Size 20 cm X 20cm length on culvert & bridges Size 15cm X 15Cm length in case of under ground trench. Concreting over verenda and wall | Per Mtr. Per Mtr. Per Mtr. | Rs. 100.00 Rs. 70.00 Rs. 20.00 |
| 5 | Rate for punching at road crossing At road crossing at depth of 1mtr. At Rly. Crossing at depth of 1.5 mtr. | Per Mtr. Per Mtr. | Rs. 200.00 Rs. 250.00 |
| 06 | Jointing of jelly filled cable ( thermoshrink sleeve method ) 5 pr. cable 10 pr. to 50 pr cable 100/200 cable 400 pr cable 800 pr cable | Each Each Each Each Each | Rs. 115.00 Rs. 128.00 Rs. 150.00 Rs. 197.00 Rs. 230.00 |

CALCULATION OF STANDARD SCHEDULE RATES FOR U.G. CABLE CONSTRUCTION WORKS.

|  | Description of work | Unit | Scheduled Rates (in Rs.) |
| --- | --- | --- | --- |
| 07 | Erection of pillar/cabinet with all the associated works such as Plinth erection for pillar shell including cost of materials i.e. 1:2:4 cement, cheeps & sand for concreting for erection of shell & earthling, painting 2 coats of red oxide and 2 coats of smoke grey paint and sign writing. The construction should be as per the specification mentioned in the tender 400pr/800pr/1000pr capacity 1600pr/2000pr capacity | Each Each | Rs. 4000.00 Rs. 5000.00 |
| 08 | Cable pair termination Including fixing of 100pr CT box, cleaning the conductor with kerosene & cotton waste termination of cable prs. by punching serially as per dept standard & conducting pr. test. | Per 100 pr. | Rs. 100.00 |
| 09 | DP Erection with all the associated works. (including, materials supplied by contractor i.e 2.5 mtr pvc pipe , 4 Nos. screws 4nos. clamps & dettofix and clipping of cable where necessary) 5pr/10pr/20pr (internal) 5pr/10pr/20pr (external) without post. 5pr/10pr/20pr (external) with post | Each Each Each | Rs. 140.00 Rs. 150.00 Rs. 200.00 |
| 10 | Rearrangement of subs. Loop. (dismantling and shifting to new D.P) | Each | Rs. 25.00 |
| 11 | Erection of post including fitting of Hamllton tubes and sockets. | Each | Rs. 40.00 |
| 12 | Fitting of Bracket with associated accessories. | Each | Rs. 10.00 |
| 13 | Erection of subs. Loop including fitting of subs. Instrument with LJU & testing. | Each | Rs. 90.00 |
| 14 | Dismantling of posts including digging holes for uprooting of post and depositing to store including transportation.. | Each | Rs. 120.00 |
| 15 | Unfitting of bracket including its accessories and depositing to store. | Each | Rs. 10.00 |
| 16 | Unbinding of insulators/Drop wire accessories and depositing to store. | Each | Rs. 10.00 |
| 17 | Taking down & recoiling of G.I. wire and depositing to store. | 100 kg. | Rs. 200.00 |

# Text boxes

Passport size

Photograph of the

Tender / authorized Signatory holding

Power of autonomy