BHARAT SANCHAR NIGAM LIMITED,

(A Government of India Enterprise)

O/o the General Manager Telecom District,

Balasore-756001.

Tender document for laying of under ground cables in different Zones in Balasore SSA.

TECHNICAL BID

DOCUMENTS

TENDER NO: N-5/09-10/2 dated 12.05.2009

Cost of tender paper: Rs.1040/-

(Rupees one thousand and forty only)

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

O/o the G.M.T.D., Balasore-756001

NOTICE INVITING TENDER

NIT No.-N-5/09-10/2                                                   Dated at Balasore the 12th May’2009.

Sealed tenders are invited by the GMTD, BSNL Balasore on behalf of CMD, BSNL for laying of under ground cables and allied works for the following zones in Balasore Telecom District from bonafide and licensed contractors having minimum experience in executing similar type of works of 60Kms during the last three financial years in BSNL.

Tender documents will be obtained from the Sub-Divisional Engineer (Planning), O/o GMTD, BSNL Balasore between 10:30 hrs. to 13:30 hrs. on any working day from 18-05-09 to 10-06-09 on production of D/D of Rs.1040/- (Rs.1000/- + 4% VAT) (one thousand and forty) only in favour of Sr. AO (Cash), O/o GMTD, Balasore payable at any scheduled bank at Balasore towards cost of tender paper (Non-refundable) along with the experience certificate issued by an officer not below the rank of DGM/TDM of BSNL.

| Last date of sale of tender paper | 10-06-09 up to 13.30hrs |
| --- | --- |
| Last date of receipt of tender form | 11-06-09 up to 13.30 hrs |
| Time and date of opening tender | 11-06-09 at 15.30 hrs. in the Chamber of DE(P&A) |

The above Tender is also available at the Balasore page of website: www.orissa.bsnl.co.in  for information purpose.

Area of contract:

| Sl No | Details of area | Zone | Approx quantum of work | Approx estimated cost in Rs. | EMD in Rs. |
| --- | --- | --- | --- | --- | --- |
| 01 | Exchange areas under SDOT Chandbali | I | 25Km (Rural) | Rs. 8,40,590.00 | Rs. 16800.00 |
| 02 | Exchange areas under SDOT and SDOP Bhadrak | II | 55Km (Rural-50Km & Urban-5Km) | Rs. 16,43,390.00 | Rs. 32800.00 |
| 03 | Exchange areas under SDOT Soro | III | 60Km (Rural-50Km & Urban-10Km) | Rs. 19,35,780.00 | Rs. 38700.00 |
| 04 | Exchange areas under SDOT Bls and SDOP-I & II Balasore | IV | 50Km (Rural-41Km & Urban-9Km) | Rs. 14,94,100.00 | Rs. 29900.00 |
| 05 | Exchange areas under SDOT Basta | V | 40Km (Rural) | Rs. 12,42,705.00 | Rs. 24800.00 |
| 06 | Exchange areas under SDOT Jaleswar | VI | 50Km (Rural-40Km & Urban-10Km) | Rs. 15,39,605.00 | Rs. 30800.00 |

1. Submission of Tender: - The Tender papers completed in all respect shall be addressed to the DE (P&A), O/o the GMTD, BSNL Balasore and will be dropped into the Tender box available in his chamber or to be received by Regd. Post on or before 13.30 hrs. of 11-06-09. The bid received late will be returned unopened. The envelope shall be super scribed by “Tender for u/g cable construction works in Balasore Telecom District for Zone---”. The tender received after the due date and time will be summarily rejected.

2. The quantum of u/g cable laying may be increased or decreased as per actual requirement without any change in the rates or terms and conditions specified in the tender.

3. The experience in under ground cable laying and allied works during the last two financial years in BSNL issued by an officer not below the rank of DGM/TDM of BSNL shall only be eligible. The experience certificate issued by others (i.e. DET, SDE etc) will not be eligible for acceptance.

4. The tender paper can be downloaded from the concerned website. But while dropping, a D.D. of Rs.1040/- (non refundable) in favour of the Sr. AO (Cash), O/o the GMTD Balasore towards the cost of the tender paper must be enclosed inside the envelope containing the Bid Security; otherwise the tender will not be taken into consideration. The GMTD Balasore will also not be responsible for any alteration/omission in the contents of the tender document either while uploading on the website or otherwise.

5. Each contractor shall be eligible to apply for maximum of three zones for which separate tender papers have to be purchased for each zone.

6. The Tender which is not accompanied by the requisite Bid Security shall summarily be rejected. The GMTD BSNL, Balasore reserves the right to reject any or all Tenders without assigning any reason what so ever. In case the last date of dropping falls on a holiday or a bandh takes place, the next working day will be treated as last date.

Sd-

General Manager Telecom District,

BSNL, Balasore-756001

SECTION - I

BID FORM

Tender No:-N-5/09-10/2   	                                                                             Dated 12-05-09

### To

The General Manager Telecom District,

Balasore– 756001.

Dear Sir,

Having examined the conditions of contract and specifications the receipt of which is hereby duly acknowledged, we, undersigned, offer to execute the underground cable construction works in conformity with said conditions of contract and specifications as may be ascertained in accordance with the schedule of prices attached herewith and made part of this Bid.

We undertake, if our Bid is accepted, we will execute the work in accordance with specifications, time limits & terms and conditions stipulated in the tender document.

If our Bid is accepted, we shall submit the securities as per the conditions mentioned in the contract.

We agree to abide by this Bid for a period of 240 days from the date fixed for Bid opening (Qualifying Bid) and it shall remain binding upon us and may be accepted at any time before the expiry of that period.

Until an agreement is prepared and executed, this Bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

Dated this….....……………….........day of.………………..... (The year)

Signature of Authorised Signatory….......………………….......

In capacity of……………………......................................

Duly authorized to sign the bid for and on behalf of…...…….......

Witness.………..

Address.. ……….

Signature…………

Affix passport size photograph

SECTION-II

TENDERER’S PROFILE

1. Name of the tenderer /firm______________________________

2. Name of the person submitting the tender whose Photograph is affixed Shri / Smt._______________________________________

(In case of Proprietary / Partnership firms, the tender has to be signed by Proprietor / Partner only, as the case may be)

3. Address of the firm/proprietor/Individual

………………………………………………………………………………………………………………………

4.   Tel. No. (With STD code) (O)   ........................ (Fax).....................[R].

5.   Registration & incorporation particulars of the firm:

i)    Proprietorship

ii)   Partnership

iii)  Private Limited.

(Please attach attested copies of documents of registration / incorporation of your firm with the competent authority as required by business law )

6. Name of Proprietor / Partners/ Directors………………………………………….. .........................................................……………………………………………………………………..

7. Tenderer's bank, its address and his current account number....................

…………………………………………………………………………

8.  Permanent Income Tax number, Income Tax Circle .........................................…………………………………………………………………………

(Please attach a copy of last income tax return)

9. Infrastructure capabilities:

a. Capacity of trenching per day (in meters)..................................................

b. Capacity of engaging mazdoors per day...................................... .............

c. Particulars of vehicles available with tenderer:

Type of Vehicle(s)                                                Registration number

10. Details of Technical and supervisory Staff:

I/ We hereby declare that the information furnished above is true and correct.

Place:

Date:

Signature of tenderer / authorised signatory

Name of the tenderer with Seal.

SECTION-III

INSTRUCTION TO BIDDERS

1. ELIGIBILITY OF BIDDERS

The invitation of bids is open to all contractors as per their eligibility mentioned in NIT of this tender document. Each contractor will be eligible to quote for a maximum of three zones.

2. TENDER VALIDITY:

The contract will remain valid for a period of one year from the date of signing of agreement. However the GMTD, Balasore reserves the right either to extend or to reduce the contract period in the interest of service and administrative grounds.

3. SCOPE OF WORK:

The work relates to underground cable laying and associated works approximately for a total of 280Kms distributed over six different zones under Balasore SSA.

| Sl No | Areas of contract | Approximate quantum of work |
| --- | --- | --- |
| Zone-I | Exchange areas under SDOT Chandbali | 25Km (Rural) |
| Zone-II | Exchange areas under SDOT Bhadrak & SDOP Bhadrak | 55Km (Rural-50Km & Urban-5Km) |
| Zone-III | Exchange areas under SDOT Soro | 60Km (Rural-50Km & Urban-10Km) |
| Zone-IV | Exchange areas under SDOT Balasore, SDOP-I & II Balasore | 50Km (Rural-41Km & Urban-9Km) |
| Zone-V | Exchange areas under SDOT Basta | 40Km (Rural) |
| Zone-VI | Exchange areas under SDOT Jaleswar | 50Km (Rural-40Km & Urban-10Km) |

However the above quantity may vary depending on the actual situation.

4.  BID DOCUMENTS;

4.1       The construction work to be carried out, goods required, bidding procedures and contract terms are prescribed in the Bid Documents. The Bid Documents include:

4.1.1	Qualifying Bid:

a- Notice Inviting Tender.

b- Bid Form.

c- Tenderers Profile.

d- Instruction to Bidders.

e- General (Commercial) Conditions of the contract.

f-	 Special Conditions of Contract.

g- Material Security Bond Form.

h- Agreement (Sample).

i-   Letter of Authorization for Attending Bid Opening.

j- Check List.

k-   Certificate for non participation of near relatives of BSNL employees.

4.1.2 Financial Bid (Tender Schedule and quoting of rates)

(a) The Bidder is expected to examine all instructions, forms, terms and specifications in the bid documents. Failure to furnish all information required as per the Bid Documents or submission of bids not substantially responsive to the Bid Documents in every respect will be at the bidder's risk and shall result in rejection of the bid.

(b) The quantities in the tender are approximate and are at the discretion of the GMTD, Balasore and are not to be taken as firm figures. Any change so effected shall be binding on the bidder/contractor although not included in the original tender schedule. It is therefore essential that the bidder should examine all the documents carefully and do not commit any mistake in analyzing the rate as the rates /quoted shall remain binding not with standing charges as aforesaid and no revision of tendered rates shall be considered on any ground what-so-ever.

5.    QUERIES ON BID DOCUMENTS;

A prospective bidder, requiring any clarification of the Bid Documents shall notify the BSNL in writing or by Fax at the BSNL's mailing address indicated in the Invitation for Bids. The BSNL shall respond in writing to any request for clarification of the Bid Documents, which it receives not later than 7 days prior to the date for the opening of the bids.

6.    AMENDMENT OF BID DOCUMENTS;

6.1 At any time, prior to the date for submission of bids, the BSNL may, for any reason whether suo motto or in response to a clarification requested by a prospective Bidder, modify the bid documents by amendments.

6.2 The amendments shall be notified in writing or by telex or FAX to all prospective bidders and these amendments will be binding on them.

6.3 In order to afford prospective bidders reasonable time to take the amendments into account in preparing their bids, the BSNL may, at its discretion, extend the deadline for the submission / opening of bids suitably.

7.   Cost of Bidding:

The bidder shall bear all costs associated with the preparation and submission of the bid. The BSNL, will in no case, be responsible or liable for these costs, regardless of the outcome of the bidding process.

8. DOCUMENTS ESTABLISHING BIDDER'S ELIGIBILITY AND QUALIFICATIONS;

The bidder shall furnish, as part of his bid documents establishing the bidder's eligibility, the following documents.

i.   Bid Security in accordance to clause no. 9.

ii. Technical bid document duly filled in and signed by tenderer or his authorized representative along with seal (seal for firms/company) on each page. All corrections and overwriting must be initialed with date by the tenderer or his authorized representative.

iii. The copy of Experience certificate issued by the DGM/TDM of BSNL. The experience certificate issued by an officer other than TDM/DGM will not be accepted.

iv. Copy of PAN card.

v. Latest IT clearance certificate (proof of latest return filed)

vi. The registration of the firm. Authenticated copy of registered partnership deed in cases of      partnership firm.

vii. ESI registration certificate & up to date payment receipt (Xerox copy). In case the same is not submitted by the bidder then he has to produce the same to the concerned authority of the department before commencement of work failing which the relevant work order will be cancelled.

vii. Service Tax registration number.

viii. Tenderer's profile duly filled in, as per section II of the tender document.

ix. Original "Power of Attorney" in case person other than the Tenderer has signed the Tender documents.

x. Valid Contractor License.

xi. EPF code with certificate of registration along with up to date payment receipt (Xerox copy). In case the same is not submitted by the bidder then he has to produce the same to the concerned authority of the department before commencement of work failing which the relevant work order will be cancelled.

xii. TIN number and up to date VAT clearance Certificate.

xiii. Solvency Certificate from the banker for the tenderer is Rs.2 lakhs. However if one wishes to apply for three zones, then he shall have to produce solvency for Rs.6 lakhs. The solvency certificate must be from nationalized bank and shall not be older than the date of issue of NIT. No correction in date of issue will be allowed.

xiv. Certificate for non-participation of near relatives of BSNL employee as per the format prescribed in the tender document.

Note: - The original certificates / documents of the eligible bidder shall be verified before opening of the Financial Bid, failing which the bid shall not be considered for opening of Financial Bid.

9.     BID SECURITY;

9.1 The bidder shall furnish, as part of his bid, the bid security (EMD) for an amount as mentioned in the NIT. No interest shall be paid by the BSNL on the bid security for any period, what so ever.

9.2 The bid security is required to protect the BSNL against the risk of bidders’ conduct, which would warrant the security's forfeiture.

9.3 Bid Security shall be paid in the form of Crossed Demand Draft issued by a scheduled bank, drawn in favour of Accounts Officer (Cash), O/O GMTD. BALASORE & payable at Balasore.

9.4 A bid not secured in accordance with Para 9.1 & 9.3 shall be rejected by the BSNL as non responsive.

9.5 The bid security of the unsuccessful bidder will be refunded as promptly as possible but not later than 30 days after the expiry of bid validity period as prescribed by the BSNL.

9.6 The successful bidder's bid security will compulsorily be converted to part of Performance security deposit.

9.7   The bid security shall be forfeited;

9.7.1 If a bidder withdraws his bid during the period of bid validity specified in the bid document or

9.7.2 If the bidder makes any modifications in the terms and conditions of the tender before acceptance of the tender, which are not acceptable to the BSNL or

9.7.3 In case of a successful bidder, if the bidder fails:

(i) to sign the agreement,

or

(ii) to furnish material security

10.       BID PRICES;

10.1   The bidder shall give the total composite price inclusive of all levies and taxes of works to be executed except service tax. The contractor shall be responsible for transporting the materials, to be supplied by the BSNL (at the Sub divisional Store) or otherwise to execute the work under the contract, to site at his own cost. The work in each Zone is being treated as separate work covered by separate contract. The terms conditions and specifications are the same for all zones. The prospective bidders are advised to make a detailed survey of the zones for which they are bidding and familiarize themselves with the soil and terrain, so that the rate quoted takes all factors into consideration. Further if this service comes under the ambit of service tax act, the contractor can claim it in the bill.

10.2 Prices shall be quoted by the bidder item wise in the space provided in the financial bid separately for each zone. Prices quoted at any other place shall not be considered.

10.3   The price quoted by the bidder shall remain fixed during the entire period of contract and shall not be subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as not-responsive and rejected.

10.4 Discount, if any, offered by the bidders shall not be considered unless they are specifically indicated in the financial bid.

11.      PERIOD OF VALIDITY OF BIDS:

11.1 Bid shall remain valid for 240 days from date of opening of the bid (Qualifying Bid). A bid valid for a shorter period shall be rejected by the BSNL as non-responsive.

11.2   The BSNL reserves the right to request the lowest 3 bidders as per read out list on the opening day to extend the bid validity for a period of further 120 days and the bidder has to necessarily extend the bid validity. Refusal to extend the bid validity will result in forfeiture of the bid security, A bidder accepting the request and extending the bid validity will not be permitted to modify his bid.

12.    SIGNING OF BID:

12.1 The bidder shall submit, as a part of his bid, the bid documents (in original) duly signed on each and every page, establishing the conformity of his bid to the bid documents of all the works to be executed by the bidder under the contract. (Note: The tenderer is advised to keep a photocopy (at his own cost) of the bid documents for his own reference.)

12.2   The bid shall contain no inter-lineation, erasures or overwriting except as necessary to correct errors made by the bidder in which case such corrections shall be signed with date by the person or persons signing the bid.

13. Method of Preparation of Bid:

13.1 Bid for each tender should be submitted in three envelopes placed inside a main cover. These envelopes should contain the following:

| Envelope | Marked on the Cover | Contents of Envelope |
| --- | --- | --- |
| First | Bid Security | Containing Bid Security as per clause 9. |
| Second | Qualifying Bid | Containing documents as per clause 8 except Bid Security. |
| Third | Financial Bid | Containing Financial bid 'documents with rates duly quoted by the tenderer in the prescribed format. |

On all these envelopes the name of the firm/contractor and whether "Bid Security" OR "Qualifying" OR "Financial" bid must be clearly mentioned and should be properly sealed (with sealing wax / packing PVC tape). These envelopes are to be placed inside an outer envelope and properly sealed (with sealing wax/Packing PVC tape).   The tenders which are not submitted in above mentioned manner shall be summarily rejected.

13.2   All envelopes (3 inner & one outer) must bear the following:

“Tender for u/g construction works in Balasore Telecom District, Zone-…”

1 .Address of the bid accepting authority

2. Name and address of the bidder.

(Tender No-N-5/ 09-10/2    Dated at Balasore 12-05-2009.

13.3 The tenderer will be bound by all terms, conditions & specifications as detailed in the tender documents.

13.4 Any tender with conditions other than those specified in the tender document is liable to be summarily rejected. No modification by the contractor in any of the conditions will be permitted after the tender is opened.

14. SUBMISSION OF BIDS;

14.1 Tender should be dropped in person in the tender box placed in the office of DE (P&A), O/O GMTD, BALASORE    before 13.30 hrs. of 11-06-09, as mentioned in NIT. The BSNL shall not be held responsible for delivery of bid to the wrong address. The slit of the tender box will be sealed immediately after the specified time for receipt of tender. Any tender presented in person after the sealing of box will not be received by or will not be allowed to be deposited in the tender box.

14.2 Postponement of Tender opening:

14.2.1. Whenever it is considered necessary to postpone the opening date of tenders, quick decision shall be taken and communicated to the tenderers who have purchased the tender documents and shall be at least one day before the original date of opening. If the date of opening of bids is declared as holiday, the bids will be opened on the next working date at the same time and venue.

14.2.2. The BSNL if subsequently declares date fixed for opening of bids as holiday, or a bandh occurs, then revised schedule will be notified.  However, in absence of such notification, the-bids will be opened on next working day, time and venue remaining unaltered.

15 LATE BIDS;

Tenders will not be received after the specified time of closing of the tender and the same shall be rejected and returned unopened to the bidder. It is the sole responsibility of the tenderer that he should ensure timely submission of tender.

16. MODIFICATION AND W1THDRAWL OF BIDS:

16.1 The bidder may modify or withdraw his bid after submission and before opening, provided that the intimation is deposited by the bidder in a properly sealed envelope (With Wax/Packing JPVC tape) in the tender box, before the scheduled time & date for closing of tender.

16.2 No bid shall be modified subsequent to the deadline for submission of bids.

17.  OPENING OF BIDS BY THE BSNL;

17.1 The BSNL shall open the bids in the presence of bidders or his authorized representatives, at 15.30 Hrs on due date. The bidder's representatives, who are present, shall sign an attendance register. The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening.

17.2. A maximum of two (2) representatives for any bidder shall be authorized and permitted to attend the bid opening.

17.3 The Bids shall be opened in the following manner:

17.3.1 The bid opening committee shall count the number of bids and assign serial numbers to the bids.

17.3.2 The envelopes containing the tender offer and not properly sealed, shall not be opened and shall be rejected outright.   Closing the cover by gum will not be treated as sealed cover. The reasons for not opening such tender offers shall be recorded on the face of the envelope and all the members of bid opening committee shall initial with date.

17.3.1 First the outer envelope containing the three envelopes be opened. The bid opening committee shall initial on all three envelopes with date.

17.3.2 Among these three envelopes, the envelope marked "BID SECURITY" shall be opened first and examined.

17.3.3 (The bidders who have submitted proper bid security as per tender document, their "QUALIFYING BID" shall be opened and papers / documents submitted by the bidder shall be examined and recorded by the TOC).  After opening the qualifying bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

17.3.4 (After recording of the "Qualifying Bid" the TOC will place all the financial bids submitted by the bidder in an envelope and will seal it with wax for keeping in safe custody)

17.4   The Financial Bid shall be opened in the following manner;

17.4.1The envelope marked "Financial Bid," will be opened only for qualified tenders in "Qualifying bid".

17.4.2 The date and time of opening of "Financial bid" shall be conveyed to all the bidders who have qualified in Qualifying Bid and their representative shall be allowed to attend the financial bid opening.

17.4.3 In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in words shall prevail.

18. CLARIFICATION OF BIDS BY THE BSNL:

To assist in examination, evaluation and comparison of bids, the BSNL may, at its discretion ask the bidder for clarification of its bid. The request for its clarification and its response shall be in writing.    However, no post bid clarification at the initiative of the bidder shall be entertained.

19. PRELIMINARY EVALUATION;

19.1 BSNL shall evaluate the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

19.2 If there is discrepancy between words and figures, the amount in words shall prevail.  If the Contractor does not accept the correction of the errors, his bid shall be rejected.

19.3 Prior to the detailed evaluation, the BSNL will determine the substantial responsiveness of each bid to the bid document. A substantially responsive bid is one which conforms to all the terms and conditions of the bid documents without deviations.

19.4 A bid, determined as substantially non responsive will be rejected by the BSNL and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

20. EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS;

Only the financial bids of the substantially responsive bidders will be opened and the lowest bidder shall be determined on the basis of the estimated quantity of works in the respective zone as shown in financial bid of the tender. So the bidder applied for a zone is required to quote the rate for all the items in the financial bid failing which the case will not be considered during the determination of L1 in respective zone.

21. CONTACTING THE BSNL;

21.1 No bidder shall try to influence the BSNL on any matter relating to its bid, from the time of bid opening till the time the contract is awarded.

21.2 Any effort by the bidder to modify his bid or influence the BSNL in the BSNL's bid evaluation, bid comparison or the contract award decisions shall result in the rejection of the bid.

22. AWARD OF CONTRACT;

22.1 The BSNL shall consider award of contract only to those eligible bidders whose offers have been found technically, commercially and financially acceptable.

22.2 The work against the tender is for one year's requirement and the terms and conditions of this tender shall be operative for a period of one year from the date of signing of agreement between the BSNL and the contractor.

23. BSNL'S RIGHT TO VARY QUANTUM OF WORK;

The GMTD BSNL Balasore, at the time of award of work under the contract, reserves the right to decrease or increase the work by up to 25% of the total, quantum of work specified in the schedule of requirements without any change in the rates or other terms and conditions.

24. BSNL'S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS;

The BSNL reserves the right to accept or reject any bid and to annual the bidding process and reject all bids, at any time prior to award of contract without assigning any reason what-so-sever and without thereby incurring any liability to the affected bidder or bidders on the grounds for the BSNL's action.

25. ISSUE OF LETTER OF INTENT:

25.1 The issue of letter of intent shall constitute the intention of the BSNL to enter in to the contract with the bidder. Letter of intent will be issued as offer to the successful bidder.

25.2 The bidder shall with in 21 days of issue of letter of intent, give his acceptance along with material security in conformity.

26. SIGNING OF AGREEMENT:

26.1 The signing of agreement shall constitute the award of contract on the bidder. The agreement with the successful bidder shall be signed by the BSNL with in a week of submission of material security as per clause 25.2 above.

26.2 As soon as the tender is approved by the competent authority, the Bid Security deposited by the successful bidder shall be compulsorily converted into the performance security deposit, which will be held by the BSNL till the completion of warranty period.

SECTION-IV

UNDERGROUND CABLE CONSTRUCTION SPECIFICATION

The work in this tender broadly consists of the following components:

- Excavation of cable trench & laying of U/G cable of different sizes

- Cables will be laid along the roads and streets. The route of the cable will be shown to the contractor by the SDO concerned before commencement of the work. In the city areas the trench will normally follow the footpath of the road except where it may have to come to the edge of the carriage way as well as where cutting across road with specific permission from the authorities responsible for maintenance of the road. The work involves excavation of cable trench measuring 30cm. (width) x 90 cm. depth. It also involves clearing of bushes, cutting routes of the trees that may lie along the route of the cable trench and throwing out stones and boulder that may be dug up during the process of trenching. The size of the cable trenches may be increased or decreased in some cases and in those cases, prorata rate will be allowed. However it shall be done as per the instruction of Engineer-in-charge of the work. The payment to the contractor will not related to the volume of excavated earth but only related to length of the trench in running meters and the standard depth.

- If in exceptional cases, normal depth of 90 cm can not be achieved, the site engineer is to be consulted and if required a thick layer of concreting of 150mmX150mm dimension shall be provided.

- After the trench is dug up, its bottom is to be lined with soft soil of about 10cm. thickness. Cable has to be laid on the bottom of the trench on the layer of soft soil. In some cases, more than one cable may have to be laid in the same trench .In order to avoid any damage to the cable, it is required to lay the cable carefully in the trench .In some cases, old cable may be existing in the trench .So utmost care is to be taken to avoid damage to the existing cable while digging the trench for laying new cable. After laying the cable, soft – soil of 10 cm. thicknesses is to be provided again in the trench.

- Then warning bricks are to be laid over the cable laid in the trench (for cables of 100prs and above) .The bricks should be of first class kiln burnt type. About 4 (four) bricks are to be laid on per meter of cable lengthwise in normal cases.

- Bricks should be of good quality .Bricks are to be supplied by the cable contractor.

- In the trench where a number of higher size cables are laid, bricks may have to be laid width-wise and in such cases, the work order should specifically mention the same. In that case the per meter chargeable rate for trenching etc will be the rate without bricks plus twice the difference between with bricks and without bricks.

- After laying the warning bricks, the trench is to be back filled .Excavated soil shall be used for back filling the trench. It has to be well rammed thereafter leveling.

- Where more than one cable is laid in the same trench, the jointing locations shall be suitably staggered.

- While pulling the cables through G.I. pipes / RCC pipes at Road crossings / bridges / culverts etc., proper care should be taken to avoid damage to the cable which may occur due to bend.

- The cables are to be taken through GI pipes over the wheel guard/kerb of the bridges/culverts with a thick layer of concreting of (150mmX150mm) dimensions at the proportion of 1:2:4 for crossing.

- Erection of Pillars

  - The pillars should be installed in safe places on footpath at suitable locations convenient and accessible for maintenance .The positions close to the edge of footpaths near transformers or below electric lines (particularly H.T. lines) must be avoided.

  - The plinth for erection of pillars shall be made of RCC. The dimensions of the pits for casting the foundation of the pillar plinth shall be of the size (110cms depth x 140cms width x 170 cms length). The RCC should be of the ratio 1: 2: 4.

  - The pillar should be properly earthed.

  - The pillar should be erected on the plinth by fixing it firmly with 10mm bolts embedded in RCC framework.

  - The pillar should be painted first with a primer coating of Red Oxide and then with a coating of grey paint of reputed brand on all surfaces .Sign writing should be done with white enamel paint in capital letters. The sign writing should contain the following :

  - Logo of the Department

  - Name of Telecom. Dist.

  - Pillar number

(III)  Termination of cables in MDF and Pillars: The work includes:

  - Fixing of Tag Blocks on MDF / CT Boxes on pillars.

  - Drawing cable into the pillar and removing the cable sheath for required length.

  - Providing earth continuity with the Armour of cables.

  - Termination of cable pairs in Tag blocks / CT Boxes.

  - Sign writing with white enamel paint on inner panel of the pillar shall be done indicating the termination details. On MDF the written labels should be put in place provided for indicating termination details.

(IV)  Jointing of Cables: The work involves:

- Digging the pit for the joint

- Preparation of cable ends for jointing

- Jointing of cable conductors by twisting / by use of UY connector

- Closing the joint & providing protection to the joint.

- Back filling & compacting.

The above work should be done as per the direction of Engineer-in-charge of the work.

(V) Erection of DPs: The work involves:

- Erection of post for DP

- Fitting of 40mm GI pipes on the DP post

- Fitting of Brackets on the DP post

- Fitting of DP on the post

- Termination of cable in the DP box by insertion tools.

- DISPOSAL OF EMPTY CABLE DRUMS:

The Contractor has to dispose of the empty drum after laying of cable. For that the following fixed amounts per drum will be deducted from his bill.

These are the rates of the empty cable drums which have to be deducted from contractor’s bills as per terms and conditions of the tender document.

| Sl. No. | Size of drum | Rate of disposal in Rs. |
| --- | --- | --- |
| 1. | 800 Pairs | 500.00 |
| 2. | 400 Pairs | 375.00 |
| 3. | 200 Pairs | 250.00 |
| 4. | 100 Pairs. | 150.00 |
| 5. | 50 Pairs. | 125.00 |
| 6. | 10/20 Pairs. | 75.00 |

Note: These are fixed rates and no variation shall be acceptable from these rates.

SECTION V

GENERAL (COMMERCIAL) CONDITIONS OF THE CONTRACT

1. APPLICATION:

The General conditions shall apply in contracts made by the department for the execution of cable construction works.

2. STANDARDS:-

The works to be executed under the contract shall be strictly according to the Departmental standard.

3. PRICES:

3.1 Prices charged by the Contractor for the works performed under the Contract shall not be higher from the prices quoted by the Contractor in his Bid.

3.2 Price once fixed will remain valid for the period of contract.  Increase and decrease of taxes / duties will not affect the price during this period.

4. SUBCONTRACTS:

The Contractor shall not assign, sub contract or subject the whole or any part of the works covered by the contract, under any circumstances.

5.	SECURITY:

(i) Material Security:

a. The successful tenderer will have to deposit material security, of Rs.2 lakh for each Zone in the form of bank guarantee (valid up to and including six months after, the period of the contract) from a scheduled bank and in the material security bond form provided in the bid document, section – IX.  Material Security can also be submitted in the form of Crossed Demand Draft drawn in favour of Accounts Officer (Cash), BSNL,O/O the GMTD Balasore issued by a schedule bank and payable at Balasore .  The Material Security will be a non interest bearing deposit, for any period what so ever.

b. The contractor at any point of time will not be issued stores costing more than material security.

c. The proceeds of the material security shall be payable to the department as a compensation for any loss resulting from the contractor’s failure to handle properly the material issued to him under the contract.

d. The Material Security shall be released / refunded within a fortnight from the date of the payment of the last final bill of the work under the contract or final settlement of material account whichever is later on production of “no dues certificate” from “Engineer-in-charge”.

(ii) PERFORMANCE SECURITY:

a. An amount to the tune of 8% of each running bills / final bill of the contractor will be deducted from the bill amount in addition to the sum already deposited as security deposit.

b. The proceeds of the performance security shall be payable to the department as compensation for any loss resulting from the contractor’s failure to complete its obligations under the contract.

c. The performance security deposit shall be refunded after expiry of warranty period of last work executed provided there are no recoveries to be made arising out of poor quality of work, incomplete work and/or violation of any terms and conditions of the contract as stipulated in the bid document.

d. No interest will be paid to the contractor on the security deposit.

6. ISSUE OF WORK ORDERS AND TIME LIMIT:

6.1 The contractor shall organize the work in such a way so as to deliver meaningful output of requisite quality within shortest possible time.

6.2 The work orders shall be issued by the SDO concerned under countersignature of Divisional Engineer to the contractor after examining the technical and planning details of the works to be executed.

6.3 The SDO concerned shall mention the time limit to execute the work order after seeing the quantum of work and store availability position. The department reserves the right to cancel or modify the scope of work stipulated to be carried out against the work order.

7. EXTENSION OF THE TIME LIMIT :

7.1	General

7.1.1 The time allowed for carrying out the work in each work order is to be strictly observed by the contractor and shall be counted from 7th day from the date of issue of work order.

    - In as much as “the time being deemed to be the essence of contract”, throughout the stipulated period of contract, the work is to be proceeded with all due diligence on the part of the contractor.

7.2    Application for Extension of the Time and Sanction of Extension of Time (EOT) :

7.2.1 Incase of hindrances, other than covered under force majeure, while execution of work, the contractor shall apply in writing to the engineer-in-charge for extension of time (EOT) within three days of occurrence of hindrance.  The Engineer-in-charge shall forward the request to the competent authority with his detailed report within three days of receipt of request from the contractor.  The competent authority is empowered to grant extension of time for completion of work on certain conditions.  He shall exercise such powers, if the following conditions are satisfied.

7.2.1.1 The application contains the ground(s), which hindered the contractor in execution of work.

7.2.1.2 The Engineer-in-charge is of the opinion that the grounds shown for extension of time are reasonable.

7.2.1.3 The competent authority shall consider the request keeping all the facts and circumstances in view and shall grant extension of time.

7.2.1.4 The competent authority may also grant extension of time for completion of work in cases where reasons for delay are ascribable to the contractor, but such extension of time shall be with LD charges as per clause dealing with penalty for delays in execution of works.  The extension of time with LD charges shall be issued under the signature of Divisional Engineer, O/O GMTD Balasore to grant the extension of time.

7.2.1.5 The competent authority shall grant EOT with time period for completion of work expressly mentioned. The sanction of the competent Authority of EOT shall be issued under the signature of the SDO/SDE in charge of the work.

    - If the competent authority is of the opinion that the grounds shown by the contractors are not reasonable and sufficient and declines to grant the extension of time, the contractor cannot challenge the soundness of the opinion by reference to arbitration. The decision of the competent authority on period of extension of time or refusal for extension of time shall be final and binding on the contractor.

7.3 Grant of Extension of Time without Applications:

There are, at times, practical difficulties like non-availability of materials, delay in providing permissions etc. reasons of which are ascribable to the Department.  In such cases, the Engineer-in-charge (SDO / SDE) with the approval of competent authority to sanction EOT, may issue extension of time suo moto.  The Department will, however, not be liable to the contractor for any losses or damages or expenses that the contractor may in any way suffer due to delay in making the above available.

8.	MEASUREMENTS & INSPECTION

8.1 Measurement:

8.1.1 The measurement books are to be maintained by the concerned SDOT / SDOP / SDE / JTO in charge of the work.  The entry shall be made in ink. No entry shall be erased.  If a mistake is made, it should be corrected by crossing out the incorrect words or figures and inserting the corrections, the corrections thus made shall be initialed & dated by the officer concerned.

8.1.2 Responsibility of taking and recording measurements:  The measurement of various items of work shall be taken and recorded in the measurement book issued with each work order.  The measurement shall be taken and recorded by the JTO, supervising the work.  The JTO / SDE / SDO, directly responsible for supervision of work, shall be responsible for accuracy of 100% of measurements.  The SDE / SDO where JTO is supervising officer shall be responsible for conducting test check of 20% of measurements.

8.1.3. Measurement of length of cable: The length of cables laid in trenches, through pipes and through ducts shall be measured by use of RODO Meter/Measuring Tape.  The length should be cross verified with the marking of lengths on the cables.  The lengths shall be recorded in sheet provided in the measurement book.

8.1.4 Measurement of other Items:  The measurement/numerical details of other items should also be recorded in the Measurement Book viz.

  - Construction of Plinths and Erection, Paining and Sign Writing of Pillars.

  - Termination of Cables on MDF and Pillars (Primary Cables)

  - Termination of Cables on MDF and Pillars (Distribution Cables).

8.1.5 The contractor shall sign all the measurement recorded in the measurement book.  This will be considered as an acceptance by the contractor, of measurements recorded in the MB.  In case contractor fails to attend at the measurements, then the measurements taken by the SDO / JTO shall be final and binding on the contractor.

8.1.6 The Divisional Engineer before passing the bill should  carry out test check by re-opening trench at as many locations as necessary and bills will be passed only when he is personally satisfied of the correctness of entries in the “measurement Book” and as per the terms of the contract.  The contractor shall provide the necessary assistance of labour for re-opening of trench for test check by the D.E.  Separate payment shall not be made to the contractor for excavation of such test checks; however such test pits shall not be more than 10% of the cable laying work.

8.2 Inspection, and Quality Control:

8.2.1 The Quality of Works:  The quality of U.G. cable Plant depends upon the quality of individual items of work involved viz. Depth of Cables laid, Protection, Jointing of Cables and Termination on MDF, Pillars & D.Ps.

8.2.2 The contractor(s) should be fully conversant with the construction practices and shall be fully equipped to carry out the work in accordance with the specifications.

8.2.3 In addition to the measurements being taken by SDO/DE, if GMTD Balasore reserves the right to carry out sample check measurements by another officer or by a committee to be constituted by him. The joint check measurement conducted as such shall be used as the yardstick to proportionately modify the total work measured. The contractors shall be bound, if called upon to do so, to offer the works for inspection without any extra payment. In that case the bill be corrected based on the check measurement and shall be calculated proportionately for improper depth.

9. WARRANTY:

9.1 The Cable laying and associated works like jointing etc shall be guaranteed for a period of ONE year from the date of completion of work.  In case of failure of work due to poor workmanship within the stipulated period of guarantee the contractor shall repair it at his own cost within 24 hours of informing him, failing which the department may carry out the repairs and penalty equivalent to five times of the approved rate of the work plus the cost of materials used shall be recovered from the contractor from his pending bill / SD or any amount due to him.

9.2 Replacement under warranty clause shall be made by the contractor free of all charges at site including freight, insurance, cost of works and other incidental charges.

10. PAYMENT TERMS: (Procedure for Preparation and Settlement of Bills)

10.1 The contractor shall prepare the bills in triplicate & submit the bills to SDO / SDE in-charge of work.  The bills shall be prepared accurately and as per measurements recorded in the MB.  The contractor should submit the bills duly certified by the SDO/JTO within 10 days to the Divisional Engineer, in-charge of work for test checking purpose.

10.2 The Divisional Engineer shall test check the work and accord necessary certificates on the bills and MB.  The Divisional Engineer shall send first and second copies with all documents to Works Section of Planning Cell for processing of bills and release of payment.

10.3 The work section of Planning Cell shall process the bills in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provisions in the estimate etc.  The Works Section shall scrutinize the bill & will recover all the liabilities (due to delay, store reconciliation etc) of the contractor and all taxes as applicable besides 8% payments against performance security deposit.  The bill shall be passed by the district authority. Account payee cheque for the amount passed in the bill will be issued only after the contractor gives a stamped receipt for the amount, if the bills are not pre-receipted.

10.4 In exceptional cases where work required for preferring a running bill can not be completed within reasonable time due to non availability of stores or any other reason and where the department is responsible for delay, the district authority may permit payment of running bill (prepared without completing the work end-to-end for that unit of work) to the extent of 70%. Such payment shall be treated as advance payment to the contractor.

10.5    Procedure for Payment for sub standard works:

10.5.1 The contractors are required to execute all works satisfactorily and in accordance with the specifications.  If certain item of work executed or materials supplied by the contractor for the said work is sub-standard or of a quality inferior to that contracted for, the Divisional Engineer in-charge shall make a demand in writing specifying the work, materials or articles about which there is a complaint. A notice in respect of defective work shall be given to the contractor by Divisional Engineer in-charge in writing during the progress of work asking the contractor to rectify / replace / remove the sub standard item of work and also definite time period within which such rectification / removal / replacement has to be done.  After expiry of the notice period, if the contractor fails to rectify / replace / remove the sub standard items, the defects shall be got rectified / replaced / removed departmentally or through some other agency at the risk and cost of the contractor.

10.5.2 Non-reporting of the sub standard work in time on the part of Construction Officer (s) shall not in any way entitle the contractor to claim that the defects were not pointed out during execution and as such the contractor cannot be absolved of the responsibility for sub standard work and associated liabilities.

10.5.3 Record of sub standard work:  The items adjudged as sub standard shall be entered into the measurement book with red ink.

11. DISPOSAL OF EMPTY CABLE DRUMS:

11.1 The contractor shall be responsible to dispose off the empty cable drums after laying of the cable.  The competent authority taking in to account the prevailing market rates has fixed the cost of various sizes of cable drums.  The cost of empty cable drums shall be deducted from the bill for the work on which the cable along with the drum has been issued.

11.2 The contractor shall not be allowed to dump the empty cable drums in Govt / Public place, which may cause inconvenience to Govt. /Public.

12. PENALTY CLAUSE:

12.1 Delays in the contractor’s performance:

12.1.1 The time allowed for completion of the work as entered in the tender shall be strictly adhered by the contractor and shall be deemed to be the most important aspect of the contract on the part of the contractor and shall be reckoned from Seventh day from issue of work order by the Department.  The contractor shall pay as penalty an amount equal to 1.0 (one) percent of the amount (minimum Rs. One thousand per week) for every one week of delay in completion of work, subject to a maximum of 10 (ten) percent of the cost of the work awarded.

12.1.2 On any date the penalty payable as above, reaches 10 (ten) percent of the estimated cost of the work, the contractor should proceed with the work further only on getting a written instructions from the Divisional Engineer that, he is allowed to proceed further with the work.

12.1.3 Penalty for delay in completion of the work shall be recoverable from the bills of the contractor and/or by adjustment from the security deposit or from the bills of any other contract.  However, adjustment from security deposit will be made only when the contract has been terminated or at the time of final settlement of bills on completion of work.

12.1.4 In case of slow progress of the work in a section which have been awarded to a particular contractor, and the public interest does not permit extension of time limit for completion of the work, the GMTD Balasore will have the full right to order that the scope of the contractor may be restricted to such fraction of the whole of the work and get the balance executed at the risk and cost of the contractor.  All such payments shall be recovered from the contractor’s pending bills or security deposit.

12.1.5 The GMTD Balasore reserves the right to cancel the contract and forfeit the security deposit if the contractor fails to commence the work within 7 days after issue of the work order.

12.2 Penalty for cutting / damaging the old cable: During excavation of trench utmost care is to be taken by the contractor, so that the existing underground cables are not damaged or cut.  In-case any damage / cut is done to the existing cables, a penalty as per the schedule given below will be charged from the contractor or the amount will be deducted from his running bills;

| Size of existing cables cut / damaged. | Amount of penalty per cut / damage. |
| --- | --- |
| Up to 100 pairs cable. | Rs. 500.00 (Five Hundred) |
| Above 100 pairs & up to 400 pairs | Rs.1,000.00 (One Thousand) |
| Above 400 pairs | Rs.2,000.00 (Two Thousand) |
| OFC of any size | Rs.5,000.00 (Five Thousand) |

Besides the above penalty, the contractor shall carry out such repairs for restoration of the damaged cable free of charge.  The cost of jointing kit shall also be borne by the contractor.  If contractor fails to repair the damage, the cost of repair (including cost of labour + jointing kit) shall be recovered from the contractor.

12.3 Penalty to damage stores / materials supplied by the department while laying :

12.3.1 The contractor while taking delivery of materials supplied by the Department at the designated place shall thoroughly inspect all items before taking them over.  In course of execution of the work, if any material is found damaged / working unsatisfactorily, then a penalty equivalent to the cost of material + 10% as penalty shall be recovered from the contractor’s payments / securities.

12.3.2 In case of damage to PIJF cables, while laying, the cost of number of pairs damaged (including laying charges, transportation / storage charges) adding 10% as penalty shall be recovered from the contractor’s bills / securities.

12.3.3 However, contractor will not be penalized for any defect in workmanship of the materials, which shall be taken up separately with the supplier of the stores.

13. Rescission / Termination of contract

13.1 Circumstances for rescission of contract: Under the following conditions the competent authority may rescind the contract:

1. If the contractor commits breach of any item of terms and conditions of the contract.

2. If the contractor suspends or abandons the execution of work

3. If the contractor had been asked to rectify / replace any defective work and he fails to comply with the requirement within the specified period.

13.2 Upon rescission of the contract, the security deposit of the contractor shall be liable to be forfeited and shall be absolutely at the disposal of the Department.

13.3 Measurement of Works executed since the date of last measurement and upto the date of rescission of contract shall be taken in the presence of the contractor or his authorized representative who shall sign the same in the MB.  If the contractor or his authorized representative do not turn up for joint measurement, the measurement shall be taken by the officer authorized for this purpose after expiry of due date given for joint measurement.  The measurement taken by the officer so authorized shall be final and no further request for joint measurement shall be entertained.

13.4 The unused material (Supplied by the Department) available at site, shall be transported back by the Department to the Telecom Store at the risk and cost of the contractor.

13.5 The un-executed work shall be got executed through any other qualified bidder from amongst the bidders, who participated in the bidding process and as decided by GMTD, Balasore. The Department may get the unexecuted work completed through any other contractor approved in Balasore Telecom. Dist at the approved rates of that particular section or to execute the work departmentally, at the risk and cost of the contractor.  In such a event no compensation shall be payable by the Department to the contractor for any loss caused to him by such an action by the Department.  In this regard the decision of GMTD Balasore shall be final and binding.  In all these cases, the extra expenditure incurred due to getting the work done by any other means will be borne by the contractor.

13.6 The certificate of the Divisional Engineer in-charge of work as to the value of work done shall be final and conclusive against the contractor, provided always that action shall only be taken after giving notice in writing to the contractor.

13.7 Termination for Insolvency: The Department may at any time terminate the Contract by giving written notice to the Contractor, without compensation to Contractor, if the Contractor becomes bankrupt or otherwise insolvent as declared by the competent court provided that such termination will not prejudice or affect any right or action or remedy which has accrued or will accrue thereafter to the Department.

13.8 Optional Termination by Department (Other than due default of the Contractor) :

13.8.1 The Department may, at any time, at its option cancel and terminate this contract by written notice to the contractor, in which event the contractor shall be entitled to payment for the work done up to the time of such cancellation .

13.8.2 In the event of the termination of the contract, the contractor shall forthwith clear the site of all the contractor’s materials, machinery and equipment’s and hand over possession of the work concerned to the Department.

13.8.3 The Department may, at its option, cancel or omit the execution of one or more items of work under this contract without any compensation to the contractor.

13.9 Issuance of Notice:

13.9.1 The Divisional Engineer in-charge of work shall issue show cause notice giving details of lapses, violation of terms and conditions of the contract, delays or suspension of work or slow progress to the contractor directing the contractor to take corrective action.  If the contractor fails to do so within the stipulated time, the Divisional Engineer in-charge shall submit a draft of final notice along with a detailed report to the competent authority who had accepted the contract.

13.9.2 The final notice for rescission of contract to the contractor should state the precise date and time from which the rescission would become effective.  The following safe guards shall be taken while issuing the final notice:

i.     During the period of service of notice and its effectiveness, the contractor should not be allowed to remove any material / equipment belonging to the department from the site

ii.    The contractor shall give in writing the tools and plants he would like to take away / remove from the site.

- No new construction beneficial to the contractor shall be allowed.

14. INDEMNITIES:

14.1 The contractor shall at all times hold the Department harmless and indemnify from against all action, suits, proceedings, works, cost, damages, charges claims and demands of every nature and descriptions, brought or procured against the Department , its officers and employees .In addition the contractor shall pay to the Department forthwith on demand without protect or demur all cost, charges and expenses and losses and damages otherwise incurred by it in consequences of any claim, damages and actions which may be brought against the Department arising out of or in connection with the operation covered by the contractor.

14.2 The contractor shall at his own cost at the Department’s request defend any suit or other proceeding asserting a claim covered by this indemnity, but shall not settle, compound or compromise any suit or other finding without first consulting the Department.

15. FORCE MAJEURE:

If any time, during the continuance of this contract, the performance in whole or in part by either party or any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Herein after referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance and work under the contract shall be resumed as soon as practicable after such event may come to an end or cease to exist, and the decision of the Department as to whether the work have been so resumed or not shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days either part may, at his option terminate the contract. Provided also that if the contract is terminated under this clause, the Department shall be at liberty to take all unused, undamaged and acceptable materials, bought out components and stores from the contractor at a price fixed by the Department, which shall be final.

16. Disputes and Arbitration:

In the event of any doubt, dispute or differences arising under this Tender agreement or in connection wherewith except as to matters the decision on which is specifically provided under the terms and conditions of this Tender, the same shall be referred to the sole arbitration of the General Manager Telecom District, Balasore or any other person appointed by him as the Arbitrator.

- No objection to any such appointment on the ground that the arbitrator is a BSNL servant shall be entertained, the arbitrator will not be a person who had an opportunity to deal with the matter to which the agreement relates to or that in the course of his/her duties has expressed his/her view. On all or any of the matters in dispute or in difference.

- The Awards of the arbitrator shall be final and binding on the parties.

- In the event of such arbitrator, to whom the matter was originally referred to, being transferred or vacating his office due to death, resignation, or refusal to work or neglecting his work or being unable to act as a arbitrator for any reason whatsoever, the General Manager Telecom District, Balasore, shall appoint another person to act as the Arbitrator in place of the outgoing arbitrator in accordance with the terms of the contract agreement and the person so appointed shall be entitled to proceed with the reference from the stage at which it was left by his predecessor.

- The arbitrator may, from time to time, with the consent of parties, enlarge the time for making and publishing the award of arbitration. Upon any such reference, the assessments of the costs incidental to the reference and award respectively shall be in the discretion of the arbitrator.

- All incidental expenses in the arbitration proceeding will be born by the party as decided by the arbitrator.

- Subject to the aforesaid provisions, the arbitrator Act, 1940 and the rules made there under and any stipulation/modification for the time being force shall be deemed to apply to the arbitration proceedings.

- The venue of the arbitrator proceedings will be decided by the arbitrator, however it will be in a locality within the jurisdiction of GMTD.

- The court in the city of Balasore alone shall have the jurisdiction to entertain any application or any other proceedings in respect of dispute arising under this agreement.

- Case against any award/ Awards made by the sole arbitrator hereunder shall be filed in the concerned Court in the city of Balasore only.

SECTION VI

SPECIAL CONDITIONS OF CONTRACT

1.   GENERAL:

1.1 The BSNL reserves the right to disqualify such bidders who have a record of not meeting contractual obligations against earlier contracts entered into with the BSNL.

1.2 The BSNL reserves the right to black list a bidder for a suitable period in case he fails to honour his bid without sufficient grounds.

1.3 The BSNL reserves the right to counter offer price(s) against price(s) quoted by any bidder.

1.4 Any clarification issued by BSNL, in response to query raised by prospective bidders shall form an integral part of bid documents and it may be treated as an amendment to the bid documents.

1.5 Tender will be evaluated as a single package of all the items given in the price schedule.

1.6 All work to be executed under the contract shall be executed under the direction of the Divisional Engineer or SDO/SDE in-charge of work site.

1.7. If the contractor shall desire an extension of time for completion of the work on the grounds of unavoidable hindrance in execution of work or on any other ground he shall apply in writing to the Divisional Engineer within 3 days of the date of hindrance on account of which he desires such extension as aforesaid. In this regard the decision of GMTD, BALASORE shall be final.

1.8 If at any time after the commencement of the work, the BSNL may feel that execution of whole or part of work, as specified in the tender is not required to be carried out, then the BSNL shall give notice in writing to the contractor who shall have no claim to any payment of compensation neither shall he have any claim for compensation by reason of any alterations having been made in the original specifications, drawings, designs and instructions which shall involve any curtailment of the work as originally contemplated.

1.9  Whenever any claims against the contractor for the payment of a sum of money arises out of or under the contract, the BSNL shall be entitled to recover such sum in part or whole from the security deposit of the contractor or running / Final bill pending against any contract with the BSNL. In the event of the security being insufficient, then the balance or the total sum recoverable, shrill be deducted from any sum then due or which at any time there after may become due to the contractor under this or any other contract with BSNL. Should this sum be not sufficient to cover the full amount recoverable, the contractor shall pay to BSNL on demand the balance dues.

1.10 No  official  of Gazetted rank or other Gazetted officer employed  in Engineering or administrative duties in an Engineering BSNL or any other BSNL of the Government of India is allowed to work as a contractor for a period of two years after his retirement from Government service without the previous permission of Government of India.  This contract is liable to be cancelled if either the contractor or any of his employees is found at any time to be such a person who hadn't obtained the permission of Government of India as aforesaid before submission of the engagement in the contractor's service as the case may be.

1.11  In the event of the contractor being, adjusted insolvent or going voluntarily into liquidation of having received order or other order under insolvency act made against him or in the event of the ' contractor failing to comply with any of the conditions herein specified. The GMTD BALASORE shall have the power to terminate the contract without any notice.

1.12 Without prejudice to any of the rights or remedies under this contract, if the contractor dies, the GMTD BALASORE on behalf of the CMD, BSNL can terminate the contract without compensation to the contractor. However GMTD.BALASORE, at his discretion may permit contractor's heirs to perform the duties or engagements of the contractor under the contract, in case of his death. In this regard the decision of GMTD, Balasore shall be the final.

1.13 As per Govt. of India’s CCS conduct rule-4, no Govt. servant shall in the discharge of his official duties deal with any matter or sanction any contract to any company or for any other person. If any member of his family is employed in that company or firm or under that person or if he or any member of his family is interested in such matter or contract in any other manner and the Govt. servant shall refer every such matter or contract to his superior official. This clause is applicable to all BSNL employees and in view of this, as soon as any BSNL employee becomes aware of the above aspect; his must intimate this to the prescribed authority. For non-executive employees this authority is SSA head/ Circle head/ Chief Engineer/ Chief Architect/ Corporate office under whom he is posted. For executive employees the prescribed authority for this purpose is Circle head/ Chief Engineer/ Chief Architect/ Corporate office under whom he is posted.

1.14 Interpretation of the contract document;

1.14.1 The representative of GMTD, BALASORE and the contractor shall in so far as possible by mutual consultation, try to decide upon the meaning and intent of the contract document. In case of disagreement the matter shall be referred to GMTD, BALASORE whose decision shall be final.

1.15 Shut down on account of weather conditions,

1.15.1 The contractor shall not be entitled to any compensation if the whole or any part of the work is suspended due to bad weather conditions or other Force Majeure conditions.

2.  STORES SUPPLIED BY THE BSNL:

2.1 At no point of time the contractor shall be issued stores of more than the actual requirement.

2.2    The contractor shall transport (including loading and unloading) all stores issued to him from the Store of SDO concerned, to the site of work at his own cost.  The BSNL shall not pay any transportation charges to the contractor.

2.3    All stores supplied to the contractor by the BSNL shall remain the absolute property of BSNL and shall not be removed from site of the work except for use in the work and shall be at all times open to inspection by the Representative of GMTD, BALASORE.   Any such stores remaining unused at the time of the abandonment, completion or determination of the contract, shall be returned to the BSNL, failing which the cost of the unused stores shall be deducted from the contractor's Material security or any of his pending bills.

2.4 The contractor shall be responsible for the transportation of store, storage and safe custody of all stores supplied to him by the BSNL, which in the contractor's custody whether, or not installed in the work.

2.5 The contractor shall submit a proper account every month of all the stores supplied to him by the BSNL and those consumed for items of work .Any discrepancy or difference between the stores issued to the contractor and those consumed in the work as per the "BSNL's calculation" (which shall be final) will be charged to the contractor or deducted from his bills at 1.5 times of prevailing standard price including freight, handling charges etc.

2.6 The contractor shall ensure that only the required stores are issued to him. After completion of work, the contractor shall return any unused performances that were supplied by the BSNL.

3.   EASEMENTS. PERMITS. LICENCES AND OTHER FACILITIES;

3.1 The contractor shall obtain / provide at his own cost all easements, permits and license necessary to do its work along / across all type roads, highways, railway & canal / stream crossings. However, the representative of GMTD, Balasore will make necessary correspondence with the concerned authority for obtaining permit.

3.2 The contractor shall be fully responsible obtaining all necessary easements, permits and licenses, for moving construction equipment, tools, supplied performances and men across Railways and Highways, across public or private road as well as premises of any public utility within the right of user and for bearing all costs that may be incurred in respect of the same.

3.3    The contractor will not be entitled to extra compensation for hardship and increase in cost by the cable trench being routed adjacent to or across other pipeline, Highways, Railways, telephone poles and wires or guy wires, embankments, cliffs, streams or other obstacles which may , in any manner, restrict or limit the use of the construction "Right of User".

3.4 At location where the u/g Cable trench is routed across or along railways or roads the contractor shall without extra cost provide and maintain such detours and road controls as are required by the Railways BSNL or local agencies having jurisdiction.

3.5 If the BSNL is not able to provide above mentioned permits etc.   In time then the extension of time limit shall be provided as per EOT clause given in tender document.

4.  QUALITY OF WORK;

The BSNL shall be the final judge of the quality of the work. The representative of GMTD, BALASORE has the right to prohibit the use of men and any tools, performances and equipment which in his opinion do not produce work or performance to meet the requirement of the contract documents.

5.  TAXES AND DUTIES:

Contractor shall pay all rates, levies, fees royalties, taxes and duties payable or arising from out of, by virtue of or in connection with the contract.

6. PROTECTION OF LIFE AND PROPERTY AND EXISTING FACILITIES;

6.1 The contractor is fully responsible for taking all possible safety precaution during preparation and actual performance of the works and for keeping the construction site in a reasonable safe condition.   The contractor shall protect all life and property from damage or losses resulting from his construction operations and shall minimize the disturbance and inconvenience to the public. The tenderer will be responsible for any accident due to negligence in precautionary measures.

6.2 If the u/g trench alters the contours of the ground around road and highway crossing in such locations dangerous to traffic, the contractor shall at his own cost, take all necessary precautions to protect public and shall place   warning boards (Minimum size 3' x 2'), traffic signals, barricades, flags etc., at such location. If the contractor does not put the warning signal as per above directions, then a penalty of Rs.500/- per day shall be levied on the contractor till the directions are complied by the contractor.

6.3 The contractor shall take due precautions to avoid damages to other pipe lines, water mains, sewers, telephones, telegraphs and power conduits, laid wires poles and guy wires, railways, highways, bridges or other underground or above ground structure and/or property crossing or adjacent to the cable trench being excavated.

6.4 Attention of the contractor is drawn to the rules regarding laying of cables at road crossing, along Railways Bridges, Highways safety precautions while working in Public Street.   The contractor in writing shall obtain the detailed engineering instructions from the Divisional Engineer of the area.

6.5    The contractor shall be solely responsible for location through approved non-destructive means and ensuring the safety of all existing underground pipeline, electrical cables, and or other structures.

6.6   The contractor shall be solely liable for all expense for and in respect of repairs /or damage occasioned by injury of / damage to such underground structures or other properties arid undertake to indemnify the Department from and against all actions. The current market value of any commodities lost as a result of any damage to the   aforesaid existing facilities shall be paid by the contractor together with such additional sums necessary to liquidate the personal of property damages, resulting there from.

7.    OBSERVANCE OF LABOUR LAWS.

7.1 Labour Licence: The contractor should have valid labour license under the Contract Labour (R & A) Act 1970 and the Contract Labour (Regulation and Abolition) Central Rules 1971 and should abide by the requirements of such act. He has to produce the same to the concerned authority before commencement of the work failing which the relevant work order will be cancelled.

7.2 The contractor shall comply with all provisions of the ‘Payment of wages Act’ 1936, minimum wages Act 1948, Employees liability Act 1938, Workmen compensation Act 1923, Industrial Disputes Act 1947, Maternity benefit Act 1961 and contractor labour (Regulation and abolition) Act 1970 or the modifications thereof or any other laws relating thereto and the rules made there under from time to time. The contractor shall indemnify BSNL against payments to be made for the observance of the laws aforesaid.

7.3 All the amenities to the labourers such as drinking water, washing facilities should be provided by the contractor at his own cost at the work spot as required under Contract Labour (R &A) Act, 1970.

7.4 The contractor shall be responsible for and shall pay any compensation to his workmen payable under the workmen’s compensation Act, 1992 for injuries caused to the workmen. If such compensation is paid by the BSNL as principal employer under Section (1) of the Section 12 of the said Act, such compensation will be recovered from the security deposit or any account due from the contractor on any account or otherwise.

7.5 BSNL, Balasore office shall not be responsible for any form whatsoever, if during the course of discharging of duty, any person employed by the contractor suffers from any damage or injury during the stay inside/outside the campus of this office or is put to any hardship or suffers any damage in any form whatsoever.

  - The contactor will be responsible for the safety and security to the skilled and unskilled labours employed by him for execution of work.

  - Contractor shall make ESI and EPF payment of both employees and employers contributions as per the EPF and ESI rules to the concerned authority and shall produce the receipt / challans to the GMTD, Balasore.

8. Payment of Wages:

8.1 The contractor shall fix wage periods in respect of which wages shall be payable.

8.2 No wage period shall exceed one month.

8.3 Where the employment of any worker is terminated by or on behalf of the contractor, the wages earned by him shall be paid before the expiry of the second working day from the date on which his employment is terminated.

  - Wages due to every worker shall be paid to him direct or to other person authorized by him on his behalf.

8.5 Wages shall be paid without any deductions of any kind except those specified by the Central Government by general or special order in this behalf or permissible under the Payment of Wages Act 1956.

9. Fines and deductions, which may be made from wages.

9.1 The wages of a worker shall be paid to him without any deduction of any kind except the following:

- Fines.

- Deductions for absence from duty. The amount of deduction shall be in, proportion to the period for which he was absent.

- Deductions for damage to or loss of goods expressly entrusted to the employed person for custody, where such damage or loss is directly attributable to his neglect or default.

- Deduction for recovery of advances or for adjustment of overpayment of wages.

- Any other deduction, which the Central Government may allow from time to time.

9.2 No fine shall be imposed on a worker and no deduction for damage or loss shall be made from his wages until the worker has been given an opportunity of showing cause against such fines or deductions.

10.	Labour records

10.1 The contractor shall maintain Register of Persons employed on work on contract in Form XIII of     the Contain* Labour (R & A) Central Rules 1971.

10.2 The contractor shall maintain a Wage Register in respect of all workmen employed by him on the work under contract in Form XVII of the CL (R & A) Rules 1971.

10.3   Register of accidents – The contractor shall maintain a register of accidents at the work place and the same shall include the following particulars:

- Full Particulars of the labourers who met with accident,

- Rate of Wages,

- Sex.

- Age.

- Nature of accident and cause of accident,

- Time and date of accident,

- Date and time when admitted in hospital.

viii.   Date of discharge from the hospital.

ix.      Period of treatment and result of treatment.

- Percentage of loss of earning capacity and disability as assessed by Medical Officer,

- Claim requited to be paid under Workmen’s Compensation Act.

- Date of payment of compensation.

xiii.   Amount paid with details of the person to whom the same was paid,

xiv.  	Authority by whom the compensation was assessed,

  - The contractor shall maintain a Register of Fines in the Form XII of the CL (R & A) Rules 1971.  The contractor shall display in a good condition and in a conspicuous place of work the approved list of acts and omission for which fines can be imposed.

10.5 The contractor shall maintain a Register of deductions for damage or loss in Form XX of the CL (R &A) Rules’ 1971.

  - The contractor shall maintain a Register of Advances in Form XXIII of the CL (R & A) Rules 1971.

  - The contractor shall maintain a Register of Overtime in Form XXIII of the CL (R & A) Rules 1971.

11. Attendance card-cum wage slip

  - The contractor shall issue an Attendance.

  - The card shall be valid for each wage period.

  - The contractor shall mark the attendance of each workman on the card twice each day.

  - The card shall remain in possession of the worker during the wage period under reference.

  - The contractor shall complete the wage slip portion on the reverse of the card at least a day prior to the disbursement of wages.

  - The contractor shall obtain the signature or thumb impression of the worker on the wage slip at the time of disbursement of wages and retain the card with him.

12. COMPLIANCE WITH LAWS AND REGULATION;

During the performance of the works the contractor shall at his own cost and initiative fully comply with all applicable laws of the land and with any and all applicable by-laws, rules, regulations etc. The contractor shall assume full responsibility for the payment of all contributions and pay roll taxes, as to its employees, servants or agents engaged in the performance of the work specified in the contractor documents.

SECTION VII

SCOPE OF WORK AND JURISDICTION OF CONTRACT

1.1	MAIN CABLE CONSTRUCTION ACTIVITIES:  The items of work involved in UG cable construction are as under:-

    - Excavation of trench l according to the construction specifications.

    - Laying and Pulling of Cables in Trenches.

    - Placing of Bricks as per specifications.

    - Back filling and compacting of the excavated trenches according to construction specifications and removal of excess earth from the site.

    - Construction of pillar foundations, erection, painting and sign writing of pillars.

    - Erection of external and internal DPs.

    - Termination of cables in MDF, Pillars and DPs.

    - Jointing and end-to-end Testing of Cables.

1.2 ALLIED ACTIVITIES:

1.2.1 Transportation of Materials: The materials required for executing the work entrusted to the contractors against a work order shall be made available at Sub divisional store Depot.  The contractor shall be responsible for transporting the materials to execute the work under the contract, to site at his own cost.  The costs of transportation are subsumed in the standard Schedule Rates and therefore no separate charges are payable on this account.

1.2.2 Disposal of Empty Cable Drums: The contractor shall be responsible to dispose of the empty cable drums after laying of the cables.

1.2.3 Supply of Materials: There are some materials required to be supplied by the contractor for execution of works under this contract like Bricks, Cement, etc., besides using other consumables.  The contractor shall ensure that the materials supplied are of best quality and workmanship and shall be strictly in accordance with the specifications.

1.2.4 VALUE OF WORK:  The estimated cost of work is as mentioned in the Notice Inviting Tenders which has been worked out based on standard scheduled rates. The actual value of work may vary based on the actual requirement but generally being limited to + / - 25% of the indicated value.

3. JURISDICTION OF CONTRACT: The jurisdiction of the contract shall be for Zone-wise.  The Telephone Exchange areas in different zones shall be as under.  If any additional telephone exchange is planned, the same shall be included in the zone in the vicinity of concerned exchange keeping in view the logistics of carrying out the work.

| Zone No. | Exchanges in the Zone |
| --- | --- |
| I | Exchange areas under SDOT Chandbali |
| II | Exchange areas under SDOT & SDOP Bhadrak |
| III | Exchange areas under SDOT Soro. |
| IV | Exchange areas under SDOT Balasore & SDOP-I/SDOP-II Balasore. |
| V | Exchange areas under SDOT Basta |
| VI | Exchange areas under SDOT Jaleswar |

SECTION VIII

Certificate for non-participation of near relatives of BSNL employee in the tender

I……………………………………………………………………Sri……..…………………………………………….………………………S/o-…………………………………………………..……………………At-……………………………………..……………..…….Po-………………………………………..Dist-……………………………………………… hereby certify that none of my relatives as defined in the tender document is/ are employed in BSNL as per details given in the tender documents. In case at any stage it is found that the information given by me is false/ incorrect, BSNL shall have the absolute right to take any action as deemed fit without any prior intimation to me.

Note: The near relatives for this purpose are defined as:

A. Members of a Hindu Undivided family.

B. They are husband and wife.

C. The one is related to the other in the manner as father, mother, son (s) and son’s wife (daughter in law), Daughter (s) and daughter’s Husband (son in law),

Brother (s) & brother’s wife, sister (s) and sister’s husband (Brother in law).

Signature of the tenderer

SECTION – IX

MATERIAL SECURITY BOND FORM

Whereas…………….(hereinafter called “the Contractor”) has been awarded the contract of cable construction work, as per tender number ____________________________________ KNOW ALL MEN by these presents that WE…………OF………. Having our registered office at _______________________________ (hereinafter called the “the Contractor”) are bound unto ………………….. (Hereinafter called “the BSNL Balasore”) in the sum of ………………. For which payment will and truly to be made of the said BSNL Balasore, the Bank binds itself, its successors and assigns by these presents.

THE CONDITIONS of the obligation are:

1.			If the Contractor is unable to keep stores issued to him, properly, i.e. the store   provided to the contractor, by the BSNL Balasore are damaged or

2. 			 The stores issued to the contractor by the BSNL Balasore are stolen or

3. 			The Contractor is not able to provide proper account of the stores issued to him/her/them by the BSNL Balasore.

We undertake to pay to the BSNL Balasore up to the above amount upon receipt of its first written demand without the BSNL Balasore having to substantiate its demand, provided that in its demand, the BSNL Balasore will note that the amount claimed by it is due to it owing to the occurrence of one or two or all of three conditions specifying the occurred condition or conditions.

This guarantee will remain in force up to and including One hundred and eighty (180) days after the Period of Contract validity, and any demand in respect there of  should reach the Bank not later than the above date.

Signature of the Bank

Signature of the Witness.

Name of Witness.

Address of Witness.

SECTION – X

AGREEMENT

The successful tenderer shall have to execute the following agreement;

The agreement made on this _______________________________ day of month)__________

(Year)___________________________________between M/s _________________________  _______________________________________________________________herein after called "The Contractor"  of the one part & the GMTD Balasore on behalf of CMD,BSNL  here in after referred to as the Department, of other part for the NIT No: N-5/09-10/2 dated 12.05.09.                 .

Where as the contractor has offered to enter into contract with the said Department for the execution of work of trenching & laying under ground telephones cable, cable jointing, pillar construction DP fitting etc in Balasore Telecom. Dist.  on the terms and conditions herein contained and the rates approved by the Department (copy of Rates annexed) have been duly accepted and where as the necessary security deposits have been furnished in accordance with the provisions of the tender document and whereas no interest will be claimed on the security deposits.

Now these represent witness and it is hereby agreed and declared by and between the parties to these presents as follows.

1)	The contractor shall, during the period of this contact that is to say from ……………..

…………………………… to ………………………… or completion of work for Rs.__________________________________(In words) _____________________whichever is earlier or until this contact shall be determined by such notice as is hereinafter mentioned, safely carryout, by means of labours employed at his own expenses and by means of tools, implements and equipment etc. to be supplied by him to his labour at his own expenses, all trenching, cable laying, cable jointing, pillar construction, DP fitting and other associated works as described in tender documents (annexed to the agreement), when BSNL Balasore or any other persons authorized by GMTD,Balasore in that behalf require.  It is understood by the contractor that the quantity of work mentioned on the schedule is likely to change as per actual requirements as demanded by exigencies of service.

2)	The NIT (Notice Inviting Tender), Bid documents (Qualifying and Financial), letter of intent, approved rates, annexed hereto and such other additional particulars, instructions, drawings, work orders as may be found requisite to be given during execution of the work shall be deemed and taken to be an integral part of the contract and shall also be deemed to be included in the expression “The Agreement” or “The Contract” wherever herein used.

3)	The contractor shall also supply the requisite number of workmen with means & materials as well as tools, appliances, machines, implements, vehicles for transportation, cartage tc. required for the proper execution of work within the time prescribed in the work orders.

4)	The contractor hereby declares that nobody connected with or in the employment of the Department of Telecommunications / DTS is not / shall not ever be admitted as partner in the contract.

5)	The contractor shall abide by the terms and conditions, rules, guidelines, construction practices, safety precautions etc. stipulated in the tender document including any correspondence between the contractor and the Department having bearing on execution of work and payments of work to be done under the contract.

In witness whereof the parties present have here into set their respective hands and seals the day and year in _____________________.

Above written:

Witness:

1.

2.

Witness :

1.

2.

SECTION – XI

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number _______________________________________________________________

Subject:  Authorisation for attending bid opening on ___________________________(date) in the tender of _________________________________________________________.

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of _______________________________________ (Bidder) in order of preference given below.

Order of Preference				Name			Specimen Signatures

I

II

Alternate

Representative

Signature of bidder

Or

Officer authorized to sign the bid

documents on behalf of the bidder.

No.	1.	Maximum of one representative will be permitted to attend bid opening.

2.	Permission for entry to the hall where bids are opened, may be refused in case authorization as prescribed above is not recovered.

BHARAT SANCHAR NIGAM LIMITED,

(A Government of India Enterprise)

O/o the General Manager Telecom District,

Balasore-756001.

Tender document for under ground cable laying

works in different Zones under Balasore SSA

FINANCIAL BID

DOCUMENTS

TENDER NO: N-5/09-10/2, dated 12-05-2009.

Price Bid Form

To

The GMTD, BSNL, BALASORE

Subject: Our Financial Bid for u/g Cable construction work for Zone- I

| Sl. No. | Particulars | Approximate quantum of work | Unit | Unit rate quoted |
| --- | --- | --- | --- | --- |
|  |  |  |  | In figures | In words |
| 01 | Excavation of trenches at 30 cm width X90 cm depth including back filling, compacting (after laying of cables) and removing excess soil from the site. |  |  |  |  |
|  | i. W/O Bricks(Rural) | 20kms | Per meter |  |  |
|  | ii. With bricks(Rural) | 4kms | Per meter |  |  |
|  | iii. W/o bricks (Urban) | 4 Kms | Per meter |  |  |
|  | iv. With bricks (Urban) | 1 Kms | Per meter |  |  |
| 02 | Road cutting along cement and pitch roads including barricade, putting caution boards, laying, fixing and sealing of RCC pipes across the road crossing and pulling cable through the RCC pipe and back filling. | 1km | Per meter |  |  |
| 03 | Laying of cables i) Up to 100 pairs ii)200 pairs and above | 25kms 5kms | Per meter |  |  |
| 04 | Road boring and inserting 100/150 Mm dia GI pipes only in specific cases where road cutting is not Permitted. i)Road crossing ii)Rail crossing | 300mts 100mts | Per meter |  |  |
| 05 | Concreting with 1:2:4 proportions with 150mm widthX150mm depth over the bridges and culverts etc. | 22.5 cum | Per cum |  |  |
| 06 | Errection of pillars including painting and sign writing up to 1000pairs | 5 nos | Per Pillar |  |  |
| 07 | Termination of cable i)CT Box/Pillar ii)MDF | 80 nos 50nos | Per CT Box |  |  |
| 08 | Cable jointing 1. 10 pair 20pair 50 pair 100pair 200pair 400 pair 800 pair | 50nos 40 nos 30 nos 10nos 4nos - - | Per joint |  |  |
| 09 | DP errection including painting and Sign writing i)External (10pr)with fitting of post. ii)Internal(10pr)without post fitting with concreting in the wall. | 100nos 20nos | Per DP |  |  |

No transportation charges will be claimed for transporting u/g Cables and accessories supplied from Sub   divisional stores of concerned SDO.

Certificate for acceptance of terms & conditions of Tender document:

“I / We hereby certify that I / We have gone through the Tender Document and, having understood all the terms & conditions and work descriptions, hereby express my / our acceptance of all the terms & conditions specified in the Tender Document.” I/ We further agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon me/us and may be accepted at any time before the expiry of that period.

Date: - 				        (Signature of CONTRACTOR)
		               or his authorised representative with seal)

TENDER NO: N-5/09-10/2, dated 12-05-2009.

Price Bid Form

To

The GMTD, BSNL, BALASORE

Subject: Our Financial Bid for u/g Cable construction work for Zone- II

| Sl. No. | Particulars | Approximate quantum of work | Unit | Unit rate quoted |
| --- | --- | --- | --- | --- |
|  |  |  |  | In figures | In words |
| 01 | Excavation of trenches at 30 cm width X90 cm depth including back filling, compacting (after laying of cables) and removing excess soil from the site. |  |  |  |  |
|  | i. W/O Bricks(Rural) | 43kms | Per meter |  |  |
|  | ii. With bricks(Rural) | 6kms | Per meter |  |  |
| 02 | Road cutting along cement and pitch roads including barricade, putting caution boards, laying, fixing and sealing of RCC pipes across the road crossing and pulling cable through the RCC pipe and back filling. | 1km | Per meter |  |  |
| 03 | Laying of cables i) Up to 100 pairs ii)200 pairs and above | 44kms 6kms | Per meter |  |  |
| 04 | Road boring and inserting 100/150 Mm dia GI pipes only in specific cases where road cutting is not Permitted. i)Road crossing ii)Rail crossing | 300mts 100mts | Per meter |  |  |
| 05 | Concreting with 1:2:4 proportions with 150mm widthX150mm depth over the bridges and culverts etc. | 22.5 cum | Per cum |  |  |
| 06 | Errection of pillars including painting and sign writing up to 1000pairs | 15 nos | Per Pillar |  |  |
| 07 | Termination of cable i)CT Box/Pillar ii)MDF | 180 nos 110 nos | Per CT Box |  |  |
| 08 | Cable jointing 10 pair 20pair 50 pair 100pair 200pair 400 pair | 110nos 90nos 60nos 30nos 10nos - | Per joint |  |  |
| 09 | DP errection including painting and Sign writing i)External (10pr)with fitting of post. ii)Internal(10pr)without post fitting with concreting in the wall. | 210nos 60nos | Per DP |  |  |

No transportation charges will be claimed for transporting u/g Cables and accessories supplied from Sub divisional stores of concerned SDO.

Certificate for acceptance of terms & conditions of Tender document:

“I / We hereby certify that I / We have gone through the Tender Document and, having understood all the terms & conditions and work descriptions, hereby express my / our acceptance of all the terms & conditions specified in the Tender Document.” I/ We further agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon me/us and may be accepted at any time before the expiry of that period.

Date: - 				        (Signature of CONTRACTOR)
		               or his authorised representative with seal)

TENDER NO: N-5/09-10/2,  dated  12-05-2009.

Price Bid Form

To

The GMTD, BSNL, BALASORE

Subject: Our Financial Bid for u/g Cable construction work for Zone- III

| Sl. No. | Particulars | Approximate quantum of work | Unit | Unit rate quoted |
| --- | --- | --- | --- | --- |
|  |  |  |  | In figures | In words |
| 01 | Excavation of trenches at 30 cm width X90 cm depth including back filling, compacting (after laying of cables) and removing excess soil from the site. |  |  |  |  |
|  | i. W/O Bricks(Rural) | 55kms | Per meter |  |  |
|  | ii. With bricks(Rural) | 5kms | Per meter |  |  |
|  | iii. W/o bricks (Urban) | 7 Kms | Per meter |  |  |
|  | iv. With bricks (Urban) | 2 Kms | Per meter |  |  |
| 02 | Road cutting along cement and pitch roads including barricade, putting caution boards, laying, fixing and sealing of RCC pipes across the road crossing and pulling cable through the RCC pipe and back filling. | 1km | Per meter |  |  |
| 03 | Laying of cables i) Up to 100 pairs ii)200 pairs and above | 63kms 7kms | Per meter |  |  |
| 04 | Road boring and inserting 100/150 Mm dia GI pipes only in specific cases where road cutting is not Permitted. i)Road crossing ii)Rail crossing | 500mts 200mts | Per meter |  |  |
| 05 | Concreting with 1:2:4 proportions with 150mm widthX150mm depth over the bridges and culverts etc. | 45 cum | Per cum |  |  |
| 06 | Errection of pillars including painting and sign writing up to 1000pairs | 15 nos | Per Pillar |  |  |
| 07 | Termination of cable i)CT Box/Pillar ii)MDF | 200 nos 120nos | Per CT Box |  |  |
| 08 | Cable jointing 1. 10 pair 20pair 50 pair 100pair 200pair 400 pair 800 pair | 150nos 100 nos 60 nos 30nos 10nos - - | Per joint |  |  |
| 09 | DP errection including painting and Sign writing i)External (10pr)with fitting of post. ii)Internal(10pr)without post fitting with concreting in the wall. | 230nos 70nos | Per DP |  |  |

No transportation charges will be claimed for transporting u/g Cables and accessories supplied from Sub   divisional stores of concerned SDO.

Certificate for acceptance of terms & conditions of Tender document:

“I / We hereby certify that I / We have gone through the Tender Document and, having understood all the terms & conditions and work descriptions, hereby express my / our acceptance of all the terms & conditions specified in the Tender Document.” I/ We further agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon me/us and may be accepted at any time before the expiry of that period.

Date: - 				        (Signature of CONTRACTOR)
		               or his authorised representative with seal)

TENDER NO: N-5/09-10/2, dated 12-05-2009.

Price Bid Form

To

The GMTD, BSNL, BALASORE

Subject: Our Financial Bid for u/g Cable construction work for Zone- IV

| Sl. No. | Particulars | Approximate quantum of work | Unit | Unit rate quoted |
| --- | --- | --- | --- | --- |
|  |  |  |  | In figures | In words |
| 01 | Excavation of trenches at 30 cm width X90 cm depth including back filling, compacting (after laying of cables) and removing excess soil from the site. |  |  |  |  |
|  | i. W/O Bricks(Rural) | 38kms | Per meter |  |  |
|  | ii. With bricks(Rural) | 2kms | Per meter |  |  |
|  | iii. W/o bricks (Urban) | 7 Kms | Per meter |  |  |
|  | iv. With bricks (Urban) | 2 Kms | Per meter |  |  |
| 02 | Road cutting along cement and pitch roads including barricade, putting caution boards, laying, fixing and sealing of RCC pipes across the road crossing and pulling cable through the RCC pipe and back filling. | 1km | Per meter |  |  |
| 03 | Laying of cables i) Up to 100 pairs ii)200 pairs and above | 46kms 4kms | Per meter |  |  |
| 04 | Road boring and inserting 100/150 Mm dia GI pipes only in specific cases where road cutting is not Permitted. i)Road crossing ii)Rail crossing | 300mts 100mts | Per meter |  |  |
| 05 | Concreting with 1:2:4 proportions with 150mm widthX150mm depth over the bridges and culverts etc. | 22.5 cum | Per cum |  |  |
| 06 | Errection of pillars including painting and sign writing up to 1000pairs | 10 nos | Per Pillar |  |  |
| 07 | Termination of cable i)CT Box/Pillar ii)MDF | 160 nos 90nos | Per CT Box |  |  |
| 08 | Cable jointing 1. 10 pair 20pair 50 pair 100pair 200pair 400 pair 800 pair | 90nos 70 nos 40 nos 30nos 10nos 6nos 2nos | Per joint |  |  |
| 09 | DP errection including painting and Sign writing i)External (10pr)with fitting of post. ii)Internal(10pr)without post fitting with concreting in the wall. | 210nos 50nos | Per DP |  |  |

No transportation charges will be claimed for transporting u/g Cables and accessories supplied from Sub   divisional stores of concerned SDO.

Certificate for acceptance of terms & conditions of Tender document:

“I / We hereby certify that I / We have gone through the Tender Document and, having understood all the terms & conditions and work descriptions, hereby express my / our acceptance of all the terms & conditions specified in the Tender Document.” I/ We further agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon me/us and may be accepted at any time before the expiry of that period.

Date: - 				        (Signature of CONTRACTOR)
		               or his authorised representative with seal)

TENDER NO: N-5/09-10/2, dated 12-05-2009.

Price Bid Form

To

The GMTD, BSNL, BALASORE

Subject: Our Financial Bid for u/g Cable construction work for Zone-V

| Sl. No. | Particulars | Approximate quantum of work | Unit | Unit rate quoted |
| --- | --- | --- | --- | --- |
|  |  |  |  | In figures | In words |
| 01 | Excavation of trenches at 30 cm width X90 cm depth including back filling, compacting (after laying of cables) and removing excess soil from the site. |  |  |  |  |
|  | i. W/O Bricks(Rural) | 30kms | Per meter |  |  |
|  | ii. With bricks(Rural) | 4kms | Per meter |  |  |
| 02 | Road cutting along cement and pitch roads including barricade, putting caution boards, laying, fixing and sealing of RCC pipes across the road crossing and pulling cable through the RCC pipe and back filling. | 1km | Per meter |  |  |
| 03 | Laying of cables i) Up to 100 pairs ii)200 pairs and above | 31kms 4kms | Per meter |  |  |
| 04 | Road boring and inserting 100/150 Mm dia GI pipes only in specific cases where road cutting is not Permitted. i)Road crossing ii)Rail crossing | 300mts 100mts | Per meter |  |  |
| 05 | Concreting with 1:2:4 proportions with 150mm widthX150mm depth over the bridges and culverts etc. | 22.5 cum | Per cum |  |  |
| 06 | Errection of pillars including painting and sign writing up to 1000pairs | 10 nos | Per Pillar |  |  |
| 07 | Termination of cable i)CT Box/Pillar ii)MDF | 160 nos 90 nos | Per CT Box |  |  |
| 08 | Cable jointing 10 pair 20pair 50 pair 100pair 200pair 400 pair | 95nos 70nos 40nos 20nos 10nos - | Per joint |  |  |
| 09 | DP errection including painting and Sign writing i)External (10pr)with fitting of post. ii)Internal(10pr)without post fitting with concreting in the wall. | 195nos 45nos | Per DP |  |  |

No transportation charges will be claimed for transporting u/g Cables and accessories supplied from Sub divisional stores of concerned SDO.

Certificate for acceptance of terms & conditions of Tender document:

“I / We hereby certify that I / We have gone through the Tender Document and, having understood all the terms & conditions and work descriptions, hereby express my / our acceptance of all the terms & conditions specified in the Tender Document.” I/ We further agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon me/us and may be accepted at any time before the expiry of that period.

Date: - 				        (Signature of CONTRACTOR)
		               or his authorised representative with seal)

TENDER NO: N-5/09-10/2, dated 12-05-2009.

Price Bid Form

To

The GMTD, BSNL, BALASORE

Subject: Our Financial Bid for u/g Cable construction work for Zone- VI

| Sl. No. | Particulars | Approximate quantum of work | Unit | Unit rate quoted |
| --- | --- | --- | --- | --- |
|  |  |  |  | In figures | In words |
| 01 | Excavation of trenches at 30 cm width X90 cm depth including back filling, compacting (after laying of cables) and removing excess soil from the site. |  |  |  |  |
|  | i. W/O Bricks(Rural) | 40kms | Per meter |  |  |
|  | ii. With bricks(Rural) | 4kms | Per meter |  |  |
|  | iii. W/o bricks (Urban) | 7 Kms | Per meter |  |  |
|  | iv. With bricks (Urban) | 3 Kms | Per meter |  |  |
| 02 | Road cutting along cement and pitch roads including barricade, putting caution boards, laying, fixing and sealing of RCC pipes across the road crossing and pulling cable through the RCC pipe and back filling. | 1km | Per meter |  |  |
| 03 | Laying of cables i) Up to 100 pairs ii)200 pairs and above | 48kms 7kms | Per meter |  |  |
| 04 | Road boring and inserting 100/150 Mm dia GI pipes only in specific cases where road cutting is not Permitted. i)Road crossing ii)Rail crossing | 300mts 100mts | Per meter |  |  |
| 05 | Concreting with 1:2:4 proportions with 150mm widthX150mm depth over the bridges and culverts etc. | 22.5 cum | Per cum |  |  |
| 06 | Errection of pillars including painting and sign writing up to 1000pairs | 12 nos | Per Pillar |  |  |
| 07 | Termination of cable i)CT Box/Pillar ii)MDF | 180 nos 120nos | Per CT Box |  |  |
| 08 | Cable jointing 1. 10 pair 20pair 50 pair 100pair 200pair 400 pair 800 pair | 130nos 90 nos 60 nos 25nos 10nos 4nos 2nos | Per joint |  |  |
| 09 | DP errection including painting and Sign writing i)External (10pr)with fitting of post. ii)Internal(10pr)without post fitting with concreting in the wall. | 215nos 65nos | Per DP |  |  |

No transportation charges will be claimed for transporting u/g Cables and accessories supplied from Sub   divisional stores of concerned SDO.

Certificate for acceptance of terms & conditions of Tender document:

“I / We hereby certify that I / We have gone through the Tender Document and, having understood all the terms & conditions and work descriptions, hereby express my / our acceptance of all the terms & conditions specified in the Tender Document.” I/ We further agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon me/us and may be accepted at any time before the expiry of that period.

Date: - 				        (Signature of CONTRACTOR)
		               or his authorised representative with seal)

# Text boxes

Signed sealed & Delivered by

the above named Contractor in

the presence of

Signed & Delivered on behalf of the CMD, BSNL, by the GMTD Balasore