BHARAT SANCHAR NIGAM LIMITED

(A GOVERNMENT OF INDIA ENTERPRISE)

OFFICE OF THE TELECOM DISTRICT MANAGER

BHAWANIPATNA – 766001

Tender No. W-195/2009-2010/01	                      Dt. 21.11.2009

###### TENDER DOCUMENT FOR

LAYING PLB PIPE, OFC,

PIPE LAYING BY HDD METHOD, CABLE BLOWING WORK

& OTHER ASSOCIATED WORK

(NEW WORKS & MAINTENANCE WORKS)

IN BHAWANIPATNA TELECOM DISTRICT

| TENDER DOCUMENTS ISSUED TO | TENDER DOCUMENTS ISSUED BY |
| --- | --- |
|  | Demand draft No: Date: Issuing Branch: |

Cost of Tender Document:  Rs.1040/- (Including VAT 4%)

(Non-Refundable)

BHARAT SANCHAR NIGAM LIMITED

(A Govt. of India Enterprise)

Office of the Telecom District Manager, Bhawanipatna

Tender No.W-195/2009-2010/05				            Dated at Bhawanipatna the 21.11.2009

# NOTICE INVITING TENDER

On behalf of BSNL, the Telecom District Manager, Bhawanipatna hereby invites PVC Tape/Wax sealed tender from bonafide /experienced contractors for “Laying of PLB pipe and OFC along with other associated works, PLB Pipe laying by HDD method & Cable blowing work.

The main details of tender are given below.

1.	Cost of tender form			:	Rs.1040/- for each zone( Including 4% VAT).

2.	Estimated cost of work 		:	Rs.20,00,000/- (Approx.) for each Zone

3.	Amount of EMD			:	Rs.50,000/- for each zone.

4.	Issue of Tender papers		:	On all working days from

21.11.2009 to 09.12.2009 from 10:30 Hrs. to 13:00 Hrs

5.	Last date and time for submission of

tenders					:	Dt. 09.12.2009 up to 16.00 hrs.

- Date and time for opening of

tender				 	:	Dt. 10.12.2009 at 11.00 hrs.

Tender form will be supplied by SDE (Estt) of this office between 10:30 Hrs. to 13:00 Hrs. on all working days, only after submission of attested copy of (1) Contractor licence (2) ESI registration with up-to-date challan  (3) Experience certificate of  Laying of PLB pipe and OFC for Rs.10,00,000/- for each year for last two financial years (2007-08/2008-09) for PLB pipe laying and OFC laying work, issued by an officer, not bellow the rank of DGM/TDM of BSNL/MTNL (4) PAN No. with up-to date income tax return (5) Up-to-date service tax Challan (6) VAT Registration Certificate (7) EPF registration No. with up-to-date challan (8) Labour licence (Central) and (9) Demand Draft for Rs.1040/- (non refundable) for each section, drawn on any nationalized bank payable at Bhawanipatna in favour of Accounts Officer (Cash), O/o the TDM, Bhawanipatna, towards the cost of tender paper. (10) EMD of Rs.50,000/- (Rupees Fifty thousand) only for each zone in shape of Demand Draft from nationalized bank in favour of Account officer (Cash), O/o the Telecom District Manager, Bhawanipatna payable at Bhawanipatna.

The T.D.M., Bhawanipatna reserves the right to accept/reject/post-pone or cancel the tender, part or whole, without assigning any reason thereof at any stage.

Sd/-

Telecom District Manager

Bhawanipatna.

SPECIFICATION

##### (TECHNICAL BID)

1.The Tenderer must carefully read all the terms, conditions and specifications before filling of the tender schedule and the rate sheet.

2. Scope of the work:   The work involves laying of PLB pipe and OFC in  Zone-I, Zone-II,  Zone-III, Zone- IV in Bhawanipatna SSA.

| ZONE – I | SDOT, Kesinga |
| --- | --- |
| ZONE – II | SDOT, Dharamgarh |
| ZONE – III | SDOT, Nuapada |
| ZONE - IV | SDOT, Bhawanipatna |

3. Eligibility Criteria – As per NIT

4. Specification:

The work involves excavation of trenches up to a nominal depth of 1.65 meter and laying and jointing of PLB Pipe/ GI Pipes of suitable diameter with couplings and reinstatement of the excavated trench, preparation of joint pits, fixing of route/joint indicators. This involves OFC new works & OFC maintenance works.

5.The pipe laying work will involve excavation of trench in various soil conditions like ordinary, soft soil, hard morum, black cotton soil, loose soil mixed with stone, stone mixed with loose soil, rocky area without blasting, hard rocky area with blasting, asphalted bituminized path, concrete path etc.

The prospective bidders are advised to make a detail survey of the section for which they are bidding and familiarize themselves with the soil and terrain, so that the rate quoted would take all factors in to consideration.

Taking all types of soil/rock of the section into consideration, tenderer should quote only one rate for digging.  Irrespective of type of soil, payment will be made at uniform rate.

6. (a)The departmental rules regarding trenching, excavation, preparation for joints, line up, laying of PLB pipe, reinstatement of the excavated trench & fixing of route/joint indicators should be followed strictly by the contractors.

(b) The contractor should have an office located in the state of Orissa. Any CBI/Vigilance case pending against any bidder is not eligible for participating in this Tender.

7. The work is being awarded in sections.  Works in each section is being treated as separate work, covered by separate contract.  The terms, conditions and specifications are the same for all the sections.  The rate is to be quoted for Zone separately.

8. While evaluating the tender, if it is found that the same contractor is the successful tenderer for more than one Zone, the work in more than one Zone may be awarded to a contractor, only if, the Telecom District Manager, Bhawanipatna is satisfied that the contractor has capacity and resources to commence and execute the work in all places on schedule. The tenderer can participate in maximum 2(Two) Zones.

9. The quantities indicated in the tender are approximate and are at the discretion of the Telecom District Manager, Bhawanipatna and are not to be taken as firm figures.  Any change so effected shall be binding on the tenderer.

10. E.M.D. : Earnest money deposit as mentioned in N.I.T. will be deposited along with the tender, in form of demand draft, drawn on any nationalized bank payable at

Bhawanipatna, in favour of the Accounts Officer (Cash), O/o the TDM, Bhawanipatna –766001. The EMD shall be forfeited in case, the tenderer withdraws his tender before the final acceptance or fails to enter into the prescribed agreement with BSNL for execution of work after it is accepted, within 30 days. EMD of unsuccessful tenders will be refunded after finalization of the tender, without any interest.

11. Validity of bid: The bid validity period is 180 days from the date of opening of bid documents.

Read, understood and complied

Date	Signature of Tenderer

12. Security : a) The EMD of successful tenderer will be kept as security deposit of the work and will be refunded after six month of completion of work & completion of A/T. EMD of unsuccessful tenderer will be returned after finalization of the tender.

b) No interest will be paid to the contractor on security deposit.

13. Addressing the tender: The tender documents shall be addressed to the Telecom District Manager, Bhawanipatna.

14.Submission of Tenders:-

(a) Completed tender documents should be dropped in the tender box available in the chamber of DET, office of the Telecom District Manager, Bhawanipatna, Super-scribing “Tender for Laying PLB Pipe, OFC & Other Associated Work in the ZONE No………..”. The bidder can participate in maximum 2(Two) zones. Any bidder participates in more then Two Zones all the bid document of the said bidder will be summarily rejected. The bidder will be eligible only if they have the capacity to execute the work by HDD method and Cable pulling through blowing method. Financial bid of Annexure D,E & F to be properly filled. Otherwise the bid document will be rejected.

- Documents to be submitted with tender:-

(1) Tender documents duly signed by the tenderer in each page.

- Contractor licence

- ESI Registration certificate with up to date challan .

- Experience certificate of Rs.10,00,000/- for each year for last two financial years (2007-08,2008-09), for laying of OFC cable issued by an officer, not below the rank of DGM/TDM of BSNL/MTNL

- PAN No. with up-to-date Income Tax return.

- Up-to-date service tax Challan.

- Attested copy of VAT registration certificate.

- EPF registration No. with up-to-date challan

(9)Labour licence from the Labour Department (Central) for engagement of sufficient number of   	labourers.

(10) EMD of Rs.50,000/- (Rupees Fifty thousand) only for each Zone in form of Demand Draft drawn on any of the nationalized bank  in favour of Accounts Officer (Cash), BSNL, O/o the Telecom District Manager, Bhawanipatna, payable at Bhawanipatna

(11)	Authenticated copy of partnership deed, in case of partnership and latest Power of attorney to the representative of the firm to operate the tender.

(12)	Rate sheet (Financial bid) in original duly filled in and signed.

(13) The full name and address and contact telephone No. of the tenderer     written on the left side of the sealed cover.

(14) Declaration as a proof of not a near relative of BSNL employee.

15.Penalty Clause

For delays in the contractor’s performance:

The time allowed for completion of work as entered in the work order shall be strictly adhered to by the contractor and shall be reckoned from the seventh day of issue of the work order by BSNL. The contractor shall pay as penalty, an amount equal to 1% of the amount of the incomplete work for every one week of delay in completion of work, subject to a maximum of 10% of the cost of the work awarded. The penalty will be recovered from the bill of the contractor or his SD or from the bill of any of the contract of the contractor.

16. The near relative of employees of BSNL are prohibited from participation of this tender (either directly recruited or on deputation). The near relatives for this purpose are defined as, a) members of Hindu undivided family b) Their husband / wife c) The one related to other in the manner as father, mother, son(s) & son’s wife (daughter-in-law), daughter(s) & daughter’s husband (son-in-law), brother(s) & brother’s wife, sister(s) & sister’s husband (brother-in-law).

17.	Instruction to the tenderer: -

- The contractor must carefully read all the terms and conditions before filling up the tender schedule.

- The tender should be submitted in sealed cover only and tender received in unsealed cover will be rejected summarily.

Read, understood and complied

Date

Signature of Tenderer

- The contractors should quote rates in consolidated form taking into account, all the works including supply of materials and labours.

- The tender submitted without EMD will be summarily rejected.

- No amendment to the tender in any form by the contractors will be permitted after submission of the tender.

- If the tender is withdrawn after submission by the contractors, the EMD will be forfeited.

- Tender documents are not transferable.

- Rates must be quoted both in figures and in words. In case of any discrepancy between figures and words, the rates quoted in words will be taken as authentic in all respects. Corrections, if any, must be initialed by the authorized signatory, failing which, the tender is liable to be rejected.

- The TDM, Bhawanipatna reserves the right to award the works to more than one contractor. However the decision of TDM, Bhawanipatna will be final in this regard.

- The TDM, Bhawanipatna is not bound to accept the lowest rate and his decision is final.

- The department shall not take nay liability of the person / persons employed by the contractor for their future employment in the department.

- Canvassing directly or indirectly will be treated as a disqualification.

- Any tender received in the tender box unsealed will not be opened or considered.

- Tender documents should be signed by the tenderer on each page.

- In case of unscheduled holiday on the closing/opening date, the next working day will be treated as scheduled/opening date of the tender.

- Incomplete tender form will be summarily rejected without assigning any reason.

- Conditional tender will not be accepted.

- The contractor must carefully read all the terms and conditions before filling up the tender schedule.

- Experience certificate except OFC & PLB pipe laying will not be entertained.

- The tender should be submitted in sealed cover only and tender received in unsealed cover will be rejected summarily. Envelope-A: Technical bid (all required documents as per NIT), Envelope-B: Financial bid (Note:- Both A & B Envelope to be inserted in envelope ‘C’ & super scribing “Tender for Laying PLB Pipe, OFC & Other associated works  in Bhawanipatna SSA, Zone No……………. & NIT No.”

18. Specific work will be awarded through work order issued by TDM, Bhawanipatna and the successful contractors will complete each job under the said work order within the specified time.

19. A committee, appointed by TDM, Bhawanipatna, shall evaluate the tender. The committee shall decide its own criteria for evaluation of the tenders. The criteria decided by the committee for evaluation of the tender shall be final and binding on all the tenderers.

20. The TDM, Bhawanipatna reserves the right to forfeit the EMD of the approved contractor who does sub-standard work or refuses to work and also reserve the right towith-hold payment, if any, for the said reason.

21. In case any dispute arises, the decision of the TDM, Bhawanipatna will be final and binding on all tenderers.

22.  SPECIFICATION OF WORK

This tender is a rate contract for laying of OFC in various sections of Bhawanipatna Telecom District. This includes OFC new works, maintenance works, Pipe laying by HDD method and Cable blowing work.

A. TRENCHING

(a) Digging trench and laying of OF cable in different sections under the jurisdiction of Telecoml District Manager, Bhawanipatna. The work broadly consists of the following components:-

(b)  Excavation of trench measuring 45 cm width & depth of 165cm in all places of Bhawanipatna Telecom Dist .The excavation also involves clearing of bushes, cutting roots of trees that may lie along the route of the cable trench and throwing out stones and boulders that may be dug up during the process of trenching.

(c) The rate is uniform in all kinds of soil for excavation & back filling.

Read, understood and complied

Date	Signature of Tenderer

(d)In case of digging trenches of lesser depths, the contractor would be paid lesser amounts based on the following formula.

| Depth of OF Cable trench (in cm) | Percentage of approved rate accorded |
| --- | --- |
| 165 | 100% |
| 150 to164 | 95% |
| 130 to149 | 87.5% |
| 100 to129 | 75% |
| Less than 100 | 60% |

The rate mentioned above will be taken, as that for a trench of 165 cm and proportionate calculation will be done based on this rate.

For example:

Let the rate approved = Rs. 40.00 for 165 cm depth and let the actual trench is of depth 120 cm, then the rate will be Rs. 40.00 x 0.75  = Rs.30.00 (for depth 165 cm). Then the applicable amount payable for the depth 120 cm per meter will be Rs.30.00 x 120  / 165 = Rs.21.82 per meter. Prior permission to lay cable at lesser depth in exceptional cases need to be taken from concerned TDM.

B. LAYING OF HDPE/PLB PIPE

a) After excavation of trench as per specification, proper leveling of bottom should be done for the HDPE/PLB pipe that has to be laid in the trench as supplied by BSNL (HDPE/PLB pipe is of outer dia 50 mm/as available for the purpose & of nominal length of five meters to be jointed by HDPE/PLB couplers of suitable dimension). A layer of soft soil of not less than 5 cms is to be used for leveling the trench to ensure that the pipe when laid will follow a straight alignment  along with the joints .The pipe should be as straight as possible and all bends and gradients or change of depth should be gradual .

b) The pipes should be jointed properly & nylon ropes of dia 4 mm  (to be supplied by the contractor) pulled through the pipes & kept inside tied on suitable weight so that the ends of the rope are easily accessible at the pipe end. Both the end of the pipeline section shall then be securely sealed by suitable cover supplied by BSNL. The next length of pipe shall be laid leaving a gap of two meters.

c) A gap of two meters as mentioned above may also be kept at every bend so that the pipe line may be taken as will be directed by the officer in charge at site. Water present in the trench at the time of laying the pipe & jointing shall be pumped out by the contractor before lowering in the pipe to ensure that no mud or water gets into the pipe during the process with his own expenses

d. Laying of 100 mm dia RCC spun pipes/RCC split pipes/80mm GI pipes (to be supplied by BSNL)

100 mm dia RCC spun pipes/RCC split pipes are to be laid over HDPE/PLB pipes for extra protection especially in the routes where other cables, PHD/PWD pipes, densely populated areas, low depth areas as per the instruction of concerned DET. The 80 mm GI pipes are to be inserted in all road borings & culverts where concreting are to be done over the GI pipes. However the portions where such GI pipes are laid, HDPE/PLB pipes of 50 mm dia are to be inserted in the GI pipes.

The contractor shall exercise all care to ensure that pipes that are laid are not subjected to any strain.

C.CONCRETING

The specification of cement concrete is 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) .The dimension of concrete is 0.2 mtr X 0.2 mtr thickness. Concrete is to be made in all culverts in the route over the GI pipes & HDPE/PLB pipes. However in some of the exceptional cases where proper depth cannot be maintained concrete has to be done with prior permission of concerned DET. While submitting the bills the certificate from concerned authority for the concreted portions is to be given with proper marking in the diagram. The concreting portion will be not taken in to accounts in trenching items.

D.  ROAD BORING

In case of road crossings, the pipes shall be laid by punching/boring the road without damaging the road surface. The 80 mm GI pipes are to be inserted in all road borings &HDPE/PLB/PLB pipes of 50 mm dia are to be inserted in the GI pipes.

Read, understood and complied

Date	Signature of Tenderer

E. FIXING OF ROUTE / JOINT INDICATORS

The route/ joint indicators are top be co-located with each manhole/ joint chamber. In addition route indicators are also to be placed where route changes direction like road crossings etc. The route indicators must be provided at every 200mtr span. The route/ joint indicators made of pre-cast RCC should have the following dimensions:

Base  - 250mm X 150mm, Top  - 200 mm X 75mm, Height – 1250mm

The word ‘BSNL OFC’ should be engraved on the route/joint indicators. The route indicators are painted yellow and the same are placed at 2ft. away from the center of the trench towards jungle side. The joint indicators are placed at OFC joints and placed 1ft. away from wall of the joint chamber facing jungle side and are painted red. The engraved word ‘BSNL OFC’ should be painted in white, on route as well as joint indicators. Numbering of route indicators/ joint indicators should also be done in white paint. The numbering scheme for route indicators will be joint No./Route Indicator No. for that joint. For example, 2/6 marking on a route indicator means 6th route indicator after 2nd joint. Additional joints on account of faults at a later date should be given number of preceding joint with suffix A B, C, D. For example sign writing 2A on a joint indicator means, additional joint between joint No.2 and 3. The numbering of existing route/joint indicator should not be disturbed on account of additional joints. Enamel paints of reputed brand should be used for painting and sign writing of route as well as joint indicators.

F. JOINT CHAMBER

The joint chamber is to be provided at every joint normally at a distance of 2 kms to keep the O.F.C joint well protected and also to keep extra length of cable which may be required in the event of faults at a later date. The joint chambers are to be of pre-cast RCC type. For fixing pre cast RCC chamber, first a pit of size 2m X 2m X 1.8m depth is required to be dug. Pre cast RCC chamber consists of three parts (i) round base plate in two halves of 140 Cm dia and 5 cm thickness (ii) full round RCC joint chamber with dia of 120 cm and height of 100 cm and thickness of 5 cm (iii) round top cover will be in two halves with dia of 140 cm and thickness of 5 cm having one handle for each half in center and word ‘OFC’ engraved on it.  After, fixing the pre cast RCC joint chamber, the joint chamber is filled with clean sand before closing. Lastly, back filling of joint chamber pit with excavated soil is carried out.

G. PULLING OF CABLE THROUGH THE PIPES

The OFC are to be drawn through the HDPE/PLB pipes with the help of nylon ropes already present inside the pipes from the sections (the distance between two sections should be approximately 200 mtr). The contractor should be careful while pulling the cables to ensure no damage/stress to the OFC while pulling.

SCOPE OF WORK AND JURISDICTION OF CONTRACT

(FOR HDD & CABLE BLOWING WORKS)

SCOPE OF WORK:

Laying PLB Pipes in horizontal directional drilling method and pulling OFC by blowing method.

A. The scope includes horizontal directional drilling / boring and PLB HDPE pipe laying through it along road and under railway/ road/ canal/ streams crossing in all type of soil (including soft rock & Hard rock) at suitable depth including all civil works. Supply of all tested lifting tools and tackles other required equipment and consumable; labour etc. and making all such necessary arrangements are under vendor’s scope. Total job has to be completed within time schedule mentioned in work order. The work is specified under two major heads.

a) Laying along the road.

b) Road/ Rail/ canal crossing (road crossing means crossing a road of minimum width of 8 meter.

B. Under each head there will be again four different sizes of boring:

a) Boring up to 60 mm diameters.

b) Boring up to 110 mm diameter.

c) Boring up to 150 mm diameter.

d) Boring up to 200 mm diameter.

e) Boring up to 250 mm diameter.

Read, understood and complied

Date	Signature of Tenderer

C. a) In this system of PLB HDPE pipe laying following job specifications should be maintained:

a) Only Guided boring/ drilling technology is to be used. Mechanical holes are not permitted.

b) Radio or any other detection system should be used for avoiding damage to existing underground utilities such as electric supply, water pipe line, telecom copper cables and optical fibre cables, gas pipe line, sewerage etc. The depth of boring should be such as to clear any underground utilities/ obstacles. However, in no case the depth of boring be less than 1.70Mts from the ground surface.

c) In horizontal and vertical boring, the system should be capable of going up to 10Mtrs. below the ground level.

d) In a shift of 8hrs. at least 400Mtrs. of drilling should be done. It should not be less than 200 mtrs. per day on an average taking into account the machine breakdown, shifting of the machine from one site to another, weekly off.

e) As far as possible PLB HDPE pipe should be laid in full length and cutting of pipe should be avoided while laying along road.

D. Ground penetrating radar survey and damage to telephone cable and other underground services:

a) The contractor should collect all available information regarding underground services and take necessary care to protect them. He should also have sufficient arrangements to identify and protect such underground services.

b) The contractor shall carry out ground penetrating radar survey along the proposed O.F.C route at his own cost to identify the underground services and for setting out the route as directed by Site - In - Charge. The Site -In - Charge shall provide route map to the contractor if available for plotting the existing utilities and setting the route for horizontal

drilling. (HDD work of OFC routes)

E. Laying of PLB HDPE pipe:

The PLB HDPE pipe will be pulled through the horizontal bore. DIT test, i.e. Pressure, sponge,air test and all other test is to be carried out by the tenderer.

At the time of completion of work, the records of actual depths of PLB HDPE pipe at which it is being laid is to be transferred to the Site- In – Charge along with other necessary documents and drawings. The record of depth should be given at the interval of 3 meters.

F. ALLIED ACTIVITIES:

Transportation of Materials: The contractor shall be responsible for transporting the materials, to be supplied by the BSNL or otherwise to execute the work under the contract, to site at his/their own cost. No separate charges are payable on this account.

G. Supply of Materials: There are some materials required to be supplied by the contractor for execution of works under this contract like sand, stone chips, Cement, Wire Mesh and Steel for protection, etc., besides using other consumables which don’t become the part of the asset. The contractor shall ensure that the materials supplied are of best quality and workmanship and shall be strictly in accordance with the specifications.

i) Successful tenderer have to arrange duct integrity test (DIT). No separate payment will be made for DIT.

ii) If supply of Cable is delayed, Contractors have to arrange DIT test.

H. PULLING OF CABLE THROUGH THE PIPES

The OFC are to be drawn through the HDPE/PLB pipes with the help of blowing machine only in HDD and Pipe laying work portion.

I. TRANSPORTATION OF STORES

The contractor has to transport stores (OF cables/HDPE/PLB pipes/GI pipes etc) from SDO (P)/SDOT store depot to the site by the contractor at his own cost. No separate charges will be allowed towards such transportation.

Read, understood and complied

Date	Signature of Tenderer

J. ACCEPTANCE TESTING.

The DET of A / T wing or any other officer appointed by him has free access to do acceptance test to the site. The contractor shall render all possible assistance and facilities for the purpose of A/T to the officials concerned .The work executed by the contractors will be tested by A/T wing and defect pointed out will have to be attended immediately by the contractor. The final A/T report is to be submitted before submission of the bill for the work.

## Procedure for Acceptance Testing

General: -

The work shall be deemed to have been completed only after the A. /T. Officer has accepted the same. The contractor shall make test pits at the locations desired by A./T. Officer for  conducting test checks for depth of trenching without any extra payment. The contractor shall restore the pits after test measurements are taken to its original shape. The contractor shall be responsible to provide test/measurement tools and testers for conducting various tests.

Scope of Acceptance testing: - The purpose of acceptance and testing is to verify integrity of measurement and quality of work done. The A/.T Officer shall not be responsible for recording of measurements for the purpose of contractual obligations. However, if the measurements taken by A/.T Officer are found to be lesser than the measurements recorded by the officer responsible for recording the measurements, the measurement taken by A./T Officer shall prevail without prejudice to any punitive action against the contractor as per provisions of the contract and the officer recording the measurements. The contractor shall be obligated to remove defects/deficiencies pointed out by the A./T Officer without any additional cost to BSNL.

Offering the work for acceptance and testing: - The Sub Divisional Engineer responsible for construction, after having satisfied himself of completion of work ready for A./T., shall offer the work to A/T Officer for conducting Acceptance Testing. The work shall be offered for A./T as soon as work in some of the sections on the O.F. route in all aspects is ready for being offered to A./T. The work against any work order can be offered for A/.T in a number of such stages.

A.Acceptance Testing Schedules: - The following tests shall be conducted for Acceptance and Testing:

i). A/T of Trenching, Pipe lying and Protection.

ii). A/T of Transmission characteristics of O.F. cable from end to end as prescribed in the T&D Circle A./T schedule

iii). Fixing, Painting and Sign Writing of Route and Joint Indicators.

iv).	Certification of documentation.

B.Offering of works for Acceptance  Testing: - The work shall be offered for A. /T in the offering Memo

i). Photocopy of complete work order containing technical, execution plans with  work sanctioned and general details (attested by the SDE In-Charge of Cable Construction).

ii). Line diagram of pipes laid.

iii). Copy (Copies) of relaxation(s) issued by the competent authority, if any (attested).

C1. To avoid the possibility of theft of exposed cable which is already laid earlier or partly laid, the contractor will be required to arrange his watchmen at cable trench at night time and all the days. The watchmen so employed for this purpose shall have to be paid for by the contractor himself. In case of loss of cable by theft at such open trenches, the contractor shall be liable to pay the compensation to the GMTD, BBSR basing on the value of cable so stolen.

C2.In case  damage is caused to the existing cables by the labourers employed by the OF cable laying contractor the actual expenditure incurred for the restoration of the cable will be recovered from the contractor, including the cost of replaced portion of the damaged cables.

C3. The selected bidder for the zone has to carry out the maintenance work of OFC in the same procedure as mentioned above. The only difference is he has to do the maintenance work as and where required as it is urgently required to restore the damaged routes. For the purpose he has to quote rate for the same in the

Read, understood and complied

Date	Signature of Tenderer

Disposal of empty cable drums

The contractor shall be responsible for disposal of the empty cable drums after laying of cables. The cost of various sizes of empty cable drums recoverable from the contractor has been fixed taking into account the prevailing market rates as mentioned below:-

| Serial number | Size of Cable drums | Rate Fixed for disposal |
| --- | --- | --- |
| 1 | OF cable drum | Rs 200.00 |

N.B. These rates of the empty cable drums are to be deducted from the contractor’s bills.

22. Transportation:-

The PLB pipes, OFC and accessories shall be collected by the contractor from the Divisional Store Depot, Bhawanipatna at their own cost. No extra charges will be paid by BSNL for transportation of labour, tool, machinery, and tent etc., required by the contractor. No tools or tents etc will be supplied by BSNL. After completion of works, the contractor shall return to BSNL at his own cost, any unused materials that were supplied to him by BSNL.

Material Security Deposit.

Material security deposit of Rs.50,000/- (Rupees Fifty Thousand) only to be submitted in form of bank guarantee (Validity of 1 year) from nationalized bank before issued of work order.

23.Inspection & testing

The officer-in-charge, A/T and the DET / SDOT in-charge of the work shall have free access to the site at all times for inspection. The contractor shall render to the representative of BSNL, all possible assistance and facilities for the purpose.

24.Compliance With Laws and Regulation

During the performance of the works, the contractor shall, at his own cost and initiative, fully comply with all applicable laws of the land and with any and all applicable by-laws, rules, regulations and orders and any other provisions having the force of law made or promulgated or deemed to be department, municipal board, government or other regulatory or authorized body of persons and shall provide all certifications of compliance therewith as may be required by such applicable laws, bylaws, rules regulation, orders and/or provision.

No labour below the age of eighteen years shall be employed for the work. Fair wages & labour welfare measures enunciated by state PWD & CPWD should be followed by the contractors.

25.Extension of time limit.

It will be the discretion of TDM, Bhawaipatna to revise or modify or extend the time limits specified for the quantum of work to be completed in a specified period, provided a written request has been received from the contractor, explaining the reason, for which such extension of time is asked for before expiry of the scheduled time through Site- In-Charge.

26.  Payments : -

- Payment for execution of work will be made by BSNL only after satisfactory completion of the work, as per the constructional standard subject to the issue of the certificate by the SDOT concerned regarding satisfactory completion of the work, duly countersigned by the DET concerned and after A/T. No. payment for incomplete works will be considered.  Also no running bill is allowed.

- The contractor may submit bills in duplicate along with (i) Work order, (ii) Material Account statement and (iii) MB based on the joint measurements. The M.B. must contain the dates of commencement and completion of the work and other particulars of the work in details. The bill must be countersigned by concerned DET.

- 90% payment will be done after production of bill and rest 10% will be paid after six months on getting clearance from concerned SDOT.

- Payment will be made through A/c payee cheque.

- Sale tax, income tax and other taxes, if any, will be recovered from each bill, preferred by the contractor. This is subject to change as and when required under statutory rules.

- Service Tax will be claimed by the contractor where ever applicable

Read, understood and complied

Date											Signature of Tenderer

27. Signing of the contract Agreement: -

- The successful tenderer will be required submit all original documents for verification before agreement and then to sign a contract agreement bond (as enclosed with tender document)  with BSNL on non-judicial stamped paper of Rs. 20/- at his own cost within 15 days,  failing which the earnest money will be forfeited.

- In case the successful bidder refuses to do the job or fails to sign the agreement within 15 days, then the authority reserves the right to award the same work to other contractors, in full or in parts, without any liability to loss suffered/likely to be suffered by the bidder(s) in the said contract, including forfeiture of the EMD/SD money deposited.

28.  Sub-Contractors: -

The contractor shall not assign, subcontract or sublet the whole or any part of the work covered by the contract. Incase it is proved that the tenderer has engaged subcontractors, the tender awarded in his favour would be treated as null and void and SD will be forfeited without any liability to loss suffered/likely to be suffered by the contractor.

29. 	SAFETY, SECURITY AND OBSERVANCE OF LABOUR LAWS.

Compliance with Laws and Regulation

During the performance of the works, the contractor shall, at his own cost and initiative, fully comply with all applicable laws of the land and with any and all applicable by-laws, rules, regulations and orders and any other provisions having the force of law made or promulgated or deemed to be department, municipal board, government or other regulatory or authorized body of persons and shall provide all certifications of compliance therewith as may be required by such applicable laws, bylaws, rules regulation, orders and/or provision.

i) The contractor will be responsible for the safety and security of the material supplied to him by BSNL. He will insure all the materials comprehensively to cover loss or damage due to theft, fire or any other reason.

ii).	 The contractor will be responsible for the safety and security of labour employed by him for execution of the work. He will be required to insure each labourer as per labour laws. The contractor will ensure safe working by observing proper safety precautions.

iii). The contractor will be required to abide by the labour laws enacted from time to time by the central or state govt. Maintenance and observance of any or all of the statutory labour laws will be the sole responsibility of the contractor. The claims arising out of injury, causality or anything else to the worker/labourer employed by the contractor will be the sole responsibility of the contractor.

iv). Before commencement of work, the contractor should obtain a valid license by virtue of the provisions of the Contract Labour Regulation and Abolition Act. 1970 and of the Contract Labour Regulation & Abolition contract Rule, 1971 and continue to have valid license during the period of contract. The contractor shall be responsible for any contingency arising out of his failure to obtain and have a valid license.

v). The contractor should ensure that no labourer below the age of eighteen years is employed by him on the work.

vi). The wages paid by the contractor to the laboures employed by him should not be less than the         	 	fair/minimum wages as defined in the CPWD contractor’s labour regulation or as per the provision of 	Central Labour (Regulation & Abolition) Rules, 1971, whichever is applicable.

vii). Under the provision of minimum wages Act.1948 and the minimum wages (central Rules), 1950,the 	contractor should allow the labourers employed by him on work one day rest against six days continuous work  and pay wages for that day at the same rate as applicable for duty.

viii). The contractor should comply with all the rules framed by the Government from time to time for the 	protection of health and sanitary arrangement for workers employed by him.

Read, understood and complied

Date	Signature of Tenderer

30.      Rescission / Termination of contract

Under following conditions, the engineer-in-charge of the work may rescind/terminate the contract. (a) if the contactor suspends the execution of work &  the engineer-in-charge of the work comes to judgment that the work could not be completed by the due date or the contractor had already failed to complete the work by that date. (b) if the contractor has been given by the officer-in-charge of work  a notice & (c) if the contractor commits breach of any item of conditions in the contract or sublets without prior permission.

Before terminating / rescinding, the engineer-in-charge shall give first show cause notice. Thereafter notice on final action will have to be served in case no response is received for first show cause notice.

31.     Force majeure:

A. if at any time, during the continuance of this contract, the performance in whole or in part by either party of any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Hereinafter referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance or delay in performance, and deliveries under the contract shall be resumed as soon as practicable, after such event may come to an end or cease to exist, and the decision of the contractor as to whether the works have been so resumed or not, shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days, either party may, at his option terminate the contract.

b.	Provided also that if the contract is terminated under this clause, the Department shall be at liberty to take over from the contractor at a price to be fixed by the Department, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in the course of execution of contract in possession of the contractor at the time of such termination of such portion thereof, as the Department may deem fit, excepting such materials bought out components and stores as the contracts may with the concurrence of the Department elect to retain.

32. Arbitration

a.	In the event of any question, dispute or difference arising under this agreement or in connection there with, except as to matter decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration of the Telecom District Manager, BSNL, Bhawanipatna or in case his designation is changed or his office is abolished, then in such case to the sole arbitration of the Officer for the time being entrusted whether in addition to the functions of the Telecom District Manager, BSNL, Bhawanipatna or the said officer is unable or unwilling to act as such the sole arbitration or some other person appointed by the Telecom District Manager, BSNL, Bhawanipatna or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act, 1996.

There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with matter to which the agreement relates or that in the course of his duties as Government Servant he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and biding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such Telecom District Manager, BSNL, Bhawanipatna or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

b.	The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to aforesaid Arbitration and Conciliation Act; 1996 and the Rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

C.	The venue of the arbitration proceeding shall be the Office of the Telecom District Manager, BSNL, Bhawanipatna or such other place as the arbitrator may decide.

Read, understood and complied

Date	Signature of Tenderer

Annexure - A

# Declaration by the Tenderer

I Sri/Smt …………………………………………………………………….

S/O / D/O…………………………………………….hereby declare that none of my near relative (as mentioned in tender document) is employed in BSNL unit. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action against me as deemed fit without any prior intimation to me.

Signature of Tenderer

Name  & Address

Annexure-B

AGREEMENT FORM

An agreement is entered into between Telecom District Manager, Bhawanipatna representing BSNL and Sri/Smt …………………………………… on this  ………. day of ……….. 2009 for laying PLB pipe/OFC and other associated works in ……………………OFC route Section No…………..of Bhawanipatna Telecom District.

Whereas in response to the Tender Notice No.W-195/2009-10/01 dated 21.11.2009, issued by the Telecom District Manager, Bhawanipatna, Sri/Smt …………………………….. has been declared as successful tenderer for laying PLB pipe/OFC in……………OFC route Section No ……..…. & it has been accepted by him/her.

Sri/Smt …………………..……. hereby undertakes to carry out the said work under the terms & conditions fixed for the approved tenderer.

Sri/Smt ………………………. hereby undertakes to abide by the terms and conditions as prescribed in the Tender Document of Tender Notice No. as mentioned above and agrees to make good any loss caused to the Telecom District or any Govt. Department or Private or to the Public by his/her own cost. He/She also undertakes to face the situation by his/her own responsibility, if any law and order problem arises during execution of the work.

Sri/Smt ………. Further agrees that in case he/she fails to carry out and complete the said work within the specified time, given in the work order, he shall have no claim for refund of security deposit and he shall be liable to bear with the loss sustained by the BSNL. The schedule of rates agreed upon, is annexed herewith.

Signature of the Contractor									.

Name:								Telecom District Manager

Bhawanipatna.

Address:

Witness Signature:							Witness Signature:

Name:									Name:

Address:								Address:

Witness Signature:

Name:

Address:

Date									Signature of Tenderer

ANNEXTURE   C

MATERIAL SECURITY BOND FORM

Whereas……………………………..….(hereinafter called “the Contractor”) has been awarded the contract of cable construction work, as per tender number ____________________________________ know all men by these presents that we…………………………….of……………... having our registered office at _______________________________ (hereinafter called the “the Contractor”) are bound unto ………………….. (herein after called “the Department”) in the sum of ………………. For which payment will and truly to be made of the said Department, the Bank binds itself, its successors and assigns by these presents.

THE CONDITIONS of the obligation are:

1.			If the Contractor is unable to keep stores issued to him, properly, i.e. the store   provided to the contractor, by the Department are damaged or

2. 			 The stores issued to the contractor by the Department are stolen or

3. 			The Contractor is not able to provide proper account of the stores issued to him/her/them by the Department.

We undertake to pay to the Department up to the above amount upon receipt of its first written demand without the Department having to substantiate its demand, provided that in its demand, the Department will note that the amount claimed by it is due to it owing to the occurrence of one or two or all of three conditions specifying the occurred condition or conditions.

This guarantee will remain in force up to and including Three hundred and Sixty Five (365) days after the Period of Contract validity, and any demand in respect thereof should reach the Bank not later than the above date.

Signature of the Bank

Name of Witness.

Address of Witness.

### ANNEXURE ‘D’

FINANCIAL BID (NEW WORK)

QUOTED RATE FOR OFC ROUTE   IN ZONE  NO…………

.

| Sl. No. | Brief description of work | Unit | Quoted rate per unit(excluding Service Tax) |
| --- | --- | --- | --- |
|  |  |  | In figures | In words |
| (1) | Excavating, Trenching to a depth of 165 cm. & reinstatement irrespective of all soil | Per meter |  |  |
| (2) | Laying & jointing of PLB pipes | Per meter |  |  |
| (3) | Laying & jointing of 80mm GI Pipe | Per meter |  |  |
| (4) | Construction of R/R chamber providing 1.5m plastering (4:6) | Per each |  |  |
| (5) | (a) Fixing of GI pipe, PLB pipe and concreting (1:2:4) including cost of MS Rod (b) Without MS Rod | Per meter Per meter |  |  |
| (6) | Supply & fixing of RCC joint / route indicator | Per each |  |  |
| (7) | Pulling of Optical Fiber Cable in PLB pipe | Per meter |  |  |
| (8) | Road boring/punching without damaging the road | Per meter |  |  |

NB:- All the rates quoted must be excluding Service Tax

Signature of Tenderer

### ANNEXURE ‘E’

FINANCIAL BID (MAINTENANCE WORK)

QUOTED  RATE  FOR  OFC  ROUTE   IN  ZONE  NO………

| Sl. No. | Brief description of work | Unit | Quoted rate per unit(excluding Service Tax) |
| --- | --- | --- | --- |
|  |  |  | In figures | In words |
| (1) | Excavating, Trenching to a depth of 165 cm. & reinstatement irrespective of all soil | Per meter |  |  |
| (2) | Laying & jointing of PLB pipes | Per meter |  |  |
| (3) | Laying & jointing of 80mm GI Pipe | Per meter |  |  |
| (4) | Construction of R/R chamber providing 1.5m plastering (4:6) | Per each |  |  |
| (5) | (a) Fixing of GI pipe, PLB pipe and concreting (1:2:4) including cost of MS Rod (b) Without MS Rod | Per meter Per meter |  |  |
| (6) | Supply & fixing of RCC joint / route indicator | Per each |  |  |
| (7) | Pulling of Optical Fibre Cable in PLB pipe | Per meter |  |  |
| (8) | Road boring/punching without damaging the road | Per meter |  |  |

NB:- All the rates quoted must be excluding Service Tax

Signature of Tenderer

ANNEXURE – ‘F’

FINANCIAL BID (NEW WORKS)

ZONE-NO-:

NAME OF THE WORK:

Horizontal Directional Drilling, Laying of PLB Duct of 43/33 mm dia( Or as per the available PLB Pipe) and pulling cable in Blowing Method in Bhawanipatna SSA.

| Sl No | Description of the work | Rate in word per mtr | Rate in Figure per mtr |
| --- | --- | --- | --- |
| 1 | Horizontal Directional Drilling, Laying of PLB Duct through boring by “NO DIG” & HDD method using trench-less technology along road and under railway/road / canal/ streams crossing in all type of soil (including soft rock & hard rock ) at suitable depth including all civil works. The work includes DIT test, i.e. pressure, sponge, air test and all other test associated with DIT test. And supply of all tested lifting tools and tackling of other required equipment and consumables, labour etc. and making all such necessary arrangements are under venders scope. Total job has to be completed within time schedule mentioned in the work order. (Boring up to 120 mm diameters) |  |  |
| 2 | Pulling of OF Cable through Blowing method |  |  |

NB:- All the  rates quoted must be excluding Service Tax

Read, understood and complied

Date	Signature of Tenderer

## Tender no. W-195/2009-10/06			Dated at Bhawanipatna the 21st November 2009

## NOTICE INVITING TENDER

PVC/Wax Sealed tenders are invited for and on behalf of BSNL, by the Telecom District Manager, Bhawanipatna from experienced contractor for laying of PLB pipe, OFC & other associated (new works & maintenance works) under Bhawanipatna Telecom District as per specification contained in the tender documents. For further details kindly visit our website at  www.orissa.bsnl.co.in.

Telecom District Manager

BSNL, Bhawanipatna-766001

BHARAT SANCHAR NIGAM LIMITED

(A Govt. of India Enterprise)

Office of the Telecom District Manager, Bhawanipatna.

No.W-195/2009-2010/07			   			 Dated at Bhawanipatna the 21.11.2009

To

The Editor,

- The Sambad, Sambalpur (Sambalpur Edition)

- The New Indian Express, Bhubaneswar.

- The Samaj, Cuttack

Sub:		Publication of Notice Inviting Tender regarding.

Sir,

Kindly find enclosed herewith a copy of text regarding Tender Notice No: W-195/2009-10/05 dated 21.11.2009 for Laying of PLB pipe and OFC along with associated works in different Zones of Bhawanipatna Telecom District for publication in your Esteemed Daily in minimum space on or before 22.11.2009 positively.   The Bills in-duplicate towards the charges of advertisement may kindly be sent to this office as per the rate approved by the DAVP/Negotiated rate approved by the Circle Office, Bhubaneswar for payment.

Thanking you,				    Yours faithfully,

Encl: - As above.

Telecom District Manager,

Bhawanipatna.