BSNL

### BHARAT SANCHAR NIGAM LIMITED

(A Govt. of India Enterprises)

Office of the Telecom District Manager,

Door Sanchar Bhawan,Bolangir-767001.

# TENDER DOCUMENT FOR

CARRYING OUT VARIOUS WORKS ON JOB CONTRACT

BASIS  IN BOLANGIR TELECOM DISTRICT

FOR THE YEAR 2010-11

TENDER NO –  W-77/2009-10/63 Dted. 20th March 2010

Tender Cost : 520/-

O/o the Telecom.  District  Manager,

Doorsanchar  Bhawan,

Bolangir  - 767001.

Tel – (+91) 6652 - 234001, 234500 (F)

NIT  No. – W-77/2009-10/63					         Dated at Bolangir the 20th March 2010

# Notice Inviting Tenders

Wax Sealed tenders are invited from bona-fide licensed & experienced BSNL/MTNL/State Govt./Central Govt. / other PSUs contractors for various works on job contract basis in Bolangir Telecom District.

| Cost of bid document in Rs | Estimated cost of tender | EMD | Date and Time of |
| --- | --- | --- | --- |
|  |  |  | Issue of paper | Receipt of paper | Opening of qualifying Bid |
| Rs 520/- including Vat 4% per zone | As per Clause No: F-18 of Section-III | As per Clause No: F-15 of Section-III | From 22-03-10 to 05-04-10 (upto 13.00 Hrs) | 06-04-10 (upto 13.00Hrs) | 06-04-10 at 16.00Hrs |

- Eligibility criterion for the above works:

The contractor should have experience in BSNL/MTNL/State Govt./Central Govt. / other PSUs for successful U/G cable, OF Cable construction and maintenance works/job contract works to the tune of Rs 2 Lakh  in last two year(08-09 and 09-10). Experience certificate in this regard is to be issued by an officer not below the rank of Deputy General Manager or equivalent. The intending bidder should possess the following documents to become eligible for participating in the tender:

- Experience certificate as above

- PAN No

3. 	Valid Registration with Central Labour Commission under Contract Labour Act 1970(R&A) (Attested copy),Or Undertaking to get it before commencement of work.

4.	Service Tax registration No. & copy of service tax registration to be provided.( Self Attested copy)( As per Clause-19 of the document)

5. 	EPF registration certificate with upto date payment receipt (Self Attested copies)

6.    ESI registration certificate with upto date payment receipt (Self Attested copies) Or Undertaking to get it before commencement of work.

7.   Valid Contractor license

Name of the Work: Various jobs on contract basis for different Zones of Bolangir SSA as detailed below.

| Zone No. | Name of Sub-divisional Incharge | Approximate estimated cost in Rs. | Performance Security Deposit in Rs. | EMD in Rs. |
| --- | --- | --- | --- | --- |
| Z-1 | SDE (N/W, OP-CFA), Titlagarh | 16,00,000.00 | 1,60,000.00 | 40,000.00 |
| Z-2 | SDE (N/W, OP-CFA), Patnagarh | 10,00,000.00 | 1,00,000.00 | 25,000.00 |
| Z-3 | SDE (N/W, OP-CFA), Sonepur | 11,00,000.00 | 1,10,000.00 | 27,500.00 |
| Z-4 | SDE (N/W, OP-Rural), Bolangir | 11,00,000.00 | 1,10,000.00 | 27,500.00 |
| Z-5 | SDE (N/W, Plg.-CFA), Bolangir SDE(N/W, OP-City), Bolangir | 10,00,000.00 | 1,00,000.00 | 25,000.00 |
| Z-6 | TDM, Office, Bolangir | 7,00,000.00 | 70,000.00 | 17,500.00 |

B.     Bid documents can be had

- from SDE (N/W, Plg-CFA),O/o TDM, Door Sanchar Bhawan,Bolangir by submitting  the cost of bid document as mentioned (Rs.520/-) in the form of DD from any scheduled bank in favour of  AO(Cash),BSNL,O/o TDM, Bolangir payable at Bolangir.

- One bidder can apply maximum for three zones only (Clause No-19 )- In that case separate tender papers will be purchased for each zone maintaining all formalities as required for each zone.

- Eligible bidders can also download the entire bid document from our website www.orissa.bsnl.co.in and submit the same within scheduled time and date along with the required cost of the bid document(Rs.520/-) in the form of DD from any scheduled bank in favour of  AO(Cash)),BSNL,O/o TDM, Bolangir payable at Bolangir. The DD and documents conforming to the eligibility criteria as mentioned in clause (A)  above are required to be kept in the “Envelop-A: Qualifying Bid”. The financial bid(“ Envelop-B” of those tenderers who qualify in the qualifying bid only will be opened by the opening committee as per time and schedule which will be intimated later. All the envelops containing documents should be wax sealed.

- The detailed terms and conditions, EMD particulars etc. are available in the tender documents. Tenders without EMD will be rejected. No exemption Cost of Tender Documents and EMD under NSIC is permitted. The TDM, Bolangir reserves the right to reject any or all tenders without assigning any reason thereof. The sealed tenders can be dropped in the tender box available in the chamber of AGM (CM) O/o TDM, Bolangir on or before the date & time mentioned above. The tender documents can also be sent through registered post or courier in the address of AGM (CM) of this office. BSNL Bolangir will not be responsible for any kind of non-delivery or late delivery of tender documents. The tenders received after the due date and time will be summarily rejected.

Telecom District Manager

Bolangir

###### SECTION – I
BID FORM

NIT  No.-W-77/2009-10/63,   Dated at Bolangir the 20th March 2010

To,

The Telecom District Manager,

Bolangir

Dear Sir,

Having examined the conditions of contract and specifications, the receipt of which is hereby duly acknowledged, we, undersigned, offer to execute Various works on Job contract basis of Bolangir SSA for the Zone i.e. Z-1, Z-2, Z-3, Z-4, Z-5  and Z-6 in conformity with the conditions of contract and specifications as may be ascertained in accordance with the schedule of prices attached herewith and made part of this Bid.

We undertake, if our Bid is accepted, we will execute the work in accordance with specifications, time limits & terms and conditions stipulated in the tender document.

If our Bid is accepted, we shall submit the securities as per the conditions mentioned in the contract.

We agree to abide by this Bid for a period of 120 days from the date fixed for Bid opening and it shall remain binding upon us and may be accepted at any time before the expiry of that period.

Until a formal Agreement is prepared and executed, this Bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

Dated this........……………............day of.……………........ (the year)

Signature of Authorised Signatory..........………………..........

In capacity of………………….........................................

Duly authorized to sign the bid for and on behalf of......…..........

Witness.………..

Address. ……….

Signature…………

SECTION –II

TENDERER’S PROFILE

1.	Name of the Tenderer/Firm			:_____________________________

( in CAPITALS)

2.	Tenderer’s/Firm’s Address			:_____________________________

3.	Telephone Number(s)				:_____________________________

4.	Is the firm (Proprietary or Partnership)		:_____________________________

5.	Name(s) of the proprietor or partner		:_____________________________

6	Brief description of work carried out by

the Firm in last two years with name of

clients, nature and value of work done for

each (Please attach extra sheet if necessary)	:___________________________

7.	Is the firm registered with any agency

mentioned in NIT/Tender document, if so

furnish details of registration			:_____________________________

8.	Has the firm been blacklisted by any

organization, if so attach the details of

the same					:_____________________________

9.	Income Tax Account No./PAN Number		:____________________________

10.	Is the bidder aware of all the rules and

guidelines by Govt. on the subject of tender	:_________________________

11.	E.P.F. No.					:_________________________

12.  	E.S.I. No.					:_____________________________

I/We hereby certify that the above mentioned particulars are true and correct.

Date :							Signature_____________________

Place:							For on behalf of________________

Name of the firm_______________

with seal.

SECTION-III

INTRODUCTION

- DEFINITIONS

The definition of terms used in this document are as under

- BSNL: 	BSNL means Bharat Sanchar Nigam Limited   a Government of India Enterprise under  ministry of  Communication and IT.

- The SSA Head: Means the head of  Bolangir  Telecom District , designated as Telecom District Manager, Balangir and his successors.

- The jurisdiction of the SSA Head: The jurisdiction of the Telecom District Manager	means the Balangir Telecom District which Coincides geographically with Balangir & Sonepur Revenue District.

- Representative of the SSA Head:Representative of Telecom District Manager means Officer and staff for the time being deputed by the Telecom District Manager for inspecting or supervising the work or testing etc.

- Contract : The term contract means the document forming the tender and acceptance thereof and the formal agreement executed between the competent authority on behalf of the BSNL , Balangir and the contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions issued from time to time, by the engineer in-charge and all these documents taken together shall be deemed to form one contract and shall be complementary to one another. In the contract, the following expressions shall, unless the context otherwise requires, have the meanings, hereby respectively assigned to them. The expression works or work shall unless there be something either in the subject or context repugnant to such construction, be construed and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original, altered, substituted or additional.

- Contractor: The contractor shall mean, the individual, firm or company, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or company, or the successors of such firm or company and the permitted assignees of such individual, firm or company.

- “The Work Order” means the order issued by the BSNL, Bolangir  to the Bidder  including all      attachments & appendices thereto and all document incorporated by reference therein. The work order shall be deemed as “Contract” appearing in the document.

- “The Contract Price” means the price payable to the bidder under the contract  for  proper performance of its contractual obligations.

- Instructions to bidder

The Bidder is expected to examine all instructions, forms, terms & conditions and specifications in the bid documents. Failure to furnish all information required as per the bid document or submission of bids not substantially responsive to the Bid Documents in every respect will be at the bidder's risk and shall result in rejection of the bid.

- The bidders should have experience as mentioned in NIT.

- Tenderers bidding for work should have appropriate resources, necessary expertise, requisite manpower, proper co-coordinating and supervisory ability to undertake the work.

- This tender is meant for carrying out the work for a period of one year only. The period of the validity of the work may be extended for up to another six months as per the terms and conditions 	mentioned in this document, if required by the TDM, Bolangir and agreed by the contractor.

- Tenderers must physically visit well in advance the different work places taking due permission from the concerned AGM/ SDEs in order to make detail survey to assess the quantum and nature of work, manpower required and to correctly bid their offer taking all factors into consideration.

- The tenderer must have his establishment within the zone for proper supervision of the work and should submit the details of it with the tender for verification.

- The successful tenderer will have to execute the job to the satisfaction of the BSNL authority. Any deficiency in work can be computed by the concerned officer of the BSNL & the expense borne towards the work will be charged against the contractor as a penalty.

- Quoting abnormally low rate/high rate tender will be rejected ( The assessment of jobs will be done by BSNL authority taking factors into account and the authority is not liable to explain the tenderer the details of the assessment so as estimated).

- The entire SSA has been divided to 06 (Six) Zones for bidding process as under.

| Zone No. | Name of Sub-divisional In charge |
| --- | --- |
| Z-1 | SDE (N/W, OP-CFA), Titlagarh |
| Z-2 | SDE (N/W, OP-CFA), Patnagarh |
| Z-3 | SDE (N/W, OP-CFA), Sonepur |
| Z-4 | SDE (N/W, OP-Rural), Bolangir |
| Z-5 | SDE (N/W, Plg.-CFA), Bolangir SDE(N/W, OP-City), Bolangir |
| Z-6 | TDM, Office, Bolangir |

- The conditional and incomplete tenders are liable for rejection.

- Tenders without EMD will be rejected outright.

- The tender has to be dropped in the tender box provided for the purpose in chamber of AGM (CM), O/o the TDM,Bolangir. The tender documents can also be sent through registered post or courier in the address of AGM (CM) of this office. BSNL Bolangir will not be responsible for any kind of non-delivery or late delivery of tender documents

- The job is not of continuous nature.

- Tenderers are required to fill up the information sheet and the scheduled rate sheet available with this documents and submit these sheets along with requisite EMD in a sealed cover superscripting “Tender for carrying out various  works on job contract basis of Bolangir  SSA” on the top of the envelope.

- The item of job mentioned in the tender is illustrative, not exhaustive.

- The tender paper will not be issued to any individual/firm having link with any individual/ firm whose service in past has been found unsatisfactory by the concerned BSNL authority.

- The bidder whose relatives i.e., Wife, Husband, Parents, Grandparents, Children, Grand children, Brothers, Sisters, In-laws, Uncles, Aunts, Cousins and their corresponding in-laws working in BSNL are not eligible to participate in the Tender.

C.	QUERIES ON BID DOCUMENTS:

A prospective bidder, requiring any clarification of the Bid Documents shall notify BSNL in writing or by fax on BSNL's mailing address indicated in the invitation for Bids. BSNL shall respond in writing to any request for clarification of the Bid Documents, which it receives not later than 7 days prior to the date for the opening of the bids. Copies of the query (without identifying the source) and the clarifications by BSNL shall be sent to all the prospective bidders who have purchased the bid documents and all such clarifications issued by BSNL will form part of the bid document.

D.	AMENDMENT OF BID DOCUMENTS:

1.1	At any time prior to the date for submission of bids, BSNL may, for any reason whether suo motto or in response to a clarification requested by a prospective Bidder, modify the bid documents by amendments.

  - The amendments shall be notified in writing or by Post or FAX to all prospective bidders on the     address intimated at the time of purchase of bid document from BSNL and these amendments will be binding on them.

  - In order to afford prospective bidders reasonable time to take the amendments into account in preparing their bids, BSNL may, at its discretion, extend the deadline for the submission/opening of bids suitably.

E.	 PREPARATION OF BIDS

The bidder shall bear all costs associated with the preparation and submission of the bid. BSNL, will in no case, be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

F.    GENERAL TERMS AND  CONDITIONS OF THE  TENDER

- The quantum of job of this tender has been assessed by BSNL authority taking various factors into consideration. The authority is not liable to explain the tenderer the detail of assessment so estimated under any circumstances.

- The tenders submitted by Partnership firms should be furnished with “Partnership Deed” duly registered.

- The contractors should possess a valid license under Contract Labour Act. 1970 (R & A).

- The TDM, BSNL Bolangir will not be responsible for any loss incurred by the contractor in carrying out the contract work.

- Taxes will be recovered as per statutory tax laws of Govt. of India and Govt. of Orissa as applicable from time to time.

- The tenderer will not claim any permanent absorption of workers in BSNL.

- The tenderer will observe necessary formalities as per the provision of the Labour Act and the TDM, Bolangir will not in any way be responsible for any breach of Labour Act for any such case (s) relating to Labour & Employment.

- The Telecom District Manager, BSNL, Bolangir reserves every right to cancel/ reject the contract for any work if found unsatisfactory at any time without assigning any reasons there on.

- The Telecom District Manager, BSNL, Bolangir reserves the right to go for more than one contractor in  order to meet the time scheduled for completion of works or otherwise for a specified category of work if deemed fit in the interest of the department. In case of poor performance of the job contract work the  relevant W.O. issued against the contractor may be cancelled. The decision of TDM in this respect will be final and binding on all concerned.

- (a)  The contractor should furnish his personal information and should have his office in Bolangir SSA. He should always be available for contacting to assign works. The contractor should furnish his Telephone No. and address of his office to  the SDE concerned before starting the work. The work orders will be issued with monthly basis and the performance of the contractor will be judged in completion of every W.O.

(b)  The contractor will be held responsible for non completion of work in a specified period as per W.O. and necessary penalty will be imposed on him.

- The contractor will also be held responsible for any damage/loss caused to BSNL by his employee and necessary requipment will be done with the contractor.

- The EMD of the successful tenderer shall be converted into part of security deposit on completion of execution of agreement for performance of the work and in addition to that the contractor have to deposit an amount as mentioned in NIT for the respective zones towards performance security deposit.

- The progress of the works will be reviewed by the supervisor.

- The Telecom District Manager, Bolangir will reserve the right of imposing minimum quantum of work while reviewing the work.

- EARNEST MONEY-DEPOSIT (EMD)/ BID SECURITY-

    - The bidder shall furnish, as part of his bid, a bid security (EMD) for an amount as mentioned in the NIT. The requisite EMD of amount against each zone has to be deposited in the form of account payee Bank Draft payable to “Accounts Officer (Cash), BSNL, O/o. TDM, Bolangir ”, drawn on any Nationalized/scheduled Bank of Bolangir . The bid security is required to protect the Department against the risk of bidder’s conduct, which would warrant the security's forfeiture.

  - The EMD shall be forfeited in case the tenderer withdraws his tender before the final acceptance or fails to enter into the prescribed agreement with BSNL for execution of work after the tender is accepted. The bid security of the unsuccessful bidder will be refunded without any interest as promptly as possible as but not later than 30 days after the expiry of the period of bid validity prescribed by the Department.

- Validity of BID: The bid validity period is 120 days from the date of opening of bid documents.

- Validity of Tender- The contract of tender is valid for a period of one year from the date of signing the agreement. However TDM Bolangir reserves the right to increase the period to a maximum of six months or decrease the period as per requirement.

- Estimated Cost:-Approximate estimated cost of the tender Rs.65 lakhs per annum.

- ELIGIBILITY CRITERIA-: As per Clause A of NIT.One bidder can apply for a maximum of three zones. In that case separate tender papers will be purchased for each zone maintaining all formalities as required for each zone.

- As part of the eligibility criteria, the bidder should have  the following documents to be eligible to participate in the tender:

  - Valid labor license from Central Labour Commission under Contract Labour Act 1970(R&A) (Attested copy), Or Undertaking to get it & submit it before commencement of work..

  - Valid E.P.F. registration certificate with proof of up to date payment.

  - Valid service tax registration certificate with up to date challan (Xerox copy)

  - Valid ESI registration certificate & up to date payment receipt (Xerox copy) Or Undertaking to get it & submit it before commencement of work..

  - PAN Card(Self attested copy)

  - EMD as per clause 15.

  - The contractor should have experience in BSNL/MTNL/State Govt./Central Govt. / other PSUs for successful U/G cable, OF Cable construction and maintenance works/job contract works to the tune of Rs 2 Lakh  in last two year(08-09 and 09-10). Experience certificate in this regard is to be issued by an officer not below the rank of Deputy General Manager or equivalent.

  - Valid Contractor license

- DOCUMENTS TO BE SUBMITTED ALONG WITH THE TENDER PAPER:

The tender document consists of two parts i.e., Technical Bid and Financial Bid. The following    documents are to be submitted:

- Self attested Xerox copy of PAN Card.

- Self attested Xerox copy of up-to-date VAT Clearance Certificate.

- Self attested copies of experience certificate. (The contractor should have experience in BSNL/MTNL/State Govt./Central Govt. / other PSUs for successful U/G cable, OF Cable construction and maintenance works/job contract works to the tune of Rs 2 Lakh  in last two year(08-09 and 09-10). Experience certificate in this regard is to be issued by an officer not below the rank of Deputy General Manager or equivalent.)

- EMD as per Clause-15 of F & Section III.

- No near relative certificate  as per  Section-V

- Self attested copy of EPF Registration Certificate.

- Self attested copy of ESI Registration Certificate or Undertaking to get it before commencement of work..

- Valid Contractor license

- Self attested copy of firm Registration Certificate from Registrar of Firm in case of firm

- Self attested copy of Service Tax Registration Certificate. .

- Valid labor license from Central Labour Commission under Contract Labour Act 1970(R&A) (Attested copy),Or Undertaking to get it before commencement of work..

- Address proof for his establishment within the zone (local office address)

- Details of name & address of persons those will be appointed as supervisor.

- Tenchnical bid documents, in original, duly filled in and signed by tenderer or his authorized respresentative along with seal on each page. All corrections and overwriting must be initialed with date by the tenderer or his authorized respresentative.

- Financial Bid duly filled as per Section-VIII

Non submission of any one of the above document with the tender imply disqualification and the tender will be rejected.Original Documents will be verified before signing of the agreement or at any time at the discretion of TDM, Bolangir.

20.	PERFORMANCE SECURITY

The bidders shall furnish performance Security Deposit for an amount as indicated below against each zone either in A/C Payee DD drawn in favour of A.O. (Cash), BSNL, O/o T.D.M., Bolangir in any nationalized bank at Bolangir or 10% of the bill amount will be deducted from the bill.

| Zone No. | Name of Sub-divisional Incharge | Performance Security Deposit in Rs. |
| --- | --- | --- |
| Z-1 | SDE (N/W, OP-CFA), Titlagarh | 1,60,000.00 |
| Z-2 | SDE (N/W, OP-CFA), Patnagarh | 1,00,000.00 |
| Z-3 | SDE (N/W, OP-CFA), Sonepur | 1,10,000.00 |
| Z-4 | SDE (N/W, OP-Rural), Bolangir | 1,10,000.00 |
| Z-5 | SDE (N/W, Plg.-CFA), Bolangir SDE(N/W, OP-City), Bolangir | 1,00,000.00 |
| Z-6 | TDM, Office, Bolangir | 70,000.00 |

The Performance Security Deposit (SD) is required to protect the BSNL against the risk of bidders performance and will be forfeited as part / whole in case of -:

- Unsatisfactory performance.

- Theft or misappropriation of articles of BSNL.

- Damage caused to BSNL assets and damage/loss of store issued

- Withdrawal of the successful tenderer from the contract before its expiry without giving proper notice as specified in the terms & conditions of this tender document..

- The Performance Security deposit shall be released/refunded within 120 days from the date of the payment of the last final bill of the work under the contract and final settlement of material account on production of “no dues certificate” from “Engineer-in-chrge”.

- BID PRICES;

  - The bidder shall give the total composite price inclusive of all levies and taxes of works to be executed except    service tax. The contractor shall be responsible for transporting the materials, to be supplied by the Department (at the store depot of respective SDE) or otherwise to execute the work under the contract, to site at his own cost.

  - The price quoted by the bidder shall remain fixed during the entire period of contract and shall not be  subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as not responsive and will be rejected.

  - The rate per job contract work shall be so calculated and quoted that the laborers engaged on each job, on full time basis including part time-spells if any, on different jobs put together for a day, shall get minimum wages for that day.

  - RATES TO BE QUOTED BY TENDERER :    The rates should be quoted item wise as given in the financial bid of the document.  The rates should be quoted both in words & figures. In case of discrepancy, the rate in word will be considered.  The rate quoted must be inclusive of all taxes and duties such as income tax, sales tax as applicable from time to time. Service tax will be claimed separately.

- SUBMISSION OF BIDS:

22.1  The tender consists  of two bids; Qualifying & Financial bid. The qualifying bid will contain documents as mentioned in clause no 19-B Section-III & financial bid as per Section-VIII as given in the tender document. The date & time of opening of financial bid will be intimated separately after opening of qualifying bid to the qualifying bidders only. The bids completed in all respect shall be addressed to the AGM (CM), O/o the TDM, BSNL Bolangir and will be dropped into the Tender box available in his chamber. The tender documents can also be sent through registered post or courier in the address of DE(P&A) of this office. BSNL Bolangir will not be responsible for any kind of non-delivery or late delivery of tender documents. The tenders received after the due date and time will be summarily rejected.

Envelope containing tender in both the bids must be super scribed with  “TENDER FOR CARRYING OUT VARIOUS WORKS ON JOB CONTRACT BASIS FOR ZONE NO: ----OF BOLANGIR SSA” with name of the bid i.e qualifying or financial. The bidders must write their name and address in the left side of each envelope. Both the envelopes i.e, Qualifying and Financial Bid should be put in a single large envelope super-scribing as mentioned above. The slit of the tender box will be sealed immediately after the specified time for receipt of tender. Any tender presented in person after the sealing of box will not be received by or will not be allowed to be deposited in the tender box. Bid for each zone should be submitted i.e. both technical and financial bid in a single envelope and should be proper sealed (with sealing wax/PVC tape)

22.2  	Postponement of Tender opening: Whenever it is considered necessary to postpone the opening date of tenders, quick decision must be taken and communicated to the tenderers who have purchased the tender documents and shall be at least one day before the original date of opening. If the date of opening of bids is declared as holiday, or any bandh occurs then the bids will be opened on the next working date at the same time and venue.

22.3   	The BSNL if subsequently declares date fixed for opening of bids as holiday, the revised schedule will be notified.  However, in absence of such notification, the-bids will be opened on next working day, time and venue remaining unaltered.

- OPENING OF BIDS BY THE DEPARTMENT;

  - The Department shall open the bids in the presence of bidders or his authorized representatives, on due date & time. The bidder or his representative, who is present, shall sign in attendance register. The bidder’s representative shall submit authority letter to this effect before they are allowed to participate in the bid opening.

  - A maximum of one (1) representative for any bidder shall be authorized and permitted to attend the bid opening.

  - The Bids shall be opened in the following manner:

  - The bid opening committee shall count the number of bids and assign serial numbers to the bids.

  - The envelopes containing the tender offer and not properly sealed, shall not be opened and shall be rejected outright. Closing the cover by gum will not be treated as sealed cover. The reasons for not opening such tender offers shall be recorded on the face of the envelope and all the members of bid opening committee shall put initial with date.

  - The bid opening committee shall sign on the envelope with date. First the Technical bid will be opened by the bid opening committee. Those who will qualify in the technical bid only their financial bid will be opened. The Financial bid will be either opened in the same date or on a later date which will be intimated to the concerned bidder by the opening committee.

- SELECTION OF BID

  - The Lowest (L1) bidder will be selected by comparing the rate quoted from serial number 01 to 14 of the financial bid.

  - Limitation will be fixed on monthly expenditure by the TDM Bolangir to minimize expenditure of Bolangir SSA. In case of emergency TDM Bolangir will have right to increase or decrease the monthly expenditure limit in the interest of BSNL.

25	  PAYMENT TERMS & CONDITIONS:

25.1	Based on the execution of the work on daily basis, the contractor will prepare a workbook for a particular month certified by the concerned SDEs and counter signed by AGM concerned. Accordingly the contractor shall prepare monthly bills in triplicate & submit the bills to SDEs  in-charge of work. The bills shall be prepared accurately and as per the entries/measurements recorded in the Work Book. The supporting documents certified by SDE and countersigned by AGM and should submit the bills in duplicate for one particular month within 7 days of the following month to TDM Bolangir  for necessary payment and full payment will be made by A/C payee cheque after deduction of taxes as applicable from time to time.

25.2 	The contractor shall comply with all provisions of the ‘Payment of wages Act’ 1936, minimum wages Act 1948, Employees liability Act 1938, Workmen compensation Act 	1923, Industrial Disputes Act 1947, Maternity benefit Act 1961 and contractor labour (Regulation and abolition) Act 1970 or the modifications thereof or any other laws 	relating thereto and the rules made there under from time to time. The contractor shall 	indemnify BSNL against payments to be made for the observance of the laws aforesaid.

25.3  	In case of delay of work by the contractor, a delay penalty will be imposed at the rate of            0.5 % of the value of work order per week of delay or part thereof, subject to maximum of              10% of the value of order.

25.4 	The following challans will have to be deposited by the contractor every month positively for release of the bill.

- Challan of service tax deposit particulars of previous month which will show the deposit for Bolangir Telecom District.

- Challan of EPF deposit of labors engaged by the contractor for the month.

- List of name & address of labourers for whom the EPF amount has been deposited.

- Acquaintance sheet of labourers to whom payment of wages have been disbursed. Regarding this copy of wage register may be supplied as and when required.

- Challan of ESI deposit in respect of laborers engaged by him and monthly deposit in this regard will be submitted regularly.

25.5 	For the purpose of claiming of service tax by the contractor and to enable availing of credit to that extent by BSNL, the contractor shall prefer bills in triplicate, having printed bill No, printed service tax Regn No. etc. The component of service tax & education cess and higher education cess shall be shown separately.

- Disqualifying clause :-

  - The TDM,Bolangir reserves the right to disqualify such bidders who have a record of not meeting the contractual obligations against earlier contracts entered into the BSNL. The terms and conditions enumerated above shall be binding and the bidders shall have to accept them in writing along with tender.

  - The TDM, BSNL, Bolangir reserves every right to cancel / reject the contract for any unsatisfactory work/performance or for noncompliance of labour laws at any time during the currency of contract.

  - The TDM, Bolangir reserves right to cancel the contract for non submission of valid Central Labour License within one month from the date of issue of the first work order.

  - The TDM, Bolangir reserves right to cancel the contract for non submission of ESI Registration Certificate within 30 days from the date of agreement with BSNL.

- The TDM, Bolangir reserves the right to vary the quantity of work as per actual requirement.

- The TDM, Bolangir reserves the right to deploy or order contract work in any place under the administration of the TDM, Bolangir.

- The contractor shall not assign or sublet to any other person or agency without the prior written approval of TDM, Bolangir.

- For any attempt or negotiations directly on the part of the tenderer with the authority to whom he has submitted the tender to influence the BSNL by any means, the acceptance of the tender will be liable for exclusion from consideration.

- All materials supplied to the selected contractor are always the sole property of the BSNL even when they are under the safe custody of the contractor. Any damage or loss is to be made good by the contractor on actual cost basis

- The BSNL for execution of contract works will not supply any manpower. The contractor should make his own arrangements for the workmen required for execution of contracted work.

- The successful contractor should make his own arrangements to execute the work without interruption on any account.

- The BSNL is not liable to pay for additional works carried out without prior sanction. The BSNL will not be liable for any additional works, which have not been provided for in the work order or estimate but carried out by the contractor without written sanction of the competent authority

- The BSNL will pay no advance of any kind to the contractor.

- The TDM, Bolangir reserves the right to impose any other conditions, if necessary at any time during the validity of the tender.

- The tender will be awarded to the successful tenderers/tenderer only on production of valid license from the concerned labour authorities.

- If the contractor fails to carry out work with the expected speed and standard the contract will be terminated & no work will be awarded.

- While carrying out work on any existing exchanges, the contractor should ensure least interruption to the working equipment and TDM, Bolangir is empowered to cancel the tender or impose any penalty including forfeiture of Performance security of the contractor for not following his conditions at any time.

- All the amenities to the labourers such as drinking water, washing facilities, tools required for the work should be provided by the contractor at his own cost at the work spot as required under Contract Labour (R&A) Act,1970.

- While operating window A/C and electrical appliances or climbing tower the contractor should take responsibility for safety of workers and the BSNL will not be held responsible for any casualty during the execution of work.

- The contractor will claim wages only on quantum of work basis and payment will be made every month through A/C payee cheque or e-payment.

- The person/persons deputed for the execution of job should have minimum working knowledge in the respective field and should have good conduct and behavior. If any irregularity is noticed by supervisor the contractor is liable to withdraw such person.

- The contractor shall issue identity card/attendance card to the person engaged by contractor..

- BSNL,Bolangir shall not be responsible for any form whatsoever, if during the course of discharging of duty, any person employed by the contractor suffers from any damage or injury during the stay inside/outside the campus of this office or is put to any hardship or suffers any damage in any form whatsoever. The contractor shall be responsible for and shall pay any compensation to his Workmen payable under the workmen’s compensation Act, 1992 for injuries caused to the workmen. If such compensation is paid by BSNL as a principal employer under Section (1) of the Section 12 of the said act, such compensation will be recovered from the contractor’s bill due or from the performance Bank Guarantee.

- The contractor should maintain the records relating to payment of EPF, ESI etc and deposit the amount of EPF, ESI etc in time and submit the Xerox copies of challans thereafter to the TDM, Bolangir every month failing which the next bill will not be allowed.

- Time limit for unforeseen claim: Under no circumstances whatsoever shall any claim for any compensation from the BSNL on any account be considered unless the contractor submit the claim in writing within one month from the date of the final payment of the bill for the works concerned.

- BSNL Bolangir will not be responsible for any nonpayment of the contractor to the labourers and any dispute between the contractor and labourer.

- The contractor will be liable to supply the substitute during any strike/bandh by the labourer failing which the proportionate deduction will be made from his bill.

- Price variation: The BSNL shall not be responsible for any escalation of cost of labour or materials, machinery,   equipment etc., whatsoever or any increase in any duties levies or taxes, in respect of whatsoever and the contractor’s rates and contractor’s obligation shall remain unaltered by such escalation. But contractor is required to pay to the laborers as per the minimum rates fixed by the central Labour Commissioner from time to. BSNL in no way will be responsible for paying the contractor for hike in labor rates. Accordingly the bidders are requested to quote the rates.

- Matters to be settled by Arbitration: Any question of difference or objections, whatsoever if arises in any way in connection with carrying out the contract, the same shall be referred for arbitration to the TDM,Bolangir or his nominee for arbitration and his decision will be final.

- Signing of contract agreement. The successful tenderer shall be required to execute an agreement on a non judicial stamp paper of Rs.50/- only at his own cost as per the enclosed proforma. In the event of failure of the tenderer to sign the agreement within seven (7) days of being called upon to do so after the acceptance of the tender, or in the event of his failure to start the work as stipulated, the amount of earnest money deposit or performance security shall be forfeited by BSNL and the acceptance of the tender shall be considered as revoked.

- Implementation of contract labour act for subsequent payment

The following items are to be followed strictly.

a) .   Challan of service tax deposit particulars which will show the deposit for Bolangir Telecom District.

b)  . Challan of EPF deposit of Bolangir Telecom District.

c).   List of name & address of labourers for whom the EPF amount has been deposited.

d) .  Acquaintance sheet of labourers to whom payment of wages have been disbursed. Regarding this

copy of wage register may be supplied.

e).    The contract labourers engaged by the contractor may be covered under ESI and monthly deposit

in this regard will be submitted regularly.

f) .     Master Roll of the contract labour.

- Labour welfare measures & workman compensation :-

- The contractor should have valid labour license under the Contract Labour (R & A) Act 1970 and the Contract Labour (Regulation and Abolition) Central Rules 1971 and should abide by the requirements of such act.

- The contractor shall comply with all provisions of the ‘Payment of wages Act’ 1936, minimum wages Act 1948, Employees liability Act 1938, Workmen compensation Act 	1923, Industrial Disputes Act 1947, Maternity benefit Act 1961 and contractor labour 	(Regulation and abolition) Act 1970 or the modifications thereof or any other laws 	relating thereto and the rules made there under from time to time. The contractor shall 	indemnify BSNL against payments to be made for the observance of the laws aforesaid.

- All the amenities to the labourers such as drinking water, washing facilities should be provided by the contractor at his own cost at the work spot as required under Contract Labour (R &A) Act, 1970.

- The contractor shall be responsible for and shall pay any compensation to his workmen payable under the workmen’s compensation Act, 1992 for injuries caused to the 	workmen. If such compensation is paid by the BSNL as principal employer under Section (1) of the Section 12 of the said Act, such compensation will be recovered from the security deposit or any account due from the contractor on any account or otherwise.

- The contactor will be responsible for the safety and security to the skilled and unskilled labours employed by him for execution of work.

- The contractor should maintain the records relating to payment of EPF,ESI etc and deposit  the amount of EPF,ESI etc in time and submit the Xerox copies of challans 	thereafter to the TDM, Bolangir. every month for release of the bill.

- The tenderer will observe necessary formalities as per the provision of the labor act & BSNL will not in any way be responsible for any breach of labor act or any cases relating to labor and employment. However the following points may be implemented.

- Muster roll has to be maintained by the contractor in respect of contract laborers engaged by them.

- The payment of contract labourers by the contractor is to be carried out as per rate approved by the Central Govt. from time to time.

- The contract laborers engaged by the contractors will  be covered under ESI and EPF scheme by the contractor himself as per rules.

- The contractor will issue employment cards to the engaged contract laborers

- The contractor should furnish its personal information and should always be available for contacting to take work orders with contact telephone number both landline and mobile. The contractor will open his local or head office inside Bolangir SSA and intimate to the TDM Bolangir for correspondence. The office of the contractor cannot be closed till validity of contract.

- Penalty Clause

For delays in the contractor’s performance:

- The time allowed for completion of work as entered in the work order shall be strictly adhered to by the contractor and shall be reckoned maximum from the seventh day from the issue of the work order by BSNL. The contractor shall pay as penalty amount equal to 1 % of the amount of the incomplete work for every one week of delay in completion of work subject to a maximum of 10 % of the cost of the work awarded.

- On any date the penalty payable as above reaches 10 % of the estimated cost of the work the contractor should proceed with the work further only on getting a written instruction from the concerned AGM, that, he is allowed to proceed further with the work..

- Penalty for delay in completion in work shall be recoverable from the bill of the contractor and/or by adjustment from the SD or from the bill of any other contract. However adjustment from SD will  made only when the contract has been terminated or at the time of final settlement of bills on completion of work.

- Rescission/termination of contract

Under the following conditions the competent authority may rescind/terminate the contract

- If the contractor suspends the execution of work &the engineer in charge of the work comes to  judgment that the work could not be completed by the due date for completion or the contractor had already failed to complete the work by that date.

- If the contractor who had been given by the officer in charge of  work a notice in writing to rectify/replace any defective work fails to comply with the requirement within a period of seven days from the date of receipt of such notice

- If the contractor commits breach of any item of conditions in the contract or sublets without prior permission, the Engineer in charge of the work can determine or rescind the contract. Before determining/rescinding, the Engineer in charge shall give first show cause notice .Thereafter Notice on Final Action will have to be served in case no response is received for first show cause notice.

- FORCE MAJEURE

- If any time, during the continuance of this contract, the performance in whole or in part by either party of any obligation under this contract shall be prevented or delayed by reason of any war, or hostility, acts of the public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (Hereinafter referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason  of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance or delay in performance, and deliveries under the contract shall be resumed as soon as practicable after such event may come to an end or cease to exist, and the decision of the Contractor as to whether the works have been so resumed or not shall be final and conclusive, provided further that if the performance, in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60days either party may, at his option terminate the contract

- PROVIDED also that if the contract is terminated under this clause, BSNL shall be at liberty to take over from the contractor at a price to be fixed by BSNL, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in the course of execution of contract in possession of the contractor at the time of such termination of such portion thereof as BSNL may deem fit excepting such materials bought out components and stores as the contracts may with the concurrence of BSNL elect to retain.

- ARBITRATION:

- In the event of any question, dispute or difference arising under this agreement or in connection there with except as to matter the decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration of the Telecom District Manager, Telecom District, BSNL, Bolangir  or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the Officer for the time being entrusted whether in addition to the functions of the Telecom District Manager, Telecom District, BSNL, Bolangir  or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the Telecom District Manager, Telecom District, BSNL, Bolangir  or the said officer is unable or unwilling to act as such the sole arbitration or some other person appointed by the Telecom District Manager, Telecom District, BSNL, Bolangir  or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act.

- There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as Government Servant he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever such Telecom District Manager, Telecom District, BSNL, Bolangir  or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

- The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to aforesaid Arbitration and Conciliation Act; 1996 and the Rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

- The venue of the arbitration proceeding shall be the Office of the Telecom District Manager, Telecom District, Bolangir  or such other places as the arbitrator may decide.

SECTION - IV

SCOPE & SPECIFICATION OF WORK

            - SPECIFICATION OF WORK

The tender is called to perform the following works in different telephone installations such as Main / RSU / ANRAX exchanges under TDM, Bolangir  and the various Sub-Divisional offices. The contractor has to issue identity cards to the workers for entry into the respective exchange premises.

- Cleaning of Exchange Floor Area –

Equipment Rooms, Corridors, Office Rooms, Exchange Premises and Office Premises. :-The contractor will have to depute  personnel for carrying out cleaning of floor area of equipment rooms, corridors, Office rooms, Exchange Premises and Office Premises on monthly basis . The materials used for cleaning purpose will be supplied by the contractor.

- Cleaning of different Equipment in the Exchange, Testing Aids, Exchange Battery Sets, Power Plants and Engine Alternators etc. :-

The contractors will have to depute personnel for carrying out cleaning of different Equipment in the Exchange, testing Aids, Exchange Battery Sets, Power Plants and Engine Alternators etc. periodically. The materials used for cleaning purpose will be supplied by the contractor. The contractor should instruct the cleaners suitably to carry out the cleaning works properly under the guidance and supervision of Concerned SDEs / JTOs.

- Sweeping and  cleaning of Toilets / Bath Rooms:-

The contractor will have to depute Sweepers for sweeping of Toilet and Bath Rooms of office of the all SDEs, TDM, Office, Telephone Exchanges on Monthly basis. The agency shall have to supply the materials (the material should be of good quality) used for sweeping / cleaning purpose. The contractor should instruct the sweepers accordingly to carry out the sweeping / cleaning works properly under the guidance and supervision of concerned SDEs / JTOs.

- Supply of drinking water, cleaning of water filters/buckets etc.:

The contractor will have to arrange for supply of drinking water for the staff on duty in all telecom installations, Offices, cleaning of water filters / buckets etc. on monthly basis.

- Garden maintenance in TDM, Office :-

Monthly taking care of the different valuable plants, cleaning of the 	garden area, report for requirement of any medicine, manure, new plantation if necessary etc.

- Departmental Inspection Quarter maintenance (3 Places)

Taking care of the cleaning of the inspection quarter building at Door Sanchar Bhawan, Bolangir, Telephone Bhawan, Bolangir and Telephone Exchange, Titlagarh. Cleaning of the surrounding area, cleaning of the asset of the inspection quarter and furniture etc., looking after the VIPs and other guest who are the occupants of the inspection quarter with showing the proper courtesy with regular maintenance of inspection 	register and related rate payment etc.

- Watching of Divisional/Sub-divisional Stores and providing assistance in stores  SDE office, Telephone Exchanges and other miscellaneous works:

Keeping watch of store and Exchanges under the control of SDEs, keeping watch of Divisional Store under the control of SDE, keeping the store in proper sizing and shape in the store yard in proper account, intimate to the in charge of the store about store transaction on monthly basis.

- Carrying / Delivering of Dak,

Daily dak,. are to be carried / delivered to & from the respective units from main / RLUs/RSUs exchange and also to Door Sanchar Bhawan from Telephone Bhawan and vice-versa. The contractor has to deploy the work-force accordingly and to carry out the same under the guidance / supervision of the concerned SDEs/JTOs/TTAs and to keep record in the respective DAK Register on daily basis.

- Watching and Monitoring of various Technical System.

Helping in watching / monitoring of various technical systems such as RLU, RSU, BTS, SWR, Bty. & PP, E/A, Window/Split-Type AC Units, different transmission units, office, etc are to be required round the clock daily on monthly basis. For which following activities are to be taken care of:-

- Operation and running of engine alternator set during mains failure.

- Collection of diesel / Mobil for E/A sets.

- Filling of fuels in tanks.

- Checking of Mobil and diesel level before running of E/A sets.

- Cleaning of E/A Sets and engine rooms etc.

- Pouring of distilled water into the E/A battery set

- Checking of battery set and its charger unit for E/A set.

- Running of window / split Type AC provided at exchanges.

- Updating related records / history sheets.

- Monitoring of electrical panels, AVR etc.

- Observation / checking of 3-Phase AC Supply and keeping / recording its data.

- Passing information to all concerned regarding any abnormal behavior of the Units..

- Contacting Electrical Sub-Station / Control Room during mains AC failure to                     know about duration / reason of failure and also regarding HIGH / LOW /NO voltage of   three-Phase Supply.

- Operation of fire-fighting Appliances at the time of any electrical/ fire hazards.

- Collection of electricity Bill / Cheque and its payment to WESCO office.

- Recording of room temperature.

- Store sizing and store handling and watching of stores in Dist. Store Depot., and Sub-divnl. Store Depot.

- Assisting in the switch room work i.e. testing of parts, BMS, CLI testing, PCM testing in Task etc.

- Assisting in MDF i.e. Jumpering, wiring, ISDN testing, leased line testing, broadband wiring and testing, DQFRS testing, FRS print out and docket closing etc.

- Driving the water pump required in time for quarters, report for monthly electrical meter reading of quarters, repair of minor electrical fault of fitting of TDM office and quarters.

- Wiring / Jumpering:-..

The contractor shall supply personnel for assisting exchange staff in Wiring / Jumpering at MDF for telephone lines  (depending upon the requirement) in the respective exchanges. The no of wiring /Jumpering may vary from time to time as per actual requirement. The contractor has to deploy the work force accordingly and to carry out the same under the guidance / supervision of the concern SDEs / JTOs / TTAs who are to provide the tools and store for the same.

- Carrying / delivering of faulty /repair cards, Testing Equipment:-

Weekly once Carrying / Delivering of faulty / repaired cards, Testing Equipment etc. to / from respective units. The contractor has to deploy the work-force accordingly and to carry out the same under the guidance / supervision of the concerned SDEs/JTOs/TTAs and to  keep record in the respective movement register.

- Assistance in Testing:-

Assistance to technical staff is required for testing of subscriber lines and junctions, equipment (Switching/OFC/MUX/WLL) and also PCM Streams on daily basis. The number of testing of subscriber lines / junctions etc may vary as per actual requirement. The contractor has to depute experienced workers for this purpose and to keep record of the same in the respective testing register.

- Updating Indicator Registers, J/Ss & A/Ns. Etc.:-

Daily jumper slips, advice notes, commercial/TRA work Orders after execution are to be updated and required information / data are to be entered in the  respective work-sheets and also in indicator registers. The quantum of the work may vary as per actual requirement. The contractor has to depute experienced and well-acquainted workers for this purpose and to keep record for the same in the concerned register.

The above activities are to be carried out as per requirement of the concerned in charge of the respective units on monthly basis. The contractor has to depute the experienced and well-acquainted workers for this purpose and to keep record for the same in the concerned register.

- L&W Maintenance:

- Digging of Pits for Cable Maintenance Purpose :

This involves location of underground cable faults and digging of pits as required for attending the cable faults at different places and for this purpose, the contractor has to depute un-skilled laborers.

- Fixing of DPs including painting sign writing ;

Different sizes of DPs are to be fixed either on the walls or in the posts. One coating of painting is to be done and after that, sign writing is to be done as per the departmental procedure. The paint will be supplied by the contractor.

- Jointing of cable (Excluding digging)

Jointing is to be done as per the requirement and size of the cable. The materials like DWC and TSF will be supplied by BSNL. The contractor has to arrange the other materials required in this regard. After jointing all the pairs are to be tested and no loss of pair to be allowed. Penalty will be imposed for loss of pair. Proper record should be maintained regarding cable fault and cable joint carried out by the contractor.

- EPBT & SS Drop wire will be supplied by BSNL, if necessary during restoration of over head telephone lines fault.

The above activities are to be carried out as per requirement of the concerned in charge of the respective units on monthly basis. The contractor has to depute the experienced and well-acquainted workers for this purpose and to keep record for the same in the concerned register.

- Broadband Line Maintenance.

The contractor should restore Broadband fault at the subscriber’s premises by deputing his staff under the proper supervision by the concerned JTO/SDE. Assisting in Drop wire replacement, modem replacement, and maintaining fault booking register indicating type of error/nature of fault & rectification of fault  and report to concerned SDE on monthly basis.

- WLL Maintenance

Testing the equipment and fixing of Antenna etc., mtce.  of register and report to the authority on monthly basis.

- File movement and Office Assistance work at TDM, Office.

Daily office files are to be handled for specific purposes from officer/ official to officer/official. The contractor has to depute the experienced and well acquainted workers for this purpose and to keep record for the same in the concerned register on monthly basis.

- OFC Route Maintenance work.

- Detection of  OFC breakdown faults using  OTDR and moving to the work spot to attend the faults , means to remove the OF cable from the ground by digging the earth, and joint the fibres using splicing machine and jointing kits. All the materials are to be supplied by the BSNL.  For this semi skilled type of worker, who has experience of doing such type of work has to be provided.

- For physical detection of OF cable fault, pit of size 3’ width,   3’ breadth and 5.5’ depth has to be dug and after rectification of fault the same pit has to be refilled. For this contractor has to deploy unskilled worker.

- Monitoring of various alarm/failure in OFC transmission system and inform it to concerned JTO/SDE in charge and it is to be required round the clock in each day.

The above activities are to be carried out as per requirement of the concerned in charge of the respective units on monthly basis. The contractor has to depute the experienced and well-acquainted workers for this purpose and to keep record for the same in the concerned register.

            - SCOPE OF WORK:

  - The Bolangir SSA has following controlling officers to supervise the Job contract work.

SDE(N/W, OP-City), Bolangir

SDE(Admn-USO), Bolangir

SDE(N/W, Plg -CFA), Bolangir

SDE(N/W, OP-Rural), Bolangir

SDE(N/W, OP-CFA), Sonepur

SDE(N/W, OP-CFA)Patnagarh

SDE(N/W, OP-CFA)Titlagarh

  - The details of stations/place under Bolangir SSA covered under job contract.

      - Doorsanchar Bhawan, under, SDE(Admn-USO), Bolangir

      - Bolangir Main Exchange under, SDE(N/W, Plg-CFA), Bolangir

      - Bolangir RSU Exchange under  SDE(N/W, Plg-CFA), Bolangir

      - External U/G cable work under Bolangir town  under SDE(N/W, OP-City), Bolangir

      - Divisional store Depot  under SDE(N/W, Plg-CFA), Bolangir

      - P&T Colony Bolangir under SDE(N/W, OP-City), Bolangir

| Telephone Exchanges /BTS under SDE(NW. OP) Rural Bolangir | Telephone Exchanges/ BTS under SDE(NW. OP) CFA,Sonepur |
| --- | --- |
| 1. | Chandanbhati T.E | 1. | Binka T.E, WLL BTS & Mobile BTS |
| 2. | Chhatamakhna T.E | 2. | Mahadevpali T.E, |
| 3. | Chudapali T.E., WLL BTS & Mobile BTS | 3. | Sindurpur T.E, |
| 4. | Deogan T.E, WLL BTS & Mobile BTS | 4. | Sonepur Main T.E, WLL BTS, Mobile BTS |
| 5. | Gudvela T.E, WLL BTS & Mobile BTS | 5. | Tarbha T.E, WLL BTS & Mobile BTS |
| 6. | Kudasingha T.E, Mobile BTS | 6. | Khameswaripali T.E. |
| 7. | Mahimunda T.E, Mobile BTS | 7. | Birmaharajpur Main T.E, WLL BTS & Mobile BTS |
| 8. | Tushra T.E, Mobile BTS | 8. | Sindhol T.E, Mobile BTS |
| 9. | Agalpur T.E, Mobile BTS | 9. | Subalaya T. E, |
| 10. | Beheramal T.E | 10. | Ulunda T.E, WLL BTS & Mobile BTS |
| 11. | Bharsuja T.E , Mobile BTS | 11. | SDE office Sonepur |
| 12. | Dunguripali T.E, |  |  |
| 13. | Gajbandha T.E, |  |  |
| 14. | Loisingha T.E, & WLL BTS site |  |  |
| 15. | Nagon T.E, |  |  |
| 16. | S.Rampur T.E, & Mobile BTS |  |  |
| 17. | Salevata T.E, & Mobile BTS |  |  |
| 18 | SDE office, Bolangir |  |  |
| 19 | WLL & Mobile BTS Phatamunda |  |  |

| Telephone Exchanges /BTS under SDE(NW. OP)CFA, Patnagarh | Telephone Exchanges / BTS under SDE(NW. OP)CFA, Titlagarh |
| --- | --- |
| 1. | Belpada T.E, WLL BTS & Mobile BTS | 1. | Badmal T.E, WLL BTS & Mobile BTS | 12 | Kantabanji Main T.E, WLL & Mobile BTS |
| 2. | Bhainsa T.E, & Mobile BTS | 2. | Belgaon T.E, & Mobile BTS | 13 | Sindhekela T.E, WLL & Mobile BTS |
| 3. | Dhandamunda T.E, WLL BTS & Mobile BTS | 3. | Ghunsar T.E & Mobile BTS | 14 | Turekela T.E, & Mobile BTS |
| 4. | Ghashian T.E, Mobile BTS | 4. | Karamtala T.E, & Mobile BTS | 15 | JTO Kantabanji office |
| 5. | Harishankar Road T.E, WLL & Mobile BTS | 5. | Kholan T.E, & Mobile BTS | 16 | SDE, Office, Titlagarh |
| 6. | Jogimunda T.E, & Mobile BTS | 6. | Saintala T.E, & Mobile BTS |  |  |
| 7. | Juria T.E & Mobile BTS | 7. | Muribahal T.E, & Mobile BTS |  |  |
| 8. | Khaprakhol T.E, & Mobile BTS | 8. | Titilagarh Main T.E, Mobile BTS |  |  |
| 9. | Mandal T.E | 9 | WLL BTS, M/W Station Titilagarh |  |  |
| 10 | Patanagarh Main T.E, WLL & Mobile BTS | 10 | Bangomunda T.E, & Mobile BTS |  |  |
| 11 | SDE office Patnagarh | 11 | Chanabahal T.E. |  |  |

CERTIFICATE BY THE CONTRACTOR.

I have carefully gone through the job description mentioned in the tender. I also declare that I have necessary experience and requisite work force to carry out the work in proper manner.  I shall obey the directives of the BSNL Authority from time to time to carry out the work during the agreement period.

Signature of Bidder

SECTION- V

DECLARATION BY THE BIDDER FOR NON-PARTICIPATION OF NEAR RELATIVES

I/We ___________________________ S/o________________________________ Resident of ____________________________________ hereby certify that none of my relative(s) as defined in the tender document is/are employed in BSNL Unit as per details given in tender document. In case at any stage, it is found that the information given by me is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me.  Further I hereby undertake that during contract period, I/We shall abide by the standing provisions of Labour laws and the payments to the persons engaged shall not violate the provision of Minimum Wage Act, EPF Contributions, Insurance etc.

Note : The near relatives for this purpose are defined as :

- Members of a Hindu Undivided family.

- They are husband and wife.

- The one is related to the other in the manner as father, mother, son(s) and son’s wife (daughter in law), Daughter(s) and daughter’s Husband (son-in-law), Brother (s) & brothers wife, sister(s) and sister’s husband (Brother in law).

Signature of the bidder.

Name of the Contractor.

(Capacity in which Signing)

Place :

Date :

SECTION VI

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

NIT  No. – W-77/2009-10/63,   Dated at Bolangir the 20th March 2010

Subject: Authorization for attending bid opening on ___________________________(date) in the tender for carrying out various works on job contract basis of Bolangir SSA.

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf of_______________________________________ (Bidder) in order of preference given below.

Order of Preference				Name			         Specimen Signatures

I

II

## Alternate

Representative

Signature of bidder

Or								                                     Officer authorized to sign the bid

documents on behalf of the bidder.

No. l. Maximum of one representative will be permitted to attend bid opening.

2. Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not recovered.

SECTION  - VII

Agreement Form

### Agreement  for carrying out various works on job contract basis for Zone__  of Bolangir SSA

An agreement made on this……………. Between TDM, Bolangir  hereinafter called the BSNL to the context include his successors and assignees on the one part and…………………………… Having his/its residence/Office at…………………………(Actual through its constituted attorney hereinafter called “Contractor” (which term shall include their heirs, executors, successors and assignees on the other parts.

Whereas the BSNL, is desirous of getting executed certain work namely : Carrying out various works on job contract basis for the Zone____as detailed in Tender No.

And whereas the contractor is ready and willing to execute the said works in accordance with the contract.

Now this agreement and it is hereby agreed and declared as follows :

- The tender notice, general rules and conditions, tender scheduled, Engineering Instructions, letter of Tender No. (along with its enclosures) annexed hereto and such other additional particular instructions drawing as may be found requisite to be given during execution of the work shall be deemed and taken to be integral part of the contract and also be deemed to be included in the expression “contractual or contract documents” wherever herein used.

- In consideration of the payment to be made to the Contractor for the works to be executed by him. The contractor hereby convenience with the BSNL that the contractor shall in accordance with the contract document do provide, execute and complete the said works and shall perform all other acts, deeds, comments and things in the contract mentioned or described or which are to be implied there from or may be reasonably necessary for the completion of the said works and at the time and in the manner and subject to the terms.

- The party at second part called as “Contractor” also declares that none of his/her relatives i.e. Wife, Husband, Parents, Grand Parents, Children and Grand Children, Brothers, Sisters, Uncles, Aunts and Cousins and their corresponding in-laws is working as an officer in BSNL in Orissa Telecom Circle.

- In consideration of the due provisions, execution and completion of the said works, the BSNL hereby agrees with the contractor that the BSNL will pay to the Contractor the respective amounts for the works done by the contractor such sum(s) as may become payable to the contractor under the provisions of the contract agreement.

- The contract will be in force for one year with effect from_________ to ____________

- Security deposit of__________ is furnished below.

Rs………………….Security Deposit furnished through of D/D No……………… of …………… (Valid upto)…………….

In witness where of the particulars here to have executed these present the day and the year first above written.

Signed and delivered

For and on behalf of the

Bharat Sanchar Nigam Limted

In the present of :

1.Signature :						          	 2.Signature:

Name								    Name:

Designation:							    Designation:

Signed and delivered

by and on behalf of the contractor.

1.Signature :						          	 2.Signature:

Name								     Name:

Designation:							     Designation:

SECTION - VIII

FINANCIAL BID

Tender Paper Number:-

##### RATES  TO BE QUOTED BY THE TENDERER

The rates should be quoted both in words & figures. In case of discrepancy, the rates quoted in word will be final.  The rate quoted must be inclusive of: -all taxes and duties as applicable from time to time except service tax which will be claimed extra as applicable. The specifications of the works of various items for which rates are to be quoted are given the tender document (Section IV).

| Sl. No. | Description of works | Unit | In figures | In words |
| --- | --- | --- | --- | --- |
| 01 | Cleaning / Sweeping of Office/ Exchange Premises & Equipment / Furniture’s Area Cleaning. | Per square. Meter/ Month |  |  |
| 02 | Sweeping and cleaning of toilets / bathrooms of exchange / Office. (materials for cleaning to be supplied by agency) | Per toilet - Bathroom/ Month |  |  |
| 03 | Supply of drinking water, cleaning of filters / buckets. (at TDM, Sub-Divisional Office / DTO | Per Office/ Month |  |  |
| 04 | Garden Maintenance in TDM Office | Per square. Meter/ Month |  |  |
| 05 | Departmental IQ maintenance TDM, Office, Telephone Bhawan and Titlagarh | Per square. Meter/ Month |  |  |
| 06 | Watching Stores and providing assistance at Stores/ Sub-Divisional Head Quarter and Telephone Exchanges | Per square. Meter/ Month |  |  |
| 07. | Carrying/ Delivery of DAK/ Telegram | Per Document/ Day |  |  |
| 08. | Entry in DAK/ Despatch Register | Per 10 Nos. Entry |  |  |
| 09. | Watching and Monitoring of various Technical System |  |  |  |
|  | Main Exch., Bolangir, Titlagarh, Sonepur, Patnagarh, Kantabanji & B.M. Pur | Per Exch/ Month |  |  |
|  | SBM/ RSU/ AN-RAX/ BTS/ Small Exchanges | Per Exch/ Month |  |  |
| 10. | L&W Maintenance Work |  |  |  |
|  | Main Exch., Bolangir, Titlagarh, Sonepur, Patnagarh, Kantabanji & B.M. Pur | Per DEL/ Month |  |  |
|  | SBM/ RSU/ AN-RAX/ BTS/ Small Exchanges | Per DEL/ Month |  |  |
| 11 | Broadband Maintenance Work. | Per Line/ Month |  |  |
| 12 | WLL Maintenance Work | Per DEL/ Month |  |  |
| 13 | File Movement and Office Assistance work at TDM Office | Per Movement/ Month |  |  |
| 14 | OFC Route Maintenance Work | Per RKM/ Month |  |  |

Signature of the Tenderer

With address

# Text boxes

Passport size photograph of the tender/ authorised signature holding power of attorney